## sheet1
Sr_No | Date_of_Installation_of_SmartMeter | Consumer_Id_No_Old_MePDCL_Billing_System | Consumer_Id_No_After_GoLive_in_UGO | House_owner_Name | Consumer_Name | Adhar_EPIC_No | Village_Name | House_No | Street_Colony | Mobile_Number(Registered) | District_Area | Feeder_Name | Sub_Division_Name | Name_of_feeding_3/11_KV_Sub_station | DT_Location | DT_No | Census_Code_No_of_the_Village | Name_of_the_CRD_Block | Meter_Sl_No | Final_Reading_KWH_on_LCD | Final_Reading_Kvah | Max_Demand | Meter_Seal_No | Outer_Meter_Box_No | Meter_Make/Model | Senction_Load_Capacity | Last_Bill_KWH | Last_Bill_KVAH | Any_Tamper_Mention_it | New_Meter_Sl_No | New_Meter_MF | Initial_Reading_KWH | Initial_Reading_KVAH | New_Meter_Seal_No | New_Outer_Meter_Box_No | Smart_Meter_Make | Type_of_SIM | SIM_Card_No
1 | 13-02-2026 | 0 | 1000255617 | Edwin Shira | Edwin Shira | 0 | Chitukona Garo | 0 | Chitukona Garo, Chitukona Garo #4124300200 | 9999999999 | NORTH GARO HILLS | 11 Kv Damas Feeder | MENDIPATHAR SD NEW | 33/11 KV Mendipathar S/S | Dokamcheng Songmaru | 2HHA04L01H04032 | 0 | 0 | SS14292476 | 249 | 256 | 1 | SS14292476 | SS14292476 | Hybrid meter | 1 | 249 | 256 | NO | 11128957 | 1 | 1 | 2 | 11128957 | 11128957 | JPM | AIRTEL | ‌8991160990026418413U
2 | 13-02-2026 | 0 | 1000630017 | Ezekiel K Sangma | Ezekiel K Sangma | 0 | Chitukona | 0 | Ezekiel K Sangma-Anil D Sangma-CHITUKONA | 6001236991 | NORTH GARO HILLS | 11 KV Wageasi Feeder | MENDIPATHAR SD NEW | 33/11 KV Dainadubi S/S | Gabil Daningka | 2HHA04L00B02077 | 0 | 0 | 711902 | 1389 | 1396 | 1 | 711902 | 711902 | Hybrid meter | 1 | 1389 | 1396 | NO | 11127058 | 1 | 1 | 2 | 11127058 | 11127058 | JPM | AIRTEL | ‌8991160990026417508U
3 | 13-03-2026 | 0 | 1000867603 | Dalbin Sangma | Dalbin Sangma | 0 | Chidaret Ajagro | 0 | CHIDARET AJAGRO | 7005944235 | NORTH GARO HILLS | 11 Kv Damas Feeder | MENDIPATHAR SD NEW | 33/11 KV Mendipathar S/S | Chitukona Garo | 2HHA04L01H04041 | 0 | 0 | 588539 | 877 | 0 | 1 | 588539 | 588539 | Other | 1 | 877 | 0 | NO | 11129188 | 1 | 1 | 2 | 11129188 | 11129188 | JPM | AIRTEL | ‌8991160990026419262U