## EnergyAuditFeederWise
Bangalore Electricity Supply Company (BESCOM)
ANAGODU SubDivision
Sl No | Circle Name | Division Name | Sub Division Name | Station Name | Feeder Owner | FeederIndex | Feeder Name | Feeder Type | Feeder Code |  | No of Ins | No of Active Ins | No of InActive Ins | Ip Set Installations | IR | FR | MC | Consumption M=((K-J)*L)
| A | B | C | D |  |  | E | F | G |  | H |  |  | I | J | K | L | M
4 | DAVANAGERE | DAVANAGERE | ANAGODU | ANGODU_66 | ANAGODU | 1310104902010104 | F04-ULUPINAKATTE | AGRI | F04 | To be named as F04-SHIVAPURA | 184 | 184 | 0 | 184 | 524.68 |  | 20000 | 287460
13 | DAVANAGERE | DAVANAGERE | ANAGODU | ANGODU_66 | ANAGODU | 1310104902020308 | F13-PISARAHATTI IP | AGRI | F13 | LEFT OUT FEEDER | 148 | 148 | 0 | 148 | 114.97 |  | 2000 | 189520
15 | DAVANAGERE | DAVANAGERE | ANAGODU | ANGODU_66 | ANAGODU | 1310104902020309 | F15-SHIVAPURA | AGRI | F15 | LEFT OUT FEEDER | 570 | 564 | 6 | 560 | 35.94 |  | 2000 | 71880
28 | DAVANAGERE | DAVANAGERE | ANAGODU | ATTIGERE_66 | ANAGODU | 1310104901020305 | F13-KABBURU IP | AGRI | F13 | LEFT OUT FEEDER | 603 | 603 | 0 | 603 | 136.14 |  | 2000 | 256920
29 | DAVANAGERE | DAVANAGERE | ANAGODU | ATTIGERE_66 | ANAGODU | 1310104901020306 | F14-HANUMANAHALLI IP | AGRI | F14 | LEFT OUT FEEDER | 406 | 406 | 0 | 406 | 91.83 |  | 2000 | 167200
31 | DAVANAGERE | DAVANAGERE | ANAGODU | BILICHODU_66 | JAGALURU | 1310105906020204 | F06-KURUDI | AGRI | F06 | SHARING FEEDER FROM 66/11kV BILCHODU SUBSTATION | 179 | 165 | 14 | 165 | 807.22 |  | 20000 | 215580
34 | DAVANAGERE | DAVANAGERE | ANAGODU | KADAJJI_66 | DAVANAGERE RURAL | 1310103905010203 | F03-KADAJJI ALUR | AGRI | F03 | FROM 66/11kV MUSS KADAJJI BELONGS 100% TO ANAGODU SUB DIVISION | 455 | 455 | 0 | 454 | 822.52 |  | 20000 | 353460
35 | DAVANAGERE | DAVANAGERE | ANAGODU | KADAJJI_66 | DAVANAGERE RURAL | 1310103905020204 | F05-ANJANEYA | AGRI | F05 | FROM 66/11kV MUSS KADAJJI BELONGS 100% TO ANAGODU SUB DIVISION | 229 | 200 | 29 | 200 | 1000.49 |  | 20000 | 327080
36 | DAVANAGERE | DAVANAGERE | ANAGODU | KADAJJI_66 | DAVANAGERE RURAL | 1310103905020205 | F10-BANASHANKARI IP | AGRI | F10 | FROM 66/11kV MUSS KADAJJI BELONGS 100% TO ANAGODU SUB DIVISION | 280 | 277 | 3 | 277 | 181.31 |  | 2000 | 270280
37 | DAVANAGERE | DAVANAGERE | ANAGODU | KADAJJI_66 | DAVANAGERE RURAL | 1310103905010205 | F11-HALASWAMY | AGRI | F11 | FROM 66/11kV MUSS KADAJJI BELONGS 100% TO ANAGODU SUB DIVISION | 89 | 89 | 0 | 89 | 60.08 |  | 20000 | 301620
62 | DAVANAGERE | DAVANAGERE | ANAGODU | MELLEKATTE_66 | ANAGODU | 1310104903010105 | F10-SHIVASTONE CRUSHER | INDUSTRIAL | 0 | LEFT OUT FEEDER | 1 | 1 | 0 | 0 | 126.84 |  | 4000 | 7880
64 | DAVANAGERE | DAVANAGERE | ANAGODU | SHYAGALE_66 | DAVANAGERE RURAL | 1310103906010101 | F01-KANDAGAL | AGRI | F01 | FROM 66/11kV MUSS SHYAGALE BELONGS 100% TO ANAGODU SUB DIVISION | 283 | 283 | 0 | 283 | 826.05 |  | 20000 | 101220
65 | DAVANAGERE | DAVANAGERE | ANAGODU | SHYAGALE_66 | DAVANAGERE RURAL | 1310103906020201 | F06-BHEEMANARE IP | AGRI | F06 | FROM 66/11kV MUSS SHYAGALE BELONGS 100% TO ANAGODU SUB DIVISION | 208 | 208 | 0 | 208 | 80.74 |  | 2000 | 105320
66 | DAVANAGERE | DAVANAGERE | ANAGODU | SHYAGALE_66 | DAVANAGERE RURAL | 1310103906020202 | F07-MALALAKERE IP | AGRI | F07 | FROM 66/11kV MUSS SHYAGALE BELONGS 100% TO ANAGODU SUB DIVISION | 177 | 177 | 0 | 174 | 0 |  | 2000 | 0
67 | DAVANAGERE | DAVANAGERE | ANAGODU | SHYAGALE_66 | DAVANAGERE RURAL | 1310103906020203 | F08-RAMA NJY | NJY | F08 | FROM 66/11kV MUSS SHYAGALE BELONGS 100% TO ANAGODU SUB DIVISION | 2395 | 2137 | 258 | 0 | 111.87 |  | 2000 | 206040