## feb
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report
Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025
| Generated By: | N S INDIRA
| Generated On: | 05-04-2025 10:45:48
[8 empty] | Sub-Division: | HARAPANAHALLI
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS
1 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F03-MUTTIGI | NJY | 1310303906010103 | 3765 | 3765 | 0 | 0 | 0 | 693.14 | 708.17 | 20000 | 300600 | 0 | 80000 | 220600 | 201891.45 | 0 | 201891.45 | 8.48 | 2240619.45 | 1724213.37 | 0.9152 | 0.7695 | 6.53
2 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F04-BADA | AGRI | 1310303906010104 | 476 | 476 | 0 | 475 | 0 | 424.91 | 453.09 | 20000 | 563600 | 20000 | 0 | 583600 | 110 | 528047.343 | 528157.343 | 9.5 | 3075477.1 | 4355838.176 | 0.905 | 1.4163 | 13.45
3 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F05-CHIGATERI | AGRI | 1310303906010105 | 447 | 447 | 0 | 447 | 0 | 432.96 | 458.53 | 20000 | 511400 | 0 | 80000 | 431400 | 0 | 390416.541 | 390416.541 | 9.5 | 2272224.07 | 4569615.087 | 0.905 | 2.0111 | 19.11
4 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F10-KUMARNAHALLI | AGRI | 1310303907020303 | 637 | 637 | 0 | 634 | 0 | 475.71 | 491.5 | 20000 | 315800 | 450000 | 0 | 765800 | 115 | 692933.73 | 693048.73 | 9.5 | 4034049.07 | 5945450.695 | 0.905 | 1.4738 | 14
5 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F05-HOSAKOTI | AGRI | 1310303903010104 | 739 | 739 | 0 | 738 | 0 | 913.754 | 942.997 | 20000 | 584860 | 0 | 0 | 584860 | 1210 | 528088.574 | 529298.574 | 9.5 | 3085299.56 | 6250947.978 | 0.905 | 2.026 | 19.25
6 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F08-KAVALAHALLI | NJY | 1310303903020304 | 4575 | 4575 | 0 | 1 | 0 | 1036.263 | 1073.449 | 20000 | 743720 | 0 | 415000 | 328720 | 303744.5 | 1459.808 | 305204.308 | 7.15 | 3255654.74 | 2106479.795 | 0.9285 | 0.647 | 4.63
7 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F09-BAGALI | AGRI | 1310303907020302 | 798 | 798 | 0 | 798 | 0 | 605.47 | 649.003 | 20000 | 870660 | 75000 | 0 | 945660 | 0 | 855823.057 | 855823.057 | 9.5 | 4980889.03 | 10063112.678 | 0.905 | 2.0203 | 19.19
8 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F09-ADAVIMALLAPURA | AGRI | 1310303903020101 | 540 | 540 | 0 | 540 | 0 | 876.252 | 909.321 | 20000 | 661380 | 0 | 15000 | 646380 | 0 | 584975.395 | 584975.395 | 9.5 | 3404555.79 | 6893045.649 | 0.905 | 2.0247 | 19.23
9 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F13-THALAVAGALU NJY | NJY | 1310303905030502 | 3076 | 3076 | 0 | 0 | 0 | 1023.26 | 1065.169 | 20000 | 838180 | 0 | 620000 | 218180 | 197041 | 0 | 197041 | 9.69 | 2047246.6 | 1297233.07 | 0.9031 | 0.6336 | 6.14
10 | TUMKUR | MADHUGIRI | MADHUGIRI | MADHUGIRI_220 | MADHUGIRI |  | F04-BALENAHALLI | AGRI | 1320301904020301 | 107 | 107 | 0 | 102 | 0 | 587.375 | 595.741 | 40000 | 334640 | 0 | 110000 | 224640 | 357 | 193400 | 193757 | 13.75 | 1130488.62 | 2020258.912 | 0.8625 | 1.7871 | 24.57
11 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F02-NEELAVANJI | AGRI | 1310303906010102 | 375 | 375 | 0 | 373 | 0 | 375.41 | 402.49 | 20000 | 541600 | 0 | 65000 | 476600 | 87 | 430800 | 430887 | 9.59 | 2508433.05 | 3559034.476 | 0.9041 | 1.4188 | 13.61
12 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F03-GOWRIHALLI | AGRI | 1310303907010103 | 358 | 358 | 0 | 354 | 0 | 455.38 | 486.11 | 20000 | 614600 | 113000 | 0 | 727600 | 4459 | 521200 | 525659 | 27.75 | 3070428.67 | 6124468.913 | 0.7225 | 1.9947 | 55.35
13 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F03-KYAKETTE | AGRI | 1310303903010103 | 442 | 442 | 0 | 441 | 0 | 706.305 | 735.65 | 20000 | 586900 | 0 | 45000 | 541900 | 9 | 488300 | 488309 | 9.89 | 2842121.67 | 5706179.209 | 0.9011 | 2.0077 | 19.86
14 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F01-SASVIHALLI | AGRI | 1310303906010101 | 364 | 364 | 0 | 364 | 0 | 375.739 | 396.807 | 20000 | 421360 | 25000 | 0 | 446360 | 0 | 403955.963 | 403955.963 | 9.5 | 2351023.42 | 3343673.426 | 0.905 | 1.4222 | 13.51
15 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F02-HULIKATTE NJY | NJY | 1310303907010505 | 2852 | 2852 | 0 | 0 | 0 | 622.861 | 670.026 | 20000 | 943300 | 0 | 732000 | 211300 | 190797.5 | 0 | 190797.5 | 9.7 | 2208037.05 | 1220220.31 | 0.903 | 0.5526 | 5.36
16 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F12-KHANAHALLI | AGRI | 1310303907020305 | 384 | 384 | 0 | 382 | 0 | 425.728 | 464.946 | 20000 | 784360 | 0 | 200000 | 584360 | 20 | 528826.933 | 528846.933 | 9.5 | 3078809.62 | 4385131.272 | 0.905 | 1.4243 | 13.53
17 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F08-BENNIHALLI NJY | NJY | 1310303906020302 | 1900 | 1900 | 0 | 0 | 0 | 264.13 | 272.03 | 20000 | 158000 | 0 | 33000 | 125000 | 114967.8 | 0 | 114967.8 | 8.03 | 1219220.34 | 930780.34 | 0.9197 | 0.7634 | 6.13
18 | DAVANAGERE | HARIHARA | HARAPANAHALLI | ITTIGI_220 | HARAPANAHALLI |  | F13-KANAVIHALLI | AGRI | 1310303904010102 | 330 | 330 | 0 | 329 | 0 | 544.85 | 570.039 | 20000 | 503780 | 0 | 78000 | 425780 | 12 | 384400 | 384412 | 9.72 | 2237408.89 | 2459211.457 | 0.9028 | 1.0991 | 10.68
19 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F17-KOOLAHALLI NJY | NJY | 1310303907020307 | 2311 | 2311 | 0 | 0 | 0 | 331.801 | 352.805 | 10000 | 210040 | 0 | 66000 | 144040 | 130470 | 0 | 130470 | 9.42 | 1606095.44 | 1081352.44 | 0.9058 | 0.6733 | 6.34
20 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F06-ARASIKERE | AGRI | 1310303903020302 | 498 | 498 | 0 | 498 | 0 | 735.106 | 746.096 | 20000 | 219800 | 0 | 0 | 219800 | 0 | 198919.55 | 198919.55 | 9.5 | 1157712.86 | 2356225.172 | 0.905 | 2.0352 | 19.33
21 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F08-KADABAGERINJY | NJY | 1310303907020301 | 2385 | 2385 | 0 | 0 | 0 | 340.694 | 341.356 | 20000 | 13240 | 150000 | 0 | 163240 | 147371.2 | 0 | 147371.2 | 9.72 | 1655564.26 | 1203964.29 | 0.9028 | 0.7272 | 7.07
22 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F02-JITTINAKATTE | AGRI | 1310303901010101 | 467 | 467 | 0 | 467 | 0 | 632.01 | 687.4 | 20000 | 1107800 | 0 | 0 | 1107800 | 0 | 520400 | 520400 | 53.02 | 3028728 | 5622262.387 | 0.4698 | 1.8563 | 98.42
23 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F04-PUNABHAGHATTA NJY | NJY | 1310303903020301 | 1271 | 1271 | 0 | 0 | 0 | 934.26 | 939.23 | 20000 | 99400 | 0 | 0 | 99400 | 94838 | 0 | 94838 | 4.59 | 1124938.34 | 513023.34 | 0.9541 | 0.456 | 2.09
24 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F06-MATTIHALLI | AGRI | 1310303906020301 | 469 | 469 | 0 | 469 | 0 | 494.07 | 519.94 | 20000 | 517400 | 55000 | 0 | 572400 | 0 | 518022.98 | 518022.98 | 9.5 | 3014894.98 | 5478547.095 | 0.905 | 1.8172 | 17.26
25 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F07-NAGARAKONDA NJY | NJY | 1310303906010106 | 3330 | 3330 | 0 | 1 | 0 | 633.3 | 667.43 | 20000 | 682600 | 0 | 495000 | 187600 | 169322 | 1382.175 | 170704.175 | 9.01 | 1957355.93 | 1518678.317 | 0.9099 | 0.7759 | 6.99
26 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F09-HAGARIGUDIHALLI IP | AGRI | 1310303906020303 | 453 | 453 | 0 | 453 | 0 | 467.96 | 491.86 | 20000 | 478000 | 48000 | 0 | 526000 | 0 | 476030.346 | 476030.346 | 9.5 | 2770497.07 | 5574236.716 | 0.905 | 2.012 | 19.11
27 | DAVANAGERE | HARIHARA | HARAPANAHALLI | ITTIGI_220 | HARAPANAHALLI |  | F03-NANDIBEVOOR | AGRI | 1310303904010101 | 438 | 438 | 0 | 438 | 0 | 921.1 | 944.339 | 20000 | 464780 | 84000 | 0 | 548780 | 0 | 496647.06 | 496647.06 | 9.5 | 2890487.12 | 5679324.547 | 0.905 | 1.9648 | 18.67
28 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F11-HUNASEHALLI | AGRI | 1310303906020305 | 320 | 320 | 0 | 319 | 0 | 4823.5 | 5004.2 | 2000 | 361400 | 85000 | 0 | 446400 | 98 | 403893.693 | 403991.693 | 9.5 | 2351442.11 | 4436691.736 | 0.905 | 1.8868 | 17.92
29 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F01-BANDRI | AGRI | 1310303907010101 | 452 | 452 | 0 | 452 | 0 | 340.582 | 360.224 | 20000 | 392840 | 175000 | 0 | 567840 | 0 | 513894 | 513894 | 9.5 | 2990864.29 | 5412886.079 | 0.905 | 1.8098 | 17.19
30 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F16-NICHHAPURA | AGRI | 1310303907020306 | 352 | 352 | 0 | 352 | 0 | 424.376 | 448.057 | 20000 | 473620 | 0 | 30000 | 443620 | 0 | 401475.774 | 401475.774 | 9.5 | 2336589.53 | 4233659.072 | 0.905 | 1.8119 | 17.21
31 | DAVANAGERE | HARIHARA | TELIGI | HALUVAGALU_66 | TELIGI |  | F05-NANDYALA | AGRI | 1310303902020303 | 517 | 517 | 0 | 517 | 0 | 637.19 | 666.08 | 20000 | 577800 | 348000 | 0 | 925800 | 0 | 786700 | 786700 | 15.02 | 4578594 | 7653516.401 | 0.8498 | 1.6716 | 25.11
32 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F13-THOUDUR IP | AGRI | 1310303903010107 | 335 | 335 | 0 | 334 | 0 | 4689.4 | 5096.9 | 1000 | 407500 | 0 | 15000 | 392500 | 125 | 355087.36 | 355212.36 | 9.5 | 2067575.16 | 4161703.16 | 0.905 | 2.0128 | 19.12
33 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F07-TBWS | WATER WORKS | 1310303907010501 | 2 | 2 | 0 | 0 | 0 | 537.726 | 552.963 | 10000 | 152370 | 0 | 0 | 152370 | 149923 | 0 | 149923 | 1.61 | 936861 | 1259496 | 0.9839 | 1.3444 | 2.16
34 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F04-GUNDAGATTI | AGRI | 1310303905020301 | 509 | 509 | 0 | 509 | 0 | 501.034 | 530.038 | 20000 | 580080 | 80000 | 0 | 660080 | 0 | 562300 | 562300 | 14.81 | 3272586 | 6276232.827 | 0.8519 | 1.9178 | 28.4
35 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F10-GOURIPURA | AGRI | 1310303906020304 | 477 | 477 | 0 | 471 | 0 | 334.25 | 357.03 | 20000 | 455600 | 0 | 0 | 455600 | 159 | 412158.348 | 412317.348 | 9.5 | 2402336.39 | 4480921.948 | 0.905 | 1.8652 | 17.72
36 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F04-HARAKANALU | AGRI | 1310303907010104 | 511 | 511 | 0 | 506 | 0 | 362.037 | 382.582 | 20000 | 410900 | 230000 | 0 | 640900 | 28 | 574159.074 | 574187.074 | 10.41 | 3341916.27 | 5798776.781 | 0.8959 | 1.7352 | 18.06
37 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F06-HPHALLI-RURAL-I.P | AGRI | 1310303907010106 | 589 | 589 | 0 | 587 | 0 | 385.983 | 411.437 | 20000 | 509080 | 260000 | 0 | 769080 | 251 | 695765.193 | 696016.193 | 9.5 | 4061152 | 7080537.257 | 0.905 | 1.7435 | 16.56
38 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F12-BUDIYAL | NJY | 1310303903020501 | 4626 | 4626 | 0 | 0 | 0 | 17901.1 | 18325.1 | 1000 | 424000 | 75000 | 0 | 499000 | 451034.5 | 0 | 451034.5 | 9.61 | 5203727.67 | 4402757.98 | 0.9039 | 0.8461 | 8.13
39 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F11-KODIHALLINJY | NJY | 1310303907020304 | 3584 | 3584 | 0 | 0 | 0 | 542.802 | 558.773 | 20000 | 319420 | 0 | 40000 | 279420 | 253411 | 0 | 253411 | 9.31 | 2632236.53 | 1801507.69 | 0.9069 | 0.6844 | 6.37
[10 empty] | #VALUE! | #VALUE!

## remarks
feeder name | Count of RR No as per rr no wise dcb | Count of RR No as per energy audit | diff | Sum of Total Consumption as per rr no wise dcb | Sum of Total Consumption as per energy audit | diff
F03-KYAKETTE | 407 | 442 | -35 | 447809 | 488309 | -40500
F05-HOSAKOTI | 583 | 739 | -156 | 422587.33 | 529298.574 | -106711.244
F13-THOUDUR IP | 336 | 335 | 1 | 356925 | 355212.36 | 1712.64
F09-ADAVIMALLAPURA | 539 | 540 | -1 | 592746.15 | 584975.395 | 7770.755
F06-ARASIKERE | 369 | 498 | -129 | 150007.48 | 198919.55 | -48912.07
F12-BUDIYAL | 5542 | 4626 | 916 | 451034.5 | 451034.5 | 0
F03-NANDIBEVOOR | 439 | 438 | 1 | 468030.82 | 496647.06 | -28616.24
F13-KANAVIHALLI | 331 | 330 | 1 | 35549.08 | 384412 | -348862.92
F01SASVIHALLI | 365 | 364 | 1 | 166559.61 | 403955.963 | -237396.353
F02-NEELAVANJI | 381 | 375 | 6 | 176477.51 | 430887 | -254409.49
F03-MUTTIGI | 4597 | 3765 | 832 | 201891.45 | 201891.45 | 0
F04-BADA | 476 | 476 | 0 | 215312.03 | 528157.343 | -312845.313
F05-CHIGATERI | 457 | 447 | 10 | 385481.94 | 390416.541 | -4934.601
F07-NAGARAKONDA NJY | 4100 | 3330 | 770 | 170607.21 | 170704.175 | -96.965
F06-MATTIHALLI | 470 | 469 | 1 | 413378.2 | 518022.98 | -104644.78
F08-BENNIHALLI NJY | 2411 | 1900 | 511 | 114967.8 | 114967.8 | 0
F09-HAGARIGUDIHALLI IP | 454 | 453 | 1 | 468111.04 | 476030.346 | -7919.306
F10-GOURIPURA | 497 | 477 | 20 | 349876.96 | 412317.348 | -62440.388
F11HUNASEHALLI | 321 | 320 | 1 | 349986.17 | 403991.693 | -54005.523
F01BANDRI | 455 | 452 | 3 | 406379.5 | 513894 | -107514.5
F08-KADABAGERINJY | 2728 | 2385 | 343 | 147371.2 | 147371.2 | 0
F09-BAGALI | 805 | 798 | 7 | 852722.09 | 855823.057 | -3100.967
F10-KUMARNAHALLI | 645 | 637 | 8 | 320810.41 | 693048.73 | -372238.32
F11KODIHALLINJY | 4135 | 3584 | 551 | 253411 | 253411 | 0
F12-KHANAHALLI | 416 | 384 | 32 | 219342.45 | 528846.933 | -309504.483
F16-NICHHAPURA | 364 | 352 | 12 | 318301.24 | 401475.774 | -83174.534
F17-KOOLAHALLI NJY | 2560 | 2311 | 249 | 130470 | 130470 | 0
Grand Total | 38062 | 31227 | 6835 | 9160899.74 | 11064491.772 | -1903592.032