## sheet1 -1
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report | RAPDRP AND NONRAPDRP DCB Report
Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025 | Report Information Based On Data as at 01-Feb-2025
| Generated By: | AODVNKOLAR
| Generated On: | 05-04-2025 15:21:51
[104 empty] | Sub-Division: | BESCOM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112
|  |  |  | Account Head | Account Head |  |  |  | Total Number of Installations | Total Number of Installations | Total Number of Installations | Total Number of Installations | Total Number of Installations | Total Number of Installations |  | Total Number of Installations | Total Number of Installations | Total Number of Installations | Sanctioned Load(kw) | Sanctioned Load(kw) | Sanctioned Load(kw) | Sanctioned Load(HP) | Sanctioned Load(HP) | Sanctioned Load(HP) | Sanctioned Load(KVA) | Sanctioned Load(KVA) | Sanctioned Load(KVA) | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Opening Balance | Opening Balance | Opening Balance | Opening Balance | Opening Balance | Tax Exempted Current Demand | Tax Exempted Current Demand | Tax Exempted Current Demand | Tax Exempted Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Debit Adjustments | Debit Adjustments | Debit Adjustments | Debit Adjustments | Bill Cancellation | Bill Cancellation | Bill Cancellation | Bill Cancellation | Bill Cancellation | Bill Cancellation |  |  | Collection | Collection | Collection | Collection | Collection | Credit Adjustments | Credit Adjustments | Credit Adjustments | Credit Adjustments |  |  | RR Transfer | RR Transfer | RR Transfer | Payment cancellations | Payment cancellations | Payment cancellations | Payment cancellations | Payment cancellations |  |  | CB | CB | CB | CB | CB | CB
SUB_DIVISION_NAME | MAINTARIFF | TARIFF | SUBTARIFF | DEBIT | CREDIT | DEMAND_BASEDTARIFF | TIME_OF_DAY | VOLTAGE_CLASS | ACTIVE_INSTALLATIONS | INACTIVE_INSTALLATIONS | TOTAL(10+11) | METERED_INSTALLATIONS | UNMETERED_INSTALLATIONS | TOTAL(13+14) | DC/MNR_INSTALLATIONS | BILLED | UNBILLED | TOTAL(17+18) | ACTIVE | INACTIVE | TOTAL(20+21) | ACTIVE | INACTIVE | TOTAL(23+24) | ACTIVE | INACTIVE | TOTAL(26+27) | ASSESSED_TAXED_CONSUMPTION | ASSESSED_EXEMPTED_CONSUMPTION | METERED_TAXED_CONSUMPTION | METERED_EXEMPTED_CONSUMPTION | TOTAL(29+30+31+32) | BILL_CANCELLATION_CONSUMPTION | NET_CONSUMPTION | WHEELED_ENERGY_UNITS | REVENUE | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | TOTAL(37+38+39+40) | REVENUE | MISCELLANEOUS_DEMAND | INTEREST_ON_REVENUE_AND_MISCELLANEOUS | TOTAL(42+43+44) | REVENUE | MISCELLANEOUS_DEMAND | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | TOTAL(46+47+48+49+50) | REVENUE_ADJUSTMENTS | MISCELLANEOUS_ADJUSTMENT | TAX_ADJUSTMENT | TOTAL_ADJUSTMENT(52+53+54) | REVENUE | MISCELLANEOUS | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | TOTAL(56+57+58+59+60) | NET_DEMAND_REVENUE (CURRENT DEMAND + DEBITS – BILL CANCELLATIONS) (42+43+44+46+47+48+52+53-56-57-58) | NET_DEMAND_TAX (CURRENT DEMAND + DEBITS – BILL CANCELLATIONS) (49+50+54-59-60) | REVENUE | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | TOTAL(64+65+66+67) | REVENUE_ADJUSTMENTS | MISCELLANEOUS_ADJUSTMENT | TAX_ADJUSTMENT | TOTAL_ADJUSTMENT(69+70+71) | NET_IOD | NET_REVERSAL_IOD | SUSPENSE_RRTRANSFER | FROM_RRTRANSFER | TO_RRTRANSFER | REVENUE | INTEREST_ON_REVENUE | INTEREST_ON_TAX | TAX | TOTAL_SUM(78+79+80+81) | NET_COLLECTION (COLLECTION + CREDITS – PAYMENT CANCELLATIONS) (68+72-82) | WRITE_OFF | REVENUE (37+42+43+46+47+52+53-56-57-64-69-70-REV(77)-REV(75)+REV(76)-73+74) | INTEREST_ON_REVENUE_AND_MISCELLANEOUS (38+48+44-58-65+79-INTONREV(75)-INTONREV(77)+INTONREV(76)) | INTEREST_ON_TAX (39+49-59-66+80-INTONTAX(75)-INTONTAX(77)+INTONTAX(76)) | TAX (40+50+54-71-67+81-60-TAX(75)-TAX(77)+TAX(76)) | TOTAL SUM (85+86+87+88-84) | CB_AVG_COST_OF_SUPPLY | % OF LIVE INSTALLATION(10/12)*100 | % OF BILLED INSTALLATION(17/10)*100 | % Of DC/MNR(16/10)*100 | % OF METERED CONSUMPTION ((31+32)/33)*100 | % OF ACCESSED CONSUMPTION((29+30)/33)*100 | %OF COLLECTION EFFECIENCY WITH ADJUSTMENT((68+72)/(45+51+55))*100 | %OF COLLECTION EFFECIENCY WITHOUT ADJUSTMENT(68/(45+51))*100 | RATIO OF ARREARS W.R.T DEMAND(89/(45+51+55)) | DEMAND PER UNIT(45+51+56)/33 | COLLECTION PER UINT WITH ADJUSTMENT((68+72)/33) | COLLECTION PER UNIT WITHOUT ADJUSTMENT(68/33) | CONSUMPTION PER INSTALLATION(33/10) | % OF RECOVERY AVREAGE COST | OB_GST | GST_DEMAND | GST_DEBIT_ADJUSTMENT | GST_BILL_CANCELLATION | GST_NET_PAYMENT | GST_COLLECTION | GST_CREDIT_ADJUSTMENT | GST_PAYMENT_CANCELLATION | GST_CB
BESCOM | HT | HT | HT EV | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT1 | [5 empty] | 2 | 0 | 2 | 2 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 300 | 0 | 0 | 4838.02 | 0 | 4838.02 | 0 | 4838.02 | 0 | -160007 | 0 | 0 | -8279 | -168286 | 0 | 0 | 0 | 0 | 125236.94 | 2326.39 | 158.29 | 0 | 2721.38 | 130443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127879.91 | 2721.38 | 130452 | 0 | 0 | 0 | 130452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130452 | 0 | -160016 | 0 | -8279 | 0 | -168295 |  | 66.6667 | 66.6667 | 0 | 66.6667 | 0 | 66.6707 | 66.6707 | -0.79607 | 19.9584 | 19.96 | 19.96 | 1612.6733 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT2A1-N | [5 empty] | 2 | 0 | 2 | 2 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 172 | 0 | 172 | 0 | 0 | 10495.5 | 0 | 10495.5 | 0 | 10495.5 | 0 | 3651 | 0 | 0 | -3651 | 0 | 0 | 0 | 0 | 0 | 128372.42 | 0 | 201.63 | 8.24 | 6517.71 | 135100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128783.92 | 6525.95 | 128372.42 | 201.63 | 8.24 | 6517.71 | 135100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135100 | 0 | 3651 | 0 | -3651 | 0 | 0 |  | 66.6667 | 66.6667 | 0 | 66.6667 | 0 | 66.6667 | 66.6667 | 0 | 9.296 | 9.296 | 9.296 | 3498.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT2A2-N | [5 empty] | 17 | 5 | 22 | 22 | 0 | 22 | 0 | 17 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 3980 | 1875 | 5855 | 0 | 0 | 633472.95 | 38248.75 | 671721.7 | 0 | 671721.7 | 0 | 1014679.55 | 2009834.48 | 57032.57 | -168401 | 2913145.6 | 423580.14 | 0 | 206.86 | 423787 | 6004682.51 | 16540.85 | 59591.73 | 3040.38 | 348144.28 | 6431999.75 | 9343 | 0 | 0 | 9343 | 0 | 0 | 0 | 0 | 0 | 0 | 6576784.06 | 351184.66 | 6279248.71 | 10433.07 | 908.65 | 320728.57 | 6611319 | 466754.47 | 0 | 38737.53 | 505492 | 64677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7116811 | 0 | 698069.12 | 2011916.53 | -170230.87 | 57032.57 | 2596787.35 |  | 45.2381 | 57.1429 | 0 | 42.8571 | 0 | 89.6464 | 42.7797 | 2.5938 | 4.7335 | 4.7487 | 4.7289 | 16536.1645 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT2B1 | [5 empty] | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 52 | 0 | 0 | 4610.23 | 0 | 4610.23 | 0 | 4610.23 | 0 | -17316.51 | 0 | 0 | 17316.51 | 0 | 0 | 0 | 0 | 0 | 55465.71 | 0 | 3026.81 | 16.11 | 3319.37 | 61828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61535.44 | 3335.48 | 55465.71 | 3026.81 | 16.11 | 3319.37 | 61828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 303343.9 | 303343.9 | 0 | 0 | 0 | 0 | 0 | 61828 | 0 | -17316.51 | 0 | 17316.51 | 0 | 0 |  | 50 | 50 | 0 | 50 | 0 | 50 | 50 | 0 | 6.7055 | 6.7055 | 6.7055 | 2305.115 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT2B2 | [5 empty] | 12 | 1 | 13 | 13 | 0 | 13 | 0 | 12 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 1305 | 110 | 1415 | 0 | 0 | 121034.61 | 0 | 121034.61 | 0 | 121034.61 | 0 | 179307.99 | 1271.01 | 0 | -61216 | 119363 | 0 | 0 | 0 | 0 | 1449054.8 | 9440.83 | 2796.18 | 171.28 | 87144.91 | 1548608 | 0 | 1750 | 0 | 1750 | 0 | 0 | 0 | 0 | 0 | 0 | 1466009.27 | 87316.19 | 1441976.13 | 3264.93 | 69.03 | 87144.91 | 1532455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1532455 | 0 | 197577.49 | 802.26 | -61216 | 102.25 | 137266 |  | 57.1429 | 57.1429 | 0 | 57.1429 | 0 | 52.7383 | 52.8574 | 0.10242 | 8.8612 | 7.8815 | 7.8815 | 4766.4372 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT2C1 | [5 empty] | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 200 | 0 | 0 | 64072.02 | 0 | 64072.02 | 0 | 64072.02 | 0 | 17328456 | 0 | 0 | -13169 | 17315287 | 0 | 0 | 0 | 0 | 526973.46 | 0 | 171231.23 | 546.29 | 40942.02 | 739693 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 869982.21 | 41488.31 | 1787280.46 | 171231.23 | 546.29 | 40942.02 | 2000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000000 | 0 | 16068149 | 0 | -13169 | 0 | 16054980 |  | 100 | 100 | 0 | 100 | 0 | 270.3824 | 270.3824 | 21.7049 | 11.5447 | 31.2149 | 31.2149 | 64072.02 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT2C2 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT3A3 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT | HT3B | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT1 | HT1 - Water Supply, Sewerage Pumping CMC/TMC | [5 empty] | 2 | 0 | 2 | 2 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 525 | 0 | 525 | 0 | 0 | 22151 | 0 | 22151 | 0 | 22151 | 0 | 229787.23 | 16760.3 | 0 | 3166.47 | 249714 | 0 | 0 | 0 | 0 | 417207.48 | 0 | 4234.58 | 0 | 12459.94 | 433902 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 421442.06 | 12459.94 | 328705.51 | 223.55 | 0 | 12270.94 | 341200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 341200 | 0 | 318289.2 | 20771.33 | 0 | 3355.47 | 342416 | 0 | 100 | 100 | 0 | 1107550 | 0 | 57.27 | 57.27 | 1.845 | 209.235 | 7.82 | 170600 | 11075.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT2 | HT2A(i) - Industrial - other than under BMA - 66 KV | [5 empty] | 10 | 6 | 16 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 5595 | 1045 | 6640 | 0 | 0 | 1035575.5 | 0 | 1035575.5 | -536136 | 499439.5 | 371701 | 1560798.66 | 55994.13 | 0 | 85413.21 | 1702206 | 0 | 0 | 0 | 0 | 10394241.46 | 44720.5 | 3878.72 | 0 | 360488.32 | 10803329 | 0 | 0 | 0 | 0 | 4955311.95 | 9937 | 100 | 0 | 21145.05 | 4986494 | 5477491.73 | 339343.27 | 5802798.01 | 3778.72 | 0 | 134092.27 | 5940669 | 67590 | 0 | 0 | 67590 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6008259 | 0 | 1164123.66 | 55994.13 | 0 | 290664.21 | 1510782 | 0 | 62.5 | 62.5 | 0 | 10355755 | 0 | 72.9163 | 72.8231 | 91805.8038 | 3903.4194 | 18482.1937 | 371291.8125 | 64723.4688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT2 | HT2B(i) - Industrial - other than under BMA - 11 KV | [5 empty] | 8 | 1 | 9 | 8 | 0 | 8 | 0 | 8 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 913 | 85 | 998 | 0 | 0 | 48860 | 0 | 48860 | 0 | 48860 | 0 | 220 | 0 | 0 | 0 | 220 | 0 | 0 | 0 | 0 | 710820.15 | 591.4 | 348.25 | 0 | 35179.2 | 746939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 711759.8 | 35179.2 | 711379.55 | 348.25 | 0 | 35179.2 | 746907 | 472 | 0 | 0 | 472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 747379 | 0 | -220 | 0 | 0 | 0 | -220 | 0 | 88.8889 | 88.8889 | 0 | 610750 | 0 | 88.9089 | 88.8878 | -0.0011111 | 19.3133 | 19.3156 | 82989.6667 | 5428.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT2 | HT2C(i) - Govt., Chartable, Univercity & ESI Hospital & Hostels | [5 empty] | 5 | 0 | 5 | 5 | 0 | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 2700 | 0 | 2700 | 0 | 0 | 645172.5 | 0 | 645172.5 | 0 | 645172.5 | 34074 | 16707 | 0 | 0 | 0 | 16707 | 0 | 0 | 0 | 0 | 4941582.59 | 6412.9 | 1115.79 | 0 | 445270.72 | 5394382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4949111.28 | 445270.72 | 266624.95 | 571.99 | 0 | 14503.06 | 281700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281700 | 0 | 4698077.54 | 543.8 | 0 | 430767.66 | 5129389 | 0 | 100 | 100 | 0 | 12903450 | 0 | 42.53 | 42.53 | 0.594 | 14.134 | 5.288 | 56340 | 129034.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT5 | HT5 - Temporary Supply (67 HP and above) | [5 empty] | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT1 | LT1-M | [5 empty] | 77 | 48 | 125 | 125 | 0 | 125 | 0 | 73 | 4 | 77 | 11 | 2 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2861 | 0 | 2861 | 0 | 2861 | 0 | 531582.66 | 382045.75 | 9620.54 | 20049.05 | 943298 | 0 | 0 | 0 | 0 | 27019.57 | 0 | 1099.08 | 65.39 | 1519.23 | 29703.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29283.12 | 1584.62 | 818.77 | 41.44 | 5.51 | 65.28 | 931 | 23668.2 | 0 | 1285.07 | 24953.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25884.27 | 0 | 534117.38 | 383103.39 | 20215.81 | 9680.42 | 947117 |  | 49.8433 | 70.9225 | 0 | 75 | 0 | 64.0252 | 1.3454 | 28.0759 | 7.9042 | 6.7532 | 0.13675 | 27.2137 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT1 | LT1-UM | [5 empty] | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 565.11 | 15.89 | 1 | 0 | 582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 565.11 | 15.89 | 0 | 1 | 582 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT1 | LT1 - Ltng. ,heating & Motive Power , Rural Local Bodies | [5 empty] | 15942 | 11267 | 27209 | 15942 | 0 | 15942 | 58 | 15601 | 341 | 15942 | 10992.94 | 5098.92 | 16091.86 | 6 | 16 | 22 | 1277.24 | 609.02 | 1886.26 | 0 | 0 | 796825.5 | 0 | 796825.5 | -3049 | 793776.5 | 0 | 31846142.24 | 4976823.44 | 0 | 1410878.32 | 38233844 | 239.49 | 0 | 33.51 | 273 | 7189371.56 | 65975.99 | 120655.33 | 0 | 423121.3 | 7799124.18 | 0 | 0 | 0 | 0 | 20944.34 | 37.5 | 82.12 | 0 | 1619.02 | 22682.98 | 7355211.92 | 421502.28 | 1461872.17 | 26072.32 | 0 | 157190.03 | 1645134.52 | 4901117.72 | 0 | 181550.48 | 5082668.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6727802.72 | 0 | 32717757.55 | 5071357.84 | 0 | 1493640.09 | 39282755.48 | 0 | 58.5909 | 57.3376 | 0.21316 | 5106.2192 | 0 | 67.7824 | 24.1578 | 904.8935 | 16.3491 | 13.9449 | 60.4629 | 29.2854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT1 | LT1 - Ltng. ,heating & Motive Power , Rural Local Bodies ( Free Lighting) | [5 empty] | 5 | 3 | 8 | 5 | 0 | 5 | 0 | 5 | 0 | 5 | 12.4 | 6.84 | 19.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170 | 0 | 170 | 0 | 170 | 0 | 343.77 | 74.14 | 0 | 736.09 | 1154 | 0 | 0 | 0 | 0 | 2615.43 | 0 | 9.48 | 0 | 90.29 | 2715.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2624.91 | 90.29 | 0 | 0 | 0 | 0 | 0 | 344.2 | 0 | 0 | 344.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 344.2 | 0 | 2615 | 83.62 | 0 | 826.38 | 3525 | 0 | 62.5 | 62.5 | 0 | 3400 | 0 | 11.4062 | 0 | 0.76375 | 32.1225 | 1.1325 | 0 | 21.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2 - Ltng ,heating & Motive Power , Pvt. Institu. in Village Pan. | [5 empty] | 24 | 4 | 28 | 24 | 0 | 24 | 0 | 23 | 1 | 24 | 98.98 | 16.72 | 115.7 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 0 | 5551 | 0 | 5551 | 0 | 5551 | 0 | 132390.76 | 3801.91 | 0 | 2072.33 | 138265 | 0 | 0 | 0 | 0 | 55959.48 | 444.45 | 1413.03 | 0 | 3622.04 | 61439 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57816.96 | 3622.04 | 22288.38 | 190.07 | 0 | 1157.55 | 23636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23636 | 0 | 166506.31 | 5024.87 | 0 | 4536.82 | 176068 | 0 | 85.7143 | 82.1429 | 0 | 24134.7826 | 0 | 55.1554 | 55.1554 | 490.3896 | 98.4021 | 17.3386 | 844.1429 | 198.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2 - Ltng. ,heating & Motive Power , Pvt. Institu. in ULB's & CC | [5 empty] | 42 | 12 | 54 | 42 | 0 | 42 | 2 | 38 | 4 | 42 | 431.72 | 69.34 | 501.06 | 10 | 0 | 10 | 1 | 5 | 6 | 0 | 0 | 23727 | 0 | 23727 | 0 | 23727 | 0 | 771094.51 | 97313.89 | 0 | 40594.6 | 909003 | 0 | 0 | 0 | 0 | 256305.24 | 2682.39 | 2177.46 | 0 | 15481.91 | 276647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 261165.09 | 15481.91 | 257892.49 | 179.2 | 0 | 11181.31 | 269253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 269253 | 0 | 772189.65 | 99312.15 | 0 | 44895.2 | 916397 | 0 | 77.7778 | 70.3704 | 3.7037 | 62439.4737 | 0 | 122843.2189 | 122843.2189 | 11241.8637 | 348.4111 | 1387.5446 | 4986.1667 | 439.3889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2A1-N | [5 empty] | 43924 | 2119 | 46043 | 46041 | 2 | 46043 | 17 | 42133 | 1791 | 43924 | 43631 | 1796 | 45427 | 422 | 76 | 498 | 0 | 0 | 0 | 1682 | 0 | 2884789.98 | 505 | 2886976.98 | -71070 | 2815906.98 | 0 | 45359949.42 | 7580660.11 | 181743.98 | 1638385.13 | 54762456.11 | 4425.96 | 405 | 10.04 | 4841 | 24923077.96 | 700958.5 | 351589.74 | 18535.8 | 1532737.94 | 27526899.94 | 1490 | 14600.23 | 14254.44 | 30344.67 | 477565.76 | 0 | 0 | 0 | 37053.79 | 514619.55 | 25889127.25 | 1528474.39 | 8377831.71 | 278903.96 | 11170.72 | 497719.38 | 9165838.34 | 17266879.82 | 99.44 | 1025945.79 | 18292925.05 | 1000 | 0 | 0 | 21201.45 | 24114.45 | 2045.94 | 8.73 | 0.47 | 14.86 | 2070 | 27456693.39 | 0 | 44914271.89 | 7645726.55 | 1599405.91 | 188406.53 | 54349315.78 |  | 75.9395 | 76.9198 | 0.025534 | 79.9625 | 0.037501 | 80.516 | 27.8357 | 1.4808 | 7.6843 | 7.7415 | 2.6818 | 53.3348 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2A1FL | [5 empty] | 15 | 1 | 16 | 16 | 0 | 16 | 0 | 15 | 0 | 15 | 32 | 3 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2235 | 0 | 2235 | 0 | 2235 | 0 | -1931.79 | 6302.41 | 2425.61 | 17595.77 | 24392 | 0 | 0 | 0 | 0 | 17723.39 | 270 | 459.59 | 170.23 | 1186.77 | 19809.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19082.8 | 1357 | 103.2 | 0 | 0 | 277.8 | 381 | 17312.98 | 0 | 0 | 17312.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17693.98 | 0 | -1278.05 | 6762 | 18441.23 | 2582.82 | 26508 |  | 91.6667 | 100 | 0 | 100 | 0 | 89.5172 | 1.0883 | 2.2902 | 9.7487 | 8.7434 | 0.091651 | 140.0312 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2A2-N | [5 empty] | 22 | 2 | 24 | 24 | 0 | 24 | 0 | 22 | 0 | 22 | 20 | 1 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1416 | 0 | 1416 | 0 | 1416 | 0 | 35639.8 | 5226.41 | 126.68 | 1241.51 | 42238 | 0 | 0 | 0 | 0 | 12393.99 | 45 | 328.71 | 20.05 | 751.91 | 13539.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13116.46 | 771.96 | 4466.48 | 782.31 | 47.09 | 572.12 | 5868 | 8930.73 | 0 | 537.93 | 9468.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15336.66 | 0 | 34681.58 | 4772.81 | 883.37 | 99.64 | 40441 |  | 95 | 100 | 0 | 100 | 0 | 129.225 | 64.8001 | 5.2014 | 12.3559 | 18.781 | 12.4953 | 60.8208 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2B1 | [5 empty] | 83 | 9 | 92 | 92 | 0 | 92 | 0 | 75 | 8 | 83 | 350 | 15 | 365 | 135 | 2 | 137 | 0 | 0 | 0 | 0 | 0 | 29421.4 | 0 | 29421.4 | 0 | 29421.4 | 0 | 174355.37 | 30212.21 | 641.56 | 2486.51 | 207706.45 | 0 | 0 | 0 | 0 | 298128.35 | 11090 | 1175.07 | 50.03 | 19197.55 | 329641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 311618.52 | 19247.58 | 284857.3 | 711.15 | 40.41 | 16769.14 | 302378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 302378 | 0 | 200023.34 | 30647.03 | 3638.19 | 650.09 | 234969.45 |  | 89.7508 | 90.254 | 0 | 100 | 0 | 87.0501 | 87.0501 | 1.3274 | 12.5104 | 10.3907 | 10.3907 | 351.842 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2B2 | [5 empty] | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 420 | 0 | 420 | 0 | 420 | 0 | 30 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 4074.95 | 0 | 1 | 0 | 274.05 | 4350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4076.95 | 274.05 | 3984.95 | 1 | 0 | 274.05 | 4260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4260 | 0 | 120 | 0 | 0 | 0 | 120 |  | 100 | 100 | 0 | 100 | 0 | 97.931 | 97.931 | 0.027586 | 10.3571 | 10.1429 | 10.1429 | 420 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3 | LT3A - Comme. Ltng ,heating & Motive Power , in ULB's & CC | [5 empty] | 1261 | 1450 | 2711 | 1261 | 0 | 1261 | 7 | 1234 | 27 | 1261 | 2105.67 | 1442.32 | 3547.99 | 42 | 32 | 74 | 71.42 | 9.28 | 80.7 | 0 | 0 | 135451.2 | 0 | 135451.2 | 0 | 135451.2 | 0 | 6367868.78 | 823706.9 | 0 | 131189.32 | 7322765 | 0 | 0 | 0 | 0 | 1688319.41 | 12169.57 | 34583.16 | 0 | 97524.86 | 1832597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1735072.14 | 97524.86 | 2029728.71 | 7549.17 | 0 | 80125.05 | 2117402.93 | 10080 | 0 | 0 | 10080 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2127482.93 | 0 | 6028549.05 | 850740.89 | 0 | 148589.13 | 7027879.07 | 0 | 46.5142 | 45.5183 | 0.25821 | 10976.5964 | 0 | 2108.2843 | 1736.5395 | 1398.2634 | 44.9746 | 44.8131 | 781.0409 | 49.9636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3 | LT3A - Comme. Ltng ,heating & Motive Power , in Village Pan. | [5 empty] | 758 | 103 | 861 | 758 | 0 | 758 | 2 | 738 | 20 | 758 | 1517.79 | 146.21 | 1664 | 41 | 10 | 51 | 1.2 | 0.24 | 1.44 | 0 | 0 | 125702.2 | 0 | 125702.2 | -1885 | 123817.2 | 0 | 2221366.99 | 114198.07 | 0 | 60899.94 | 2396465 | 0 | 0 | 0 | 0 | 1370822.84 | 6618.58 | 16729 | 0 | 90505.58 | 1484676 | 0 | 0 | 0 | 0 | 19508.68 | 0 | 18.12 | 0 | 1357.2 | 20884 | 1374643.62 | 89148.38 | 752125.15 | 1404.57 | 0 | 48037.16 | 801566.88 | 24064 | 0 | 0 | 24064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825630.88 | 0 | 2803110.58 | 129504.38 | 0 | 102011.16 | 3034626.12 | 0 | 88.0372 | 85.7143 | 0.23229 | 17009.77 | 0 | 3912.5452 | 3908.8411 | 704.7015 | 91.0585 | 76.9627 | 930.9721 | 145.9956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3 | LT3A - Comme. Ltng ,heating & Motive Power , in Village Pan. ( Office Lighting) | [5 empty] | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 10 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 600 | 0 | 600 | 0 | 600 | 0 | -52.09 | 52.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7085.5 | 829.5 | 0 | 0 | 432 | 8347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7915 | 432 | 0 | 0 | 0 | 0 | 0 | 7086 | 0 | 432 | 7518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7518 | 0 | 776.91 | 52.09 | 0 | 0 | 829 | 0 | 100 | 100 | 0 | 60000 | 0 | 90.07 | 0 | -0.05 | 13.91 | 12.53 | 0 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3 | LT3B - Temporary Supply | [5 empty] | 1 | 8 | 9 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 8 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 307 | 0 | 307 | 0 | 307 | 0 | 3366.96 | 3262.33 | 0 | 1.71 | 6631 | 0 | 0 | 0 | 0 | 3918.88 | 0 | 0 | 0 | 290.12 | 4209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3918.88 | 290.12 | 3918.88 | 0 | 0 | 290.12 | 4209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4209 | 0 | 3366.96 | 3262.33 | 0 | 1.71 | 6631 | 0 | 11.1111 | 11.1111 | 0 | 30700 | 0 | 11.1111 | 11.1111 | 736.7778 | 1.5233 | 1.5233 | 467.6667 | 34.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3 | LT3IIN | [5 empty] | 12 | 2 | 14 | 14 | 0 | 14 | 0 | 11 | 1 | 12 | 6 | 3 | 9 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 403 | 0 | 403 | 0 | 403 | 0 | 37274.2 | 11358.8 | 449.56 | 1279.61 | 50362.17 | 0 | 0 | 0 | 0 | 6183.44 | 0 | 158.54 | 5.86 | 290.16 | 6638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6506.38 | 296.02 | 5322.6 | 29.78 | 0.38 | 189.24 | 5542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5542 | 0 | 38173.6 | 11486.56 | 1342.97 | 455.04 | 51458.17 |  | 83.3333 | 87.5 | 0 | 75 | 0 | 115.3167 | 115.3167 | 23.5582 | 11.7027 | 11.6265 | 11.6265 | 42.6875 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3 | LT3IN | [5 empty] | 9287 | 1191 | 10478 | 10478 | 0 | 10478 | 5 | 8673 | 614 | 9287 | 12250 | 956 | 13206 | 1223 | 239 | 1462 | 0 | 0 | 0 | 149 | 0 | 1046752.62 | 4864.3 | 1051765.92 | -25982 | 1025783.92 | 0 | 21903279.35 | 2693230.71 | 32975.56 | 306853.36 | 24938034.53 | 45986.8 | 525 | 161.2 | 46673 | 12246599.9 | 151485.38 | 162357.38 | 4793.35 | 753829.42 | 13319065.43 | 29157 | 916.95 | 0 | 30073.95 | 373949.04 | 0 | 0 | 0 | 18782.38 | 392731.42 | 12430552.5 | 739840.39 | 11596551.62 | 118596.15 | 2612.52 | 665604.26 | 12383639 | 31466.02 | 22567 | 240.98 | 54274 | 1457 | 0 | 0 | 30925 | 121797 | 0 | 0 | 0 | 0 | 0 | 12437913 | 0 | 22328682.58 | 2709413.85 | 336339.02 | 35016.94 | 25410873.49 |  | 88.6206 | 92.9295 | 0.044137 | 99.9862 | 0.013822 | 91.663 | 91.5233 | 1.8935 | 12.6562 | 11.6346 | 11.5938 | 125.414 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3 | LT3IOL | [5 empty] | 5 | 0 | 5 | 5 | 0 | 5 | 0 | 4 | 1 | 5 | 20 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 457 | 0 | 457 | 0 | 457 | 0 | -551185.44 | 0 | 0 | -4261 | -555446.44 | 0 | 0 | 0 | 0 | 7368.75 | 0 | 0 | 0 | 329.04 | 7697.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7368.75 | 329.04 | 0 | 0 | 0 | 0 | 0 | 7368.75 | 0 | 329.04 | 7697.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7697.79 | 0 | -551185.44 | 0 | -4261 | 0 | -555446.44 |  | 100 | 87.5 | 0 | 100 | 0 | 100 | 0 | -64.4811 | 17.0351 | 17.0351 | 0 | 126.875 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4 | LT4(a) - IP Sets - <=10Hp, Rural Feeder (Un-Metered) | [5 empty] | 3336 | 618 | 3954 | 0 | 3336 | 3336 | 3336 | 3336 | 0 | 3336 | 0 | 0 | 0 | 33310 | 4756.5 | 38066.5 | 15 | 0 | 15 | 0 | 3844231.544 | 0 | 0 | 3844231.544 | 0 | 3844231.544 | 0 | 10301383.37 | 2519188.95 | 0 | 997132.68 | 13817705 | 22866200.95 | 0 | 0 | 22866200.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22866200.95 | 0 | 10 | 0 | 0 | 0 | 10 | 22866204.739 | 0 | 0 | 22866204.739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22866214.739 | 0 | 10301369.581 | 2519188.95 | 0 | 997132.68 | 13817689.16 | 0 | 84.3703 | 84.3703 | 84.3703 | 0 | 115234.7585 | 84.6232 | 0.25291 | 703.7307 | 5.0176 | 5.0201 | 0.0025291 | 972.2386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4 | LT4A-MN | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8186.76 | 2872.51 | 36 | 0 | 11095.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8186.76 | 2872.51 | 0 | 36 | 11095.27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4 | LT4A-MS | [5 empty] | 88 | 0 | 88 | 88 | 0 | 88 | 0 | 87 | 1 | 88 | 0 | 0 | 0 | 557 | 0 | 557 | 0 | 0 | 0 | 0 | 0 | 0 | 417600 | 417600 | 0 | 417600 | 0 | 23974.66 | 1025253.51 | 16141.45 | 12457.38 | 1077827 | 2488897 | 0 | 216 | 2489113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2489329 | 0 | 0 | 0 | 0 | 0 | 0 | 2488896 | 0 | 0 | 2488896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2488896 | 0 | 23975.66 | 1025253.51 | 12457.38 | 16357.45 | 1078044 |  | 100 | 99.4048 | 0 | 100 | 0 | 99.9908 | 0 | 0.43444 | 5.9605 | 5.96 | 0 | 4771.4286 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4 | LT4A-US | [5 empty] | 3 | 0 | 3 | 0 | 3 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | 30 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 15658 | 15658 | 0 | 15658 | 0 | 31035.12 | 51284.88 | 0 | 0 | 82320 | 93321.68 | 0 | 0 | 93321.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93321.68 | 0 | 0 | 0 | 0 | 0 | 0 | 93321.68 | 0 | 0 | 93321.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93321.68 | 0 | 31035.12 | 51284.88 | 0 | 0 | 82320 |  | 100 | 100 | 0 | 100 | 0 | 100 | 0 | 0.90429 | 5.96 | 5.96 | 0 | 5164.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4 | LT4B | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4 | LT4B - IP Sets - Above 10 HP | [5 empty] | 3 | 2 | 5 | 3 | 0 | 3 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 45 | 28 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1463242.68 | 608683.6 | 0 | 55450.72 | 2127377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1463242.68 | 608683.6 | 0 | 55450.72 | 2127377 | 0 | 60 | 0 | 0 |  | 0 | 0 | 0 | 425475.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4 | LT4C(i) - IP Sets - Pvt Horticu. Nurseries,Coffee & Tea 10 HP & below | [5 empty] | 3 | 0 | 3 | 3 | 0 | 3 | 0 | 1 | 2 | 3 | 0 | 0 | 0 | 13 | 0 | 13 | 8 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 470718.83 | 224464.2 | 0 | 30444.97 | 725628 | 0 | 0 | 0 | 0 | 270.4 | 0 | 19.6 | 0 | 0 | 290 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 290 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 470989.23 | 224483.8 | 0 | 30444.97 | 725918 | 0 | 100 | 33.3333 | 0 | 0 | 0 | 0 | 0 | 240655.5567 | 96.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5 - Heating & Motive Power 100 HP & Above | [5 empty] | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 200 | 0 | 200 | 200 | 0 | 200 | 0 | 0 | 7452 | 0 | 7452 | 0 | 7452 | 0 | -3866.5 | 2005.39 | 0 | 1861.11 | 0 | 0 | 0 | 0 | 0 | 95531.86 | 18.42 | 357.57 | 0 | 4091.15 | 99999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95907.85 | 4091.15 | 95550.28 | 357.57 | 0 | 4091.15 | 99999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99999 | 0 | -3866.5 | 2005.39 | 0 | 1861.11 | 0 | 0 | 100 | 100 | 0 | 745200 | 0 | 100 | 100 | 0 | 13.42 | 13.42 | 99999 | 7452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5 - Heating & Motive Power below 100 HP | [5 empty] | 523 | 935 | 1458 | 523 | 0 | 523 | 3 | 511 | 12 | 523 | 13.48 | 11.42 | 24.9 | 6447.7 | 5944.53 | 12392.23 | 153 | 47.54 | 200.54 | 0 | 0 | 237210.9 | 0 | 237210.9 | -1 | 237209.9 | 0 | 7452654.6 | 1043537.55 | 0 | 213235.85 | 8709428 | 0 | 0 | 0 | 0 | 2393655.19 | 47598.54 | 54517.63 | 0 | 130229.02 | 2626000.38 | 0 | 0 | 0 | 0 | 2526.58 | 15.6 | 78.27 | 0 | 0.55 | 2621 | 2493150.91 | 130228.47 | 1282968.52 | 7537.77 | 0 | 69399.61 | 1359905.9 | 10495.38 | 0 | 0 | 10495.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1370401.28 | 0 | 8597902.25 | 1090439.14 | 0 | 274064.71 | 9962406.1 | 0 | 35.8711 | 35.048 | 0.20576 | 46330.2539 | 0 | 18.7296 | 18.5939 | 2359.561 | 137.6588 | 57.1852 | 932.7202 | 162.6961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5A-N(>=67) | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68167.1 | 0 | 0 | -3085.1 | 65082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5A-N(0-5) | [5 empty] | 20 | 8 | 28 | 28 | 0 | 28 | 0 | 18 | 2 | 20 | 8 | 3 | 11 | 43 | 30 | 73 | 0 | 0 | 0 | 0 | 0 | 1874 | 0 | 1874 | 0 | 1874 | 0 | 52010.88 | 3686.76 | 31.8 | 301.56 | 56031 | 0 | 0 | 0 | 0 | 18208.34 | 700 | 145.83 | 1.99 | 1028.84 | 20085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19201.99 | 1030.83 | 13420 | 20.67 | 0.88 | 856.45 | 14298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14298 | 0 | 57508.22 | 3811.92 | 465.02 | 32.84 | 61818 |  | 56.25 | 64.5833 | 0 | 75 | 0 | 39.4973 | 39.4973 | 3.0864 | 9.2187 | 4.2104 | 4.2104 | 84.675 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5A-N(40-67) | [5 empty] | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 65 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 2710.5 | 0 | 2710.5 | 0 | 2710.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26474.48 | 813.15 | 21.98 | 1.33 | 1488.06 | 28799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27332.92 | 1489.39 | 27287.63 | 21.98 | 1.33 | 1488.06 | 28799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28799 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100 | 100 | 0 | 100 | 0 | 100 | 100 | 0 | 10.625 | 10.625 | 10.625 | 2710.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5A-N(5-40) | [5 empty] | 21 | 10 | 31 | 31 | 0 | 31 | 0 | 17 | 4 | 21 | 26 | 0 | 26 | 299 | 136 | 435 | 0 | 0 | 0 | 0 | 0 | 21039.14 | 0 | 21039.14 | -761 | 20278.14 | 0 | 488908.65 | 37071.22 | 209.91 | 4150.89 | 530340.67 | 0 | 0 | 0 | 0 | 216031.51 | 5683.02 | 1658.41 | 61.95 | 11550.49 | 234985.38 | 0 | 0 | 0 | 0 | 18169.71 | 0 | 0 | 0 | 948.67 | 19118.38 | 206923.59 | 10663.77 | 96969.13 | 952.7 | 9.49 | 5712.68 | 103644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65082 | 0 | 0 | 0 | 0 | 0 | 0 | 103644 | 0 | 663715.44 | 37776.93 | 5913.15 | 240.15 | 707645.67 |  | 58.75 | 93.3333 | 0 | 100 | 0 | 29.407 | 29.407 | 5.0733 | 14.9983 | 3.4898 | 3.4898 | 1244.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5B-N(>=67) | [5 empty] | 11 | 1 | 12 | 12 | 0 | 12 | 0 | 9 | 2 | 11 | 57 | 0 | 57 | 1405 | 73 | 1478 | 0 | 0 | 0 | 0 | 0 | 141633.7 | 0 | 141633.7 | 0 | 141633.7 | 0 | 682100.99 | 1686.65 | 89.34 | -38050.38 | 645826.6 | 0 | 0 | 0 | 0 | 1188772.36 | 34963.1 | 4702.29 | 221.35 | 77756.9 | 1306416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1233361.39 | 77978.25 | 1610822.27 | 6669.76 | 310 | 94574.97 | 1712377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1712377 | 0 | 295014.58 | -280.82 | -54868.45 | 0.29 | 239865.6 |  | 66.6667 | 30 | 0 | 33.3333 | 0 | 43.6915 | 43.6915 | 0.060725 | 3.0746 | 4.0301 | 4.0301 | 4721.1233 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5B-N(0-5) | [5 empty] | 593 | 193 | 786 | 786 | 0 | 786 | 0 | 498 | 95 | 593 | 22 | 11 | 33 | 1450 | 440 | 1890 | 0 | 0 | 0 | 0 | 0 | 34130 | 0 | 34130 | -1393 | 32737 | 0 | 2265402.43 | 349515 | -1229.06 | 27979.61 | 2641703.98 | 0 | 0 | 0 | 0 | 402748.08 | 37256.93 | 10879.97 | 206.46 | 18737.79 | 469829.23 | 0 | 500 | 0 | 500 | 14789.13 | 0 | 0 | 0 | 764.76 | 15553.89 | 447682.28 | 18179.49 | 345214 | 7939.36 | 129.05 | 13466.59 | 366767 | 2299.75 | 0 | 0 | 2299.75 | 0 | 0 | 0 | 34692 | 0 | 11072.29 | 1082.09 | 20.54 | 265.08 | 12440 | 356626.75 | 0 | 2389932.08 | 353524.22 | 32204.52 | -1134.25 | 2774544.57 |  | 71.3008 | 85.1885 | 0 | 100 | 0 | 83.2804 | 83.0964 | 5.7197 | 13.2215 | 10.9026 | 10.871 | 64.5875 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5B-N(40-67) | [5 empty] | 63 | 9 | 72 | 72 | 0 | 72 | 0 | 51 | 12 | 63 | 45 | 0 | 45 | 3585 | 554 | 4139 | 0 | 0 | 0 | 0 | 0 | 199566.6 | 17790 | 217356.6 | 0 | 217356.6 | 0 | 1733810.08 | 560062.27 | -2874.05 | 1903.42 | 2292901.72 | 123134 | 0 | 0 | 123134 | 1753795.88 | 39032.52 | 26193.71 | 966.77 | 109562.07 | 1929550.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1969316.59 | 110528.84 | 1870502.72 | 21437.1 | 642.51 | 100623.67 | 1993206 | 17903 | 0 | 0 | 17903 | 0 | 0 | 0 | 0 | 0 | 63605.13 | 287.87 | 0 | 0 | 63893 | 1947216 | 0 | 1830166.89 | 560857.23 | 10292.85 | -2946.3 | 2398370.67 |  | 87.9929 | 84.1667 | 0 | 100 | 0 | 100.1269 | 97.434 | 1.4916 | 10.2343 | 10.2306 | 9.9153 | 3348.939 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5B-N(5-40) | [5 empty] | 429 | 109 | 538 | 538 | 0 | 538 | 1 | 359 | 70 | 429 | 97 | 6 | 103 | 5765 | 1403 | 7168 | 0 | 0 | 0 | 388 | 0 | 219888 | 0 | 220276 | -9101 | 211175 | 0 | 5394349.07 | 591487.58 | 2977.02 | 19406.13 | 6008232.89 | 0 | 0 | 0 | 0 | 2233607.66 | 93810.59 | 40927.28 | 1110.78 | 120931.41 | 2490405.72 | 0 | 0 | 0 | 0 | 130909.7 | 0 | 0 | 0 | 4996.45 | 135906.15 | 2279473.89 | 117063.74 | 2186342.97 | 39768.61 | 728.65 | 103311.08 | 2330169.31 | 15614 | 0 | 0 | 15614 | 992 | 0 | 0 | 0 | 34692 | 0 | 0 | 0 | 0 | 0 | 2345783.31 | 0 | 5355455.7 | 591489.4 | 31025.54 | 3299.42 | 5981265.15 |  | 77.294 | 82.9085 | 0.10288 | 99.9441 | 0.055893 | 105.7559 | 104.5176 | 3.0449 | 14.7441 | 16.9538 | 16.72 | 353.5695 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6 | LT6A-M | [5 empty] | 268 | 1 | 269 | 269 | 0 | 269 | 0 | 264 | 4 | 268 | 258 | 0 | 258 | 3338 | 10 | 3348 | 0 | 0 | 0 | 7033 | 0 | 1333625 | 0 | 1340658 | 0 | 1340658 | 0 | 218854.18 | 708951.06 | -2091563.6 | -2279498.61 | -3443256.97 | 0 | 0 | 0 | 0 | 8452106.81 | 6597 | 149325.75 | 4850.44 | 663626 | 9276506 | 15412 | 35946 | 0 | 51358 | 0 | 0 | 0 | 0 | 0 | 0 | 8813563.75 | 668476.44 | 9307959.73 | 545562.12 | 14008.29 | 663659.86 | 10531190 | 28082 | 0 | 0 | 28082 | 0 | 0 | 0 | 142138 | 11631 | 0 | 0 | 0 | 0 | 0 | 10559272 | 0 | -472488.45 | 312714.69 | -2283662.76 | -2100721.45 | -4544157.97 |  | 99.7642 | 99.0476 | 0 | 99.6219 | 0.37809 | 117.1035 | 117.3374 | -0.62981 | 6.9786 | 8.1977 | 8.1587 | 5085.0877 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6 | LT6A-UM | [5 empty] | 1 | 1 | 2 | 0 | 2 | 2 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -296532.52 | 0 | 0 | 5395.52 | -291137 | 0 | 0 | 0 | 0 | 2700 | 0 | 0 | 0 | 0 | 2700 | 2700 | 0 | 0 | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 5400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -293832.52 | 0 | 5395.52 | 0 | -288437 |  | 50 | 50 | 0 | 0 | 0 | 0 | 0 | -7.6688 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6 | LT6A - Water Supply ( Others ) | [5 empty] | 147 | 126 | 273 | 147 | 0 | 147 | 1 | 111 | 36 | 147 | 1 | 0 | 1 | 1787.95 | 1386.95 | 3174.9 | 403 | 348.12 | 751.12 | 0 | 0 | 92265 | 0 | 92265 | 0 | 92265 | 0 | 52228149.25 | 44552413.04 | 0 | 2335569.71 | 99116132 | 0 | 0 | 0 | 0 | 780001.55 | 33357.08 | 736054.18 | 0 | 45671.19 | 1595084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1549412.81 | 45671.19 | 112031.18 | 465900.69 | 0 | 116730.13 | 694662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 694662 | 0 | 52929476.7 | 44822566.53 | 0 | 2264510.77 | 100016554 | 0 | 53.8462 | 40.6593 | 0.3663 | 83121.6216 | 0 | 25.0253 | 25.0253 | -48466.9704 | 1512.9077 | 647.0626 | 2544.5495 | 337.967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6 | LT6B-M | [5 empty] | 324 | 0 | 324 | 324 | 0 | 324 | 0 | 324 | 0 | 324 | 860 | 0 | 860 | 12 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 387458 | 0 | 387458 | 0 | 387458 | 0 | 844002.69 | 267384.66 | -440219.41 | -485627.66 | 185540.28 | 0 | 0 | 0 | 0 | 2988017.35 | 28080 | 40276.95 | 981.16 | 244098.54 | 3301454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3097632.41 | 245079.7 | 2650655.35 | 37541.86 | 764.17 | 179989.62 | 2868951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2868951 | 0 | 1242047.62 | 269263.85 | -453192.1 | -440076.09 | 618043.28 |  | 100 | 100 | 0 | 100 | 0 | 86.7256 | 86.7256 | 0.26908 | 8.5417 | 7.4077 | 7.4077 | 1361.5736 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6 | LT6B-UM | [5 empty] | 0 | 2 | 2 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -434467 | 0 | 0 | 0 | -434467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -434467 | 0 | 0 | 0 | -434467 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6 | LT6B - Public Lighting (Others) | [5 empty] | 113 | 43 | 156 | 113 | 0 | 113 | 1 | 92 | 21 | 113 | 261.13 | 145.15 | 406.28 | 10 | 0 | 10 | 55.29 | 3.46 | 58.75 | 0 | 0 | 27256 | 0 | 27256 | 0 | 27256 | 0 | 3807286.16 | 11650544.63 | 0 | 418354.21 | 15876185 | 0 | 0 | 0 | 0 | 248514.95 | 6897.8 | 48263.97 | 0 | 17171.28 | 320848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 303676.72 | 17171.28 | 35472.87 | 10.22 | 0 | 2618.91 | 38102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38102 | 0 | 4027226.04 | 11698798.38 | 0 | 432906.58 | 16158931 | 0 | 72.4359 | 58.9744 | 0.64103 | 29626.087 | 0 | 7.1539 | 7.1539 | 26852.7606 | 199.5366 | 2.0933 | 244.2436 | 174.7179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6 | LT6C | [5 empty] | 6 | 0 | 6 | 6 | 0 | 6 | 0 | 5 | 1 | 6 | 131 | 0 | 131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1011 | 0 | 1011 | 0 | 1011 | 0 | 52101.06 | 764.01 | 2.2 | 188.73 | 53056 | 0 | 0 | 0 | 0 | 7509.32 | 0 | 14.2 | 1.01 | 409.47 | 7934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7538.73 | 410.48 | 8649.96 | 43.26 | 3.21 | 434.57 | 9131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9131 | 0 | 51079.09 | 734.95 | 44.96 | 0 | 51859 |  | 100 | 75 | 0 | 75 | 0 | 75.8629 | 75.8629 | 0.18764 | 8.2901 | 5.682 | 5.682 | 234.25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT7 | LT7(A) - Temporary Supply (28 days & above renewal) | [5 empty] | 148 | 691 | 839 | 148 | 0 | 148 | 0 | 128 | 20 | 148 | 181 | 1010.4 | 1191.4 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 1657.8 | 0 | 1657.8 | 0 | 1657.8 | 0 | 27776.38 | 85765.95 | 0 | 12950.67 | 126493 | 0 | 0 | 0 | 0 | 54459.23 | 0 | 323.84 | 0 | 1715.93 | 56499 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54783.07 | 1715.93 | 45180.85 | 137.94 | 0 | 750.52 | 46069.31 | 6930 | 0 | 0 | 6930 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52999.31 | 0 | 30124.76 | 85951.85 | 0 | 13916.08 | 129992.69 | 0 | 17.64 | 15.2563 | 0 | 1295.1562 | 0 | 2267.9435 | 1441.9602 | 232.7334 | 21.528 | 43.0722 | 54.9094 | 1.9759 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT7 | LT7(B) - Power supply on permanent connection Basses (Hoardings & Advertisement boards, etc.,) | [5 empty] | 264 | 453 | 717 | 264 | 0 | 264 | 0 | 107 | 157 | 264 | 409 | 725.05 | 1134.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1538 | 0 | 1538 | 0 | 1538 | 0 | -1097157.58 | 93257.23 | 0 | 9296.35 | -994604 | 0 | 0 | 0 | 0 | 52859.57 | 0 | 4022.56 | 0 | 1591.87 | 58474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56882.13 | 1591.87 | 154978.54 | 1196.08 | 0 | 1748.38 | 157923 | 1405 | 0 | 0 | 1405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 159328 | 0 | -1200681.55 | 96083.71 | 0 | 9139.84 | -1095458 | 0 | 36.8201 | 14.9233 | 0 | 1437.3832 | 0 | 15219.4067 | 15023.4513 | -1600.343 | 39.3804 | 178.8302 | 220.2552 | 2.145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT7 | LT7A | [5 empty] | 188 | 1569 | 1757 | 1756 | 1 | 1757 | 0 | 89 | 99 | 188 | 233 | 1885 | 2118 | 0 | 15 | 15 | 0 | 0 | 0 | 0 | 0 | 3999.2 | 0 | 3999.2 | -25 | 3974.2 | 0 | 539230.25 | 52861.47 | -2983.79 | 29508.17 | 618616.1 | 0 | 0 | 0 | 0 | 74595.35 | 2383.34 | 0 | 0 | 4139.31 | 81118 | 541 | 0 | 0 | 541 | 1304.12 | 0 | 0 | 0 | 25.88 | 1330 | 76215.57 | 4113.43 | 64805.18 | 0 | 0 | 1830.82 | 66636 | 4348.44 | 0 | 16.56 | 4365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71001 | 0 | 547585.64 | 52861.47 | 30480.78 | -2983.79 | 627944.1 |  | 8.1804 | 35.8432 | 0 | 80 | 0 | 70.9213 | 64.556 | 6.8634 | 16.5956 | 14.7538 | 13.3091 | 17.0154 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT7 | LT7A-P | [5 empty] | 547 | 845 | 1392 | 1392 | 0 | 1392 | 0 | 147 | 400 | 547 | 746 | 1282 | 2028 | 1 | 5 | 6 | 0 | 0 | 0 | 0 | 0 | 12604 | 0 | 12604 | -24 | 12580 | 0 | -3910660.49 | -72504.99 | -1255.66 | -26779.95 | -4011201.09 | 0 | 0 | 0 | 0 | 240343.17 | 5873.34 | 479.71 | 0 | 13045.48 | 259741.7 | 79521 | 22215 | 0 | 101736 | 1563.16 | 0 | 0 | 0 | 24.84 | 1588 | 347348.77 | 13020.64 | 212791.01 | 0 | 0 | 1623.99 | 214415 | 44026.89 | 0 | 479.71 | 44506.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 258921.6 | 0 | -3808810.39 | -72504.99 | -27661.95 | -1255.66 | -3910232.99 |  | 39.3858 | 29.1259 | 0 | 100 | 0 | 71.2623 | 85.8394 | -11.6242 | 27.9674 | 19.8049 | 16.9351 | 25.3525 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  |  |  | 0 | 0 | 0 | 0 | 0 | 78621 | 21850 | 100471 | 81401 | 3347 | 84748 | 3433 | 74868 | 3753 | 78621 | 74844.11 | 14652.37 | 89496.48 | 60244.65 | 15176.98 | 75421.63 | 17932.15 | 4239.66 | 22171.81 | 9252 | 3844231.544 | 10374291.07 | 494666.05 | 14722440.664 | -649427 | 14073013.664 | 405775 | 211399025.62 | 83172382.11 | -2235620.79 | 4823728.42 | 297162991.87 | 26045786.02 | 930 | 627.61 | 26047343.63 | 94100809.22 | 1375667.06 | 2057505.21 | 35826.25 | 5750216.82 | 103320042.56 | 138164 | 75928.18 | 14254.44 | 228346.62 | 6016542.17 | 9990.1 | 278.51 | 0 | 86718.59 | 6113529.37 | 118833827.93 | 5713596.92 | 61855678.05 | 1762638.99 | 32022.53 | 3497061.6 | 67147924.19 | 48412661.769 | 22666.44 | 1249555.09 | 49684883.299 | 68126 | 0 | 0 | 597382.35 | 563360.35 | 76723.36 | 1378.69 | 21.01 | 279.94 | 78403 | 116754404.489 | 0 | 217065316.131 | 83379155.4 | -954329.4 | 4363591.2 | 303856684.77 | 0 | 3718.071 | 3580.8948 | 90.1633 | 26100758.5251 | 115235.2438 | 149659.0549 | 147421.1847 | 753528.4654 | 7138.4331 | 21327.9545 | 793537.9121 | 344210.9439 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0