## Sheet2
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS | ENRTYTIME
9 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F09-HOLESIRIGERE | AGRI | 1310301904010105 | 285 | 285 | 0 | 284 | 0 | 612.038 | 638.719 | 20000 | 533620 | 0 | 201000 | 332620 | 0 | 299400 | 299400 | 9.9874 | 1757478 | 1757478 | 0.9 | 1 | 10 |  |  | 2025-04-05 17:50:39
16 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F06-CHOWDESHWARI AGRI | AGRI | 1310301909020204 | 63 | 63 | 0 | 55 | 0 | 162.746 | 172.06 | 20000 | 186280 | 0 | 120000 | 66280 | 459 | 59500 | 59959 | 9.5368 | 353457.09 | 354426.09 | 0.8999 | 1.0027 | 10.04 |  |  | 2025-04-05 17:50:39
32 | DAVANAGERE | HARIHARA | HARIHARA | KURUBARAHALLI_66 | HARIHARA |  | F02-VATAGANAHALLI | AGRI | 1310301903010102 | 184 | 184 | 0 | 184 | 0 | 533.222 | 559.217 | 20000 | 519900 | 0 | 286000 | 233900 | 0 | 211200 | 211200 | 9.705 | 1239744 | 2479488 | 0.8991 | 2 | 20.18 |  |  | 2025-04-05 17:50:39
38 | DAVANAGERE | HARIHARA | HARIHARA | KURUBARAHALLI_66 | HARIHARA |  | F10-KALPATARU NJY | NJY | 1310301903020305 | 1351 | 1351 | 0 | 0 | 0 | 13047.5 | 13210.5 | 1000 | 163000 | 0 | 55000 | 108000 | 103332 | 0 | 103332 | 4.3222 | 1127432.85 | 796893.85 | 0.9969 | 0.7068 | 0.22 |  |  | 2025-04-05 17:50:39
40 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F02-CHOWDESHWARI | AGRI | 1310301905010102 | 299 | 299 | 0 | 191 | 0 | 2347.383 | 2373.215 | 20000 | 516640 | 0 | 253000 | 263640 | 5576.43 | 232400 | 237976.43 | 9.7343 | 1430603.51 | 1436683.51 | 0.9 | 1.0042 | 10.04 |  |  | 2025-04-05 17:50:39
56 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F01-MUGINAGONDI IP | AGRI | 1310301906010101 | 1335 | 1335 | 0 | 1329 | 0 | 531.125 | 557.167 | 20000 | 520840 | 420864 | 0 | 941704 | 228 | 883275.627 | 883503.627 | 6.1803 | 5187156.6 | 5186836.6 | 0.905 | 0.9999 | 9.5 |  |  | 2025-04-05 17:50:39
61 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F10-INDUSRTIAL | INDUSTRIAL | 1310301906020304 | 1268 | 1268 | 0 | 17 | 0 | 327.022 | 336.987 | 20000 | 199300 | 0 | 45000 | 154300 | 131206.7 | 16587.84 | 147794.54 | 4.2161 | 1552862.83 | 1410318.63 | 1.163 | 0.9082 | -14.8 |  |  | 2025-04-05 17:50:39
37 | DAVANAGERE | HARIHARA | HARIHARA | KURUBARAHALLI_66 | HARIHARA |  | F09-KONDAJJI-WATER-WORKS | NJY | 1310301903010104 | 1992 | 1992 | 0 | 0 | 0 | 471.038 | 480.938 | 20000 | 198000 | 0 | 25000 | 173000 | 164570.25 | 0 | 164570.25 | 4.8727 | 1867883.59 | 2355814.59 | 0.9844 | 1.2612 | 1.97 |  |  | 2025-04-05 17:50:39
35 | DAVANAGERE | HARIHARA | HARIHARA | KURUBARAHALLI_66 | HARIHARA |  | F07-KONDAJJI | AGRI | 1310301903020303 | 741 | 741 | 0 | 738 | 1 | 687.6 | 711.925 | 20000 | 486500 | 200000 | 0 | 686500 | 2100 | 619181.262 | 621281.262 | 9.5002 | 3788089.14 | 7238230.187 | 0.905 | 1.9108 | 18.15 |  |  | 2025-04-05 17:50:39
1 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F01-KASHIVISHWANATHA | NJY | 1310301904010101 | 2090 | 2090 | 0 | 9 | 0 | 872.448 | 897.039 | 10000 | 245910 | 0 | 49183 | 196727 | 175521.24 | 8966.4 | 184487.64 | 6.2215 | 1782726.64 | 1078880.526 | 0.9378 | 0.6052 | 3.76 |  |  | 2025-04-05 17:50:39
2 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F02-SHIVANAHALLI | AGRI | 1310301904010102 | 180 | 180 | 0 | 177 | 0 | 353.565 | 366.827 | 20000 | 265240 | 0 | 49965 | 215275 | 55 | 193700 | 193755 | 9.9965 | 1137624.8 | 2274643.8 | 0.9 | 1.9995 | 20 |  |  | 2025-04-05 17:50:39
3 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F03-BELLUDI | AGRI | 1310301904010103 | 316 | 316 | 0 | 304 | 0 | 307.613 | 319.568 | 20000 | 239100 | 0 | 0 | 239100 | 2527 | 213858.774 | 216385.774 | 9.4999 | 1282553.22 | 2525931.606 | 0.905 | 1.9695 | 18.71 |  |  | 2025-04-05 17:50:39
4 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F04-SALAGANAHALLI | AGRI | 1310301904010104 | 425 | 425 | 0 | 424 | 0 | 527.668 | 548.318 | 20000 | 413000 | 0 | 0 | 413000 | 10 | 373755.698 | 373765.698 | 9.4998 | 2194460.51 | 4366926.551 | 0.905 | 1.99 | 18.91 |  |  | 2025-04-05 17:50:39
5 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F05-NJY-ANJANEYA | NJY | 1310301904020301 | 3983 | 3983 | 0 | 1 | 0 | 2458.387 | 2483.585 | 10000 | 251980 | 433808 | 0 | 685788 | 637511 | 896.64 | 638407.64 | 6.9089 | 5893748.86 | 5274049.86 | 0.9309 | 0.8949 | 6.18 |  |  | 2025-04-05 17:50:39
6 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F06-BANUVALLI | AGRI | 1310301904020302 | 350 | 350 | 0 | 341 | 0 | 983.74 | 1010.299 | 20000 | 531180 | 0 | 99495 | 431685 | 517 | 388000 | 388517 | 9.9999 | 2283349.1 | 2278465.1 | 0.9 | 0.9979 | 9.98 |  |  | 2025-04-05 17:50:39
7 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F07-NANDIGAVI-WATER-SUPPLY | WATER WORKS | 1310301904020303 | 267 | 267 | 0 | 19 | 0 | 474.816 | 475.227 | 10000 | 164990 | 0 | 36500 | 128490 | 103995.25 | 17932.8 | 121928.05 | 5.107 | 1105040.14 | 2523579.281 | 0.9489 | 2.2837 | 11.67 |  |  | 2025-04-05 17:50:39
8 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F08-GURURENUKA | AGRI | 1310301904020304 | 550 | 550 | 0 | 549 | 0 | 747.477 | 749.17 | 20000 | 391480 | 0 | 0 | 391480 | 8 | 354280.507 | 354288.507 | 9.5002 | 2062089.91 | 2062413.91 | 0.905 | 1.0002 | 9.5 |  |  | 2025-04-05 17:50:39
10 | DAVANAGERE | HARIHARA | HARIHARA | BANUVALLI_66 | HARIHARA |  | F10-KAMALAPURA | NJY | 1310301904020305 | 5026 | 5026 | 0 | 5 | 0 | 30348.6 | 30775.9 | 1000 | 427300 | 0 | 77316 | 349984 | 320315.5 | 4483.2 | 324798.7 | 7.1961 | 3296461.54 | 3025512.8 | 0.928 | 0.9178 | 6.61 |  |  | 2025-04-05 17:50:39
11 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F01-MYLARALINGESHWARA | NJY | 1310301909010201 | 1008 | 1008 | 0 | 0 | 0 | 24.063 | 34.091 | 20000 | 200560 | 0 | 13915 | 186645 | 171960 | 0 | 171960 | 7.8679 | 1580029.98 | 1495392.98 | 0.9213 | 0.9464 | 7.45 |  |  | 2025-04-05 17:50:39
12 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F02-KADLEGONDI | AGRI | 1310301909010202 | 259 | 259 | 0 | 259 | 0 | 648.117 | 673.778 | 20000 | 513220 | 0 | 190887 | 322333 | 0 | 290100 | 290100 | 9.9999 | 1702887 | 1702887 | 0.9 | 1 | 10 |  |  | 2025-04-05 17:50:39
13 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F03-KARIYAMMA | NJY | 1310301909010203 | 528 | 528 | 0 | 0 | 0 | 135.213 | 138.05 | 20000 | 56740 | 0 | 22338 | 34402 | 31994 | 0 | 31994 | 6.9996 | 357835 | 593899 | 0.93 | 1.6597 | 11.62 |  |  | 2025-04-05 17:50:39
14 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F04-SALAKATTE | AGRI | 1310301909010204 | 394 | 394 | 0 | 391 | 0 | 16.806 | 31.973 | 20000 | 303340 | 175000 | 0 | 478340 | 128 | 432770.42 | 432898.42 | 9.4998 | 2541489.14 | 2541074.14 | 0.905 | 0.9998 | 9.5 |  |  | 2025-04-05 17:50:39
15 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F05-MITLAKATTE INDUSTRIAL | INDUSTRIAL | 1310301909020201 | 480 | 480 | 0 | 1 | 0 | 485.882 | 485.882 | 20000 | 175000 | 3151 | 0 | 178151 | 169733 | 1344.96 | 171077.96 | 3.9702 | 1808477.78 | 2151785.78 | 0.9603 | 1.1898 | 4.72 |  |  | 2025-04-05 17:50:39
17 | DAVANAGERE | HARIHARA | HARIHARA | GUTTUR_66 | HARIHARA |  | F02-DOGGALLI | AGRI | 1310301902010101 | 163 | 163 | 0 | 158 | 0 | 266.832 | 281.187 | 20000 | 287100 | 0 | 83803 | 203297 | 468 | 182500 | 182968 | 9.9997 | 1076318.27 | 2137372.27 | 0.9 | 1.9858 | 19.86 |  |  | 2025-04-05 17:50:39
18 | DAVANAGERE | HARIHARA | HARIHARA | GUTTUR_66 | HARIHARA |  | F11-ANJANEYA | NJY | 1310301902010303 | 612 | 612 | 0 | 6 | 0 | 21.094 | 23.084 | 20000 | 39800 | 7049 | 0 | 46849 | 38962 | 6276.48 | 45238.48 | 3.4377 | 474784.36 | 350604.11 | 0.9656 | 0.7384 | 2.54 |  |  | 2025-04-05 17:50:39
19 | DAVANAGERE | HARIHARA | HARIHARA | GUTTUR_66 | HARIHARA |  | F13-SARATHI | AGRI | 1310301902020501 | 363 | 363 | 0 | 361 | 1 | 2468.02 | 2655.1 | 2000 | 374160 | 67558 | 0 | 441718 | 97 | 399656.971 | 399753.971 | 9.5002 | 2327051.66 | 4671990.106 | 0.905 | 2.0077 | 19.07 |  |  | 2025-04-05 17:50:39
20 | DAVANAGERE | HARIHARA | HARIHARA | GUTTUR_66 | HARIHARA |  | F14-DEETTUR | AGRI | 1310301902020502 | 530 | 530 | 0 | 530 | 0 | 3305.4 | 3527.59 | 2000 | 444380 | 150000 | 0 | 594380 | 0 | 537914.88 | 537914.88 | 9.4998 | 3157559.35 | 6315119.822 | 0.905 | 2 | 19 |  |  | 2025-04-05 17:50:39
21 | DAVANAGERE | HARIHARA | HARIHARA | GUTTUR_66 | HARIHARA |  | F15-KARLAHALLI | NJY | 1310301902020503 | 1571 | 1571 | 0 | 0 | 0 | 294.18 | 399.56 | 2000 | 210760 | 0 | 25000 | 185760 | 176747 | 0 | 176747 | 4.852 | 1794858.63 | 1228518.75 | 0.9515 | 0.6845 | 3.32 |  |  | 2025-04-05 17:50:39
22 | DAVANAGERE | HARIHARA | HARIHARA | GUTTUR_66 | HARIHARA |  | F16-GANGANARASI | AGRI | 1310301902020504 | 568 | 568 | 0 | 566 | 0 | 291.63 | 490.99 | 2000 | 398720 | 150000 | 0 | 548720 | 70 | 496522.603 | 496592.603 | 9.4998 | 2915411.75 | 5829999.437 | 0.905 | 1.9997 | 19 |  |  | 2025-04-05 17:50:39
23 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR_66 | HARIHARA |  | F05-VEERABHADRESHWARA | AGRI | 1310301901020101 | 288 | 288 | 0 | 288 | 0 | 637.773 | 659.703 | 20000 | 438600 | 0 | 83045 | 355555 | 0 | 320000 | 320000 | 9.9999 | 1878400 | 3739190 | 0.9 | 1.9906 | 19.91 |  |  | 2025-04-05 17:50:39
24 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR_66 | HARIHARA |  | F07-BASAVESHWARA | AGRI | 1310301901020102 | 543 | 543 | 0 | 542 | 0 | 602.682 | 626.472 | 20000 | 475800 | 180000 | 0 | 655800 | 87 | 593411.107 | 593498.107 | 9.5001 | 3484023.34 | 6967152.55 | 0.905 | 1.9997 | 19 |  |  | 2025-04-05 17:50:39
25 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR_66 | HARIHARA |  | F08-KIADB-HANAGAVADI | INDUSTRIAL | 1310301901020103 | 113 | 113 | 0 | 3 | 0 | 671.357 | 706.297 | 20000 | 698800 | 0 | 440000 | 258800 | 235895.25 | 2689.92 | 238585.17 | 7.811 | 2738964.43 | 3274200.346 | 0.9219 | 1.1954 | 9.34 |  |  | 2025-04-05 17:50:39
26 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR_66 | HARIHARA |  | F09-KNNL-LIFT-IRRIGATION | LIFT IRRIGATION | 1310301901020104 | 3 | 3 | 0 | 2 | 0 | 357.211 | 357.487 | 30000 | 8280 | 1971 | 0 | 10251 | 7650 | 2241.6 | 9891.6 | 3.506 | 855546.11 | 2285190.801 | 0.9649 | 2.671 | 9.38 |  |  | 2025-04-05 17:50:39
27 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR-HOSPET_66 | HARIHARA |  | F05-HARAGANAHALLI | AGRI | 1310301907020301 | 494 | 494 | 0 | 487 | 0 | 447.539 | 474.427 | 20000 | 537760 | 100000 | 0 | 637760 | 57776 | 519395.89 | 577171.89 | 9.5001 | 3779161.42 | 5944074.503 | 0.905 | 1.5729 | 14.94 |  |  | 2025-04-05 17:50:39
28 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR-HOSPET_66 | HARIHARA |  | F06-W/W-(RAJ) | WATER WORKS | 1310301907020302 | 338 | 338 | 0 | 8 | 0 | 45.826 | 94.962 | 20000 | 982720 | 27032 | 0 | 1009752 | 933040 | 7173.12 | 940213.12 | 6.8867 | 7565377.85 | 7484583.056 | 0.9311 | 0.9893 | 6.82 |  |  | 2025-04-05 17:50:39
29 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR-HOSPET_66 | HARIHARA |  | F07-NANDIGAVI | AGRI | 1310301907020303 | 541 | 541 | 0 | 541 | 0 | 688.944 | 711.598 | 20000 | 548200 | 100000 | 0 | 648200 | 0 | 586622.322 | 586622.322 | 9.4998 | 3443472.21 | 6888746.087 | 0.905 | 2.0005 | 19 |  |  | 2025-04-05 17:50:39
30 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR-HOSPET_66 | HARIHARA |  | F08-RAJANHALLI | AGRI | 1310301907020304 | 249 | 249 | 0 | 244 | 0 | 615.229 | 635.658 | 20000 | 408580 | 0 | 64048 | 344532 | 79 | 310000 | 310079 | 9.9999 | 1820657.43 | 3640165.43 | 0.9 | 1.9994 | 19.99 |  |  | 2025-04-05 17:50:39
31 | DAVANAGERE | HARIHARA | HARIHARA | HARIHAR-HOSPET_66 | HARIHARA |  | F09-BILASANURU NJY | NJY | 1310301907020305 | 1893 | 1893 | 0 | 0 | 0 | 655.086 | 655.086 | 20000 | 205220 | 0 | 22000 | 183220 | 168103 | 0 | 168103 | 8.2507 | 2110263.49 | 2620608.49 | 0.9175 | 1.2418 | 10.24 |  |  | 2025-04-05 17:50:39
33 | DAVANAGERE | HARIHARA | HARIHARA | KURUBARAHALLI_66 | HARIHARA |  | F05-CHIKKABIDARI | AGRI | 1310301903020301 | 497 | 497 | 0 | 495 | 0 | 487.017 | 505.932 | 20000 | 378300 | 200000 | 0 | 578300 | 2788 | 520573.253 | 523361.253 | 9.5 | 3077889.62 | 6088011.972 | 0.905 | 1.978 | 18.79 |  |  | 2025-04-05 17:50:39
34 | DAVANAGERE | HARIHARA | HARIHARA | KURUBARAHALLI_66 | HARIHARA |  | F06-NEW-SARATHI | AGRI | 1310301903020302 | 432 | 432 | 0 | 430 | 0 | 23.355 | 38.997 | 20000 | 312840 | 200000 | 0 | 512840 | 0 | 464120.86 | 464120.86 | 9.4999 | 2724390.56 | 2724390.56 | 0.905 | 1 | 9.5 |  |  | 2025-04-05 17:50:39
36 | DAVANAGERE | HARIHARA | HARIHARA | KURUBARAHALLI_66 | HARIHARA |  | F08-KENCHANAHALLI | AGRI | 1310301903020304 | 429 | 429 | 0 | 429 | 0 | 502.287 | 523.971 | 20000 | 433680 | 100000 | 0 | 533680 | 0 | 482979.99 | 482979.99 | 9.5001 | 2835091.99 | 2835091.99 | 0.905 | 1 | 9.5 |  |  | 2025-04-05 17:50:39
39 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F01-KOKKANUR | AGRI | 1310301905010101 | 422 | 422 | 0 | 418 | 0 | 754.481 | 775.506 | 20000 | 420500 | 70000 | 0 | 490500 | 28 | 443873.672 | 443901.672 | 9.5002 | 2606059.19 | 2606085.19 | 0.905 | 1 | 9.5 |  |  | 2025-04-05 17:50:39
41 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F03-HALIVANA | AGRI | 1310301905010103 | 345 | 345 | 0 | 339 | 1 | 941.917 | 978.865 | 20000 | 738960 | 0 | 321658 | 417302 | 1172 | 374400 | 375572 | 10 | 2186574 | 2391751 | 0.9 | 1.0938 | 10.94 |  |  | 2025-04-05 17:50:39
42 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F04-GOVINAHAL | AGRI | 1310301905010104 | 603 | 603 | 0 | 573 | 0 | 744.91 | 764.871 | 20000 | 399220 | 200000 | 0 | 599220 | 1000 | 541294.941 | 542294.941 | 9.4999 | 3188101.46 | 3189832.46 | 0.905 | 1.0005 | 9.5 |  |  | 2025-04-05 17:50:39
43 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F05-NANDITAVARE | AGRI | 1310301905020301 | 593 | 593 | 0 | 589 | 0 | 1592.58 | 1826.66 | 2000 | 468160 | 200000 | 0 | 668160 | 237 | 604447.562 | 604684.562 | 9.5 | 3552728.5 | 3551436.5 | 0.905 | 0.9996 | 9.5 |  |  | 2025-04-05 17:50:39
44 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F06-BUDIHAL | AGRI | 1310301905020101 | 484 | 484 | 0 | 474 | 0 | 1946.2 | 2152.5 | 2000 | 412600 | 100000 | 0 | 512600 | 114 | 463789.94 | 463903.94 | 9.4998 | 2723857.77 | 3078587.986 | 0.905 | 1.1302 | 10.74 |  |  | 2025-04-05 17:50:39
45 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F07-INDUSTRIAL | INDUSTRIAL | 1310301905020302 | 214 | 214 | 0 | 9 | 0 | 1025.91 | 1108.23 | 2000 | 164640 | 0 | 63172 | 101468 | 87581.7 | 8069.76 | 95651.46 | 5.7324 | 944913.3 | 836705.566 | 0.9427 | 0.8855 | 5.07 |  |  | 2025-04-05 17:50:39
46 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F08-JIGALI | AGRI | 1310301905020303 | 632 | 632 | 0 | 628 | 0 | 1681.09 | 1895.23 | 2000 | 428280 | 200000 | 0 | 628280 | 258 | 568335.829 | 568593.829 | 9.4999 | 3338483.76 | 3481193.514 | 0.905 | 1.0427 | 9.91 |  |  | 2025-04-05 17:50:39
47 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F09-SRI-RANGANATHA--NJY | NJY | 1310301905020304 | 1785 | 1785 | 0 | 7 | 0 | 409.064 | 417.57 | 20000 | 170120 | 0 | 26086 | 144034 | 127544.2 | 7621.44 | 135165.64 | 6.1571 | 1246770.31 | 1086746.31 | 0.9384 | 0.8716 | 5.37 |  |  | 2025-04-05 17:50:39
48 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F10-GUDADAHALLI-NJY | NJY | 1310301905020305 | 2166 | 2166 | 0 | 0 | 0 | 1198.13 | 1232.981 | 10000 | 348510 | 0 | 179697 | 168813 | 156995.85 | 0 | 156995.85 | 7.0001 | 1666010.89 | 1102318.1 | 0.93 | 0.6617 | 4.63 |  |  | 2025-04-05 17:50:39
49 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F11-KUNIBELEKERI-NJY | NJY | 1310301905020306 | 2721 | 2721 | 0 | 1 | 0 | 1204.577 | 1229.619 | 10000 | 250420 | 0 | 45297 | 205123 | 189894.13 | 896.64 | 190790.77 | 6.9871 | 1931246.34 | 1862760.34 | 0.9301 | 0.9645 | 6.74 |  |  | 2025-04-05 17:50:39
50 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F12-HINDASAGATTA NJY | NJY | 1310301905020307 | 2968 | 2968 | 0 | 26 | 0 | 22177.7 | 22513.9 | 1000 | 336200 | 0 | 96345 | 239855 | 203172 | 24567.936 | 227739.936 | 5.051 | 2203787.86 | 2185407.86 | 0.9495 | 0.9917 | 5.01 |  |  | 2025-04-05 17:50:39
51 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F13-MALEBENNURU | NJY | 1310301905020502 | 8259 | 8259 | 0 | 11 | 0 | 9384.78 | 9959.09 | 2000 | 1148620 | 0 | 104094 | 1044526 | 959993.27 | 12552.96 | 972546.23 | 6.8911 | 8749867.94 | 11247899.21 | 0.9311 | 1.2855 | 8.86 |  |  | 2025-04-05 17:50:39
52 | DAVANAGERE | HARIHARA | HARIHARA | MALEBENNUR_66 | HARIHARA |  | F14-KOMARANAHALLI | AGRI | 1310301905020501 | 618 | 618 | 0 | 616 | 0 | 2697.89 | 2966.42 | 2000 | 537060 | 150000 | 0 | 687060 | 154 | 621635.478 | 621789.478 | 9.5 | 3650813.6 | 3649505.6 | 0.905 | 0.9996 | 9.5 |  |  | 2025-04-05 17:50:39
53 | DAVANAGERE | HARIHARA | HARIHARA | NANDAGUDI_66 | HARIHARA |  | F02-NANDIGUDI | AGRI | 1310301906010102 | 232 | 232 | 0 | 227 | 0 | 491.667 | 509.32 | 20000 | 353060 | 0 | 47000 | 306060 | 246 | 275800 | 276046 | 9.8066 | 1621444.38 | 2514047.38 | 0.9 | 1.5505 | 15.51 |  |  | 2025-04-05 17:50:39
54 | DAVANAGERE | HARIHARA | HARIHARA | NANDAGUDI_66 | HARIHARA |  | F03-K.N-HALLI | AGRI | 1310301906010103 | 362 | 362 | 0 | 362 | 0 | 42.16 | 61.09 | 20000 | 378600 | 40000 | 0 | 418600 | 0 | 378832.507 | 378832.507 | 9.5001 | 2223748.17 | 2223748.17 | 0.905 | 1 | 9.5 |  |  | 2025-04-05 17:50:39
55 | DAVANAGERE | HARIHARA | HARIHARA | NANDAGUDI_66 | HARIHARA |  | F07-VASANA | AGRI | 1310301906020302 | 223 | 223 | 0 | 219 | 0 | 498.821 | 517.49 | 20000 | 373380 | 0 | 109964 | 263416 | 267 | 236808 | 237075 | 9.9998 | 1392803.03 | 1401279.03 | 0.9 | 1.0061 | 10.06 |  |  | 2025-04-05 17:50:39
57 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F04-BHAYRANAPADA | AGRI | 1310301906010104 | 461 | 461 | 0 | 460 | 0 | 35.957 | 62.82 | 20000 | 537260 | 35000 | 0 | 572260 | 0 | 517895.449 | 517895.449 | 9.5 | 3040045.33 | 3040045.33 | 0.905 | 1 | 9.5 |  |  | 2025-04-05 17:50:39
58 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F06-HULIGANAHOLE | AGRI | 1310301906020301 | 322 | 322 | 0 | 322 | 0 | 456.459 | 473.021 | 20000 | 331240 | 50000 | 0 | 381240 | 0 | 345021.74 | 345021.74 | 9.5001 | 2025276.76 | 3538779.496 | 0.905 | 1.7473 | 16.6 |  |  | 2025-04-05 17:50:39
59 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F08-MARALAHALLI | AGRI | 1310301906020303 | 261 | 261 | 0 | 259 | 0 | 761.248 | 787.263 | 20000 | 520300 | 0 | 150745 | 369555 | 0 | 332600 | 332600 | 9.9999 | 1952362 | 3890049 | 0.9 | 1.9925 | 19.93 |  |  | 2025-04-05 17:50:39
60 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F09-WATER-SUPPLY | WATER WORKS | 1310301906010105 | 2461 | 2461 | 0 | 21 | 0 | 918.289 | 930.673 | 20000 | 247680 | 0 | 20999 | 226681 | 193854 | 20174.4 | 214028.4 | 5.5817 | 2107018.58 | 3334749.18 | 0.9442 | 1.5827 | 8.83 |  |  | 2025-04-05 17:50:39
62 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F11-MARKANDESWARA | NJY | 1310301906010302 | 1208 | 1208 | 0 | 0 | 0 | 851.412 | 874.082 | 10000 | 226700 | 0 | 59418 | 167282 | 155711 | 0 | 155711 | 6.9171 | 1551896.21 | 1138979.88 | 0.9308 | 0.7339 | 5.08 |  |  | 2025-04-05 17:50:39
63 | DAVANAGERE | HARIHARA | HARIHARA | NANDIGUDI_66 | HARIHARA |  | F12-TUNGA BHDRA | NJY | 1310301906010301 | 1205 | 1205 | 0 | 0 | 0 | 720.72 | 736.441 | 10000 | 157210 | 0 | 94463 | 62747 | 58392 | 0 | 58392 | 6.9406 | 631646.23 | 502427.23 | 0.9306 | 0.7954 | 5.52 |  |  | 2025-04-05 17:50:39
64 | DAVANAGERE | HARIHARA | HARIHARA | TUMMINAKATTE_33 | HARIHARA |  | F02-UKKADAGATRI | AGRI | 1310301908010101 | 365 | 365 | 0 | 361 | 0 | 35.763 | 59.64 | 20000 | 477540 | 0 | 0 | 477540 | 113 | 432060.515 | 432173.515 | 9.5 | 2537683.37 | 5056833.155 | 0.905 | 1.9927 | 18.93 |  |  | 2025-04-05 17:50:39
[19 empty] | 3561433 | 3561433
0
40000