## EnergyAudit
Bangalore Electricity Supply Company (BESCOM)
Assessment of Unmetered Sales For the Month of Feb-2025
Section : CHALLAKERE , Generated on: 05-Apr-2025 19:36:04
Sl No. | Circle Name | Division Name | Sub Division Name | Station Name | Feeder Name | Feeder Type | Trunk Line | Spur Line | Total Length (G + H) | Total DTC | Feeder Code | No. of Inst | No. of Active Inst | No. of Inactive Inst | Peak Load in MW | IR | FR | MC | MCH MC Units | Consumption T=(((P-Q)*R)+S) | Imported Energy | Exported Energy | 11 KV Wheeled Energy in Units | 11KV Open Access Consumption in Units | SRTVP Consumption | Total Consumption of the feeder Z=(T+U-V+Y) | Allowable lossfor Agri P= 9.5 %*Z) | Metered Sales | Net Consumption AC=(Z-AA-AB) | IP Sets | Sanction Load of IP sets in HP | Total HP | Per HP Average of Agri feeders AG =(AC/AE) | considerable Per HP Average of Agri feeders AG =(AC/AE) %
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE | AF | AG | AH
1 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F01-KALLAHALLI | NJY | 0 | 0 | 0 | 0 | 1310402907010100 | 2376 | 1940 | 436 | 0 | 1927.89 | 2084.82 | 2000 | 0 | 313860 | 0 | 150000 | 0 | 0 | 0 | 163860 | 0 | 141999.4 | 21860.6 | 0 | 0 | 1640.914 | 0 | 0
2 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F02-KELAGALAHATTI | AGRI | 0 | 0 | 0 | 0 | 1310402907010100 | 395 | 392 | 3 | 0 | 729.6 | 752.79 | 20000 | 0 | 463800 | 0 | 0 | 0 | 0 | 0 | 463800 | 44061 | 1638 | 418101 | 352 | 2799.5 | 2823.387 | 149.348 | 149.348
38 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F04-HOSAKALLAHALLI | AGRI | 0 | 0 | 0 | 0 | 1310402907010100 | 1693 | 748 | 945 | 0 | 707.652 | 724.834 | 20000 | 0 | 343640 | 0 | 0 | 0 | 0 | 0 | 343640 | 32645.8 | 770 | 310224.2 | 746 | 5939 | 5942.928 | 52.235 | 52.235
19 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F05-RATNAGIRI | AGRI | 0 | 0 | 0 | 0 | 1310402907020300 | 430 | 353 | 77 | 0 | 695.455 | 714.593 | 20000 | 0 | 382760 | 0 | 0 | 0 | 0 | 0 | 382760 | 36362.2 | 992 | 345405.8 | 303 | 1705.5 | 1715.192 | 202.525 | 200
24 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F06-RAAMAJOGIHALLY | AGRI | 0 | 0 | 0 | 0 | 1310402907020300 | 334 | 326 | 8 | 0 | 713.447 | 732.69 | 20000 | 0 | 384860 | 0 | 0 | 0 | 0 | 0 | 384860 | 36561.7 | 451 | 347847.3 | 321 | 1786 | 1811 | 194.763 | 194.763
27 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F07-KURUDIHALLY | AGRI | 0 | 0 | 0 | 0 | 1310402907020300 | 324 | 318 | 6 | 0 | 608.958 | 625.043 | 20000 | 0 | 321700 | 0 | 0 | 0 | 0 | 0 | 321700 | 30561.5 | 728 | 290410.5 | 291 | 1569 | 1645.172 | 185.093 | 185.093
28 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F08-BAALENAHALLY | AGRI | 0 | 0 | 0 | 0 | 1310402907020300 | 504 | 393 | 111 | 0 | 870.119 | 891.666 | 20000 | 0 | 430940 | 0 | 0 | 0 | 0 | 0 | 430940 | 40939.3 | 213 | 389787.7 | 387 | 2090.5 | 2095.433 | 186.457 | 186.457
47 | DAVANAGERE | HIRIYURU | CHALLAKERE | BALENAHALLI_66 | F09-SAPTHAGIRI NJY | NJY | 0 | 0 | 0 | 0 | 1310402907020310 | 1879 | 1508 | 371 | 0 | 392.625 | 392.625 | 20000 | 0 | 0 | 169260 | 0 | 0 | 0 | 0 | 169260 | 0 | 147719.5 | 21540.5 | 0 | 0 | 1659.863 | 0 | 0
7 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F01-PAVAGADAROAD | MIXED LOAD | 0 | 0 | 0 | 0 | 1310402906020300 | 973 | 784 | 189 | 0 | 3672.15 | 3737.98 | 20000 | 0 | 1316600 | 0 | 1000000 | 0 | 0 | 0 | 316600 | 0 | 122165 | 194435 | 102 | 797.5 | 3189.839 | 202.725 | 191.558
8 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F02-BANGALORE ROAD | MIXED LOAD | 0 | 0 | 0 | 0 | 1310402906020100 | 3383 | 2441 | 942 | 0 | 2445.915 | 2504.63 | 20000 | 0 | 1174300 | 12341 | 1010000 | 0 | 0 | 0 | 164300 | 0 | 809341.6 | -645041.6 | 150 | 1124 | 10504.027 | 202.725 | 191.558
12 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F03-DUGGAVARA | AGRI | 0 | 0 | 0 | 0 | 1310402906020300 | 488 | 331 | 157 | 0 | 835.153 | 856.059 | 20000 | 0 | 418120 | 0 | 25000 | 0 | 0 | 0 | 393120 | 37346.4 | 2022 | 353751.6 | 312 | 1759 | 1814.113 | 201.109 | 200
16 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F04-REDDIHALLY | AGRI | 0 | 0 | 0 | 0 | 1310402906020300 | 1061 | 920 | 141 | 0 | 819.866 | 841.013 | 20000 | 0 | 422940 | 650000 | 0 | 0 | 0 | 0 | 1072940 | 101929.3 | 1107 | 969903.7 | 912 | 4919.9 | 4946.262 | 197.139 | 197.139
20 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F05-SIDDAPURA | AGRI | 0 | 0 | 0 | 0 | 1310402906020300 | 626 | 530 | 96 | 0 | 956.959 | 974.371 | 20000 | 0 | 348240 | 200000 | 0 | 0 | 0 | 0 | 548240 | 52082.8 | 2772 | 493385.2 | 457 | 2525.5 | 2571.916 | 195.361 | 195.361
23 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F06-NANNIVALA | AGRI | 0 | 0 | 0 | 0 | 1310402906020310 | 880 | 776 | 104 | 0 | 1179.699 | 1212.846 | 20000 | 0 | 662940 | 240000 | 0 | 0 | 0 | 0 | 902940 | 85779.3 | 1839 | 815321.7 | 748 | 4133.5 | 4146.315 | 197.247 | 197.247
29 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F08-BELLARY ROAD | MIXED LOAD | 0 | 0 | 0 | 0 | 1310402906010100 | 1949 | 1437 | 512 | 0 | 2379.96 | 2430.956 | 20000 | 0 | 1019920 | 0 | 550000 | 0 | 0 | 0 | 469920 | 0 | 307587.05 | 162332.95 | 174 | 1348.5 | 5208.388 | 202.725 | 191.558
44 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F11-VEERADIMMANAHALLY NJY | NJY | 0 | 0 | 0 | 0 | 1310402906020100 | 1904 | 1382 | 522 | 0 | 1313.647 | 1348.386 | 10000 | 0 | 347390 | 0 | 10000 | 0 | 0 | 0 | 337390 | 0 | 293477.7 | 43912.3 | 0 | 0 | 3148.742 | 0 | 0
61 | DAVANAGERE | HIRIYURU | CHALLAKERE | CHALLAKERE_66 | F12-WATER SUPPLY (KUW) | WATER WORKS | 0 | 0 | 0 | 0 | 1310402906010110 | 2 | 2 | 0 | 0 | 353.46 | 358.426 | 10000 | 0 | 49660 | 0 | 0 | 0 | 0 | 0 | 49660 | 0 | 103350 | -53690 | 0 | 0 | 740.319 | 0 | 0
3 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F01-DEVARAMARIKUNTTE | AGRI | 0 | 0 | 0 | 0 | 1310402905010100 | 628 | 458 | 170 | 0 | 872.87 | 894.84 | 20000 | 0 | 439400 | 0 | 0 | 0 | 0 | 0 | 439400 | 41743 | 1908 | 395749 | 366 | 2041.4 | 2088.419 | 193.862 | 193.862
10 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F02-DODDERI | AGRI | 0 | 0 | 0 | 0 | 1310402905010100 | 487 | 479 | 8 | 0 | 743.762 | 766.129 | 20000 | 0 | 447340 | 120000 | 0 | 0 | 0 | 0 | 567340 | 53897.3 | 221 | 513221.7 | 465 | 2555.5 | 2557.698 | 200.83 | 200
11 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F03-MEERASABHIHALLY | AGRI | 0 | 0 | 0 | 0 | 1310402905010100 | 179 | 178 | 1 | 0 | 1771.7 | 1774.1 | 20000 | 0 | 48000 | 160000 | 0 | 0 | 0 | 0 | 208000 | 19760 | 6 | 188234 | 175 | 947.5 | 963.5 | 198.664 | 198.664
15 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F04-KARIKERE | AGRI | 0 | 0 | 0 | 0 | 1310402905010100 | 280 | 278 | 2 | 0 | 531.22 | 547.76 | 20000 | 0 | 330800 | 0 | 0 | 0 | 0 | 0 | 330800 | 31426 | 0 | 299374 | 278 | 1544.9 | 1544.9 | 193.782 | 193.782
39 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F05- PURLAHALLY NJY | NJY | 0 | 0 | 0 | 0 | 1310402905010110 | 1999 | 1744 | 255 | 0 | 617.143 | 624.954 | 10000 | 0 | 78110 | 32000 | 0 | 0 | 0 | 0 | 110110 | 0 | 96583 | 13527 | 0 | 0 | 727.653 | 0 | 0
40 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F06-JAJUR NJY | NJY | 0 | 0 | 0 | 0 | 1310402905010110 | 3085 | 2634 | 451 | 0 | 1207.027 | 1231.597 | 10000 | 0 | 245700 | 0 | 40000 | 0 | 0 | 0 | 205700 | 0 | 176411 | 29289 | 0 | 0 | 1307.688 | 0 | 0
45 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F07-BHARAMASAGARA NJY | NJY | 0 | 0 | 0 | 0 | 1310402905010110 | 3101 | 2488 | 613 | 0 | 17287 | 17543.6 | 1000 | 0 | 256600 | 0 | 100000 | 0 | 0 | 0 | 156600 | 0 | 136463.8 | 20136.2 | 0 | 0 | 1555.684 | 0 | 0
46 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F08-RANIKERE NJY | NJY | 0 | 0 | 0 | 0 | 1310402905010110 | 1096 | 781 | 315 | 0 | 6463.2 | 6529.2 | 1000 | 0 | 66000 | 0 | 0 | 0 | 0 | 0 | 66000 | 0 | 56782 | 9218 | 0 | 0 | 490.899 | 0 | 0
52 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F09-SURANAHALLI | AGRI | 0 | 0 | 0 | 0 | 1310402905020300 | 796 | 639 | 157 | 0 | 11385.5 | 11631 | 2000 | 0 | 491000 | 250000 | 0 | 0 | 0 | 0 | 741000 | 70395 | 6772 | 663833 | 616 | 3355.5 | 3382.265 | 197.834 | 197.834
51 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F10-VADERAHALLI | AGRI | 0 | 0 | 0 | 0 | 1310402905020300 | 473 | 456 | 17 | 0 | 11215.7 | 11456.4 | 2000 | 0 | 481400 | 0 | 0 | 0 | 0 | 0 | 481400 | 45733 | 416 | 435251 | 437 | 2354 | 2357.753 | 184.898 | 184.898
62 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F11-CHANNAMMANAGATHI HALLI | AGRI | 0 | 0 | 0 | 0 | 1310402905020300 | 290 | 286 | 4 | 0 | 7005.5 | 7190.7 | 2000 | 0 | 370400 | 0 | 0 | 0 | 0 | 0 | 370400 | 35188 | 0 | 335212 | 286 | 1582.5 | 1582.5 | 211.824 | 200
53 | DAVANAGERE | HIRIYURU | CHALLAKERE | DYAVARANAHALLI_66 | F12-MATSAMUDRA | AGRI | 0 | 0 | 0 | 0 | 1310402905020300 | 206 | 190 | 16 | 0 | 9647.9 | 9859.4 | 2000 | 0 | 423000 | 0 | 200000 | 0 | 0 | 0 | 223000 | 21185 | 0 | 201815 | 190 | 1039 | 1039 | 194.24 | 194.24
5 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F01-GORALATTU | AGRI | 0 | 0 | 0 | 0 | 1310402904010100 | 529 | 470 | 59 | 0 | 660.076 | 686.26 | 20000 | 0 | 523680 | 0 | 0 | 0 | 0 | 0 | 523680 | 49749.6 | 939 | 472991.4 | 443 | 2481.5 | 2491.788 | 190.607 | 190.607
31 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F02-BURUDUKUNTE | AGRI | 0 | 0 | 0 | 0 | 1310402904010100 | 275 | 261 | 14 | 0 | 670.157 | 696.964 | 20000 | 0 | 536140 | 0 | 0 | 0 | 0 | 0 | 536140 | 50933.3 | 0 | 485206.7 | 259 | 2190.5 | 2200.5 | 221.505 | 200
32 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F03-KALAMARANAHALLI | AGRI | 0 | 0 | 0 | 0 | 1310402904010100 | 152 | 151 | 1 | 0 | 463.397 | 490.526 | 20000 | 0 | 542580 | 0 | 350000 | 0 | 0 | 0 | 192580 | 18295.1 | 0 | 174284.9 | 151 | 833 | 833 | 209.226 | 200
14 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F04-BELAGERE | AGRI | 0 | 0 | 0 | 0 | 1310402904010100 | 252 | 251 | 1 | 0 | 477.427 | 491.004 | 20000 | 0 | 271540 | 0 | 0 | 0 | 0 | 0 | 271540 | 25796.3 | 2 | 245741.7 | 250 | 1381 | 1383 | 177.945 | 177.945
37 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F05-SIDDESHWARA-NJY | NJY | 0 | 0 | 0 | 0 | 1310402904010110 | 1678 | 1550 | 128 | 0 | 221.327 | 227.543 | 20000 | 0 | 124320 | 6000 | 0 | 0 | 0 | 0 | 130320 | 0 | 116792.4 | 13527.6 | 0 | 0 | 968.479 | 0 | 0
65 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F07-NARAYANAPURA | AGRI | 0 | 0 | 0 | 0 | 1310402904020300 | 422 | 381 | 41 | 0 | 2586.4 | 2767.3 | 2000 | 0 | 361800 | 90000 | 0 | 0 | 0 | 0 | 451800 | 42921 | 1 | 408878 | 379 | 1995.5 | 2000.822 | 204.9 | 200
64 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F09-SIRADARAKAPLE | AGRI | 0 | 0 | 0 | 0 | 1310402904020300 | 285 | 120 | 165 | 0 | 5315.6 | 5619.5 | 2000 | 0 | 607800 | 0 | 350000 | 0 | 0 | 0 | 257800 | 24491 | 0 | 233309 | 120 | 702 | 702 | 332.349 | 200
66 | DAVANAGERE | HIRIYURU | CHALLAKERE | KALAMARANAHALLI_66 | F11-PUMP HOUSE (MI&GWD) | WATER WORKS | 0 | 0 | 0 | 0 | 1310402904020300 | 1 | 1 | 0 | 0 | 875.81 | 878.8 | 2000 | 0 | 5980 | 0 | 0 | 0 | 0 | 0 | 5980 | 0 | 5887.5 | 92.5 | 0 | 0 | 2847.38 | 0 | 0
4 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F01-T.N.KOTE | AGRI | 0 | 0 | 0 | 0 | 1310402902010100 | 619 | 559 | 60 | 0 | 530.336 | 547.541 | 40000 | 0 | 688200 | 0 | 0 | 0 | 0 | 0 | 688200 | 65379 | 15 | 622806 | 558 | 3359.5 | 3360.84 | 185.387 | 185.387
34 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F02-GOSIKERE | AGRI | 0 | 0 | 0 | 0 | 1310402902010100 | 792 | 639 | 153 | 0 | 560.02 | 576.655 | 40000 | 0 | 665400 | 60000 | 0 | 0 | 0 | 0 | 725400 | 68913 | 3985 | 652502 | 570 | 3415 | 3458.787 | 191.069 | 191.069
13 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F03-DODDACHELLURU | AGRI | 0 | 0 | 0 | 0 | 1310402902010100 | 796 | 742 | 54 | 0 | 661.235 | 680.021 | 40000 | 0 | 751440 | 200000 | 0 | 0 | 0 | 0 | 951440 | 90386.8 | 164 | 860889.2 | 736 | 4290 | 4296.448 | 200.673 | 200
33 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F04-MAHADEVPURA | AGRI | 0 | 0 | 0 | 0 | 1310402902020300 | 915 | 579 | 336 | 0 | 1047.459 | 1087.777 | 20000 | 0 | 806360 | 0 | 0 | 0 | 0 | 0 | 806360 | 76604.2 | 5429 | 724326.8 | 560 | 3520.21 | 3571.223 | 205.762 | 200
18 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F05-P.R.PURATOWN | MIXED LOAD | 0 | 0 | 0 | 0 | 1310402902020100 | 3864 | 3039 | 825 | 0 | 108.736 | 121.86 | 20000 | 0 | 262480 | 0 | 0 | 0 | 0 | 0 | 262480 | 0 | 160855.15 | 101624.85 | 52 | 305 | 2996.908 | 202.725 | 191.558
22 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F06-KYADIGUNTE | AGRI | 0 | 0 | 0 | 0 | 1310402902010100 | 526 | 484 | 42 | 0 | 7254 | 7520.1 | 2000 | 0 | 532200 | 0 | 0 | 0 | 0 | 0 | 532200 | 50559 | 746 | 480895 | 448 | 2658.5 | 2684.65 | 180.89 | 180.89
26 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F07-JAJUR | AGRI | 0 | 0 | 0 | 0 | 1310402902020300 | 500 | 486 | 14 | 0 | 794.755 | 816.769 | 20000 | 0 | 440280 | 380000 | 0 | 0 | 0 | 0 | 820280 | 77926.6 | 9 | 742344.4 | 484 | 3725.5 | 3731.822 | 199.26 | 199.26
30 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F08-KORLAKUNTE | AGRI | 0 | 0 | 0 | 0 | 1310402902020300 | 834 | 435 | 399 | 0 | 807.332 | 807.332 | 20000 | 0 | 0 | 527329 | 0 | 0 | 0 | 0 | 527329 | 50096.255 | 1057 | 476175.745 | 379 | 2310 | 2322.976 | 206.137 | 200
42 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F09-SIDDESWARADURGA NJY | NJY | 0 | 0 | 0 | 0 | 1310402902010110 | 3836 | 2857 | 979 | 0 | 525.514 | 538.223 | 20000 | 0 | 254180 | 15000 | 0 | 0 | 0 | 0 | 269180 | 0 | 236278.5 | 32901.5 | 0 | 0 | 3240.34 | 0 | 0
43 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F10-D.B.HALLI NJY | NJY | 0 | 0 | 0 | 0 | 1310402902010110 | 3534 | 3106 | 428 | 0 | 1245.658 | 1276.795 | 10000 | 0 | 311370 | 0 | 95000 | 0 | 0 | 0 | 216370 | 0 | 190325 | 26045 | 0 | 0 | 1850.6 | 0 | 0
60 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F12-CHOWLURU | AGRI | 0 | 0 | 0 | 0 | 1310402902010110 | 439 | 321 | 118 | 0 | 5461.6 | 5656 | 2000 | 0 | 388800 | 50000 | 0 | 0 | 0 | 0 | 438800 | 41686 | 172 | 396942 | 303 | 1966.5 | 1980.216 | 201.852 | 200
59 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F13-C.B.HALLI | AGRI | 0 | 0 | 0 | 0 | 1310402902010110 | 350 | 349 | 1 | 0 | 7061.3 | 7351.9 | 2000 | 0 | 581200 | 0 | 130000 | 0 | 0 | 0 | 451200 | 42864 | 0 | 408336 | 349 | 2118 | 2118 | 192.793 | 192.793
58 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F14-P.GOWRIPURA | AGRI | 0 | 0 | 0 | 0 | 1310402902020310 | 480 | 304 | 176 | 0 | 7022 | 7300.2 | 2000 | 0 | 556400 | 0 | 200000 | 0 | 0 | 0 | 356400 | 33858 | 3365 | 319177 | 192 | 1466.5 | 1505.213 | 217.645 | 200
55 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F15-HULLIKATTE NJY | NJY | 0 | 0 | 0 | 0 | 1310402902020300 | 4411 | 3717 | 694 | 0 | 10211.1 | 10380.2 | 2000 | 0 | 338200 | 0 | 125000 | 0 | 0 | 0 | 213200 | 0 | 186752.1 | 26447.9 | 0 | 0 | 1751.691 | 0 | 0
57 | DAVANAGERE | HIRIYURU | CHALLAKERE | PRPURA_66 | F16-PAGADALABANDE | AGRI | 0 | 0 | 0 | 0 | 1310402902020310 | 408 | 140 | 268 | 0 | 963.904 | 988.956 | 20000 | 0 | 501040 | 0 | 300000 | 0 | 0 | 0 | 201040 | 19098.8 | 943 | 180998.2 | 117 | 911 | 921.255 | 198.681 | 198.681
6 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F01-HULIKUNTE | AGRI | 0 | 0 | 0 | 0 | 1310402903020300 | 467 | 427 | 40 | 0 | 1014.712 | 1038.531 | 20000 | 0 | 476380 | 50000 | 0 | 0 | 0 | 0 | 526380 | 50006.1 | 43 | 476330.9 | 425 | 2288 | 2317.34 | 208.187 | 200
9 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F02-KAMMATHMARIKUNTE | AGRI | 0 | 0 | 0 | 0 | 1310402903010100 | 263 | 262 | 1 | 0 | 827.56 | 849.143 | 20000 | 0 | 431660 | 0 | 120000 | 0 | 0 | 0 | 311660 | 29607.7 | 0 | 282052.3 | 262 | 1393 | 1393 | 202.478 | 200
36 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F03-CHIKKANAHALLY | AGRI | 0 | 0 | 0 | 0 | 1310402903010100 | 397 | 388 | 9 | 0 | 910.902 | 936.718 | 20000 | 0 | 516320 | 0 | 50000 | 0 | 0 | 0 | 466320 | 44300.4 | 0 | 422019.6 | 388 | 2092 | 2092 | 201.73 | 200
17 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F04-SANIKERE | AGRI | 0 | 0 | 0 | 0 | 1310402903010100 | 468 | 460 | 8 | 0 | 803.971 | 825.752 | 20000 | 0 | 435620 | 140000 | 0 | 0 | 0 | 0 | 575620 | 54683.9 | 0 | 520936.1 | 460 | 2650 | 2650 | 196.58 | 196.58
35 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F05-SONDEKERE | AGRI | 0 | 0 | 0 | 0 | 1310402903010100 | 216 | 216 | 0 | 0 | 665.541 | 689.626 | 20000 | 0 | 481700 | 0 | 0 | 0 | 0 | 0 | 481700 | 45761.5 | 0 | 435938.5 | 216 | 1898 | 1898 | 229.683 | 200
21 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F06-HEGGERE | AGRI | 0 | 0 | 0 | 0 | 1310402903020300 | 264 | 263 | 1 | 0 | 657.217 | 678.308 | 20000 | 0 | 421820 | 0 | 140000 | 0 | 0 | 0 | 281820 | 26772.9 | 0 | 255047.1 | 263 | 1362 | 1362 | 187.259 | 187.259
25 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F07-GOPANAHALLY | AGRI | 0 | 0 | 0 | 0 | 1310402903020300 | 217 | 160 | 57 | 0 | 563.084 | 586.149 | 20000 | 0 | 461300 | 0 | 270000 | 0 | 0 | 0 | 191300 | 18173.5 | 0 | 173126.5 | 160 | 869.5 | 869.5 | 199.11 | 199.11
41 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F09-BHAGAVANTHA NJY | NJY | 0 | 0 | 0 | 0 | 1310402903020300 | 1913 | 1788 | 125 | 0 | 1319.623 | 1352.139 | 2000 | 0 | 65032 | 100000 | 0 | 0 | 0 | 0 | 165032 | 0 | 144334.8 | 20697.2 | 0 | 0 | 1165.984 | 0 | 0
48 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F10-KAPARAHALLY NJY | NJY | 0 | 0 | 0 | 0 | 1310402903020310 | 1388 | 1313 | 75 | 0 | 7991.3 | 8103.4 | 1000 | 0 | 112100 | 8000 | 0 | 0 | 0 | 0 | 120100 | 0 | 104260 | 15840 | 0 | 0 | 767.357 | 0 | 0
56 | DAVANAGERE | HIRIYURU | CHALLAKERE | SANIKERE_66 | F12-UJJANI NJY | NJY | 0 | 0 | 0 | 0 | 1310402903020310 | 2135 | 2001 | 134 | 0 | 3789.4 | 3876.2 | 10000 | 0 | 868000 | 0 | 540000 | 0 | 0 | 0 | 328000 | 0 | 290387.8 | 37612.2 | 0 | 0 | 2542.453 | 0 | 0
50 | DAVANAGERE | HIRIYURU | CHALLAKERE | VISHWESHWARAPURA_66 | F01-V V PURA | AGRI | 0 | 0 | 0 | 0 | 1310402909010100 | 286 | 215 | 71 | 0 | 9494.9 | 9766.1 | 2000 | 0 | 542400 | 0 | 250000 | 0 | 0 | 0 | 292400 | 27778 | 124 | 264498 | 212 | 1178.5 | 1181.181 | 224.436 | 200
49 | DAVANAGERE | HIRIYURU | CHALLAKERE | VISHWESHWARAPURA_66 | F02-RANGAVANAHALLY NJY | NJY | 0 | 0 | 0 | 0 | 1310402909010100 | 1851 | 1557 | 294 | 0 | 3480.1 | 3547.9 | 2000 | 0 | 135600 | 0 | 0 | 0 | 0 | 0 | 135600 | 0 | 117898 | 17702 | 0 | 0 | 969.651 | 0 | 0
63 | DAVANAGERE | HIRIYURU | CHALLAKERE | VISHWESHWARAPURA_66 | F03-GOWDRAHATTI | AGRI | 0 | 0 | 0 | 0 | 1310402909010100 | 622 | 480 | 142 | 0 | 8232.1 | 8457.2 | 2000 | 0 | 450200 | 106000 | 0 | 0 | 0 | 0 | 556200 | 52839 | 0 | 503361 | 478 | 2522 | 2529 | 199.588 | 199.588
54 | DAVANAGERE | HIRIYURU | CHALLAKERE | VISHWESHWARAPURA_66 | F04-CHIKKA ULLARTHI | AGRI | 0 | 0 | 0 | 0 | 1310402909010100 | 133 | 126 | 7 | 0 | 4712.8 | 4933.1 | 2000 | 0 | 440600 | 0 | 106000 | 0 | 0 | 0 | 334600 | 31787 | 14 | 302799 | 125 | 721.5 | 722.84 | 419.68 | 200