## Annexure I
IR Reading As on 07.05.2025
Sl No | Division | Sub Division | RR No | Consumer Name | Section | Connection ID | Billing Type (Gross/Net) | Tariff | Sanctioned Load in kwh/hp | Solar Installed In KWP | Generated Units | Energy Exported | Energy Imported | Input Energy | Installed Capacity | Meter Sl No | Import Reading |  | Export Reading |  | Generation Meter
[17 empty] | IR | Meter Constant | IR | Meter Constant | Meter Sl No | IR | Meter Constant
1 | Nelamangala | Dabaspete | DPL15040 | M/s Kurlon Enterprises | Dabaspete | 5830626 | Net Metering | LT1-Rural | 2 kwh | 0 | 0 | 0 | 0 | 0 | 2.16 kwp | JA96887 | 0.02 | 1 | 0 | 1 | 69958265 | 1365.5 | 1
2 | Nelamangala | Dabaspete | TP529 | M/s Indian Oil Corporation | Dabaspete | 1912966 | Net Metering | LT3A-Rural | 10 kwh | 0 | 0 | 0 | 0 | 0 | 9.44 kwp | 530375 | 1.5 | 1 | 1.2 | 1 | 938647 | 17953.9 | 1
Note : 1) RR No details submitted in Annexure I() should tally to the figures submitted in Annexure II
Note : 2) Sub Tariff details are not required
Note : 3) Separate Sheet Shall Be submitted for each Division