## Sheet1
|  |  |  | EXISTING SERIAL NO | TO BE UPDATE SERIAL NO
Sl No. | Meter Manufacturer Name | Model No. | Firmware | Meter Serial No. | UP DATE | DLMS | Manufacture Date | Batch No. | Meter Constant | Current kWh | Meter Phase | No Of Revolution Pulse | Voltage | Current Rating Amps | Meter Accuracy | Location Name | Allocation Status | Status
1 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001055 | 01001055 | DLMS | 04-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
2 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001053 | 01001053 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
3 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001052 | 01001052 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
4 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001051 | 01001051 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
5 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001056 | 01001056 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
6 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001059 | 01001059 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
7 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001095 | 01001095 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
8 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001094 | 01001094 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
9 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001093 | 01001093 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
10 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001092 | 01001092 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
11 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001091 | 01001091 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
12 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001100 | 01001100 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
13 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001099 | 01001099 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
14 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001098 | 01001098 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
15 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001097 | 01001097 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
16 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001096 | 01001096 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
17 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001088 | 01001088 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Allocated | ON
18 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001707 | 01001707 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON
19 | DEVSYS EMBEDDED TECHNOLOGY PVT LTD | IDSM1P | 0.1.2 | 1001706 | 01001706 | DLMS | 03-09-2025 | 2 | 1 | 1.000 | SINGLE PHASE | 3200 | 240 | 10.60 | 1 | SIDDALINGAPURA | Not allocated | ON