## feb
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report
Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025
| Generated By: | N S INDIRA
| Generated On: | 05-04-2025 10:45:48
[8 empty] | Sub-Division: | HARAPANAHALLI
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS
1 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F03-MUTTIGI | NJY | 1310303906010103 | 3765 | 3765 | 0 | 0 | 0 | 693.14 | 708.17 | 20000 | 300600 | 0 | 80000 | 220600 | 201891.45 | 0 | 201891.45 | 8.48 | 2240619.45 | 1724213.37 | 0.9152 | 0.7695 | 6.53
2 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F04-BADA | AGRI | 1310303906010104 | 476 | 476 | 0 | 475 | 0 | 424.91 | 453.09 | 20000 | 563600 | 20000 | 0 | 583600 | 110 | 528047.343 | 528157.343 | 9.5 | 3075477.1 | 4355838.176 | 0.905 | 1.4163 | 13.45
3 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F05-CHIGATERI | AGRI | 1310303906010105 | 447 | 447 | 0 | 447 | 0 | 432.96 | 458.53 | 20000 | 511400 | 0 | 80000 | 431400 | 0 | 390416.541 | 390416.541 | 9.5 | 2272224.07 | 4569615.087 | 0.905 | 2.0111 | 19.11
4 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F10-KUMARNAHALLI | AGRI | 1310303907020303 | 637 | 637 | 0 | 634 | 0 | 475.71 | 491.5 | 20000 | 315800 | 450000 | 0 | 765800 | 115 | 692933.73 | 693048.73 | 9.5 | 4034049.07 | 5945450.695 | 0.905 | 1.4738 | 14
5 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F05-HOSAKOTI | AGRI | 1310303903010104 | 739 | 739 | 0 | 738 | 0 | 913.754 | 942.997 | 20000 | 584860 | 0 | 0 | 584860 | 1210 | 528088.574 | 529298.574 | 9.5 | 3085299.56 | 6250947.978 | 0.905 | 2.026 | 19.25
6 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F08-KAVALAHALLI | NJY | 1310303903020304 | 4575 | 4575 | 0 | 1 | 0 | 1036.263 | 1073.449 | 20000 | 743720 | 0 | 415000 | 328720 | 303744.5 | 1459.808 | 305204.308 | 7.15 | 3255654.74 | 2106479.795 | 0.9285 | 0.647 | 4.63
7 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F09-BAGALI | AGRI | 1310303907020302 | 798 | 798 | 0 | 798 | 0 | 605.47 | 649.003 | 20000 | 870660 | 75000 | 0 | 945660 | 0 | 855823.057 | 855823.057 | 9.5 | 4980889.03 | 10063112.678 | 0.905 | 2.0203 | 19.19
8 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F09-ADAVIMALLAPURA | AGRI | 1310303903020101 | 540 | 540 | 0 | 540 | 0 | 876.252 | 909.321 | 20000 | 661380 | 0 | 15000 | 646380 | 0 | 584975.395 | 584975.395 | 9.5 | 3404555.79 | 6893045.649 | 0.905 | 2.0247 | 19.23
9 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F13-THALAVAGALU NJY | NJY | 1310303905030502 | 3076 | 3076 | 0 | 0 | 0 | 1023.26 | 1065.169 | 20000 | 838180 | 0 | 620000 | 218180 | 197041 | 0 | 197041 | 9.69 | 2047246.6 | 1297233.07 | 0.9031 | 0.6336 | 6.14
10 | TUMKUR | MADHUGIRI | MADHUGIRI | MADHUGIRI_220 | MADHUGIRI |  | F04-BALENAHALLI | AGRI | 1320301904020301 | 107 | 107 | 0 | 102 | 0 | 587.375 | 595.741 | 40000 | 334640 | 0 | 110000 | 224640 | 357 | 193400 | 193757 | 13.75 | 1130488.62 | 2020258.912 | 0.8625 | 1.7871 | 24.57
11 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F02-NEELAVANJI | AGRI | 1310303906010102 | 375 | 375 | 0 | 373 | 0 | 375.41 | 402.49 | 20000 | 541600 | 0 | 65000 | 476600 | 87 | 430800 | 430887 | 9.59 | 2508433.05 | 3559034.476 | 0.9041 | 1.4188 | 13.61
12 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F03-GOWRIHALLI | AGRI | 1310303907010103 | 358 | 358 | 0 | 354 | 0 | 455.38 | 486.11 | 20000 | 614600 | 113000 | 0 | 727600 | 4459 | 521200 | 525659 | 27.75 | 3070428.67 | 6124468.913 | 0.7225 | 1.9947 | 55.35
13 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F03-KYAKETTE | AGRI | 1310303903010103 | 442 | 442 | 0 | 441 | 0 | 706.305 | 735.65 | 20000 | 586900 | 0 | 45000 | 541900 | 9 | 488300 | 488309 | 9.89 | 2842121.67 | 5706179.209 | 0.9011 | 2.0077 | 19.86
14 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F01-SASVIHALLI | AGRI | 1310303906010101 | 364 | 364 | 0 | 364 | 0 | 375.739 | 396.807 | 20000 | 421360 | 25000 | 0 | 446360 | 0 | 403955.963 | 403955.963 | 9.5 | 2351023.42 | 3343673.426 | 0.905 | 1.4222 | 13.51
15 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F02-HULIKATTE NJY | NJY | 1310303907010505 | 2852 | 2852 | 0 | 0 | 0 | 622.861 | 670.026 | 20000 | 943300 | 0 | 732000 | 211300 | 190797.5 | 0 | 190797.5 | 9.7 | 2208037.05 | 1220220.31 | 0.903 | 0.5526 | 5.36
16 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F12-KHANAHALLI | AGRI | 1310303907020305 | 384 | 384 | 0 | 382 | 0 | 425.728 | 464.946 | 20000 | 784360 | 0 | 200000 | 584360 | 20 | 528826.933 | 528846.933 | 9.5 | 3078809.62 | 4385131.272 | 0.905 | 1.4243 | 13.53
17 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F08-BENNIHALLI NJY | NJY | 1310303906020302 | 1900 | 1900 | 0 | 0 | 0 | 264.13 | 272.03 | 20000 | 158000 | 0 | 33000 | 125000 | 114967.8 | 0 | 114967.8 | 8.03 | 1219220.34 | 930780.34 | 0.9197 | 0.7634 | 6.13
18 | DAVANAGERE | HARIHARA | HARAPANAHALLI | ITTIGI_220 | HARAPANAHALLI |  | F13-KANAVIHALLI | AGRI | 1310303904010102 | 330 | 330 | 0 | 329 | 0 | 544.85 | 570.039 | 20000 | 503780 | 0 | 78000 | 425780 | 12 | 384400 | 384412 | 9.72 | 2237408.89 | 2459211.457 | 0.9028 | 1.0991 | 10.68
19 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F17-KOOLAHALLI NJY | NJY | 1310303907020307 | 2311 | 2311 | 0 | 0 | 0 | 331.801 | 352.805 | 10000 | 210040 | 0 | 66000 | 144040 | 130470 | 0 | 130470 | 9.42 | 1606095.44 | 1081352.44 | 0.9058 | 0.6733 | 6.34
20 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F06-ARASIKERE | AGRI | 1310303903020302 | 498 | 498 | 0 | 498 | 0 | 735.106 | 746.096 | 20000 | 219800 | 0 | 0 | 219800 | 0 | 198919.55 | 198919.55 | 9.5 | 1157712.86 | 2356225.172 | 0.905 | 2.0352 | 19.33
21 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F08-KADABAGERINJY | NJY | 1310303907020301 | 2385 | 2385 | 0 | 0 | 0 | 340.694 | 341.356 | 20000 | 13240 | 150000 | 0 | 163240 | 147371.2 | 0 | 147371.2 | 9.72 | 1655564.26 | 1203964.29 | 0.9028 | 0.7272 | 7.07
22 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F02-JITTINAKATTE | AGRI | 1310303901010101 | 467 | 467 | 0 | 467 | 0 | 632.01 | 687.4 | 20000 | 1107800 | 0 | 0 | 1107800 | 0 | 520400 | 520400 | 53.02 | 3028728 | 5622262.387 | 0.4698 | 1.8563 | 98.42
23 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F04-PUNABHAGHATTA NJY | NJY | 1310303903020301 | 1271 | 1271 | 0 | 0 | 0 | 934.26 | 939.23 | 20000 | 99400 | 0 | 0 | 99400 | 94838 | 0 | 94838 | 4.59 | 1124938.34 | 513023.34 | 0.9541 | 0.456 | 2.09
24 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F06-MATTIHALLI | AGRI | 1310303906020301 | 469 | 469 | 0 | 469 | 0 | 494.07 | 519.94 | 20000 | 517400 | 55000 | 0 | 572400 | 0 | 518022.98 | 518022.98 | 9.5 | 3014894.98 | 5478547.095 | 0.905 | 1.8172 | 17.26
25 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F07-NAGARAKONDA NJY | NJY | 1310303906010106 | 3330 | 3330 | 0 | 1 | 0 | 633.3 | 667.43 | 20000 | 682600 | 0 | 495000 | 187600 | 169322 | 1382.175 | 170704.175 | 9.01 | 1957355.93 | 1518678.317 | 0.9099 | 0.7759 | 6.99
26 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F09-HAGARIGUDIHALLI IP | AGRI | 1310303906020303 | 453 | 453 | 0 | 453 | 0 | 467.96 | 491.86 | 20000 | 478000 | 48000 | 0 | 526000 | 0 | 476030.346 | 476030.346 | 9.5 | 2770497.07 | 5574236.716 | 0.905 | 2.012 | 19.11
27 | DAVANAGERE | HARIHARA | HARAPANAHALLI | ITTIGI_220 | HARAPANAHALLI |  | F03-NANDIBEVOOR | AGRI | 1310303904010101 | 438 | 438 | 0 | 438 | 0 | 921.1 | 944.339 | 20000 | 464780 | 84000 | 0 | 548780 | 0 | 496647.06 | 496647.06 | 9.5 | 2890487.12 | 5679324.547 | 0.905 | 1.9648 | 18.67
28 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F11-HUNASEHALLI | AGRI | 1310303906020305 | 320 | 320 | 0 | 319 | 0 | 4823.5 | 5004.2 | 2000 | 361400 | 85000 | 0 | 446400 | 98 | 403893.693 | 403991.693 | 9.5 | 2351442.11 | 4436691.736 | 0.905 | 1.8868 | 17.92
29 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F01-BANDRI | AGRI | 1310303907010101 | 452 | 452 | 0 | 452 | 0 | 340.582 | 360.224 | 20000 | 392840 | 175000 | 0 | 567840 | 0 | 513894 | 513894 | 9.5 | 2990864.29 | 5412886.079 | 0.905 | 1.8098 | 17.19
30 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F16-NICHHAPURA | AGRI | 1310303907020306 | 352 | 352 | 0 | 352 | 0 | 424.376 | 448.057 | 20000 | 473620 | 0 | 30000 | 443620 | 0 | 401475.774 | 401475.774 | 9.5 | 2336589.53 | 4233659.072 | 0.905 | 1.8119 | 17.21
31 | DAVANAGERE | HARIHARA | TELIGI | HALUVAGALU_66 | TELIGI |  | F05-NANDYALA | AGRI | 1310303902020303 | 517 | 517 | 0 | 517 | 0 | 637.19 | 666.08 | 20000 | 577800 | 348000 | 0 | 925800 | 0 | 786700 | 786700 | 15.02 | 4578594 | 7653516.401 | 0.8498 | 1.6716 | 25.11
32 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F13-THOUDUR IP | AGRI | 1310303903010107 | 335 | 335 | 0 | 334 | 0 | 4689.4 | 5096.9 | 1000 | 407500 | 0 | 15000 | 392500 | 125 | 355087.36 | 355212.36 | 9.5 | 2067575.16 | 4161703.16 | 0.905 | 2.0128 | 19.12
33 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F07-TBWS | WATER WORKS | 1310303907010501 | 2 | 2 | 0 | 0 | 0 | 537.726 | 552.963 | 10000 | 152370 | 0 | 0 | 152370 | 149923 | 0 | 149923 | 1.61 | 936861 | 1259496 | 0.9839 | 1.3444 | 2.16
34 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F04-GUNDAGATTI | AGRI | 1310303905020301 | 509 | 509 | 0 | 509 | 0 | 501.034 | 530.038 | 20000 | 580080 | 80000 | 0 | 660080 | 0 | 562300 | 562300 | 14.81 | 3272586 | 6276232.827 | 0.8519 | 1.9178 | 28.4
35 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F10-GOURIPURA | AGRI | 1310303906020304 | 477 | 477 | 0 | 471 | 0 | 334.25 | 357.03 | 20000 | 455600 | 110000 | 0 | 455600 | 159 | 412158.348 | 412317.348 | 9.5 | 2402336.39 | 4480921.948 | 0.905 | 1.8652 | 17.72
36 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F04-HARAKANALU | AGRI | 1310303907010104 | 511 | 511 | 0 | 506 | 0 | 362.037 | 382.582 | 20000 | 410900 | 230000 | 0 | 640900 | 28 | 574159.074 | 574187.074 | 10.41 | 3341916.27 | 5798776.781 | 0.8959 | 1.7352 | 18.06
37 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F06-HPHALLI-RURAL-I.P | AGRI | 1310303907010106 | 589 | 589 | 0 | 587 | 0 | 385.983 | 411.437 | 20000 | 509080 | 260000 | 0 | 769080 | 251 | 695765.193 | 696016.193 | 9.5 | 4061152 | 7080537.257 | 0.905 | 1.7435 | 16.56
38 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F12-BUDIYAL | NJY | 1310303903020501 | 4626 | 4626 | 0 | 0 | 0 | 17901.1 | 18325.1 | 1000 | 424000 | 75000 | 0 | 499000 | 451034.5 | 0 | 451034.5 | 9.61 | 5203727.67 | 4402757.98 | 0.9039 | 0.8461 | 8.13
39 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F11-KODIHALLINJY | NJY | 1310303907020304 | 3584 | 3584 | 0 | 0 | 0 | 542.802 | 558.773 | 20000 | 319420 | 0 | 40000 | 279420 | 253411 | 0 | 253411 | 9.31 | 2632236.53 | 1801507.69 | 0.9069 | 0.6844 | 6.37
[10 empty] | #VALUE! | #VALUE!

## remarks
feeder name | Count of RR No as per rr no wise dcb | Count of RR No as per energy audit | diff | Sum of Total Consumption as per rr no wise dcb | Sum of Total Consumption as per energy audit | diff
F01BANDRI | 452 | 442 | 10 | 447809 | 488309 | -40500
F01SASVIHALLI | 364 | 739 | -375 | 422587.33 | 529298.574 | -106711.244
F02-NEELAVANJI | 375 | 335 | 40 | 356925 | 355212.36 | 1712.64
F03-KYAKETTE | 406 | 540 | -134 | 592746.15 | 584975.395 | 7770.755
F03-MUTTIGI | 3765 | 498 | 3267 | 150007.48 | 198919.55 | -48912.07
F03-NANDIBEVOOR | 438 | 4626 | -4188 | 451034.5 | 451034.5 | 0
F04-BADA | 476 | 438 | 38 | 468030.82 | 496647.06 | -28616.24
F05-CHIGATERI | 447 | 330 | 117 | 35549.08 | 384412 | -348862.92
F05-HOSAKOTI | 583 | 364 | 219 | 166559.61 | 403955.963 | -237396.353
F06-ARASIKERE | 369 | 375 | -6 | 176477.51 | 430887 | -254409.49
F06-MATTIHALLI | 469 | 3765 | -3296 | 201891.45 | 201891.45 | 0
F07-NAGARAKONDA NJY | 3335 | 476 | 2859 | 215312.03 | 528157.343 | -312845.313
F08-BENNIHALLI NJY | 1901 | 447 | 1454 | 385481.94 | 390416.541 | -4934.601
F08-KADABAGERINJY | 2385 | 3330 | -945 | 170607.21 | 170704.175 | -96.965
F09-ADAVIMALLAPURA | 539 | 469 | 70 | 413378.2 | 518022.98 | -104644.78
F09-BAGALI | 798 | 1900 | -1102 | 114967.8 | 114967.8 | 0
F09-HAGARIGUDIHALLI IP | 451 | 453 | -2 | 468111.04 | 476030.346 | -7919.306
F10-GOURIPURA | 471 | 477 | -6 | 349876.96 | 412317.348 | -62440.388
F10-KUMARNAHALLI | 637 | 320 | 317 | 349986.17 | 403991.693 | -54005.523
F11HUNASEHALLI | 320 | 452 | -132 | 406379.5 | 513894 | -107514.5
F11KODIHALLINJY | 3584 | 2385 | 1199 | 147371.2 | 147371.2 | 0
F12-BUDIYAL | 4625 | 798 | 3827 | 852722.09 | 855823.057 | -3100.967
F12-KHANAHALLI | 384 | 637 | -253 | 320810.41 | 693048.73 | -372238.32
F13-KANAVIHALLI | 330 | 3584 | -3254 | 253411 | 253411 | 0
F13-THOUDUR IP | 335 | 384 | -49 | 219342.45 | 528846.933 | -309504.483
F16-NICHHAPURA | 352 | 352 | 0 | 318301.24 | 401475.774 | -83174.534
F17-KOOLAHALLI NJY | 2312 | 2311 | 1 | 130470 | 130470 | 0
Grand Total | 30903 | 31227 | -324 | 9160899.74 | 11064491.772 | -1903592.032

## March
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report
Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025 | Report for the Period from 01-Mar-2025 to 31-Mar-2025
| Generated By: | NAZEER AHMAD K U
| Generated On: | 05-04-2025 16:36:34
[8 empty] | Sub-Division: | HARAPANAHALLI
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS | ENRTYTIME
1 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F03-MUTTIGI | NJY | 1310303906010103 | 3765 | 3765 | 0 | 0 | 0 | 708.17 | 729.961 | 20000 | 435820 | 0 | 230000 | 205820 | 186205.6 | 0 | 186205.6 | 9.53 | 2102125.43 | 2038392.51 | 0.9047 | 0.9697 | 9.24 |  |  | 2025-04-05 16:35:16
2 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F04-BADA | AGRI | 1310303906010104 | 476 | 476 | 0 | 475 | 0 | 453.09 | 476.218 | 20000 | 462560 | 70000 | 0 | 532560 | 50 | 481917.935 | 481967.935 | 9.5 | 2830737.83 | 5657726.113 | 0.905 | 1.9987 | 18.99 |  |  | 2025-04-05 16:35:16
3 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F05-CHIGATERI | AGRI | 1310303906010105 | 447 | 447 | 0 | 447 | 0 | 458.53 | 484.043 | 20000 | 510260 | 30000 | 0 | 540260 | 0 | 488500 | 488500 | 9.58 | 2867495 | 5734990 | 0.9042 | 2 | 19.16 |  |  | 2025-04-05 16:35:16
4 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F10-KUMARNAHALLI | AGRI | 1310303907020303 | 637 | 637 | 0 | 634 | 0 | 491.5 | 507.115 | 20000 | 312300 | 400000 | 0 | 712300 | 149 | 644482.906 | 644631.906 | 9.5 | 3784498.66 | 7567565.896 | 0.905 | 1.9996 | 19 |  |  | 2025-04-05 16:35:16
5 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F05-HOSAKOTI | AGRI | 1310303903010104 | 739 | 739 | 0 | 738 | 0 | 942.997 | 971.136 | 20000 | 562780 | 27000 | 0 | 589780 | 1951 | 531800.048 | 533751.048 | 9.5 | 3137740.47 | 5614330.64 | 0.905 | 1.7893 | 17 |  |  | 2025-04-05 16:35:16
6 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F08-KAVALAHALLI | NJY | 1310303903020304 | 4577 | 4577 | 0 | 1 | 0 | 1073.449 | 1109.438 | 20000 | 719780 | 0 | 412000 | 307780 | 282382 | 1464.173 | 283846.173 | 7.78 | 2915270.6 | 2459476.7 | 0.9222 | 0.8437 | 6.56 |  |  | 2025-04-05 16:35:16
7 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F09-BAGALI | AGRI | 1310303907020302 | 798 | 798 | 0 | 798 | 0 | 649.003 | 692.568 | 20000 | 871300 | 85000 | 0 | 956300 | 0 | 865449.605 | 865449.605 | 9.5 | 5080187.7 | 10160376.468 | 0.905 | 2 | 19 |  |  | 2025-04-05 16:35:16
8 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F09-ADAVIMALLAPURA | AGRI | 1310303903020101 | 540 | 540 | 0 | 540 | 0 | 909.321 | 939.561 | 20000 | 604800 | 44000 | 0 | 648800 | 0 | 587164.304 | 587164.304 | 9.5 | 3446652.63 | 6884476.275 | 0.905 | 1.9974 | 18.98 |  |  | 2025-04-05 16:35:16
9 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F13-THALAVAGALU NJY | NJY | 1310303905030502 | 3076 | 3076 | 0 | 0 | 0 | 1065.169 | 1111.006 | 20000 | 916740 | 0 | 730000 | 186740 | 173879 | 0 | 173879 | 6.89 | 1873120.88 | 1585965.41 | 0.9311 | 0.8467 | 5.83 |  |  | 2025-04-05 16:35:16
10 | TUMKUR | MADHUGIRI | MADHUGIRI | MADHUGIRI_220 | MADHUGIRI |  | F04-BALENAHALLI | AGRI | 1320301904020301 | 107 | 107 | 0 | 102 | 0 | 595.741 | 607.938 | 40000 | 487880 | 0 | 275000 | 212880 | 827 | 191829.592 | 192656.592 | 9.5 | 1124387.63 | 2126692.665 | 0.905 | 1.8914 | 17.97 |  |  | 2025-04-05 16:35:16
11 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F02-NEELAVANJI | AGRI | 1310303906010102 | 375 | 375 | 0 | 373 | 0 | 402.49 | 427.212 | 20000 | 494440 | 0 | 20000 | 474440 | 62 | 429305.124 | 429367.124 | 9.5 | 2520983.11 | 5042121.161 | 0.905 | 2.0001 | 19 |  |  | 2025-04-05 16:35:16
12 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F03-GOWRIHALLI | AGRI | 1310303907010103 | 358 | 358 | 0 | 354 | 0 | 486.11 | 513.557 | 20000 | 548940 | 70000 | 0 | 618940 | 6302 | 521200 | 527502 | 14.77 | 3109468.51 | 3477973.51 | 0.8523 | 1.1185 | 16.52 |  |  | 2025-04-05 16:35:16
13 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F03-KYAKETTE | AGRI | 1310303903010103 | 442 | 442 | 0 | 441 | 0 | 735.65 | 763.436 | 20000 | 555720 | 0 | 15000 | 540720 | 1 | 488300 | 488301 | 9.69 | 2866457.65 | 5495033.65 | 0.9031 | 1.917 | 18.58 |  |  | 2025-04-05 16:35:16
14 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F01-SASVIHALLI | AGRI | 1310303906010101 | 364 | 364 | 0 | 364 | 0 | 396.807 | 416.037 | 20000 | 384600 | 35000 | 0 | 419600 | 0 | 379738.548 | 379738.548 | 9.5 | 2229065.55 | 4458130.785 | 0.905 | 2 | 19 |  |  | 2025-04-05 16:35:16
15 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F02-HULIKATTE NJY | NJY | 1310303907010505 | 2852 | 2852 | 0 | 0 | 0 | 670.026 | 718.13 | 20000 | 962080 | 0 | 765000 | 197080 | 181471.5 | 0 | 181471.5 | 7.92 | 2168697.34 | 1570023.08 | 0.9208 | 0.7239 | 5.73 |  |  | 2025-04-05 16:35:16
16 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F12-KHANAHALLI | AGRI | 1310303907020305 | 384 | 384 | 0 | 382 | 0 | 464.946 | 498 | 20000 | 661080 | 0 | 64000 | 597080 | 130 | 537800 | 537930 | 9.91 | 3158579 | 6313892 | 0.9009 | 1.999 | 19.81 |  |  | 2025-04-05 16:35:16
17 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F08-BENNIHALLI NJY | NJY | 1310303906020302 | 1900 | 1900 | 0 | 0 | 0 | 272.03 | 279.524 | 20000 | 149880 | 0 | 56000 | 93880 | 84839 | 0 | 84839 | 9.63 | 1015954.56 | 849588.56 | 0.9037 | 0.8362 | 8.05 |  |  | 2025-04-05 16:35:16
18 | DAVANAGERE | HARIHARA | HARAPANAHALLI | ITTIGI_220 | HARAPANAHALLI |  | F13-KANAVIHALLI | AGRI | 1310303904010102 | 330 | 330 | 0 | 329 | 0 | 570.039 | 594.559 | 20000 | 490400 | 0 | 64000 | 426400 | 17 | 384400 | 384417 | 9.85 | 2256661.07 | 4513089.07 | 0.9015 | 1.9999 | 19.7 |  |  | 2025-04-05 16:35:16
19 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F17-KOOLAHALLI NJY | NJY | 1310303907020307 | 2311 | 2311 | 0 | 0 | 0 | 352.805 | 383.271 | 10000 | 304660 | 0 | 160000 | 144660 | 131766 | 0 | 131766 | 8.91 | 1608297.81 | 1537022.81 | 0.9109 | 0.9557 | 8.52 |  |  | 2025-04-05 16:35:16
20 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F06-ARASIKERE | AGRI | 1310303903020302 | 498 | 498 | 0 | 498 | 0 | 746.096 | 757.047 | 20000 | 219020 | 30000 | 0 | 249020 | 0 | 225364.411 | 225364.411 | 9.5 | 1322890.04 | 2314705.458 | 0.905 | 1.7497 | 16.62 |  |  | 2025-04-05 16:35:16
21 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F08-KADABAGERINJY | NJY | 1310303907020301 | 2385 | 2385 | 0 | 0 | 0 | 341.356 | 341.356 | 20000 | 0 | 145000 | 0 | 145000 | 139077.8 | 0 | 139077.8 | 4.08 | 1601550.66 | 1425354.63 | 0.9592 | 0.89 | 3.63 |  |  | 2025-04-05 16:35:16
22 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F02-JITTINAKATTE | AGRI | 1310303901010101 | 468 | 468 | 0 | 467 | 0 | 687.4 | 738.02 | 20000 | 1012400 | 0 | 0 | 1012400 | 0 | 520400 | 520400 | 48.6 | 3054748 | 3856003 | 0.514 | 1.2623 | 61.35 |  |  | 2025-04-05 16:35:16
23 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F04-PUNABHAGHATTA NJY | NJY | 1310303903020301 | 1272 | 1272 | 0 | 0 | 0 | 939.23 | 944.036 | 20000 | 96120 | 0 | 8000 | 88120 | 80797 | 0 | 80797 | 8.31 | 1019126.34 | 816183.6 | 0.9169 | 0.8009 | 6.66 |  |  | 2025-04-05 16:35:16
24 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F06-MATTIHALLI | AGRI | 1310303906020301 | 469 | 469 | 0 | 469 | 0 | 519.94 | 545.351 | 20000 | 508220 | 40000 | 0 | 548220 | 0 | 496139.71 | 496139.71 | 9.5 | 2912341.19 | 5824681.088 | 0.905 | 2 | 19 |  |  | 2025-04-05 16:35:16
25 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F07-NAGARAKONDA NJY | NJY | 1310303906010106 | 3330 | 3330 | 0 | 1 | 0 | 667.43 | 707.772 | 20000 | 806840 | 0 | 625000 | 181840 | 164912 | 1432.215 | 166344.215 | 8.52 | 1932105.88 | 1591794.218 | 0.9148 | 0.8239 | 7.02 |  |  | 2025-04-05 16:35:16
26 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F09-HAGARIGUDIHALLI IP | AGRI | 1310303906020303 | 453 | 453 | 0 | 453 | 0 | 491.86 | 512.534 | 20000 | 413480 | 100000 | 0 | 513480 | 0 | 464698.47 | 464698.47 | 9.5 | 2727778.55 | 5442033.227 | 0.905 | 1.995 | 18.95 |  |  | 2025-04-05 16:35:16
27 | DAVANAGERE | HARIHARA | HARAPANAHALLI | ITTIGI_220 | HARAPANAHALLI |  | F03-NANDIBEVOOR | AGRI | 1310303904010101 | 438 | 438 | 0 | 438 | 0 | 944.339 | 967.278 | 20000 | 458780 | 50000 | 0 | 508780 | 0 | 460444.756 | 460444.756 | 9.5 | 2702810.73 | 5405621.245 | 0.905 | 2 | 19 |  |  | 2025-04-05 16:35:16
28 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F11-HUNASEHALLI | AGRI | 1310303906020305 | 320 | 320 | 0 | 319 | 0 | 5004.2 | 5222.6 | 2000 | 436800 | 10000 | 0 | 446800 | 87 | 404267.87 | 404354.87 | 9.5 | 2373760.47 | 4746812.852 | 0.905 | 1.9997 | 19 |  |  | 2025-04-05 16:35:16
29 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F01-BANDRI | AGRI | 1310303907010101 | 452 | 452 | 0 | 452 | 0 | 360.224 | 378.018 | 20000 | 355880 | 160000 | 0 | 515880 | 0 | 466871.696 | 466871.696 | 9.5 | 2740535.7 | 5481072.497 | 0.905 | 2 | 19 |  |  | 2025-04-05 16:35:16
30 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F16-NICHHAPURA | AGRI | 1310303907020306 | 352 | 352 | 0 | 352 | 0 | 448.057 | 466.715 | 20000 | 373160 | 40000 | 0 | 413160 | 0 | 373909.356 | 373909.356 | 9.5 | 2194847.17 | 4389694.903 | 0.905 | 2 | 19 |  |  | 2025-04-05 16:35:16
31 | DAVANAGERE | HARIHARA | TELIGI | HALUVAGALU_66 | TELIGI |  | F05-NANDYALA | AGRI | 1310303902020303 | 517 | 517 | 0 | 517 | 0 | 666.08 | 688.745 | 20000 | 453300 | 470000 | 0 | 923300 | 0 | 786700 | 786700 | 14.79 | 4617929 | 4623799 | 0.8521 | 1.0013 | 14.81 |  |  | 2025-04-05 16:35:16
32 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F13-THOUDUR IP | AGRI | 1310303903010107 | 335 | 335 | 0 | 334 | 0 | 5096.9 | 5503.1 | 1000 | 406200 | 0 | 10000 | 396200 | 83 | 356800 | 356883 | 9.92 | 2095094.03 | 4189504.03 | 0.9008 | 1.9997 | 19.84 |  |  | 2025-04-05 16:35:16
33 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F07-TBWS | WATER WORKS | 1310303907010501 | 2 | 2 | 0 | 0 | 0 | 552.963 | 565.457 | 10000 | 124940 | 5000 | 0 | 129940 | 122742.5 | 0 | 122742.5 | 5.54 | 1372638 | 1050003 | 0.9446 | 0.765 | 4.24 |  |  | 2025-04-05 16:35:16
34 | DAVANAGERE | HARIHARA | TELIGI | TELAGI_66 | TELIGI |  | F04-GUNDAGATTI | AGRI | 1310303905020301 | 509 | 509 | 0 | 509 | 0 | 530.038 | 554.487 | 20000 | 488980 | 160000 | 0 | 648980 | 0 | 562300 | 562300 | 13.36 | 3272586 | 3272586 | 0.8664 | 1 | 13.36 |  |  | 2025-04-05 16:35:16
35 | DAVANAGERE | HARIHARA | HARAPANAHALLI | BENNEHALLI_66 | HARAPANAHALLI |  | F10-GOURIPURA | AGRI | 1310303906020304 | 477 | 477 | 0 | 471 | 0 | 357.03 | 380.698 | 20000 | 473360 | 50000 | 0 | 523360 | 160 | 473480.927 | 473640.927 | 9.5 | 2782863.54 | 5525679.662 | 0.905 | 1.9856 | 18.86 |  |  | 2025-04-05 16:35:16
36 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F04-HARAKANALU | AGRI | 1310303907010104 | 511 | 511 | 0 | 506 | 0 | 382.582 | 402.287 | 20000 | 394100 | 298000 | 0 | 692100 | 36 | 591100 | 591136 | 14.59 | 3440562.44 | 3440561.44 | 0.8541 | 1 | 14.59 |  |  | 2025-04-05 16:35:16
37 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F06-HPHALLI-RURAL-I.P | AGRI | 1310303907010106 | 591 | 591 | 0 | 587 | 0 | 411.437 | 435.034 | 20000 | 471940 | 350000 | 0 | 821940 | 0 | 716700 | 716700 | 12.8 | 4174487 | 4192379 | 0.872 | 1.0043 | 12.86 |  |  | 2025-04-05 16:35:16
38 | DAVANAGERE | HARIHARA | TELIGI | PUNABHAGHATTA_66 | TELIGI |  | F12-BUDIYAL | NJY | 1310303903020501 | 4627 | 4627 | 0 | 0 | 0 | 18325.1 | 18828.6 | 1000 | 503500 | 0 | 10000 | 493500 | 447165 | 0 | 447165 | 9.39 | 5090678.51 | 4901789.2 | 0.9061 | 0.9629 | 9.04 |  |  | 2025-04-05 16:35:16
39 | DAVANAGERE | HARIHARA | HARAPANAHALLI | HARAPPANAHALLI_66 | HARAPANAHALLI |  | F11-KODIHALLINJY | NJY | 1310303907020304 | 3584 | 3584 | 0 | 0 | 0 | 558.773 | 575.046 | 20000 | 325460 | 0 | 62000 | 263460 | 237892 | 0 | 237892 | 9.7 | 2512556.91 | 2070549.75 | 0.903 | 0.8241 | 7.99 |  |  | 2025-04-05 16:35:16

## Sheet3
feeder name | Count of March RR No as per rr no wise dcb | Count of March RR No as per energy audit | diff | Sum of Total Consumption as per rr no wise dcb | Sum of Total Consumption as per energy audit | diff
F03-MUTTIGI | 3765 | 3765 | 0 | 186205.6 | 186205.6 | 0
F04-BADA | 476 | 476 | 0 | 481969.66 | 481967.935 | 1.725
F05-CHIGATERI | 447 | 447 | 0 | 488500 | 488500 | 0
F10-KUMARNAHALLI | 637 | 637 | 0 | 644633.36 | 644631.906 | 1.454
F05-HOSAKOTI | 583 | 739 | -156 | 421485.51 | 533751.048 | -112265.538
F09-BAGALI | 798 | 798 | 0 | 865451.8 | 865449.605 | 2.195
F09-ADAVIMALLAPURA | 539 | 540 | -1 | 585661.43 | 587164.304 | -1502.874
F02-NEELAVANJI | 375 | 375 | 0 | 429367.77 | 429367.124 | 0.646
F03-KYAKETTE | 406 | 442 | -36 | 447801 | 488301 | -40500
F01-SASVIHALLI | 364 | 364 | 0 | 379739.72 | 379738.548 | 1.172
F12-KHANAHALLI | 384 | 384 | 0 | 537930 | 537930 | 0
F08-BENNIHALLI NJY | 1901 | 1900 | 1 | 84839 | 84839 | 0
F13-KANAVIHALLI | 330 | 330 | 0 | 384417 | 384417 | 0
F17-KOOLAHALLI NJY | 2311 | 2311 | 0 | 131766 | 131766 | 0
F06-ARASIKERE | 369 | 498 | -129 | 168964.43 | 225364.411 | -56399.981
F08-KADABAGERINJY | 2385 | 2385 | 0 | 139077.8 | 139077.8 | 0
F04-PUNABHAGHATTA NJY | 6 | 1272 | -1266 | 199 | 80797 | -80598
F06-MATTIHALLI | 469 | 469 | 0 | 496141.33 | 496139.71 | 1.62
F07-NAGARAKONDA NJY | 3333 | 3330 | 3 | 166337.71 | 166344.215 | -6.505
F09-HAGARIGUDIHALLI IP | 451 | 453 | -2 | 462396.13 | 464698.47 | -2302.34
F03-NANDIBEVOOR | 438 | 438 | 0 | 460445.89 | 460444.756 | 1.134
F11-HUNASEHALLI | 320 | 320 | 0 | 404355.88 | 404354.87 | 1.01
F01-BANDRI | 452 | 452 | 0 | 466872.61 | 466871.696 | 0.914
F16-NICHHAPURA | 352 | 352 | 0 | 373910.15 | 373909.356 | 0.794
F13-THOUDUR IP | 335 | 335 | 0 | 356883 | 356883 | 0
F10-GOURIPURA | 471 | 477 | -6 | 467790.33 | 473640.927 | -5850.597
F12-BUDIYAL | 4625 | 4627 | -2 | 447165 | 447165 | 0
F11-KODIHALLINJY | 3585 | 3584 | 1 | 237892 | 237892 | 0
| 30907 | 32500