## sheet1
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION | 103 CONSOLIDATE DCB Report -RAMANAGARA URBAN-SECTION
Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026 | Report Information Based On Data as at 01-Jan-2026
| Generated By: | GANESHA
| Generated On: | 07-02-2026 13:05:33
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 40A | 41 | 42 | 43 | 44 | 44A | 45 | 46 | 47 | 48 | 49 | 50 | 50A | 51 | 52 | 53 | 54 | 54A | 55 | 56 | 57 | 58 | 59 | 60 | 60A | 61 | 62 | 63 | 63A | 64 | 65 | 66 | 67 | 67A | 68 | 69 | 70 | 71 | 71A | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 81A | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 88A | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112
|  |  |  | Account Head | Account Head |  |  |  | Total Number of Installations | Total Number of Installations | Total Number of Installations | Total Number of Installations | Total Number of Installations | Total Number of Installations |  | Total Number of Installations | Total Number of Installations | Total Number of Installations | Sanctioned Load(kw) | Sanctioned Load(kw) | Sanctioned Load(kw) | Sanctioned Load(HP) | Sanctioned Load(HP) | Sanctioned Load(HP) | Sanctioned Load(KVA) | Sanctioned Load(KVA) | Sanctioned Load(KVA) | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Opening Balance | Opening Balance | Opening Balance | Opening Balance | Opening Balance | Opening Balance | Tax Exempted Current Demand | Tax Exempted Current Demand | Tax Exempted Current Demand | Tax Exempted Current Demand | Tax Exempted Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Taxed Current Demand | Debit Adjustments | Debit Adjustments | Debit Adjustments | Debit Adjustments | Debit Adjustments | Bill Cancellation | Bill Cancellation | Bill Cancellation | Bill Cancellation | Bill Cancellation | Bill Cancellation | Bill Cancellation |  |  |  | Collection | Collection | Collection | Collection | Collection | Collection | Credit Adjustments | Credit Adjustments | Credit Adjustments | Credit Adjustments | Credit Adjustments |  |  | RR Transfer | RR Transfer | RR Transfer | Payment cancellations | Payment cancellations | Payment cancellations | Payment cancellations | Payment cancellations | Payment cancellations |  |  | CB | CB | CB | CB | CB | CB
SUB_DIVISION_NAME | MAINTARIFF | TARIFF | SUBTARIFF | DEBIT | CREDIT | DEMAND_BASEDTARIFF | TIME_OF_DAY | VOLTAGE_CLASS | ACTIVE_INSTALLATIONS | INACTIVE_INSTALLATIONS | Total(10+11) | METERED_INSTALLATIONS | UNMETERED_INSTALLATIONS | TOTAL(13+14) | DC/MNR_INSTALLATIONS | BILLED | UNBILLED | TOTAL(17+18) | ACTIVE | INACTIVE | TOTAL(20+21) | ACTIVE | INACTIVE | TOTAL(23+24) | ACTIVE | INACTIVE | TOTAL(26+27) | ASSESSED_TAXED_CONSUMPTION | ASSESSED_EXEMPTED_CONSUMPTION | METERED_TAXED_CONSUMPTION | METERED_EXEMPTED_CONSUMPTION | Total Consumption(29+30+31+32) | BILL_CANCELLATION_CONSUMPTION | NET CONSUMPTION (33-34) | WHEELED_ENERGY_UNITS | REVENUE | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | P&G SURCHARGE | Total Sum(37+38+39+40+40A+104) | REVENUE | MISCELLANEOUS_DEMAND | INTEREST_ON_REVENUE_AND_MISCELLANEOUS | P&G SURCHARGE | Total Sum(42+43+44+44A) | REVENUE | MISCELLANEOUS_DEMAND | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | P&G SURCHARGE | Total Sum(46+47+48+49+50+50A+105) | REVENUE_ADJUSTMENTS | MISCELLANEOUS_ADJUSTMENT | TAX_ADJUSTMENT | P&G SURCHARGE | Total Adjustment(52+53+54+54A+106) | REVENUE | MISCELLANEOUS | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | P&G SURCHARGE | Total(56+57+58+59+60+60A+107) | Net Demand Revenue (Current Demand + Debits – Bill Cancellations) (42+43+44+46+47+48+52+53-56-57-58) | Net Demand Tax (Current Demand + Debits – Bill Cancellations) (49+50+54-59-60+105+106-107) | P&G Surcharge(44A + 50A + 54A - 60A) | REVENUE | INTEREST_ON_REVENUE_MISCELLANEOUS | INTEREST_ON_TAX | TAX | P&G SURCHARGE | Total Sum(64+65+66+67+67A+109) | REVENUE_ADJUSTMENTS | MISCELLANEOUS_ADJUSTMENT | TAX_ADJUSTMENT | P&G SURCHARGE | Total Adjustment(69+70+71+71A+110) | NET_IOD | NET_REVERSAL_IOD | SUSPENSE_RRTRANSFER | FROM_RRTRANSFER | TO_RRTRANSFER | REVENUE | INTEREST_ON_REVENUE | INTEREST_ON_TAX | TAX | P&G SURCHARGE | Total(78+79+80+81+81A+111) | Net Collection (Collection + Credits +SUSPENSE TO RR TRANSFER – Payment Cancellations) (68+72+75-82) | WRITE_OFF | Revenue (37+42+43+46+47+52+53-56-57-64-69+78-Rev(77)-Rev(75)+Rev(76)-73+74) | Interest on Revenue and Miscellaneous (38+48+44-58-70-65+79-IntOnRev(75)-IntOnRev(77)+IntOnRev(76)) | Interest on Tax (39+49-59-66+80-IntOnTax(75)-IntOnTax(77)+IntOnTax(76)) | Tax (40+50+54-71-67+81-60-Tax(75)-tax(77)+Tax(76)) | P&G SURCHARGE(40A + 63A - 67A - 71A - 81A) | Total Sum (85+86+87+88-84+88A+112) | CB_AVG_COST_OF_SUPPLY | % OF LIVE INSTALLATION(10/12)*100 | % OF BILLED INSTALLATION(17/10)*100 | % Of DC/MNR(16/10)*100 | % OF METERED CONSUMPTION ((31+32)/33)*100 | % OF ACCESSED CONSUMPTION((29+30)/33)*100 | %Of Collection Effeciency with Adjustment((68+72)/(45+51+55))*100 | %Of Collection Effeciency Without Adjustment(68/(45+51))*100 | Ratio Of Arrears w.r.t Demand(89/(45+51+55)) | Demand Per Unit(45+51+56)/33 | Collection Per Uint with Adjustment((68+72)/33) | Collection Per Unit Without Adjustment(68/33) | CONSUMPTION PER INSTALLATION(33/10) | % OF RECOVERY AVREAGE COST | OB_GST | GST_DEMAND | GST_DEBIT_ADJUSTMENT | GST_BILL_CANCELLATION | GST_NET_PAYMENT | GST_COLLECTION | GST_CREDIT_ADJUSTMENT | GST_PAYMENT_CANCELLATION | GST_CB
BESCOM | HT | HT2A | HT2A | 0 | 0 |  |  |  | 8 | 2 | 10 | 8 | 0 | 8 | 0 | 8 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 1720 | 630 | 2350 | 0 | 0 | 346085 | 0 | 346085 | 48320 | 297765 | 0 | 523325.81 | 5364.72 | 0 | 7577.66 | 62937.81 | 599206 | 0 | 0 | 0 | 0 | 0 | 3148366.72 | 2007.3 | 5852.99 | 0 | 204702.39 | 124590.6 | 3485520 | 0 | 0 | 0 | 0 | 0 | 461956.72 | 0 | 0 | 0 | 28702.08 | 17395.2 | 508054 | 2694270.29 | 176000.31 | 107195.4 | 3005976.4 | 11217.71 | 0 | 183577.97 | 93391.92 | 3294164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3294164 | 0 | 205766.71 | 0 | 0 | 0 | 76741.29 | 282508 | 0 | 80 | 100 | 0 | 100 | 0 | 49.6566 | 49.6566 | 20576671 | 269427029 | 951.8367 | 0 | 0.0023116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT2B | HT2B | 0 | 0 |  |  |  | 3 | 1 | 4 | 3 | 0 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 70 | 280 | 0 | 0 | 12057.5 | 0 | 12057.5 | 0 | 12057.5 | 0 | -3734.82 | 0 | 0 | 0 | 3734.82 | 0 | 0 | 0 | 0 | 0 | 0 | 147332.98 | 44.8 | 215.73 | 0 | 6456.79 | 4340.7 | 158391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 147593.51 | 6456.79 | 4340.7 | 147377.78 | 215.73 | 0 | 6456.79 | 4340.7 | 158391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 158391 | 0 | -3734.82 | 0 | 0 | 0 | 3734.82 | 0 | 0 | 75 | 100 | 0 | 100 | 0 | 51.8085 | 51.8085 | -373482 | 14759351 | 1313.6305 | 0 | 0.024881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | HT | HT2C | HT2C(I) | 0 | 0 |  |  |  | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 43 | 0 | 0 | 3332.25 | 0 | 3332.25 | 0 | 3332.25 | 0 | 357577.601 | 17173.42 | 0 | 18074.609 | 7334.37 | 400160 | 0 | 0 | 0 | 0 | 0 | 37539.932 | 0 | 3645.15 | 0 | 2129.308 | 1199.61 | 44514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41185.082 | 2129.308 | 1199.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395117.533 | 20818.57 | 0 | 20203.917 | 8533.98 | 444674 | 0 | 100 | 100 | 0 | 100 | 0 | 0 | 0 | 41593634.9227 | 4118508.2 | 0 | 0 | 0.03001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT1 | LT1 | 0 | 0 |  |  |  | 3072 | 488 | 3560 | 3072 | 0 | 3072 | 3 | 3071 | 1 | 3072 | 2279.07 | 209.07 | 2488.14 | 15.32 | 0 | 15.32 | 0 | 0 | 0 | 0 | 0 | 167375.39 | 0 | 167375.39 | 7162.2 | 160213.19 | 0 | 617244.92 | 132325.76 | 0 | 49329.24 | 44609.78 | 843509.7 | 0 | 0 | 0 | 0 | 0 | 1619384.92 | 16036.1 | 4593.13 | 0 | 87406.02 | 60255.1 | 1787675.27 | 0 | 0 | 0 | 0 | 0 | 48560.82 | 91.3 | 25.8 | 0 | 3738.67 | 2578.39 | 54994.98 | 1591336.23 | 83667.35 | 57676.71 | 438278.08 | 2966.99 | 0 | 27710.66 | 17546.27 | 486502 | 1103878.48 | 0 | 55183.08 | 38056.83 | 1197118.39 | 0 | 0 | 0 | 200 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 1683620.39 | 0 | 661857.26 | 133926.1 | 0 | 50102.85 | 46683.39 | 892569.6 | 0 | 86.2921 | 99.9674 | 0.097656 | 100 | 0 | 14.2792 | 14.2792 | 79578337.4706 | 159133623 | 290.6652 | 0 | 1.8354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT1 | LT1-FL | 0 | 0 |  |  |  | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0.2 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 37 | 0 | 37 | 0 | 163.01 | 11.18 | 0 | 199.93 | 137.88 | 512 | 0 | 0 | 0 | 0 | 0 | 374.3 | 5.9 | 2.77 | 0 | 19.31 | 13.32 | 415.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 382.97 | 19.31 | 13.32 | 0 | 0 | 0 | 0 | 0 | 0 | 346.28 | 0 | 0 | 13.32 | 359.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 359.6 | 0 | 196.93 | 13.95 | 0 | 219.24 | 137.88 | 568 | 0 | 100 | 100 | 0 | 100 | 0 | 0 | 0 | 21115.7554 | 38297 | 0 | 0 | 2.7027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT2 | LT2 | 0 | 0 |  |  |  | 8 | 2 | 10 | 8 | 0 | 8 | 0 | 8 | 0 | 8 | 122 | 4.5 | 126.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2377.85 | 0 | 2377.85 | 0 | 2377.85 | 0 | 60601.31 | 2187.14 | 0 | 381.36 | 1940.19 | 65110 | 0 | 0 | 0 | 0 | 0 | 40111.24 | 555 | 394.18 | 0 | 1444.56 | 856.02 | 43361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41060.42 | 1444.56 | 856.02 | 91977.25 | 1962.99 | 0 | 1407.22 | 689.54 | 96037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96037 | 0 | 9290.3 | 618.33 | 0 | 418.7 | 2106.67 | 12434 | 0 | 80 | 100 | 0 | 100 | 0 | 115.0526 | 115.0526 | 990863.5016 | 4106042 | 4038.8166 | 0 | 0.33644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT3A | LT3A | 0 | 0 |  |  |  | 273 | 59 | 332 | 273 | 0 | 273 | 0 | 273 | 0 | 273 | 873.4 | 131.02 | 1004.42 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 110296.5 | 713 | 111009.5 | 7776 | 103233.5 | 0 | 168178.288 | 32593.57 | 0 | 6228 | 45101.21 | 252101.068 | 12437.01 | 148.6 | 21.71 | 256.68 | 12864 | 1023279.85 | 6645.4 | 3415.33 | 0 | 69486.79 | 39706.76 | 1142534.13 | 0 | 0 | 0 | 0 | 0 | 61803.48 | 0 | 107.28 | 0 | 4898.88 | 2799.36 | 69609 | 984037.14 | 64587.91 | 37164.08 | 1004123.47 | 5329.26 | 0 | 65185.86 | 36249.01 | 1110887.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1110887.6 | 0 | 144762.198 | 30594.07 | 0 | 5630.05 | 46016.28 | 227002.598 | 0 | 82.2289 | 100 | 0 | 99.3577 | 0 | 51.2919 | 51.2919 | 17535627.06 | 98403714 | 1000.714 | 0 | 0.24592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4A | LT4A | 0 | 0 |  |  |  | 544 | 40 | 584 | 0 | 544 | 544 | 544 | 544 | 0 | 544 | 0 | 0 | 0 | 4152 | 273 | 4425 | 0 | 0 | 0 | 0 | 648231.837 | 0 | 0 | 648231.837 | 0 | 648231.837 | 0 | 12998406.565 | 3558436.79 | 0 | 719.08 | 0 | 16557562.435 | 5633135.076 | 0 | 0 | 233363.494 | 5866498.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5633135.076 | 0 | 233363.494 | 0 | 0 | 0 | 0 | 0 | 0 | 5633135.076 | 0 | 0 | 233363.494 | 5866498.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5866498.57 | 0 | 12998406.565 | 3558436.79 | 0 | 719.08 | 0 | 16557562.435 | 0 | 93.1507 | 100 | 100 | 0 | 100 | 0 | 0 | 1655756243.5 | 563313507.6 | 0 | 0 | 0.083921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT4C | LT4C | 0 | 0 |  |  |  | 2 | 0 | 2 | 2 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 9.5 | 0 | 9.5 | 0 | 0 | 0 | 0 | 0 | 2554 | 0 | 2554 | 0 | 2554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11647.77 | 17.8 | 0 | 0 | 838.99 | 919.44 | 13424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11665.57 | 838.99 | 919.44 | 11665.57 | 0 | 0 | 838.99 | 919.44 | 13424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 0 | 100 | 0 | 53.5423 | 53.5423 | 0 | 1166557 | 525.6069 | 0 | 0.078309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT5 | LT5 | 0 | 0 |  |  |  | 72 | 29 | 101 | 72 | 0 | 72 | 0 | 72 | 0 | 72 | 6.08 | 1.3 | 7.38 | 930.1 | 336.5 | 1266.6 | 0 | 0 | 0 | 0 | 0 | 54307 | 0 | 54307 | 0 | 54307 | 0 | 124054.25 | 17501.74 | 0 | 13754.38 | 35541.63 | 190852 | 0 | 0 | 0 | 0 | 0 | 419889.06 | 1655 | 2225.61 | 0 | 21994.41 | 19550.56 | 465314.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 423769.67 | 21994.41 | 19550.56 | 492476.04 | 2908.35 | 0 | 22650.97 | 18136.64 | 536172 | 9370.76 | 0 | 0 | 542.88 | 9913.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 546085.64 | 0 | 43751.51 | 16819 | 0 | 13097.82 | 36412.67 | 110081 | 0 | 71.2871 | 100 | 0 | 100 | 0 | 60.5705 | 60.5705 | 6057052.4796 | 42376967 | 987.2981 | 0 | 0.13258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6A | LT6A | 0 | 0 |  |  |  | 61 | 6 | 67 | 61 | 0 | 61 | 0 | 59 | 2 | 61 | 21 | 0 | 21 | 391.06 | 38.3 | 429.36 | 0 | 0 | 0 | 0 | 0 | 28559 | 0 | 28559 | 0 | 28559 | 0 | 8354014.56 | 3991108.26 | 0 | 171197.18 | 73778 | 12590098 | 0 | 0 | 0 | 0 | 0 | 243008.77 | 5359.1 | 84446.16 | 0 | 14136.73 | 10281.24 | 357232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 332814.03 | 14136.73 | 10281.24 | 35951.17 | 1172.64 | 0 | 147.51 | 76.68 | 37348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37348 | 0 | 8566431.26 | 4074381.78 | 0 | 185186.4 | 83982.56 | 12909982 | 0 | 91.0448 | 96.7213 | 0 | 100 | 0 | 6.2222 | 6.2222 | 1264081334.852 | 33281403 | 130.7749 | 0 | 0.21359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6B | LT6B | 0 | 0 |  |  |  | 78 | 0 | 78 | 78 | 0 | 78 | 0 | 77 | 1 | 78 | 99.12 | 0 | 99.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28068.7 | 0 | 28068.7 | 12724 | 15344.7 | 0 | 2347778.46 | 377624.61 | 0 | 31291.37 | 22579.56 | 2779274 | 0 | 0 | 0 | 0 | 0 | 228319.64 | 1143.2 | 29146.15 | 0 | 17683.28 | 10104.73 | 286397 | 0 | 0 | 0 | 0 | 0 | 94930.24 | 0 | 0 | 0 | 8016.12 | 4580.64 | 107527 | 163678.75 | 9667.16 | 5524.09 | 52797.95 | 168.99 | 0 | 3870.53 | 2528.53 | 59366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59366 | 0 | 2429513.11 | 406601.77 | 0 | 37088 | 25575.12 | 2898778 | 0 | 100 | 98.7179 | 0 | 100 | 0 | 11.5337 | 11.5337 | 283611495.2055 | 16367875 | 211.5025 | 0 | 0.27789 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT6C | LT6C | 0 | 0 |  |  |  | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 30 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 690 | 0 | 690 | 0 | 690 | 0 | 1360.8 | 0 | 0 | 0 | 7.2 | 1368 | 0 | 0 | 0 | 0 | 0 | 5474.09 | 0 | 69.06 | 0 | 279.45 | 248.4 | 6071 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5543.15 | 279.45 | 248.4 | 6651.49 | 69.06 | 0 | 279.45 | 0 | 7000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7000 | 0 | 183.4 | 0 | 0 | 0 | 255.6 | 439 | 0 | 100 | 100 | 0 | 100 | 0 | 60.6318 | 60.6318 | 18340 | 554315 | 1014.4928 | 0 | 0.14493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESCOM | LT | LT7 | LT7 | 0 | 0 |  |  |  | 53 | 403 | 456 | 53 | 0 | 53 | 0 | 53 | 0 | 53 | 112 | 834 | 946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3352.7 | 0 | 3352.7 | 0 | 3352.7 | 0 | -2073441.13 | 4406.14 | 0 | 13957.68 | 6132.31 | -2048945 | 0 | 0 | 0 | 0 | 0 | 71003.29 | 0 | 1429.41 | 0 | 3168.33 | 1206.97 | 76808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72432.7 | 3168.33 | 1206.97 | 55529.75 | 117.67 | 0 | 1924.98 | 660.6 | 58233 | 92200 | 0 | 0 | 0 | 92200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150433 | 0 | -2150167.59 | 5717.88 | 0 | 15201.03 | 6678.68 | -2122570 | 0 | 11.6228 | 100 | 0 | 100 | 0 | 39.3969 | 39.3969 | -214444960.7159 | 7243270 | 1736.8986 | 0 | 1.5808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  |  |  |  | 0 | 0 | 0 | 0 | 4177 | 1030 | 5207 | 3633 | 544 | 4177 | 547 | 4173 | 4 | 4177 | 3542.87 | 1179.89 | 4722.76 | 5520.98 | 647.8 | 6168.78 | 1973 | 700 | 2673 | 0 | 648231.837 | 759092.89 | 713 | 1408037.727 | 75982.2 | 1332055.527 | 0 | 23475529.624 | 8138733.33 | 0 | 312710.489 | 303834.76 | 32230808.203 | 5645572.086 | 148.6 | 21.71 | 233620.174 | 5879362.57 | 6995732.562 | 33469.6 | 135435.67 | 0 | 429746.358 | 273273.45 | 7867657.64 | 0 | 0 | 0 | 0 | 0 | 667251.26 | 91.3 | 133.08 | 0 | 45355.75 | 27353.59 | 740184.98 | 12142904.588 | 384390.608 | 479540.034 | 5342804.95 | 26129.39 | 0 | 314050.93 | 174539.33 | 5857524.6 | 6838930.596 | 0 | 55183.08 | 271976.524 | 7166090.2 | 0 | 0 | 0 | 200 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 13023614.8 | 0 | 23301374.366 | 8247928.24 | 0 | 327867.087 | 336858.94 | 32214028.633 | 0 | 1170.6264 | 1395.4067 | 100.0977 | 1299.3577 | 100 | 513.9862 | 513.9862 | 3155002273.0315 | 1214290458.8 | 12202.2368 | 0 | 7.6897 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[73 empty] | AS PER RR NO WISE COLLECTION | 5774403.6
[73 empty] | DIFFERENCE | 83121
[73 empty] | TRF | AS PER RR NO WISE COLLECTION | AS PER DCB WISE COLLECTION | DIFF
[73 empty] | HT2 | 3452555 | 3452555 | 0
[73 empty] | LT1 | 486502 | 486502 | 0
[73 empty] | LT2 | 38562 | 96037 | -57475
[73 empty] | LT3 | 1085241.6 | 1110887.6 | -25646
[73 empty] | LT4 | 13424 | 13424 | 0
[73 empty] | LT5 | 536172 | 536172 | 0
[73 empty] | LT6 | 103714 | 103714 | 0
[73 empty] | LT7 | 58233 | 58233 | 0
[74 empty] | 5774403.6 | 5857524.6 | -83121
0