## sheet1 -1
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION | ENERGY AUDIT FEEDER WISE REPORT - For NELAMANGALA-SUB-DIVISION
Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025
| Generated By: | SHASHIKIRAN IA
| Generated On: | 10-04-2025 10:54:46
[8 empty] | Sub-Division: | DABASPETE
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS | ENRTYTIME | loc_code
1 | BANGALORE RURAL | NELAMANGALA | DABASPETE | AVVERAHALLI_66 | DABASPETE |  | F01-RATHNAM | NJY | 1210107901010101 | 3577 | 3577 | 0 | 0 | 0 | 26859.8 | 27404.5 | 1000 | 544700 | 0 | 135410 | 409290 | 379114.75 | 0 | 379114.75 | 7.37 | 4188313.69 | 3053810.1 | 0.9263 | 0.7291 | 5.37 | FEEDER BILLING COMPLETED |  |  | 11131
2 | BANGALORE RURAL | NELAMANGALA | DODDABALAPURA (U) | APARELPARK_66 | DODDABALAPURA (U) |  | F04-OBADENHALLI 3RD PHASE | INDUSTRIAL | 1210106904010102 | 6 | 6 | 0 | 0 | 0 | 1373.796 | 1407.292 | 40000 | 1339840 | 0 | 950000 | 389840 | 376014.5 | 0 | 376014.5 | 3.55 | 3556717 | 3493894 | 0.9645 | 0.9823 | 3.49 | FEEDER BILLING COMPLETED |  |  | 11141
3 | BANGALORE NORTH | PEENYA | N5 SRS GATE | WIDIA_66 | N5 SRS GATE |  | F11-JINDAL | INDUSTRIAL | 1120102906010102 | 89 | 89 | 0 | 0 | 0 | 37101.9 | 38143.2 | 2000 | 2082600 | 0 | 0 | 2082600 | 2159077.75 | 0 | 2159077.75 | -3.67 | 7279251.74 | 7270452.74 | 1.0367 | 0.9988 | -3.67 |  |  |  | 32321
4 | BANGALORE NORTH | PEENYA | N5 SRS GATE | WIDIA_66 | N5 SRS GATE |  | F08-ANCHEPALYA | MIXED LOAD | 1120102906010304 | 3861 | 3861 | 0 | 22 | 0 | 8175.9 | 8399.5 | 2000 | 447200 | 100000 | 0 | 553388 | 489098 | 33000 | 522098 | 5.65 | 4984081.62 | 4475044.31 | 0.9435 | 0.8979 | 5.07 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 32321
5 | BANGALORE NORTH | PEENYA | N5 SRS GATE | WIDIA_66 | N5 SRS GATE |  | F06-MANJUNATHA-NAGAR | MIXED LOAD | 1120102906010302 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 13896.25 | 0 | 13896.25 | -1389625 | 213861 | 213861 | 0 | 1 | 100 |  |  |  | 32321
6 | BANGALORE NORTH | PEENYA | N5 SRS GATE | WIDIA_66 | N5 SRS GATE |  | F03-BIEC | MIXED LOAD | 1120102906010301 | 91 | 91 | 0 | 0 | 0 | 5314.3 | 5314.4 | 2000 | 200 | 7000 | 0 | 7200 | 6682 | 0 | 6682 | 7.19 | 72886.1 | 52534.21 | 0.9281 | 0.7208 | 5.18 |  |  |  | 32321
7 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F08-APMC | MIXED LOAD | 1210104905020202 | 5410 | 5410 | 0 | 175 | 0 | 47406 | 47953 | 2000 | 1094000 | 390000 | 0 | 1485194 | 1117038.75 | 242407.2 | 1359445.95 | 8.47 | 12163990.87 | 10717788.65 | 0.9153 | 0.8811 | 7.46 | FEEDER BILLING COMPLETED |  |  | 11121
8 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F09-RAJAJINAGAR HOUSING SOCIETY | MIXED LOAD | 1210104905020204 | 1186 | 1186 | 0 | 120 | 0 | 12207.2 | 12731.6 | 2000 | 1048800 | 0 | 540000 | 508800 | 309504 | 166222.08 | 475726.08 | 6.5 | 5800527.76 | 2547134.45 | 0.935 | 0.4391 | 2.85 | FEEDER BILLING COMPLETED |  |  | 11121
9 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F10-VASAVI | MIXED LOAD | 1210104905020205 | 856 | 856 | 0 | 15 | 0 | 7360.2 | 7626.3 | 2000 | 532200 | 0 | 430000 | 102933 | 75101 | 20777.76 | 95878.76 | 6.85 | 1110164.85 | 803478.24 | 0.9315 | 0.7237 | 4.96 | FEEDER BILLING COMPLETED |  |  | 11121
10 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F11-DASANAPURA | MIXED LOAD | 1210104905010206 | 5708 | 5708 | 0 | 122 | 0 | 640.709 | 640.709 | 20000 | 0 | 650000 | 0 | 850531 | 615018.75 | 168992.448 | 784011.198 | 7.82 | 8419558.34 | 6308053.56 | 0.9218 | 0.7492 | 5.86 | FEEDER BILLING COMPLETED |  |  | 11121
11 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F12-HUSKUR | MIXED LOAD | 1210104905020206 | 1048 | 1048 | 0 | 159 | 0 | 7671.8 | 8184.4 | 1000 | 512600 | 0 | 175000 | 337600 | 92622.75 | 220244.256 | 312867.006 | 7.33 | 2349209.72 | 2073396.54 | 0.9267 | 0.8826 | 6.47 | FEEDER BILLING COMPLETED |  |  | 11121
12 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F13-HIMALAYA DRUG | INDUSTRIAL | 1210104905020203 | 3 | 3 | 0 | 0 | 0 | 19325.9 | 19538.2 | 4000 | 849200 | 0 | 0 | 849200 | 891037.7 | 0 | 891037.7 | -4.93 | 1399810 | 1398507 | 1.0493 | 0.9991 | -4.93 | FEEDER BILLING COMPLETED |  |  | 11121
13 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F01-AUXILIARY | NO TYPE | 1210104906010101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FEEDER BILLING COMPLETED |  |  | 11121
14 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F02-BIEC | INDUSTRIAL | 1210104906010102 | 2 | 2 | 0 | 0 | 0 | 5538.4 | 5744 | 2000 | 411200 | 0 | 0 | 411200 | 412604 | 0 | 412604 | -0.34 | 4596123 | 4596123 | 1.0034 | 1 | -0.34 | FEEDER BILLING COMPLETED |  |  | 11121
15 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F03-MADANAYAKANAHALLI | MIXED LOAD | 1210104906010103 | 6426 | 6426 | 0 | 75 | 0 | 26730.4 | 27194.1 | 2000 | 927400 | 70000 | 0 | 1003098 | 833131.6 | 103888.8 | 937020.4 | 6.59 | 9065852.33 | 8684974.02 | 0.9341 | 0.958 | 6.31 | FEEDER BILLING COMPLETED |  |  | 11121
16 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F04-T.G.HALLI | MIXED LOAD | 1210104906010104 | 7898 | 7898 | 0 | 152 | 0 | 21101 | 21529.6 | 2000 | 857200 | 100000 | 0 | 957889 | 689593 | 210547.968 | 900140.968 | 6.03 | 8172267.73 | 7359747.74 | 0.9397 | 0.9006 | 5.43 | FEEDER BILLING COMPLETED |  |  | 11121
17 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F05-ANCHEPALYA | MIXED LOAD | 1210104906010105 | 3378 | 3378 | 0 | 46 | 0 | 7404 | 7637.8 | 2000 | 467600 | 0 | 28000 | 439867 | 349189 | 63718.464 | 412907.464 | 6.13 | 3902967.85 | 2938721.96 | 0.9387 | 0.7529 | 4.62 | FEEDER BILLING COMPLETED |  |  | 11121
18 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F06-BUDDHAJYOTHI LAYOUT | MIXED LOAD | 1210104906010106 | 3637 | 3637 | 0 | 1 | 0 | 4340.3 | 4611 | 2000 | 541400 | 0 | 30196 | 511400 | 460526.5 | 1385.184 | 461911.684 | 9.68 | 4561380.46 | 3907785.82 | 0.9032 | 0.8567 | 8.29 | FEEDER BILLING COMPLETED |  |  | 11121
19 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F07-SIDDANAHOSAHALLI | MIXED LOAD | 1210104906010107 | 703 | 703 | 0 | 0 | 0 | 4917.4 | 4986.7 | 2000 | 138600 | 373376.5 | 0 | 518600 | 471035.5 | 0 | 471035.5 | 9.17 | 3586868.35 | 3400986.08 | 0.9083 | 0.9482 | 8.69 | FEEDER BILLING COMPLETED |  |  | 11121
20 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F08-TCI | MIXED LOAD | 1210104906010110 | 15410 | 15410 | 0 | 254 | 0 | 23996.8 | 24947.2 | 2000 | 1900800 | 0 | 50000 | 1853903 | 1378062.9 | 351836.736 | 1729899.636 | 6.69 | 15906353.97 | 13984145.19 | 0.9331 | 0.8792 | 5.88 | FEEDER BILLING COMPLETED |  |  | 11121
21 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F09-GANGONDANAHALLI | MIXED LOAD | 1210104906010108 | 10012 | 10012 | 0 | 225 | 0 | 28152 | 29118 | 2000 | 1932000 | 0 | 350000 | 1582648 | 1147810 | 311495.544 | 1459305.544 | 7.79 | 13549467.1 | 10955626.58 | 0.9221 | 0.8086 | 6.3 | FEEDER BILLING COMPLETED |  |  | 11121
22 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F10-MADAVARA | MIXED LOAD | 1210104906010109 | 3832 | 3832 | 0 | 23 | 0 | 11013.7 | 11215.5 | 2000 | 403600 | 0 | 80000 | 324842 | 273695.2 | 31859.232 | 305554.432 | 5.94 | 2865516.03 | 2436302.51 | 0.9406 | 0.8502 | 5.05 | FEEDER BILLING COMPLETED |  |  | 11121
23 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F11-PRESTIGE_JINDAL_CITY | DOMESTIC | 1210104906010111 | 3600 | 3600 | 0 | 0 | 0 | 8189.6 | 8189.6 | 2000 | 0 | 1049996.3 | 0 | 1050000 | 963146.75 | 0 | 963146.75 | 8.27 | 8726303.86 | 8201973.7 | 0.9173 | 0.9399 | 7.77 | FEEDER BILLING COMPLETED |  |  | 11121
24 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F12-IKEA | INDUSTRIAL | 1210104906010112 | 0 | 0 | 0 | 0 | 0 | 6107.1 | 6107.1 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FEEDER BILLING COMPLETED |  |  | 11121
25 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F13-LAKSHMIPURA | MIXED LOAD | 1210104906010113 | 2331 | 2331 | 0 | 31 | 0 | 7474.2 | 7474.2 | 2000 | 0 | 330000 | 0 | 330000 | 280965 | 42940.704 | 323905.704 | 1.85 | 3030022.47 | 2491353.14 | 0.9815 | 0.8222 | 1.52 | FEEDER BILLING COMPLETED |  |  | 11121
26 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | DABUSPET_220 | NELAMANGALA |  | 66/11KV S K STEEL EHT- | EHT | 1210104902020308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FEEDER BILLING COMPLETED |  |  | 11121
27 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F01-TATA HOUSING | MIXED LOAD | 1210104903010111 | 1385 | 1385 | 0 | 256 | 0 | 419.47 | 426.66 | 40000 | 287600 | 280000 | 0 | 567600 | 181020.7 | 354607.104 | 535627.804 | 5.63 | 4177453.56 | 3703784.13 | 0.9437 | 0.8866 | 4.99 | FEEDER BILLING COMPLETED |  |  | 11121
28 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F02-KBDL | MIXED LOAD | 1210104903020301 | 1414 | 1414 | 0 | 39 | 0 | 1189.65 | 1206.64 | 40000 | 679600 | 99523.7 | 0 | 779600 | 685452.2 | 54022.176 | 739474.376 | 5.15 | 5430621.14 | 4716506.04 | 0.9485 | 0.8685 | 4.47 | FEEDER BILLING COMPLETED |  |  | 11121
29 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F03-KSSIDC | MIXED LOAD | 1210104903010109 | 1342 | 1342 | 0 | 193 | 0 | 1600.284 | 1635.2 | 40000 | 1396640 | 19802.8 | 0 | 1476640 | 1121278.3 | 267340.512 | 1388618.812 | 5.96 | 12181229.47 | 11218922.65 | 0.9404 | 0.921 | 5.49 | FEEDER BILLING COMPLETED |  |  | 11121
30 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F04-INDUSTRIAL | MIXED LOAD | 1210104903010101 | 6208 | 6208 | 0 | 44 | 0 | 805.298 | 818.75 | 40000 | 538080 | 75000 | 0 | 613230 | 508582.8 | 60948.096 | 569530.896 | 7.13 | 5491561.82 | 4719102.85 | 0.9287 | 0.8593 | 6.13 | FEEDER BILLING COMPLETED |  |  | 11121
31 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F05-MADAWARA | MIXED LOAD | 1210104903010102 | 839 | 839 | 0 | 3 | 0 | 1108.084 | 1130.78 | 40000 | 907840 | 0 | 653670 | 277840 | 250095.5 | 4155.552 | 254251.052 | 8.49 | 2783505.07 | 2000322.43 | 0.9151 | 0.7186 | 6.1 | FEEDER BILLING COMPLETED |  |  | 11121
32 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F06-STN AUX | NO TYPE | 1210104903010110 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.05 | 40000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FEEDER BILLING COMPLETED |  |  | 11121
33 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F07-CHOCOLATE-FACTORY | MIXED LOAD | 1210104903020302 | 2884 | 2884 | 0 | 429 | 0 | 1140.43 | 1165 | 40000 | 982800 | 250000 | 0 | 1239973.7 | 580522.35 | 594243.936 | 1174766.286 | 5.26 | 8626505.03 | 8519741.53 | 0.9474 | 0.9876 | 5.19 | FEEDER BILLING COMPLETED |  |  | 11121
34 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F08-NELAMANGALA-TOWN | MIXED LOAD | 1210104903020303 | 6795 | 6795 | 0 | 35 | 0 | 1334.41 | 1358.76 | 40000 | 974000 | 0 | 216790 | 764000 | 660869.55 | 48481.44 | 709350.99 | 7.15 | 7134601.87 | 5520789 | 0.9285 | 0.7738 | 5.53 | FEEDER BILLING COMPLETED |  |  | 11121
35 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F09-SONDEKOPPA | AGRI | 1210104903020304 | 1221 | 1221 | 0 | 845 | 0 | 692.59 | 712.55 | 40000 | 798400 | 0 | 60769.6 | 738400 | 68741 | 737762.74 | 806503.74 | -9.22 | 4936620.2 | 4516867.67 | 1.0922 | 0.915 | -8.44 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
36 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F10-HIMALAYA-DRUG | MIXED LOAD | 1210104903010103 | 5583 | 5583 | 0 | 1 | 0 | 1095.206 | 1130.54 | 40000 | 1413360 | 0 | 532410 | 883360 | 813158.35 | 1385.184 | 814543.534 | 7.79 | 8185233.85 | 6850352.27 | 0.9221 | 0.8369 | 6.52 | FEEDER BILLING COMPLETED |  |  | 11121
37 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F11-ORGANIC | INDUSTRIAL | 1210104903010104 | 1 | 1 | 0 | 0 | 0 | 2232.125 | 2277.35 | 40000 | 1809000 | 0 | 0 | 1809000 | 1787660 | 0 | 1787660 | 1.18 | 5794524 | 5788729 | 0.9882 | 0.999 | 1.18 | FEEDER BILLING COMPLETED |  |  | 11121
38 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F12-V-V-PURA | MIXED LOAD | 1210104903010105 | 8916 | 8916 | 0 | 2 | 0 | 2010.352 | 2036.82 | 40000 | 1058720 | 0 | 2003 | 1058720 | 965990.3 | 2770.368 | 968760.668 | 8.5 | 9738152.04 | 8283992.96 | 0.915 | 0.8507 | 7.23 | FEEDER BILLING COMPLETED |  |  | 11121
39 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F13-400KV AUX | NO TYPE | 1210104903010108 | 0 | 0 | 0 | 0 | 0 | 0.59 | 0.59 | 40000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FEEDER BILLING COMPLETED |  |  | 11121
40 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F14-KESAR-MARBLE | MIXED LOAD | 1210104903020305 | 628 | 628 | 0 | 12 | 0 | 2082.72 | 2120.8 | 40000 | 1523200 | 0 | 380313.5 | 1153200 | 1044089.35 | 16622.208 | 1060711.558 | 8.02 | 8150374.61 | 7875811.84 | 0.9198 | 0.9663 | 7.75 | FEEDER BILLING COMPLETED |  |  | 11121
41 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F15-PEPSI | MIXED LOAD | 1210104903020306 | 665 | 665 | 0 | 5 | 0 | 1035.65 | 1049.64 | 40000 | 559600 | 0 | 41665 | 529600 | 472608 | 6925.92 | 479533.92 | 9.45 | 4377827.44 | 4229698.44 | 0.9055 | 0.9662 | 9.13 | FEEDER BILLING COMPLETED |  |  | 11121
42 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F16-YENTAGANAHALLI | MIXED LOAD | 1210104903030501 | 3858 | 3858 | 0 | 792 | 0 | 1976.522 | 2009.56 | 40000 | 1321520 | 625000 | 0 | 1949338.75 | 709936.3 | 1097065.728 | 1807002.028 | 7.3 | 10888864.34 | 9635928.5 | 0.927 | 0.8849 | 6.46 | FEEDER BILLING COMPLETED |  |  | 11121
43 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F17-RAMCO-BIOTECH | MIXED LOAD | 1210104903030502 | 3227 | 3227 | 0 | 79 | 0 | 917.787 | 937.33 | 40000 | 781720 | 0 | 207329 | 581720 | 440727.4 | 109429.536 | 550156.936 | 5.43 | 5407079.88 | 3997736.68 | 0.9457 | 0.7394 | 4.01 | FEEDER BILLING COMPLETED |  |  | 11121
44 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F18-VIJAYA-STEEL | MIXED LOAD | 1210104903030503 | 504 | 504 | 0 | 48 | 0 | 1171.288 | 1192.75 | 40000 | 858480 | 100000 | 0 | 958480 | 829603.35 | 66488.832 | 896092.182 | 6.51 | 8322365.41 | 8260210.23 | 0.9349 | 0.9925 | 6.46 | FEEDER BILLING COMPLETED |  |  | 11121
45 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F19-T-BEGUR-AGRI | AGRI | 1210104903030504 | 181 | 181 | 0 | 178 | 0 | 291.963 | 301.55 | 40000 | 383480 | 0 | 360000 | 23480 | 266 | 21515.394 | 21781.394 | 7.23 | 129004.24 | 128998.24 | 0.9277 | 1 | 7.23 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
46 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F20-GOLLAHALLI | MIXED LOAD | 1210104903030505 | 870 | 870 | 0 | 421 | 0 | 1094.184 | 1094.184 | 40000 | 0 | 650000 | 0 | 650000 | 62829.5 | 582692.61 | 645522.11 | 0.69 | 4306184.11 | 4098918.87 | 0.9931 | 0.9519 | 0.66 | FEEDER BILLING COMPLETED |  |  | 11121
47 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F21-ABB | INDUSTRIAL | 1210104903030506 | 10 | 10 | 0 | 0 | 0 | 485.813 | 494.02 | 40000 | 328280 | 0 | 0 | 328280 | 331236.5 | 0 | 331236.5 | -0.9 | 1587345.8 | 1594378.8 | 1.009 | 1.0044 | -0.9 | FEEDER BILLING COMPLETED |  |  | 11121
48 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F22-DENSO | INDUSTRIAL | 1210104903030507 | 1 | 1 | 0 | 0 | 0 | 1103.184 | 1126.78 | 40000 | 943840 | 0 | 1875 | 943840 | 944125 | 0 | 944125 | -0.03 | 6251271 | 6251271 | 1.0003 | 1 | -0.03 | FEEDER BILLING COMPLETED |  |  | 11121
49 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F02-ADARSHANAGARA | MIXED LOAD | 1210104905010204 | 8224 | 8224 | 0 | 112 | 0 | 9607.3 | 9824.2 | 2000 | 433800 | 770000 | 0 | 1206432 | 951387.32 | 155140.608 | 1106527.928 | 8.28 | 10524865.6 | 8723704.52 | 0.9172 | 0.8289 | 6.86 | FEEDER BILLING COMPLETED |  |  | 11121
50 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F24-SOLADEVANAHALLI | NJY | 1210104903010106 | 3993 | 3993 | 0 | 0 | 0 | 2057.133 | 2095.2 | 20000 | 761340 | 0 | 255639.4 | 521340 | 489864.65 | 0 | 489864.65 | 6.04 | 5247049.34 | 3756222.57 | 0.9396 | 0.7159 | 4.32 | FEEDER BILLING COMPLETED |  |  | 11121
51 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F25-MODALAKOTE-NJY | NJY | 1210104903010107 | 1119 | 1119 | 0 | 0 | 0 | 315.745 | 322.32 | 20000 | 131500 | 0 | 36000 | 95500 | 86167.1 | 0 | 86167.1 | 9.77 | 946369.25 | 700386.54 | 0.9023 | 0.7401 | 7.23 | FEEDER BILLING COMPLETED |  |  | 11121
52 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F26-NIRMAN_LAYOUT | MIXED LOAD | 1210104903010501 | 3067 | 3067 | 0 | 3 | 0 | 1000.35 | 1024.43 | 40000 | 963200 | 0 | 217992 | 753200 | 681221.2 | 4155.552 | 685376.752 | 9 | 6341700.87 | 5571419.04 | 0.91 | 0.8785 | 7.91 | FEEDER BILLING COMPLETED |  |  | 11121
53 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F27-TELECOM_LAYOUT | MIXED LOAD | 1210104903030508 | 1975 | 1975 | 0 | 307 | 0 | 8227.5 | 9617.9 | 1000 | 1390400 | 0 | 625000 | 766003 | 292177 | 425251.488 | 717428.488 | 6.34 | 5257354.7 | 5050539.38 | 0.9366 | 0.9607 | 6.09 | FEEDER BILLING COMPLETED |  |  | 11121
54 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F28-GOPALPURA-NJY | NJY | 1210104903030509 | 2536 | 2536 | 0 | 1 | 0 | 40875.9 | 41288.4 | 1000 | 412500 | 373170 | 0 | 862500 | 807554.9 | 1385.184 | 808940.084 | 6.21 | 8596845.43 | 7937319.81 | 0.9379 | 0.9233 | 5.73 | FEEDER BILLING COMPLETED |  |  | 11121
55 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F01-STN. AUX | NO TYPE | 1210104904010105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FEEDER BILLING COMPLETED |  |  | 11121
56 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F02-INDUS-FILA | MIXED LOAD | 1210104904010101 | 707 | 707 | 0 | 19 | 0 | 305.2 | 953.8 | 2000 | 1297200 | 0 | 650000 | 647200 | 573406.1 | 26318.496 | 599724.596 | 7.34 | 5118386.37 | 4848210.77 | 0.9266 | 0.9472 | 6.95 | FEEDER BILLING COMPLETED |  |  | 11121
57 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F03-PEPSI | INDUSTRIAL | 1210104904010102 | 3 | 3 | 0 | 0 | 0 | 257.7 | 968.8 | 2000 | 1422200 | 0 | 0 | 1422200 | 1458838 | 0 | 1458838 | -2.58 | 9829717 | 9820425 | 1.0258 | 0.9991 | -2.58 | FEEDER BILLING COMPLETED |  |  | 11121
58 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F04-KEMWELL | MIXED LOAD | 1210104904010104 | 1695 | 1695 | 0 | 83 | 0 | 549.2 | 1677.4 | 2000 | 2256400 | 300000 | 0 | 2558336 | 2217748.85 | 114970.272 | 2332719.122 | 8.82 | 10536063.87 | 10031794.51 | 0.9118 | 0.9521 | 8.4 | FEEDER BILLING COMPLETED |  |  | 11121
59 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F05-ACE-DESINGER | INDUSTRIAL | 1210104904010103 | 2 | 2 | 0 | 0 | 0 | 224.5 | 649.2 | 2000 | 849400 | 0 | 0 | 849400 | 831620 | 0 | 831620 | 2.09 | 7728113.64 | 7728113.64 | 0.9791 | 1 | 2.09 | FEEDER BILLING COMPLETED |  |  | 11121
60 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F06-KIRLOSKAR | MIXED LOAD | 1210104904020301 | 1498 | 1498 | 0 | 30 | 0 | 693.8 | 1269.9 | 2000 | 1152200 | 0 | 39872.2 | 1152200 | 1042611.7 | 41555.52 | 1084167.22 | 5.9 | 11292875.01 | 10787435.66 | 0.941 | 0.9552 | 5.64 | FEEDER BILLING COMPLETED |  |  | 11121
61 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F07-HASURUVALLI-AGRI | AGRI | 1210104904020302 | 502 | 502 | 0 | 483 | 0 | 152.8 | 422.1 | 2000 | 538600 | 500000 | 0 | 1038600 | 7616 | 947548.917 | 955164.917 | 8.03 | 5576862.75 | 5555902.75 | 0.9197 | 0.9962 | 8 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
62 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F08-FILAMENT | MIXED LOAD | 1210104904020303 | 1498 | 1498 | 0 | 11 | 0 | 408.3 | 736.3 | 2000 | 656000 | 0 | 110847 | 586000 | 529958.95 | 15237.024 | 545195.974 | 6.96 | 6181591.37 | 3315356.85 | 0.9304 | 0.5363 | 3.73 | FEEDER BILLING COMPLETED |  |  | 11121
63 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F09-BARDI | AGRI | 1210104904020304 | 167 | 167 | 0 | 135 | 0 | 195.5 | 504.7 | 2000 | 618400 | 0 | 320000 | 298400 | 1612 | 270000 | 271612 | 8.98 | 1588945.55 | 1582462.55 | 0.9102 | 0.9959 | 8.94 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
64 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F10-GEDDALAHALLI | AGRI | 1210104904020305 | 281 | 281 | 0 | 278 | 0 | 71.6 | 163.9 | 2000 | 184600 | 420000 | 0 | 604600 | 541 | 547703.924 | 548244.924 | 9.32 | 3192498.94 | 3188932.94 | 0.9068 | 0.9989 | 9.31 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
65 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F11-WINTRAC | INDUSTRIAL | 1210104904010301 | 1 | 1 | 0 | 0 | 0 | 869.362 | 887.494 | 40000 | 725280 | 0 | 0 | 725280 | 725080 | 0 | 725080 | 0.03 | 2570477 | 2570477 | 0.9997 | 1 | 0.03 | FEEDER BILLING COMPLETED |  |  | 11121
66 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F12-HASIRUVALLI-NJY | NJY | 1210104904020306 | 2165 | 2165 | 0 | 0 | 0 | 1221.073 | 1253.304 | 20000 | 644620 | 0 | 226670.5 | 439620 | 400488.8 | 0 | 400488.8 | 8.9 | 3862091.3 | 3326445.3 | 0.911 | 0.8613 | 7.67 | FEEDER BILLING COMPLETED |  |  | 11121
67 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F13-RHCS | MIXED LOAD | 1210104904020307 | 2038 | 2038 | 0 | 112 | 0 | 16647.5 | 17219.6 | 2000 | 1144200 | 0 | 318223.5 | 1044200 | 821125.95 | 155140.608 | 976266.558 | 6.51 | 9630955.27 | 8190771.38 | 0.9349 | 0.8505 | 5.54 | FEEDER BILLING COMPLETED |  |  | 11121
68 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F14-UNIVERSAL AIR | INDUSTRIAL | 1210104904010106 | 2 | 2 | 0 | 0 | 0 | 42088.4 | 43462.9 | 2000 | 2749000 | 0 | 14565 | 2749000 | 2733552.5 | 0 | 2733552.5 | 0.56 | 9531419 | 9343650 | 0.9944 | 0.9803 | 0.55 | FEEDER BILLING COMPLETED |  |  | 11121
69 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F23-RAMKY | MIXED LOAD | 1210104903010112 | 8266 | 8266 | 0 | 140 | 0 | 1464.291 | 1489.57 | 40000 | 1011160 | 100000 | 0 | 1111914 | 831782.35 | 193925.76 | 1025708.11 | 7.75 | 9365775.71 | 9212260.16 | 0.9225 | 0.9836 | 7.62 | FEEDER BILLING COMPLETED |  |  | 11121
70 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F03-ARISHINAKUNTE | MIXED LOAD | 1210104905010205 | 2865 | 2865 | 0 | 71 | 0 | 6271.1 | 6271.1 | 2000 | 0 | 725000 | 0 | 726220 | 578897 | 98348.064 | 677245.064 | 6.74 | 6139757.81 | 5321558.45 | 0.9326 | 0.8667 | 5.84 | FEEDER BILLING COMPLETED |  |  | 11121
71 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F04-ALURU | MIXED LOAD | 1210104905010203 | 7075 | 7075 | 0 | 108 | 0 | 20514.5 | 20911.6 | 2000 | 794200 | 80000 | 0 | 877142.5 | 660585.25 | 149599.872 | 810185.122 | 7.63 | 7631827.8 | 5747910.11 | 0.9237 | 0.7531 | 5.75 | FEEDER BILLING COMPLETED |  |  | 11121
72 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F05-TRIDENT | MIXED LOAD | 1210104905010201 | 3492 | 3492 | 0 | 726 | 0 | 39214.8 | 39781.3 | 2000 | 1133000 | 950000 | 0 | 2225045 | 1036553 | 1005643.584 | 2042196.584 | 8.22 | 17239995.17 | 16173897.38 | 0.9178 | 0.9382 | 7.71 | FEEDER BILLING COMPLETED |  |  | 11121
73 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F06-MAKALI | MIXED LOAD | 1210104905010202 | 4444 | 4444 | 0 | 35 | 0 | 41569.1 | 42085.1 | 2000 | 1032000 | 0 | 170000 | 959713.5 | 830109.75 | 48438.726 | 878548.476 | 8.46 | 9036713.5 | 7855195.75 | 0.9154 | 0.8693 | 7.35 | FEEDER BILLING COMPLETED |  |  | 11121
74 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F07-GOLDEN_PALMS | MIXED LOAD | 1210104905020201 | 3115 | 3115 | 0 | 1 | 0 | 51471.7 | 52008.5 | 2000 | 1073600 | 0 | 154996 | 1023600 | 935402.5 | 1385.184 | 936787.684 | 8.48 | 10188660.98 | 8864650.66 | 0.9152 | 0.8701 | 7.38 | FEEDER BILLING COMPLETED |  |  | 11121
75 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | TAVAREKERE |  | F10-KITTANAHALLI | MIXED LOAD | 1210105902010302 | 6383 | 6383 | 0 | 320 | 0 | 17.1 | 573.2 | 2000 | 1112200 | 0 | 200000 | 912200 | 516018.75 | 340579.2 | 856597.95 | 6.1 | 7121616.47 | 5775309.04 | 0.939 | 0.811 | 4.95 | FEEDER BILLING COMPLETED |  |  | 13431
76 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | TAVAREKERE |  | F08-KADABAGERE | MIXED LOAD | 1210105902020304 | 4504 | 4504 | 0 | 21 | 0 | 161.8 | 541.6 | 2000 | 759600 | 0 | 200000 | 559600 | 526056.3 | 22566.195 | 548622.495 | 1.96 | 5527035.31 | 5034808.19 | 0.9804 | 0.9109 | 1.79 | FEEDER BILLING COMPLETED |  |  | 13431
77 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | TAVAREKERE |  | F04-BANASWADI | MIXED LOAD | 1210105902010104 | 3330 | 3330 | 0 | 40 | 0 | 0 | 1.1 | 2000 | 2200 | 0 | 0 | 2200 | 207598.8 | 42572.4 | 250171.2 | -11271.42 | 2509793.72 | 1703344.36 | 113.7142 | 0.6787 | -7649.91 | FEEDER BILLING COMPLETED |  |  | 13431
78 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | TAVAREKERE |  | F02-METEPALYA | AGRI | 1210105902010102 | 713 | 713 | 0 | 398 | 0 | 0 | 337.2 | 2000 | 674400 | 0 | 0 | 674400 | 14519.6 | 624851.642 | 639371.242 | 5.19 | 3829843.4 | 3746426.59 | 0.9481 | 0.9782 | 5.08 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 13431

## sheet1 (2)
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS | ENRTYTIME | loc_code
1 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F02-ADARSHANAGARA | MIXED LOAD | 1210104905010204 | 8224 | 8224 | 0 | 112 | 0 | 9607.3 | 9824.2 | 2000 | 433800 | 770000 | 0 | 1206432 | 951387.32 | 155140.608 | 1106527.928 | 8.28 | 10524865.6 | 8723704.52 | 0.9172 | 0.8289 | 6.86 | FEEDER BILLING COMPLETED |  |  | 11121
2 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F03-ARISHINAKUNTE | MIXED LOAD | 1210104905010205 | 2865 | 2865 | 0 | 71 | 0 | 6271.1 | 6271.1 | 2000 | 0 | 725000 | 0 | 726220 | 578897 | 98348.064 | 677245.064 | 6.74 | 6139757.81 | 5321558.45 | 0.9326 | 0.8667 | 5.84 | FEEDER BILLING COMPLETED |  |  | 11121
3 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F04-ALURU | MIXED LOAD | 1210104905010203 | 7075 | 7075 | 0 | 108 | 0 | 20514.5 | 20911.6 | 2000 | 794200 | 80000 | 0 | 877142.5 | 660585.25 | 149599.872 | 810185.122 | 7.63 | 7631827.8 | 5747910.11 | 0.9237 | 0.7531 | 5.75 | FEEDER BILLING COMPLETED |  |  | 11121
4 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F05-TRIDENT | MIXED LOAD | 1210104905010201 | 3492 | 3492 | 0 | 726 | 0 | 39214.8 | 39781.3 | 2000 | 1133000 | 950000 | 0 | 2225045 | 1036553 | 1005643.584 | 2042196.584 | 8.22 | 17239995.17 | 16173897.38 | 0.9178 | 0.9382 | 7.71 | FEEDER BILLING COMPLETED |  |  | 11121
5 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F06-MAKALI | MIXED LOAD | 1210104905010202 | 4444 | 4444 | 0 | 35 | 0 | 41569.1 | 42085.1 | 2000 | 1032000 | 0 | 170000 | 959713.5 | 830109.75 | 48438.726 | 878548.476 | 8.46 | 9036713.5 | 7855195.75 | 0.9154 | 0.8693 | 7.35 | FEEDER BILLING COMPLETED |  |  | 11121
6 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F07-GOLDEN_PALMS | MIXED LOAD | 1210104905020201 | 3115 | 3115 | 0 | 1 | 0 | 51471.7 | 52008.5 | 2000 | 1073600 | 0 | 154996 | 1023600 | 935402.5 | 1385.184 | 936787.684 | 8.48 | 10188660.98 | 8864650.66 | 0.9152 | 0.8701 | 7.38 | FEEDER BILLING COMPLETED |  |  | 11121
7 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F08-APMC | MIXED LOAD | 1210104905020202 | 5410 | 5410 | 0 | 175 | 0 | 47406 | 47953 | 2000 | 1094000 | 390000 | 0 | 1485194 | 1117038.75 | 242407.2 | 1359445.95 | 8.47 | 12163990.87 | 10717788.65 | 0.9153 | 0.8811 | 7.46 | FEEDER BILLING COMPLETED |  |  | 11121
8 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F09-RAJAJINAGAR HOUSING SOCIETY | MIXED LOAD | 1210104905020204 | 1186 | 1186 | 0 | 120 | 0 | 12207.2 | 12731.6 | 2000 | 1048800 | 0 | 540000 | 508800 | 309504 | 166222.08 | 475726.08 | 6.5 | 5800527.76 | 2547134.45 | 0.935 | 0.4391 | 2.85 | FEEDER BILLING COMPLETED |  |  | 11121
9 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F10-VASAVI | MIXED LOAD | 1210104905020205 | 856 | 856 | 0 | 15 | 0 | 7360.2 | 7626.3 | 2000 | 532200 | 0 | 430000 | 102933 | 75101 | 20777.76 | 95878.76 | 6.85 | 1110164.85 | 803478.24 | 0.9315 | 0.7237 | 4.96 | FEEDER BILLING COMPLETED |  |  | 11121
10 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F11-DASANAPURA | MIXED LOAD | 1210104905010206 | 5708 | 5708 | 0 | 122 | 0 | 640.709 | 640.709 | 20000 | 0 | 650000 | 0 | 850531 | 615018.75 | 168992.448 | 784011.198 | 7.82 | 8419558.34 | 6308053.56 | 0.9218 | 0.7492 | 5.86 | FEEDER BILLING COMPLETED |  |  | 11121
11 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F12-HUSKUR | MIXED LOAD | 1210104905020206 | 1048 | 1048 | 0 | 159 | 0 | 7671.8 | 8184.4 | 1000 | 512600 | 0 | 175000 | 337600 | 92622.75 | 220244.256 | 312867.006 | 7.33 | 2349209.72 | 2073396.54 | 0.9267 | 0.8826 | 6.47 | FEEDER BILLING COMPLETED |  |  | 11121
12 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | ALURU_66 | NELAMANGALA |  | F13-HIMALAYA DRUG | INDUSTRIAL | 1210104905020203 | 3 | 3 | 0 | 0 | 0 | 19325.9 | 19538.2 | 4000 | 849200 | 0 | 0 | 849200 | 891037.7 | 0 | 891037.7 | -4.93 | 1399810 | 1398507 | 1.0493 | 0.9991 | -4.93 | FEEDER BILLING COMPLETED |  |  | 11121
13 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F02-BIEC | INDUSTRIAL | 1210104906010102 | 2 | 2 | 0 | 0 | 0 | 5538.4 | 5744 | 2000 | 411200 | 0 | 0 | 411200 | 412604 | 0 | 412604 | -0.34 | 4596123 | 4596123 | 1.0034 | 1 | -0.34 | FEEDER BILLING COMPLETED |  |  | 11121
14 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F03-MADANAYAKANAHALLI | MIXED LOAD | 1210104906010103 | 6426 | 6426 | 0 | 75 | 0 | 26730.4 | 27194.1 | 2000 | 927400 | 70000 | 0 | 1003098 | 833131.6 | 103888.8 | 937020.4 | 6.59 | 9065852.33 | 8684974.02 | 0.9341 | 0.958 | 6.31 | FEEDER BILLING COMPLETED |  |  | 11121
15 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F04-T.G.HALLI | MIXED LOAD | 1210104906010104 | 7898 | 7898 | 0 | 152 | 0 | 21101 | 21529.6 | 2000 | 857200 | 100000 | 0 | 957889 | 689593 | 210547.968 | 900140.968 | 6.03 | 8172267.73 | 7359747.74 | 0.9397 | 0.9006 | 5.43 | FEEDER BILLING COMPLETED |  |  | 11121
16 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F05-ANCHEPALYA | MIXED LOAD | 1210104906010105 | 3378 | 3378 | 0 | 46 | 0 | 7404 | 7637.8 | 2000 | 467600 | 0 | 28000 | 439867 | 349189 | 63718.464 | 412907.464 | 6.13 | 3902967.85 | 2938721.96 | 0.9387 | 0.7529 | 4.62 | FEEDER BILLING COMPLETED |  |  | 11121
17 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F06-BUDDHAJYOTHI LAYOUT | MIXED LOAD | 1210104906010106 | 3637 | 3637 | 0 | 1 | 0 | 4340.3 | 4611 | 2000 | 541400 | 0 | 30196 | 511400 | 460526.5 | 1385.184 | 461911.684 | 9.68 | 4561380.46 | 3907785.82 | 0.9032 | 0.8567 | 8.29 | FEEDER BILLING COMPLETED |  |  | 11121
18 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F07-SIDDANAHOSAHALLI | MIXED LOAD | 1210104906010107 | 703 | 703 | 0 | 0 | 0 | 4917.4 | 4986.7 | 2000 | 138600 | 373376.5 | 0 | 518600 | 471035.5 | 0 | 471035.5 | 9.17 | 3586868.35 | 3400986.08 | 0.9083 | 0.9482 | 8.69 | FEEDER BILLING COMPLETED |  |  | 11121
19 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F08-TCI | MIXED LOAD | 1210104906010110 | 15410 | 15410 | 0 | 254 | 0 | 23996.8 | 24947.2 | 2000 | 1900800 | 0 | 50000 | 1853903 | 1378062.9 | 351836.736 | 1729899.636 | 6.69 | 15906353.97 | 13984145.19 | 0.9331 | 0.8792 | 5.88 | FEEDER BILLING COMPLETED |  |  | 11121
20 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F09-GANGONDANAHALLI | MIXED LOAD | 1210104906010108 | 10012 | 10012 | 0 | 225 | 0 | 28152 | 29118 | 2000 | 1932000 | 0 | 350000 | 1582648 | 1147810 | 311495.544 | 1459305.544 | 7.79 | 13549467.1 | 10955626.58 | 0.9221 | 0.8086 | 6.3 | FEEDER BILLING COMPLETED |  |  | 11121
21 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F10-MADAVARA | MIXED LOAD | 1210104906010109 | 3832 | 3832 | 0 | 23 | 0 | 11013.7 | 11215.5 | 2000 | 403600 | 0 | 80000 | 324842 | 273695.2 | 31859.232 | 305554.432 | 5.94 | 2865516.03 | 2436302.51 | 0.9406 | 0.8502 | 5.05 | FEEDER BILLING COMPLETED |  |  | 11121
22 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F11-PRESTIGE_JINDAL_CITY | DOMESTIC | 1210104906010111 | 3600 | 3600 | 0 | 0 | 0 | 8189.6 | 8189.6 | 2000 | 0 | 1049996.3 | 0 | 1050000 | 963146.75 | 0 | 963146.75 | 8.27 | 8726303.86 | 8201973.7 | 0.9173 | 0.9399 | 7.77 | FEEDER BILLING COMPLETED |  |  | 11121
23 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F12-IKEA | INDUSTRIAL | 1210104906010112 | 0 | 0 | 0 | 0 | 0 | 6107.1 | 6107.1 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FEEDER BILLING COMPLETED |  |  | 11121
24 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | BIEC_66 | NELAMANGALA |  | F13-LAKSHMIPURA | MIXED LOAD | 1210104906010113 | 2331 | 2331 | 0 | 31 | 0 | 7474.2 | 7474.2 | 2000 | 0 | 330000 | 0 | 330000 | 280965 | 42940.704 | 323905.704 | 1.85 | 3030022.47 | 2491353.14 | 0.9815 | 0.8222 | 1.52 | FEEDER BILLING COMPLETED |  |  | 11121
25 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F01-TATA HOUSING | MIXED LOAD | 1210104903010111 | 1385 | 1385 | 0 | 256 | 0 | 419.47 | 426.66 | 40000 | 287600 | 280000 | 0 | 567600 | 181020.7 | 354607.104 | 535627.804 | 5.63 | 4177453.56 | 3703784.13 | 0.9437 | 0.8866 | 4.99 | FEEDER BILLING COMPLETED |  |  | 11121
26 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F02-KBDL | MIXED LOAD | 1210104903020301 | 1414 | 1414 | 0 | 39 | 0 | 1189.65 | 1206.64 | 40000 | 679600 | 99523.7 | 0 | 779600 | 685452.2 | 54022.176 | 739474.376 | 5.15 | 5430621.14 | 4716506.04 | 0.9485 | 0.8685 | 4.47 | FEEDER BILLING COMPLETED |  |  | 11121
27 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F03-KSSIDC | MIXED LOAD | 1210104903010109 | 1342 | 1342 | 0 | 193 | 0 | 1600.284 | 1635.2 | 40000 | 1396640 | 19802.8 | 0 | 1476640 | 1121278.3 | 267340.512 | 1388618.812 | 5.96 | 12181229.47 | 11218922.65 | 0.9404 | 0.921 | 5.49 | FEEDER BILLING COMPLETED |  |  | 11121
28 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F04-INDUSTRIAL | MIXED LOAD | 1210104903010101 | 6208 | 6208 | 0 | 44 | 0 | 805.298 | 818.75 | 40000 | 538080 | 75000 | 0 | 613230 | 508582.8 | 60948.096 | 569530.896 | 7.13 | 5491561.82 | 4719102.85 | 0.9287 | 0.8593 | 6.13 | FEEDER BILLING COMPLETED |  |  | 11121
29 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F05-MADAWARA | MIXED LOAD | 1210104903010102 | 839 | 839 | 0 | 3 | 0 | 1108.084 | 1130.78 | 40000 | 907840 | 0 | 653670 | 277840 | 250095.5 | 4155.552 | 254251.052 | 8.49 | 2783505.07 | 2000322.43 | 0.9151 | 0.7186 | 6.1 | FEEDER BILLING COMPLETED |  |  | 11121
30 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F07-CHOCOLATE-FACTORY | MIXED LOAD | 1210104903020302 | 2884 | 2884 | 0 | 429 | 0 | 1140.43 | 1165 | 40000 | 982800 | 250000 | 0 | 1239973.7 | 580522.35 | 594243.936 | 1174766.286 | 5.26 | 8626505.03 | 8519741.53 | 0.9474 | 0.9876 | 5.19 | FEEDER BILLING COMPLETED |  |  | 11121
31 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F08-NELAMANGALA-TOWN | MIXED LOAD | 1210104903020303 | 6795 | 6795 | 0 | 35 | 0 | 1334.41 | 1358.76 | 40000 | 974000 | 0 | 216790 | 764000 | 660869.55 | 48481.44 | 709350.99 | 7.15 | 7134601.87 | 5520789 | 0.9285 | 0.7738 | 5.53 | FEEDER BILLING COMPLETED |  |  | 11121
32 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F09-SONDEKOPPA | AGRI | 1210104903020304 | 1221 | 1221 | 0 | 845 | 0 | 692.59 | 712.55 | 40000 | 798400 | 75000 | 0 | 738400 | 68741 | 737762.74 | 806503.74 | -9.22 | 4936620.2 | 4516867.67 | 1.0922 | 0.915 | -8.44 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
33 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F10-HIMALAYA-DRUG | MIXED LOAD | 1210104903010103 | 5583 | 5583 | 0 | 1 | 0 | 1095.206 | 1130.54 | 40000 | 1413360 | 0 | 532410 | 883360 | 813158.35 | 1385.184 | 814543.534 | 7.79 | 8185233.85 | 6850352.27 | 0.9221 | 0.8369 | 6.52 | FEEDER BILLING COMPLETED |  |  | 11121
34 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F11-ORGANIC | INDUSTRIAL | 1210104903010104 | 1 | 1 | 0 | 0 | 0 | 2232.125 | 2277.35 | 40000 | 1809000 | 0 | 0 | 1809000 | 1787660 | 0 | 1787660 | 1.18 | 5794524 | 5788729 | 0.9882 | 0.999 | 1.18 | FEEDER BILLING COMPLETED |  |  | 11121
35 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F12-V-V-PURA | MIXED LOAD | 1210104903010105 | 8916 | 8916 | 0 | 2 | 0 | 2010.352 | 2036.82 | 40000 | 1058720 | 0 | 2003 | 1058720 | 965990.3 | 2770.368 | 968760.668 | 8.5 | 9738152.04 | 8283992.96 | 0.915 | 0.8507 | 7.23 | FEEDER BILLING COMPLETED |  |  | 11121
36 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F14-KESAR-MARBLE | MIXED LOAD | 1210104903020305 | 628 | 628 | 0 | 12 | 0 | 2082.72 | 2120.8 | 40000 | 1523200 | 0 | 380313.5 | 1153200 | 1044089.35 | 16622.208 | 1060711.558 | 8.02 | 8150374.61 | 7875811.84 | 0.9198 | 0.9663 | 7.75 | FEEDER BILLING COMPLETED |  |  | 11121
37 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F15-PEPSI | MIXED LOAD | 1210104903020306 | 665 | 665 | 0 | 5 | 0 | 1035.65 | 1049.64 | 40000 | 559600 | 0 | 41665 | 529600 | 472608 | 6925.92 | 479533.92 | 9.45 | 4377827.44 | 4229698.44 | 0.9055 | 0.9662 | 9.13 | FEEDER BILLING COMPLETED |  |  | 11121
38 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F16-YENTAGANAHALLI | MIXED LOAD | 1210104903030501 | 3858 | 3858 | 0 | 792 | 0 | 1976.522 | 2009.56 | 40000 | 1321520 | 625000 | 0 | 1949338.75 | 709936.3 | 1097065.728 | 1807002.028 | 7.3 | 10888864.34 | 9635928.5 | 0.927 | 0.8849 | 6.46 | FEEDER BILLING COMPLETED |  |  | 11121
39 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F17-RAMCO-BIOTECH | MIXED LOAD | 1210104903030502 | 3227 | 3227 | 0 | 79 | 0 | 917.787 | 937.33 | 40000 | 781720 | 0 | 207329 | 581720 | 440727.4 | 109429.536 | 550156.936 | 5.43 | 5407079.88 | 3997736.68 | 0.9457 | 0.7394 | 4.01 | FEEDER BILLING COMPLETED |  |  | 11121
40 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F18-VIJAYA-STEEL | MIXED LOAD | 1210104903030503 | 504 | 504 | 0 | 48 | 0 | 1171.288 | 1192.75 | 40000 | 858480 | 100000 | 0 | 958480 | 829603.35 | 66488.832 | 896092.182 | 6.51 | 8322365.41 | 8260210.23 | 0.9349 | 0.9925 | 6.46 | FEEDER BILLING COMPLETED |  |  | 11121
41 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F19-T-BEGUR-AGRI | AGRI | 1210104903030504 | 181 | 181 | 0 | 178 | 0 | 291.963 | 301.55 | 40000 | 383480 | 0 | 360000 | 23480 | 266 | 21515.394 | 21781.394 | 7.23 | 129004.24 | 128998.24 | 0.9277 | 1 | 7.23 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
42 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F20-GOLLAHALLI | MIXED LOAD | 1210104903030505 | 870 | 870 | 0 | 421 | 0 | 1094.184 | 1094.184 | 40000 | 0 | 650000 | 0 | 650000 | 62829.5 | 582692.61 | 645522.11 | 0.69 | 4306184.11 | 4098918.87 | 0.9931 | 0.9519 | 0.66 | FEEDER BILLING COMPLETED |  |  | 11121
43 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F21-ABB | INDUSTRIAL | 1210104903030506 | 10 | 10 | 0 | 0 | 0 | 485.813 | 494.02 | 40000 | 328280 | 0 | 0 | 328280 | 331236.5 | 0 | 331236.5 | -0.9 | 1587345.8 | 1594378.8 | 1.009 | 1.0044 | -0.9 | FEEDER BILLING COMPLETED |  |  | 11121
44 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F22-DENSO | INDUSTRIAL | 1210104903030507 | 1 | 1 | 0 | 0 | 0 | 1103.184 | 1126.78 | 40000 | 943840 | 0 | 1875 | 943840 | 944125 | 0 | 944125 | -0.03 | 6251271 | 6251271 | 1.0003 | 1 | -0.03 | FEEDER BILLING COMPLETED |  |  | 11121
45 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F23-RAMKY | MIXED LOAD | 1210104903010112 | 8266 | 8266 | 0 | 140 | 0 | 1464.291 | 1489.57 | 40000 | 1011160 | 100000 | 0 | 1111914 | 831782.35 | 193925.76 | 1025708.11 | 7.75 | 9365775.71 | 9212260.16 | 0.9225 | 0.9836 | 7.62 | FEEDER BILLING COMPLETED |  |  | 11121
46 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F24-SOLADEVANAHALLI | NJY | 1210104903010106 | 3993 | 3993 | 0 | 0 | 0 | 2057.133 | 2095.2 | 20000 | 761340 | 0 | 255639.4 | 521340 | 489864.65 | 0 | 489864.65 | 6.04 | 5247049.34 | 3756222.57 | 0.9396 | 0.7159 | 4.32 | FEEDER BILLING COMPLETED |  |  | 11121
47 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F25-MODALAKOTE-NJY | NJY | 1210104903010107 | 1119 | 1119 | 0 | 0 | 0 | 315.745 | 322.32 | 20000 | 131500 | 0 | 36000 | 95500 | 86167.1 | 0 | 86167.1 | 9.77 | 946369.25 | 700386.54 | 0.9023 | 0.7401 | 7.23 | FEEDER BILLING COMPLETED |  |  | 11121
48 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F26-NIRMAN_LAYOUT | MIXED LOAD | 1210104903010501 | 3067 | 3067 | 0 | 3 | 0 | 1000.35 | 1024.43 | 40000 | 963200 | 0 | 217992 | 753200 | 681221.2 | 4155.552 | 685376.752 | 9 | 6341700.87 | 5571419.04 | 0.91 | 0.8785 | 7.91 | FEEDER BILLING COMPLETED |  |  | 11121
49 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F27-TELECOM_LAYOUT | MIXED LOAD | 1210104903030508 | 1975 | 1975 | 0 | 307 | 0 | 8227.5 | 9617.9 | 1000 | 1390400 | 0 | 625000 | 766003 | 292177 | 425251.488 | 717428.488 | 6.34 | 5257354.7 | 5050539.38 | 0.9366 | 0.9607 | 6.09 | FEEDER BILLING COMPLETED |  |  | 11121
50 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F28-GOPALPURA-NJY | NJY | 1210104903030509 | 2536 | 2536 | 0 | 1 | 0 | 40875.9 | 41288.4 | 1000 | 412500 | 373170 | 0 | 862500 | 807554.9 | 1385.184 | 808940.084 | 6.21 | 8596845.43 | 7937319.81 | 0.9379 | 0.9233 | 5.73 | FEEDER BILLING COMPLETED |  |  | 11121
51 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F02-INDUS-FILA | MIXED LOAD | 1210104904010101 | 707 | 707 | 0 | 19 | 0 | 305.2 | 953.8 | 2000 | 1297200 | 0 | 650000 | 647200 | 573406.1 | 26318.496 | 599724.596 | 7.34 | 5118386.37 | 4848210.77 | 0.9266 | 0.9472 | 6.95 | FEEDER BILLING COMPLETED |  |  | 11121
52 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F03-PEPSI | INDUSTRIAL | 1210104904010102 | 3 | 3 | 0 | 0 | 0 | 257.7 | 968.8 | 2000 | 1422200 | 0 | 0 | 1422200 | 1458838 | 0 | 1458838 | -2.58 | 9829717 | 9820425 | 1.0258 | 0.9991 | -2.58 | FEEDER BILLING COMPLETED |  |  | 11121
53 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F04-KEMWELL | MIXED LOAD | 1210104904010104 | 1695 | 1695 | 0 | 83 | 0 | 549.2 | 1677.4 | 2000 | 2256400 | 300000 | 0 | 2558336 | 2217748.85 | 114970.272 | 2332719.122 | 8.82 | 10536063.87 | 10031794.51 | 0.9118 | 0.9521 | 8.4 | FEEDER BILLING COMPLETED |  |  | 11121
54 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F05-ACE-DESINGER | INDUSTRIAL | 1210104904010103 | 2 | 2 | 0 | 0 | 0 | 224.5 | 649.2 | 2000 | 849400 | 0 | 0 | 849400 | 831620 | 0 | 831620 | 2.09 | 7728113.64 | 7728113.64 | 0.9791 | 1 | 2.09 | FEEDER BILLING COMPLETED |  |  | 11121
55 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F06-KIRLOSKAR | MIXED LOAD | 1210104904020301 | 1498 | 1498 | 0 | 30 | 0 | 693.8 | 1269.9 | 2000 | 1152200 | 0 | 39872.2 | 1152200 | 1042611.7 | 41555.52 | 1084167.22 | 5.9 | 11292875.01 | 10787435.66 | 0.941 | 0.9552 | 5.64 | FEEDER BILLING COMPLETED |  |  | 11121
56 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F07-HASURUVALLI-AGRI | AGRI | 1210104904020302 | 502 | 502 | 0 | 483 | 0 | 152.8 | 422.1 | 2000 | 538600 | 500000 | 0 | 1038600 | 7616 | 947548.917 | 955164.917 | 8.03 | 5576862.75 | 5555902.75 | 0.9197 | 0.9962 | 8 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
57 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F08-FILAMENT | MIXED LOAD | 1210104904020303 | 1498 | 1498 | 0 | 11 | 0 | 408.3 | 736.3 | 2000 | 656000 | 0 | 110847 | 586000 | 529958.95 | 15237.024 | 545195.974 | 6.96 | 6181591.37 | 3315356.85 | 0.9304 | 0.5363 | 3.73 | FEEDER BILLING COMPLETED |  |  | 11121
58 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F09-BARDI | AGRI | 1210104904020304 | 167 | 167 | 0 | 135 | 0 | 195.5 | 504.7 | 2000 | 618400 | 0 | 320000 | 298400 | 1612 | 270000 | 271612 | 8.98 | 1588945.55 | 1582462.55 | 0.9102 | 0.9959 | 8.94 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
59 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F10-GEDDALAHALLI | AGRI | 1210104904020305 | 281 | 281 | 0 | 278 | 0 | 71.6 | 163.9 | 2000 | 184600 | 420000 | 0 | 604600 | 541 | 547703.924 | 548244.924 | 9.32 | 3192498.94 | 3188932.94 | 0.9068 | 0.9989 | 9.31 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121
60 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F11-WINTRAC | INDUSTRIAL | 1210104904010301 | 1 | 1 | 0 | 0 | 0 | 869.362 | 887.494 | 40000 | 725280 | 0 | 0 | 725280 | 725080 | 0 | 725080 | 0.03 | 2570477 | 2570477 | 0.9997 | 1 | 0.03 | FEEDER BILLING COMPLETED |  |  | 11121
61 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F12-HASIRUVALLI-NJY | NJY | 1210104904020306 | 2165 | 2165 | 0 | 0 | 0 | 1221.073 | 1253.304 | 20000 | 644620 | 0 | 226670.5 | 439620 | 400488.8 | 0 | 400488.8 | 8.9 | 3862091.3 | 3326445.3 | 0.911 | 0.8613 | 7.67 | FEEDER BILLING COMPLETED |  |  | 11121
62 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F13-RHCS | MIXED LOAD | 1210104904020307 | 2038 | 2038 | 0 | 112 | 0 | 16647.5 | 17219.6 | 2000 | 1144200 | 0 | 318223.5 | 1044200 | 821125.95 | 155140.608 | 976266.558 | 6.51 | 9630955.27 | 8190771.38 | 0.9349 | 0.8505 | 5.54 | FEEDER BILLING COMPLETED |  |  | 11121
63 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | T_BEGUR_66 | NELAMANGALA |  | F14-UNIVERSAL AIR | INDUSTRIAL | 1210104904010106 | 2 | 2 | 0 | 0 | 0 | 42088.4 | 43462.9 | 2000 | 2749000 | 0 | 14565 | 2749000 | 2733552.5 | 0 | 2733552.5 | 0.56 | 9531419 | 9343650 | 0.9944 | 0.9803 | 0.55 | FEEDER BILLING COMPLETED |  |  | 11121
64 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | TAVAREKERE |  | F02-METEPALYA | AGRI | 1210105902010102 | 713 | 713 | 0 | 398 | 0 | 0 | 337.2 | 2000 | 674400 | 0 | 0 | 674400 | 14519.6 | 624851.642 | 639371.242 | 5.19 | 3829843.4 | 3746426.59 | 0.9481 | 0.9782 | 5.08 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 13431
65 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | TAVAREKERE |  | F04-BANASWADI | MIXED LOAD | 1210105902010104 | 3330 | 3330 | 0 | 40 | 0 | 0 | 1.1 | 2000 | 2200 | 0 | 0 | 2200 | 207598.8 | 42572.4 | 250171.2 | -11271.42 | 2509793.72 | 1703344.36 | 113.7142 | 0.6787 | -7649.91 | FEEDER BILLING COMPLETED |  |  | 13431
66 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | TAVAREKERE |  | F10-KITTANAHALLI | MIXED LOAD | 1210105902010302 | 6383 | 6383 | 0 | 320 | 0 | 17.1 | 573.2 | 2000 | 1112200 | 0 | 200000 | 912200 | 516018.75 | 340579.2 | 856597.95 | 6.1 | 7121616.47 | 5775309.04 | 0.939 | 0.811 | 4.95 | FEEDER BILLING COMPLETED |  |  | 13431
67 | BANGALORE NORTH | PEENYA | N5 SRS GATE | WIDIA_66 | N5 SRS GATE |  | F03-BIEC | MIXED LOAD | 1120102906010301 | 91 | 91 | 0 | 0 | 0 | 5314.3 | 5314.4 | 2000 | 200 | 7000 | 0 | 7200 | 6682 | 0 | 6682 | 7.19 | 72886.1 | 52534.21 | 0.9281 | 0.7208 | 5.18 |  |  |  | 32321
68 | BANGALORE NORTH | PEENYA | N5 SRS GATE | WIDIA_66 | N5 SRS GATE |  | F08-ANCHEPALYA | MIXED LOAD | 1120102906010304 | 3861 | 3861 | 0 | 22 | 0 | 8175.9 | 8399.5 | 2000 | 447200 | 100000 | 0 | 553388 | 489098 | 33000 | 522098 | 5.65 | 4984081.62 | 4475044.31 | 0.9435 | 0.8979 | 5.07 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 32321
69 | BANGALORE NORTH | PEENYA | N5 SRS GATE | WIDIA_66 | N5 SRS GATE |  | F11-JINDAL | INDUSTRIAL | 1120102906010102 | 89 | 89 | 0 | 0 | 0 | 37101.9 | 38143.2 | 2000 | 2082600 | 0 | 0 | 2082600 | 2159077.75 | 0 | 2159077.75 | -3.67 | 7279251.74 | 7270452.74 | 1.0367 | 0.9988 | -3.67 |  |  |  | 32321

## TO BE EDIT FROM BACKHAND
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS | ENRTYTIME | loc_code
32 | BANGALORE RURAL | NELAMANGALA | NELAMANGALA | NELMANGALA_66 | NELAMANGALA |  | F09-SONDEKOPPA | AGRI | 1210104903020304 | 1221 | 1221 | 0 | 845 | 0 | 692.59 | 712.55 | 40000 | 798400 | 75000 | 0 | 738400 | 68741 | 737762.74 | 806503.74 | -9.22 | 4936620.2 | 4516867.67 | 1.0922 | 0.915 | -8.44 | FEEDER BILLING DONE, NON AGRI PENDING |  |  | 11121