## Consumption
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED | [18 empty] | 2682230 |  | 1865040
Energy consumption & Peak load statement of 66/11 KV MUSS Peresandra for the month of MAY-2025
Sl No |  | Name of theBank/Feeder | Final Reading | Initial Reading | Difference | Meter constant | Energy consumption | Total energy consumption | CT Ratio | CATEGORY | METER SL NO. | METER TYPE | Peak load |  |  |  |  | L-TC1+TC2 | TC-B1 | TC-B2 | B1-F | B2-F | TC1-F1 | TC2-F2
[13 empty] | AMP | MW | DATE | TIME |  | -8100 | 668770 | 66180 | 19680 | -42120 | 668770 | 24060
1 | L1 | Mandikal-Peresandra (IMPORT) | 2.6 | 2.6 | 0 | 6000 | 0 |  | 400/1 |  | 15198914 |  | - | - | - | - |  | -0.0015482 | 0.19957 | 0.035033 | 0.0058729 | -0.022296 | 0.19957 | 0.012736
2 | L2 | Mandikal-Peresandra (EXPORT) | 23389.9 | 23087.3 | 302.6 | 6000 | 1815600 |  | 400/1 |  | 15198914 |  | 73 | 7.3 | 2025-05-10 | 13:00 |  | -0.15482 | 19.9573 | 3.5033 | 0.58729 | -2.2296 | 19.9573 | 1.2736
3 | L1 | Somenahalli-Peresandra (IMPORT) | 15810.6 | 15223.3 | 587.3 | 12000 | 7047600 |  | 400/1 |  | 15190335 |  | 202 | 20.2 | 2025-05-08 | 10:00
4 | L2 | Somenahalli-Peresandra (EXPORT) | 6415.1 | 6415.1 | 0 | 12000 | 0 |  | 400/1 |  | 15190335 |  | - | - | - | -
5 | T1 | Transformer 1 | 72011.8 | 70894.8 | 1117 | 3000 | 3351000 | 5240100 | 200/1 |  | 15199640 |  | 108 | 10.8 | 2025-05-07 | 16:00
6 | T2 | Transformer 2) | 39131.2 | 38501.5 | 629.7 | 3000 | 1889100 |  | 200/1 |  | 15199647 |  | 110 | 11 | 2025-05-09 | 11:00
7 | B1 | ABT meter 1(Bank I) | 255.085 | 227.324 | 27.761 | 120000 | 3331320 |  | 1200/1 |  | Q0246410 | SECURE(DLMS) | 652 | 10.8 | 2025-05-07 | 16:00
8 | F1 | F1-Pyalagurki | 682.775 | 674.789 | 7.986 | 40000 | 319440 |  | 400/1 | IP | Q0247428 | SECURE(DLMS) | 300 | 5 | 2025-05-08 | 10:00
9 | F2 | F2-Varlakonda | 145.9 | 135.661 | 10.239 | 20000 | 204780 |  | 200/1 | IP | Q1021242 | SECURE(DLMS) | 168 | 2.8 | 2025-05-05 | 14:00
10 | F3 | F3-Peresandra From 01-05-25 (0:00hrs)to27-05-25 (23:59hrs) | 586.075 | 578.472 | 7.603 | 40000 | 304120 | 324320 | 400/1 | IP | Q0246366 | SECURE(DLMS) | 288 | 4.8 | 2025-05-06 | 14:00
|  | F3-Peresandra From 28-05-25 (0:00hrs)to31-05-25 (23:59hrs) | 190.6 | 170.4 | 20.2 | 1000 | 20200 |  |  |  | 15199662 | L&T (Non DLMS)
11 | F4 | F4-Mandikal Old | 425.612 | 422.249 | 3.363 | 20000 | 67260 |  | 200/1 | IP | Q0246353 | SECURE(DLMS) | 54 | 0.9 | 2025-05-08 | 9:00
12 | F5 | F5-K N R From 01-05-25 (0:00hrs)to18-05-25 (23:59hrs) | 2008.864 | 1990.67 | 18.194 | 40000 | 727760 | 1354960 | 400/1 | IND | Q0246260 | SECURE(DLMS) | 210 | 3.5 | 2025-05-17 | 11:00 |  |  |  | TC
|  | F5-K N R From 18-05-25 (0:00hrs)to31-05-25 (23:59hrs) | 627.2 | 0 | 627.2 | 1000 | 627200 |  |  |  | Q0767371
13 | F6 | Station Aux Breaker | 6.652 | 6.478 | 0.174 | 10000 | 1740 |  | 100/1 | STAION AUX | Q0249727 | SECURE(DLMS) | 2 | 0.02 | 2025-05-01 | 1:00 | IC | 7047600 |  | -8100
14 | F12 | F12-NJY Laxmisagara | 1890.409 | 1854.754 | 35.655 | 10000 | 356550 |  | 100/1 | NJY | Q0247422 | SECURE(DLMS) | 42 | 0.7 | 2025-05-03 | 18:00
15 | F17 | F-17 Yelagalahalli | 1610.511 | 1575.482 | 35.029 | 20000 | 700580 |  | 200/1 | IND | Q0247410 | SECURE(DLMS) | 132 | 2.2 | 2025-05-17 | 1:00
16 | B2 | ABT meter 2(Bank II) | 1375.91 | 1360.719 | 15.191 | 120000 | 1822920 |  | 1200/1 |  | Q0246294 | SECURE(DLMS) | 662 | 11 | 2025-05-09 | 11:00
17 | F8 | F8-Bogaparthy | 783.827 | 776.856 | 6.971 | 20000 | 139420 |  | 200/1 | IP | Q0246233 | SECURE(DLMS) | 126 | 2.1 | 2025-05-07 | 14:00 | OG | 1815600 |  | -0.0015482
18 | F9 | F9-C B PUR Express | 730.617 | 722.218 | 8.399 | 20000 | 167980 |  | 200/1 | IP | Q0246243 | SECURE(DLMS) | 168 | 2.8 | 2025-05-08 | 10:00 |  | 5232000 |  | -0.15482
19 | F10 | F10-Mandikal Express | 559.235 | 553.004 | 6.231 | 20000 | 124620 |  | 200/1 | IP | Q0246322 | SECURE(DLMS) | 120 | 2 | 2025-05-09 | 11:00
20 | F11 | F11-Sadali | 633.956 | 626.05 | 7.906 | 40000 | 316240 |  | 400/1 | IP | Q0245559 | SECURE(DLMS) | 240 | 4 | 2025-05-08 | 11:00
21 | F13 | F13-Haristhala | 1222.667 | 1195.982 | 26.685 | 20000 | 533700 |  | 200/1 | NJY | Q0246317 | SECURE(DLMS) | 80 | 1.3 | 2025-05-22 | 11:00
22 | F14 | F14-Chicknagavalli | 610.838 | 594.143 | 16.695 | 20000 | 333900 |  | 200/1 | NJY | Q0246272 | SECURE(DLMS) | 60 | 1 | 2025-05-01 | 9:00
23 | F15 | F15-Shettygere | 921.689 | 915.099 | 6.59 | 20000 | 131800 |  | 200/1 | IP | Q0246244 | SECURE(DLMS) | 120 | 2 | 2025-05-05 | 13:00
24 | F16 | F16- Besto Mining | 324.684 | 320.325 | 4.359 | 20000 | 87180 |  | 200/1 | IND | Q0247443 | SECURE(DLMS) | 42 | 0.7 | 2025-05-29 | 4:00
25 | F18 | F-18 Kammathanahalli | 667.2 | 652.1 | 15.1 | 2000 | 30200 |  | 200/1 | IP | 13193281 | L&T (Non DLMS) | 132 | 2.2 | 2025-05-17 | 1:00
26 | Bank 1 Feeders total Consumption | [6 empty] | 3329630
27 | Bank 2 Feeders total Consumption | [6 empty] | 1865040
Note: F18 Kammattanahalli feeders cable fault (Bescom side) on 20-04-2025, same attended and put load on F18 on 08-05-2025.Again BESCOM side cable failed on 10-05-2025 and F18 feeders load shifted on F3 Peresandra old feeder by BESCOM.
Station Peak Load
|  | Peak Amps |  | 1212
|  | Peak in MW |  | 20.2
|  | Hours |  | 10:00 | [8 empty] | Assistant Engineer(Ele)
|  | Dated |  | 2025-05-08 | [8 empty] | 66/11kV MUSS,KPTCL
Peresandra