## sheet1
Generated By: | LAKSHMI P S | LAKSHMI P S | Generated On: | 11-02-2026 15:23:08 | 11-02-2026 15:23:08
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION | PROBE FAILED REPORT 01-02-2026 TO 11-02-2026 FOR -CHELURU OMU (CHIKKABALLAPURA)-SECTION
SL_NO | ZONE | CIRCLE | DIVISION | SUBDIVISION | SECTION | OMSECTION | MR_CODE | READING DATE | RRNO | ACCOUNTID | NAME | TARIFF | SANCTION_LOAD | NO_OF_ATTEMPT | METER_MAKE | METER_MANUFACTURE_YEAR | LAST_BILLED_DATE_VIA_PROBE | REASON_FOR_PROBE_FAILED | KWH | MD | PF | ENTERED_REMARKS
1 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-08 | CHEL4347 | 2508172 | RAMESH | LT1-Rural | KW - 0.20 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2024 | 2026-01-08 | Meter not responding | 200 | 0.01 | 0.85
2 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | PPL2146 | 2508956 | GAYATRI | LT1-Rural | KW - 0.16 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2024 | 2026-01-08 | Optical port damaged | 270 | 1.31 | 0.85
3 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-08 | CHEL5175 | 2510000 | J S NAZEER | LT1-Rural | KW - 0.12 / HP - 0.00 / KVA - 0.00 | 2 | HPL | 2021 | 2026-01-08 | Meter not responding | 4913 | 0.01 | 0.85
4 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | PPL348 | 2510395 | KOTTALA VENKATARAYAPPA | LT1-Rural | KW - 0.20 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2024 | 2026-01-08 | Optical port damaged | 160 | 0.14 | 0.85
5 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR-II | 1211218 | 2026-02-03 | CKJ1859 | 2511933 | CHINAPPA | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2025 | 2026-01-03 | Meter not responding | 54.2 | 0.97 | 0.85
6 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | PPL922 | 2512632 | FAQRUDDIN SAB | LT1-Rural | KW - 0.16 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2024 | 2026-01-08 | Optical port damaged | 2 | 0.06 | 0.85
7 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | RGPKJ1173 | 2512789 | GANGULAPPA | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-08 | Optical port damaged | 369 | 0.26 | 0.85
8 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | PPL950 | 2513117 | GANGI REDDY | LT1-Rural | KW - 0.24 / HP - 0.00 / KVA - 0.00 | 2 | HPL | 2018 | 2026-01-08 | Optical port damaged | 322 | 0.11 | 0.85
9 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | BJPPL1004 | 2514003 | SUBBANNA | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2024 | 2026-01-08 | Optical port damaged | 110 | 0.07 | 0.85
10 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | BJPPL1009 | 2514008 | MASTHAN | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2024 | 2026-01-08 | Optical port damaged | 385 | 0.14 | 0.85
11 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | BJPPL1381 | 2514289 | CHINNA MADDI REDDY | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-08 | Optical port damaged | 430 | 0.58 | 0.85
12 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR-II | 1211218 | 2026-02-01 | CHEL5784 | 2516254 | V.SHANKARA REDDY | LT1-Rural | KW - 0.32 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-01 | Meter not responding | 451.2 | 0.1 | 0.85
13 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-06 | CHEP156 | 2522118 | K.V SRINIVASREDDY | LT5-Rural | KW - 0.00 / HP - 11.00 / KVA - 0.00 | 2 |  |  | 2026-01-06 | Meter not responding | 9073 | 2.26 | 0.85
14 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-08 | PKJ247 | 2522567 | RAMACHANRDA | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 0.00 | 2 | LNT | 2024 | 2026-01-08 | Optical port damaged | 31 | 0.02 | 0.85
15 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-08 | CHEL2043 | 2525879 | KHADER SAB | LT1-Rural | KW - 0.12 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-08 | Meter not responding | 326 | 0.01 | 0.85
16 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-08 | CHEL2132 | 2525940 | JAHEER AHAMED | LT1-Rural | KW - 0.16 / HP - 0.00 / KVA - 0.00 | 2 | HPL | 2017 | 2026-01-08 | Meter not responding | 8080 | 0.01 | 0.85
17 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211211 | 2026-02-01 | PPL18147 | 4789236 | RAMCHANDRAPPA | LT3A-Rural | KW - 0.50 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-01 | Optical port damaged | 147 | 0.01 | 0.85
18 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-06 | CHEL18654 | 4812673 | MANJULAMMA W/O NARASIMHACHARI | LT1-Rural | KW - 1.00 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-06 | Meter not responding | 338 | 0.01 | 0.85
19 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-08 | CHEL19379 | 4930231 | ALLI SAB | LT1-Rural | KW - 1.00 / HP - 0.00 / KVA - 1.00 | 2 |  |  | 2026-01-08 | Meter not responding | 1434 | 0.01 | 0.85
20 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-09 | CHEL19843 | 5007405 | NAVITHA P S W/O P C SUBBAREDDY | LT1-Rural | KW - 1.00 / HP - 0.00 / KVA - 0.00 | 2 | LGZ | 2020 | 2026-01-09 | Meter not responding | 2477 | 0.01 | 0.85
21 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-09 | CHEL19844 | 5007406 | NAVITHA P S W/O P C SUBBAREDDY | LT1-Rural | KW - 1.00 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-09 | Meter not responding | 3320 | 0.01 | 0.85
22 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR | 1211213 | 2026-02-09 | CHEL19846 | 5007408 | NAVITHA P S W/O P C SUBBAREDDY | LT1-Rural | KW - 1.00 / HP - 0.00 / KVA - 0.00 | 2 |  |  | 2026-01-09 | Meter not responding | 5225 | 0.01 | 0.85
23 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | PATHAPALYA | 1211215 | 2026-02-03 | PP1674 | 5035832 | THULASAMA W/O NARAYANAREDDY | LT5-Rural | KW - 0.00 / HP - 5.00 / KVA - 0.00 | 2 | LGZ | 2020 | 2026-01-03 | Meter not responding | 4955 | 1 | 0.85
24 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR-II | 1211218 | 2026-02-01 | BLKUPPL7851 | 5592525 | GOVINDAPPA | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 1.00 | 2 |  |  | 2026-01-01 | Meter not responding | 498.8 | 0.12 | 0.85
25 | BRAZ | KOLAR | CHIKKABALLAPURA | BAGEPALLI | CHELURU OMU (CHIKKABALLAPURA) | CHELUR-II | 1211218 | 2026-02-01 | BLKUCHEL8726 | 5731140 | SAVITHRAMMA | LT1-Rural | KW - 0.04 / HP - 0.00 / KVA - 1.00 | 2 | HPL | 2023 | 2026-01-01 | Meter not responding | 1.4 | 0.01 | 0.85