## sheet1 (2)
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report
Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025
| Generated By: | RESHMA BEGAM
| Generated On: | 11-03-2025 10:51:21
[8 empty] | Sub-Division: | DAVANAGERE RURAL
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS
1 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F01-ANJANEYA | AGRI | 1310103902010101 | 311 | 310 | 1 | 310 | 639.252 | 650.321 | 20000 | 221380 | 0 | 0 | 221380 | 0 | 201017.369 | 201017.369 | 9.2 | 1198064.03 | 1198064.03 | 0.91 | 1 | 9
2 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F01-CHITANAHALLI | AGRI | 1310103901010101 | 417 | 417 | 0 | 414 | 631.032 | 653.67 | 20000 | 452760 | 0 | 0 | 452760 | 186 | 432908.755 | 433094.755 | 4.34 | 2588733 | 2582212 | 0.96 | 1 | 4
3 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F10-PUTTUGUNAL | AGRI | 1310103904010501 | 258 | 249 | 9 | 249 | 657.052 | 676.235 | 20000 | 383660 | 0 | 1800 | 381860 | 0 | 344495.152 | 344495.152 | 9.78 | 2053190.8 | 2053190.8 | 0.9 | 1 | 10
4 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F11-BATHI | AGRI | 1310103901020501 | 438 | 431 | 7 | 426 | 969.38 | 1097.96 | 2000 | 257160 | 0 | 0 | 257160 | 98 | 231659.241 | 231757.241 | 9.88 | 1383372.37 | 1381947.37 | 0.9 | 1 | 10
5 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F11-IGURU | AGRI | 1310103904030502 | 317 | 312 | 5 | 310 | 392.693 | 405.533 | 40000 | 513600 | 10000 | 0 | 523600 | 16 | 480550.155 | 480566.155 | 8.22 | 2867013.06 | 2864079.06 | 0.92 | 1 | 8
6 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F12-SATYANARAYANA | AGRI | 1310103901020502 | 448 | 425 | 23 | 403 | 1011.69 | 1148.41 | 2000 | 273440 | 0 | 0 | 273440 | 1759 | 245900.2 | 247659.2 | 9.43 | 1484724.99 | 1471918.99 | 0.91 | 0.99 | 8.91
7 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F14-YARAGUNTA | DOMESTIC | 1310103901010701 | 3501 | 2585 | 916 | 0 | 627.103 | 640.307 | 20000 | 264080 | 15000 | 0 | 279080 | 251635 | 0 | 251635 | 9.83 | 2559378 | 1756866.38 | 0.9 | 0.69 | 6.9
8 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F15-RAVI | MIXED LOAD | 1310103904030703 | 17 | 17 | 0 | 11 | 1467.525 | 1497.581 | 20000 | 601120 | 0 | 156467 | 444653 | 480 | 411685.932 | 412165.932 | 7.31 | 2460719.89 | 2455582.89 | 0.93 | 1 | 7
9 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F16-GOSHALE | MIXED LOAD | 1310103904030704 | 4 | 4 | 0 | 2 | 739.209 | 756.037 | 20000 | 336560 | 0 | 185000 | 151560 | 1176 | 135371.904 | 136547.904 | 9.91 | 818406.54 | 816887.54 | 0.9 | 1 | 10
10 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F17-AMRUTNAGARA NJY | NJY | 1310103901010703 | 3081 | 2630 | 451 | 0 | 881.234 | 894.913 | 20000 | 273580 | 340720 | 45000 | 569300 | 514250.9 | 0 | 514250.9 | 9.67 | 5236806.69 | 3835427.72 | 0.9 | 0.73 | 7.3
11 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F17-NJLINGADAHALLI | AGRI | 1310103904030705 | 174 | 167 | 7 | 167 | 864.209 | 890.295 | 20000 | 521720 | 0 | 325000 | 196720 | 0 | 180706.68 | 180706.68 | 8.14 | 1077012.31 | 1077012.31 | 0.92 | 1 | 8
12 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F18-NEELANAHALLI NJY | NJY | 1310103901020305 | 4571 | 3806 | 765 | 0 | 1464.751 | 1495.267 | 20000 | 610320 | 2391 | 65000 | 547711 | 497606.18 | 0 | 497606.18 | 9.15 | 4949596.16 | 4246654.57 | 0.91 | 0.86 | 7.74
13 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F18-RAMPURA | NJY | 1310103904030504 | 1701 | 1376 | 325 | 0 | 439.048 | 451.402 | 20000 | 247080 | 0 | 116000 | 131080 | 118687.5 | 0 | 118687.5 | 9.45 | 1210622.19 | 702138.48 | 0.91 | 0.58 | 5.22
14 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F02-ARASAPURA | AGRI | 1310103902010102 | 211 | 211 | 0 | 211 | 617.775 | 632.583 | 20000 | 296160 | 0 | 0 | 296160 | 0 | 265627.488 | 265627.488 | 10.31 | 1583140.03 | 1583140.03 | 0.9 | 1 | 10
15 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F02-HONNUR | AGRI | 1310103904010101 | 467 | 449 | 18 | 449 | 6203.1 | 6478.1 | 2000 | 550000 | 0 | 0 | 550000 | 0 | 496064.7 | 496064.7 | 9.81 | 2956545.47 | 2956545.47 | 0.9 | 1 | 10
16 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F03-BASAVANALLU | AGRI | 1310103904010102 | 202 | 113 | 89 | 113 | 1414 | 1525.2 | 2000 | 222400 | 0 | 87000 | 135400 | 0 | 122430 | 122430 | 9.58 | 729683.15 | 729683.15 | 0.9 | 1 | 10
17 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F03-KAKKARAGOLLA | AGRI | 1310103901010102 | 543 | 542 | 1 | 540 | 677.357 | 698.249 | 20000 | 417840 | 0 | 0 | 417840 | 50 | 380942.467 | 380992.467 | 8.82 | 2271118.47 | 2270716.47 | 0.91 | 1 | 9
18 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F03-MAGANAHALLY | AGRI | 1310103902010103 | 317 | 317 | 0 | 317 | 570.357 | 582.8 | 20000 | 248860 | 0 | 0 | 248860 | 0 | 221055.933 | 221055.933 | 11.17 | 1317492.83 | 1317492.83 | 0.89 | 1 | 11
19 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F04-AVARAGOLLA | AGRI | 1310103901010103 | 425 | 409 | 16 | 402 | 631.062 | 644.193 | 20000 | 262620 | 0 | 3500 | 259120 | 164 | 235614.574 | 235778.574 | 9.01 | 1411254.29 | 1441746.29 | 0.91 | 1.02 | 9.18
20 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F04-OBAJJIHALLI | AGRI | 1310103902010104 | 390 | 385 | 5 | 385 | 509.386 | 528.05 | 20000 | 373280 | 0 | 0 | 373280 | 0 | 338774.38 | 338774.38 | 9.24 | 2019095.4 | 2019095.4 | 0.91 | 1 | 9
21 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F05-DEVARAHATTY | AGRI | 1310103901020301 | 645 | 435 | 210 | 431 | 439.061 | 453.617 | 20000 | 291120 | 0 | 17000 | 274120 | 497 | 248038.831 | 248535.831 | 9.33 | 1483952.95 | 1479511.95 | 0.91 | 1 | 9
22 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F05-MALLASHETTIHALLI | AGRI | 1310103904020301 | 323 | 317 | 6 | 317 | 6807.6 | 7029.1 | 2000 | 443000 | 40000 | 178000 | 305000 | 0 | 277671.24 | 277671.24 | 8.96 | 1654921.41 | 1654921.41 | 0.91 | 1 | 9
23 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F06-KADAJJI AVG | AGRI | 1310103904020302 | 806 | 741 | 65 | 741 | 4202 | 4406.7 | 2000 | 409400 | 0 | 0 | 409400 | 0 | 378805.697 | 378805.697 | 7.47 | 2257682.88 | 2257682.88 | 0.93 | 1 | 7
24 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F07-AVAREGERE | MIXED LOAD | 1310103904020303 | 4830 | 3935 | 895 | 221 | 10403.1 | 10454.6 | 2000 | 103000 | 264945.3 | 0 | 367945.3 | 313012.45 | 20136.225 | 333148.675 | 9.46 | 3475414.89 | 3926708.06 | 0.91 | 1.13 | 10.17
25 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F08-ANGODU | NJY | 1310103904020304 | 2528 | 1831 | 697 | 0 | 9124.9 | 9292.6 | 2000 | 335400 | 220.8 | 5000 | 330620.8 | 298417.2 | 0 | 298417.2 | 9.74 | 3550612.43 | 2742555.32 | 0.9 | 0.77 | 7.7
26 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F09-BETHUR | AGRI | 1310103904030501 | 427 | 421 | 6 | 420 | 317.409 | 328.653 | 40000 | 449760 | 0 | 0 | 449760 | 0 | 426621.81 | 426621.81 | 5.14 | 2542951.14 | 2542666.14 | 0.95 | 1 | 5
27 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F10-WATERWORKS | WATER WORKS | 1310103901020304 | 1 | 1 | 0 | 0 | 3106.44 | 3446.36 | 2000 | 679840 | 0 | 0 | 679840 | 659500 | 0 | 659500 | 2.99 | 5231593 | 5231593 | 0.97 | 1 | 3
28 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F04-INDUSTRIAL | INDUSTRIAL | 1310103904010103 | 1011 | 894 | 117 | 0 | 10650.8 | 11027.9 | 2000 | 754200 | 0 | 542000 | 212200 | 192466.05 | 0 | 192466.05 | 9.3 | 2034932.8 | 1699500.43 | 0.91 | 0.84 | 7.56
29 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F05-WATER-SUPPLY | NJY | 1310103902010105 | 2897 | 2180 | 717 | 0 | 1406.529 | 1439.014 | 10000 | 324850 | 449.1 | 78000 | 247299.1 | 224459.6 | 0 | 224459.6 | 9.24 | 2362398.51 | 1861101.3 | 0.91 | 0.79 | 7.11
30 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KUKKAWADA_66 | DAVANAGERE RURAL |  | F04-HADADIKKD | AGRI | 1310103903010104 | 522 | 517 | 5 | 514 | 81.53 | 102.839 | 20000 | 426180 | 0 | 0 | 426180 | 85 | 391581.25 | 391666.25 | 8.1 | 2334878.86 | 2334806.86 | 0.92 | 1 | 8
31 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F12-CHIKKANAHALLI | MIXED LOAD | 1310103904030503 | 2144 | 1733 | 411 | 6 | 329.149 | 332.937 | 40000 | 151520 | 0 | 9400 | 142120 | 126392 | 3565.248 | 129957.248 | 8.56 | 1231286.9 | 1553581.14 | 0.91 | 1.26 | 11.34
32 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F07-BASAVANAL | AGRI | 1310103905020202 | 437 | 412 | 25 | 410 | 736.115 | 759.263 | 20000 | 462960 | 0 | 90000 | 372960 | 8 | 433888.04 | 433896.04 | -16.34 | 2586297.38 | 2585973.38 | 1.16 | 1 | -16
33 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F08-NAGARAKATTE | AGRI | 1310103905020203 | 239 | 239 | 0 | 239 | 663.984 | 679.306 | 20000 | 306440 | 0 | 0 | 306440 | 0 | 268529.922 | 268529.922 | 12.37 | 1600438.3 | 1600438.3 | 0.88 | 1 | 12
34 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F06-KADAJJI | AGRI | 1310103905020201 | 194 | 194 | 0 | 194 | 348.234 | 360.256 | 20000 | 240440 | 0 | 5000 | 235440 | 0 | 195865.542 | 195865.542 | 16.81 | 1167358.7 | 1167358.7 | 0.83 | 1 | 17
35 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F04-NJ SRI RAM | NJY | 1310103905010202 | 4505 | 3564 | 941 | 0 | 1146.218 | 1168.599 | 20000 | 447620 | 0 | 122000 | 325620 | 294541.85 | 0 | 294541.85 | 9.54 | 2995160.32 | 1729895.87 | 0.9 | 0.58 | 5.8
36 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F01-REDDY CAMP | AGRI | 1310103905010201 | 198 | 186 | 12 | 186 | 0 | 9.731 | 20000 | 194620 | 0 | 0 | 194620 | 0 | 177010.139 | 177010.139 | 9.05 | 1054980.84 | 1054980.84 | 0.91 | 1 | 9
37 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F20-KODIHALLI | NJY | 1310103901010705 | 2851 | 2613 | 238 | 2 | 610.05 | 639.526 | 10000 | 294760 | 122.3 | 82000 | 212882.3 | 190920 | 1067.025 | 191987.025 | 9.82 | 2101826.86 | 1581554.27 | 0.9 | 0.75 | 7.5
38 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | SHYAGALE_66 | DAVANAGERE RURAL |  | F02-KODIHALLI | AGRI | 1310103906010102 | 719 | 718 | 1 | 715 | 556.66 | 576.571 | 20000 | 398220 | 0 | 0 | 398220 | 78 | 367677.363 | 367755.363 | 7.65 | 2199371.61 | 2191846.61 | 0.92 | 1 | 8
39 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | SHYAGALE_66 | DAVANAGERE RURAL |  | F04-NJ SHYAGALE | NJY | 1310103906010104 | 3572 | 3132 | 440 | 0 | 0 | 11.856 | 20000 | 237120 | 40000 | 33000 | 244120 | 220213.7 | 0 | 220213.7 | 9.79 | 2273740.07 | 1333750.07 | 0.9 | 0.59 | 5.9
40 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | SHYAGALE_66 | DAVANAGERE RURAL |  | F03-GONIWADA | AGRI | 1310103906010103 | 265 | 262 | 3 | 262 | 19.113 | 34.734 | 20000 | 312420 | 0 | 0 | 312420 | 0 | 287267.018 | 287267.018 | 8.05 | 1712112.34 | 1712112.34 | 0.92 | 1 | 8
41 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F02-PUTUGANALU | AGRI | 1310103905010204 | 390 | 390 | 0 | 390 | 0 | 19.655 | 20000 | 393100 | 100000 | 0 | 493100 | 0 | 348847.722 | 348847.722 | 29.25 | 2079131.68 | 2079131.68 | 0.71 | 1 | 29
42 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F19-STP AVARAGERE | INDUSTRIAL | 1310103904030706 | 2 | 2 | 0 | 0 | 11022.3 | 11022.3 | 2000 | 0 | 21000 | 0 | 21000 | 20444 | 0 | 20444 | 2.65 | 268651 | 268651 | 0.97 | 1 | 3
43 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F06-HALE KADLEBALU | AGRI | 1310103902020301 | 217 | 217 | 0 | 217 | 991.3 | 1096 | 2000 | 209400 | 0 | 0 | 209400 | 0 | 189506.483 | 189506.483 | 9.5 | 1129457.79 | 1129457.79 | 0.9 | 1 | 10
44 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F09-RAMPURA IP | AGRI | 1310103905020206 | 210 | 197 | 13 | 197 | 80.02 | 175.69 | 2000 | 191340 | 0 | 0 | 191340 | 0 | 173163.195 | 173163.195 | 9.5 | 1032052.22 | 1032052.22 | 0.91 | 1 | 9
45 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F02-THOLHUNSESRS | AGRI | 1310101902010102 | 21 | 21 | 0 | 21 | 56.446 | 57.001 | 20000 | 11100 | 0 | 0 | 11100 | 0 | 10045.522 | 10045.522 | 9.5 | 58967.26 | 58967.26 | 0.91 | 1 | 9
46 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F03-KUKKAWADASRS | AGRI | 1310101902010103 | 459 | 458 | 1 | 456 | 629.35 | 648.985 | 20000 | 392700 | 0 | 1200 | 391500 | 128 | 353481.134 | 353609.134 | 9.68 | 2076157.5 | 2076150.5 | 0.9 | 1 | 10
47 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F04-YELLAMMA | AGRI | 1310101902010104 | 153 | 153 | 0 | 153 | 420.064 | 430.874 | 20000 | 216200 | 0 | 0 | 216200 | 0 | 190674.806 | 190674.806 | 11.81 | 1119261.3 | 1119261.3 | 0.88 | 1 | 12
48 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F05-BELAVANUR | MIXED LOAD | 1310101902010105 | 3516 | 3087 | 429 | 383 | 1289.011 | 1332.463 | 20000 | 869040 | 0 | 238000 | 660965.4 | 281837.13 | 291530.084 | 573367.214 | 13.25 | 4656997.08 | 3789953.01 | 0.87 | 0.81 | 10.53
49 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F17-JHP1 | MIXED LOAD | 1310101902020101 | 1820 | 1573 | 247 | 1 | 1146.114 | 1157.61 | 20000 | 229920 | 0 | 59000 | 171104 | 154157 | 859.04 | 155016.04 | 9.4 | 1604805.91 | 1540095.91 | 0.91 | 0.96 | 8.64
50 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F09-SHAMNUR | MIXED LOAD | 1310101902020301 | 7639 | 5719 | 1920 | 111 | 1432.445 | 1462.927 | 20000 | 609640 | 50000 | 0 | 664991 | 459812 | 138825.61 | 598637.61 | 9.98 | 5713971.58 | 5660181.55 | 0.9 | 0.99 | 9.9
51 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F12-ATTIGERESRS | DOMESTIC | 1310101902020304 | 583 | 473 | 110 | 20 | 805.086 | 827.704 | 20000 | 452360 | 0 | 206000 | 247974 | 198117 | 24963.368 | 223080.368 | 10.04 | 2262805.46 | 2225825.03 | 0.9 | 0.98 | 9.8
52 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F16-JHP2 | DOMESTIC | 1310101902010501 | 3834 | 3046 | 788 | 309 | 0 | 16.383 | 20000 | 327660 | 302980 | 0 | 631083 | 234777.53 | 388038.176 | 622815.706 | 1.31 | 4724829.32 | 4974475.02 | 0.99 | 1.05 | 1.05
53 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F08-TURUCHUGHATTA | AGRI | 1310101902010504 | 495 | 484 | 11 | 480 | 668.686 | 687.627 | 20000 | 378820 | 0 | 25000 | 353820 | 72 | 345105.351 | 345177.351 | 2.44 | 2026783.8 | 2026611.8 | 0.98 | 1 | 2
54 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F06-FNAGANUR | AGRI | 1310101902010502 | 508 | 501 | 7 | 501 | 380.616 | 390.36 | 30000 | 292320 | 0 | 0 | 292320 | 0 | 267026.08 | 267026.08 | 8.65 | 1567444.09 | 1567444.09 | 0.91 | 1 | 9
55 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F07-JARIKATTE | AGRI | 1310101902010503 | 67 | 67 | 0 | 67 | 187.748 | 194.683 | 20000 | 138700 | 0 | 0 | 138700 | 0 | 105100 | 105100 | 24.22 | 616937 | 616937 | 0.76 | 1 | 24
56 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F01-HADADISRS | AGRI | 1310101902010101 | 295 | 294 | 1 | 294 | 0.22 | 18.685 | 20000 | 369300 | 0 | 0 | 369300 | 0 | 331929.495 | 331929.495 | 10.12 | 1948426.45 | 1948426.45 | 0.9 | 1 | 10
57 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F21-NJ TARALABALU | NJY | 1310101902020701 | 4498 | 3674 | 824 | 0 | 2489.691 | 2516.065 | 20000 | 527480 | 0 | 18000 | 509480 | 459596.6 | 0 | 459596.6 | 9.79 | 4870365.69 | 3245555.89 | 0.9 | 0.67 | 6.7
58 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F07-SHIVAJI | AGRI | 1310301909020202 | 169 | 169 | 0 | 166 | 318.138 | 331.506 | 20000 | 267360 | 0 | 0 | 267360 | 0 | 237020.101 | 237020.101 | 11.35 | 1391375.76 | 1391375.76 | 0.89 | 1 | 11
59 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F08-MUDAHADADI | AGRI | 1310301909020203 | 400 | 398 | 2 | 398 | 462.759 | 481.572 | 20000 | 376260 | 0 | 0 | 376260 | 0 | 748258.3 | 748258.3 | -98.87 | 4392276.08 | 4392276.08 | 1.99 | 1 | -99
80

## sheet1
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) |  | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report |  | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report | Energy Audit Feeder Wise Report
Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 |  | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025 | Report for the Period from 01-Feb-2025 to 28-Feb-2025
| Generated By: | RESHMA BEGAM
| Generated On: | 11-03-2025 10:51:21
[8 empty] | Sub-Division: | DAVANAGERE RURAL
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W |  | X | Y | Z | AA | AB | AC | AD | AE
SLNO | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IR | FR | MC | CONSUMPTION Q=(O-N)*P | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION T=Q+R-S | METERED SALES | UNMETERED SALES | TOTAL SALES W=U+V | Column1 | T AND D LOSS X=(T-W/T)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AA=W/T | COLLECTION EFFICIENCY AB=Z/Y | AT AND C LOSS AC=((1-AA*AB)*100 | REMARKS | STATUS
1 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F01-ANJANEYA | AGRI | 1310103902010101 | 311 | 310 | 1 | 310 | 639.252 | 650.321 | 20000 | 221380 | 0 | 0 | 221380 | 0 | 201017.369 | 201017.369 | 9.198 | 9.2 | 1198064.03 | 1198064.03 | 0.91 | 1 | 9
2 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F01-CHITANAHALLI | AGRI | 1310103901010101 | 417 | 417 | 0 | 414 | 631.032 | 653.67 | 20000 | 452760 | 0 | 0 | 452760 | 186 | 432908.755 | 433094.755 | 4.3434 | 4.34 | 2588733 | 2582212 | 0.96 | 1 | 4
3 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F10-PUTTUGUNAL | AGRI | 1310103904010501 | 258 | 249 | 9 | 249 | 657.052 | 676.235 | 20000 | 383660 | 0 | 1800 | 381860 | 0 | 344495.152 | 344495.152 | 9.785 | 9.78 | 2053190.8 | 2053190.8 | 0.9 | 1 | 10
4 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F11-BATHI | AGRI | 1310103901020501 | 438 | 431 | 7 | 426 | 969.38 | 1097.96 | 2000 | 257160 | 0 | 0 | 257160 | 98 | 231659.241 | 231757.241 | 9.8782 | 9.88 | 1383372.37 | 1381947.37 | 0.9 | 1 | 10
5 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F11-IGURU | AGRI | 1310103904030502 | 317 | 312 | 5 | 310 | 392.693 | 405.533 | 40000 | 513600 | 10000 | 0 | 523600 | 16 | 480550.155 | 480566.155 | 8.2188 | 8.22 | 2867013.06 | 2864079.06 | 0.92 | 1 | 8
6 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F12-SATYANARAYANA | AGRI | 1310103901020502 | 448 | 425 | 23 | 403 | 1011.69 | 1148.41 | 2000 | 273440 | 0 | 0 | 273440 | 1759 | 245900.2 | 247659.2 | 9.4283 | 9.43 | 1484724.99 | 1471918.99 | 0.91 | 0.99 | 8.91
7 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F14-YARAGUNTA | DOMESTIC | 1310103901010701 | 3501 | 2585 | 916 | 0 | 627.103 | 640.307 | 20000 | 264080 | 15000 | 0 | 279080 | 251635 | 0 | 251635 | 9.8341 | 9.83 | 2559378 | 1756866.38 | 0.9 | 0.69 | 6.9
8 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F15-RAVI | MIXED LOAD | 1310103904030703 | 17 | 17 | 0 | 11 | 1467.525 | 1497.581 | 20000 | 601120 | 0 | 156467 | 444653 | 480 | 411685.932 | 412165.932 | 7.3062 | 7.31 | 2460719.89 | 2455582.89 | 0.93 | 1 | 7
9 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F16-GOSHALE | MIXED LOAD | 1310103904030704 | 4 | 4 | 0 | 2 | 739.209 | 756.037 | 20000 | 336560 | 0 | 185000 | 151560 | 1176 | 135371.904 | 136547.904 | 9.9051 | 9.91 | 818406.54 | 816887.54 | 0.9 | 1 | 10
10 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F17-AMRUTNAGARA NJY | NJY | 1310103901010703 | 3081 | 2630 | 451 | 0 | 881.234 | 894.913 | 20000 | 273580 | 340720 | 45000 | 569300 | 514250.9 | 0 | 514250.9 | 9.6696 | 9.67 | 5236806.69 | 3835427.72 | 0.9 | 0.73 | 7.3
11 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F17-NJLINGADAHALLI | AGRI | 1310103904030705 | 174 | 167 | 7 | 167 | 864.209 | 890.295 | 20000 | 521720 | 0 | 325000 | 196720 | 0 | 180706.68 | 180706.68 | 8.1402 | 8.14 | 1077012.31 | 1077012.31 | 0.92 | 1 | 8
12 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F18-NEELANAHALLI NJY | NJY | 1310103901020305 | 4571 | 3806 | 765 | 0 | 1464.751 | 1495.267 | 20000 | 610320 | 2391 | 65000 | 547711 | 497606.18 | 0 | 497606.18 | 9.148 | 9.15 | 4949596.16 | 4246654.57 | 0.91 | 0.86 | 7.74
13 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F18-RAMPURA | NJY | 1310103904030504 | 1701 | 1376 | 325 | 0 | 439.048 | 451.402 | 20000 | 247080 | 0 | 116000 | 131080 | 118687.5 | 0 | 118687.5 | 9.4542 | 9.45 | 1210622.19 | 702138.48 | 0.91 | 0.58 | 5.22
14 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F02-ARASAPURA | AGRI | 1310103902010102 | 211 | 211 | 0 | 211 | 617.775 | 632.583 | 20000 | 296160 | 0 | 2000 | 294160 | 0 | 265627.488 | 265627.488 | 9.6997 | 10.31 | 1583140.03 | 1583140.03 | 0.9 | 1 | 10
15 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F02-HONNUR | AGRI | 1310103904010101 | 467 | 449 | 18 | 449 | 6203.1 | 6478.1 | 2000 | 550000 | 0 | 0 | 550000 | 0 | 496064.7 | 496064.7 | 9.8064 | 9.81 | 2956545.47 | 2956545.47 | 0.9 | 1 | 10
16 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F03-BASAVANALLU | AGRI | 1310103904010102 | 202 | 113 | 89 | 113 | 1414 | 1525.2 | 2000 | 222400 | 0 | 87000 | 135400 | 0 | 122430 | 122430 | 9.579 | 9.58 | 729683.15 | 729683.15 | 0.9 | 1 | 10
17 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F03-KAKKARAGOLLA | AGRI | 1310103901010102 | 543 | 542 | 1 | 540 | 677.357 | 698.249 | 20000 | 417840 | 0 | 0 | 417840 | 50 | 380942.467 | 380992.467 | 8.8186 | 8.82 | 2271118.47 | 2270716.47 | 0.91 | 1 | 9
18 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F03-MAGANAHALLY | AGRI | 1310103902010103 | 317 | 317 | 0 | 317 | 570.357 | 582.8 | 20000 | 248860 | 0 | 5000 | 243860 | 0 | 221055.933 | 221055.933 | 9.3513 | 11.17 | 1317492.83 | 1317492.83 | 0.89 | 1 | 11
19 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F04-AVARAGOLLA | AGRI | 1310103901010103 | 425 | 409 | 16 | 402 | 631.062 | 644.193 | 20000 | 262620 | 0 | 3500 | 259120 | 164 | 235614.574 | 235778.574 | 9.008 | 9.01 | 1411254.29 | 1441746.29 | 0.91 | 1.02 | 9.18
20 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F04-OBAJJIHALLI | AGRI | 1310103902010104 | 390 | 385 | 5 | 385 | 509.386 | 528.05 | 20000 | 373280 | 0 | 0 | 373280 | 0 | 338774.38 | 338774.38 | 9.2439 | 9.24 | 2019095.4 | 2019095.4 | 0.91 | 1 | 9
21 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F05-DEVARAHATTY | AGRI | 1310103901020301 | 645 | 435 | 210 | 431 | 439.061 | 453.617 | 20000 | 291120 | 0 | 17000 | 274120 | 497 | 248038.831 | 248535.831 | 9.3332 | 9.33 | 1483952.95 | 1479511.95 | 0.91 | 1 | 9
22 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F05-MALLASHETTIHALLI | AGRI | 1310103904020301 | 323 | 317 | 6 | 317 | 6807.6 | 7029.1 | 2000 | 443000 | 40000 | 178000 | 305000 | 0 | 277671.24 | 277671.24 | 8.9602 | 8.96 | 1654921.41 | 1654921.41 | 0.91 | 1 | 9
23 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F06-KADAJJI AVG | AGRI | 1310103904020302 | 806 | 741 | 65 | 741 | 4202 | 4406.7 | 2000 | 409400 | 0 | 0 | 409400 | 0 | 378805.697 | 378805.697 | 7.473 | 7.47 | 2257682.88 | 2257682.88 | 0.93 | 1 | 7
24 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F07-AVAREGERE | MIXED LOAD | 1310103904020303 | 4830 | 3935 | 895 | 221 | 10403.1 | 10454.6 | 2000 | 103000 | 264945.3 | 0 | 367945.3 | 313012.45 | 20136.225 | 333148.675 | 9.457 | 9.46 | 3475414.89 | 3926708.06 | 0.91 | 1.13 | 10.17
25 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F08-ANGODU | NJY | 1310103904020304 | 2528 | 1831 | 697 | 0 | 9124.9 | 9292.6 | 2000 | 335400 | 220.8 | 5000 | 330620.8 | 298417.2 | 0 | 298417.2 | 9.7403 | 9.74 | 3550612.43 | 2742555.32 | 0.9 | 0.77 | 7.7
26 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F09-BETHUR | AGRI | 1310103904030501 | 427 | 421 | 6 | 420 | 317.409 | 328.653 | 40000 | 449760 | 0 | 0 | 449760 | 0 | 426621.81 | 426621.81 | 5.1446 | 5.14 | 2542951.14 | 2542666.14 | 0.95 | 1 | 5
27 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F10-WATERWORKS | WATER WORKS | 1310103901020304 | 1 | 1 | 0 | 0 | 3106.44 | 3446.36 | 2000 | 679840 | 0 | 0 | 679840 | 659500 | 0 | 659500 | 2.9919 | 2.99 | 5231593 | 5231593 | 0.97 | 1 | 3
28 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F04-INDUSTRIAL | INDUSTRIAL | 1310103904010103 | 1011 | 894 | 117 | 0 | 10650.8 | 11027.9 | 2000 | 754200 | 0 | 542000 | 212200 | 192466.05 | 0 | 192466.05 | 9.2997 | 9.3 | 2034932.8 | 1699500.43 | 0.91 | 0.84 | 7.56
29 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F05-WATER-SUPPLY | NJY | 1310103902010105 | 2897 | 2180 | 717 | 0 | 1406.529 | 1439.014 | 10000 | 324850 | 449.1 | 78000 | 247299.1 | 224459.6 | 0 | 224459.6 | 9.2356 | 9.24 | 2362398.51 | 1861101.3 | 0.91 | 0.79 | 7.11
30 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KUKKAWADA_66 | DAVANAGERE RURAL |  | F04-HADADIKKD | AGRI | 1310103903010104 | 522 | 517 | 5 | 514 | 81.53 | 102.839 | 20000 | 426180 | 0 | 0 | 426180 | 85 | 391581.25 | 391666.25 | 8.0984 | 8.1 | 2334878.86 | 2334806.86 | 0.92 | 1 | 8
31 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F12-CHIKKANAHALLI | MIXED LOAD | 1310103904030503 | 2144 | 1733 | 411 | 6 | 329.149 | 332.937 | 40000 | 151520 | 0 | 9400 | 142120 | 126392 | 3565.248 | 129957.248 | 8.5581 | 8.56 | 1231286.9 | 1553581.14 | 0.91 | 1.26 | 11.34
32 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F07-BASAVANAL | AGRI | 1310103905020202 | 437 | 412 | 25 | 410 | 736.115 | 759.263 | 20000 | 462960 | 17000 |  | 479960 | 8 | 433888.04 | 433896.04 | 9.5975 | -16.34 | 2586297.38 | 2585973.38 | 1.16 | 1 | -16
33 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F08-NAGARAKATTE | AGRI | 1310103905020203 | 239 | 239 | 0 | 239 | 663.984 | 679.306 | 20000 | 306440 | 0 | 11000 | 295440 | 0 | 268529.922 | 268529.922 | 9.1085 | 12.37 | 1600438.3 | 1600438.3 | 0.88 | 1 | 12
34 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F06-KADAJJI | AGRI | 1310103905020201 | 194 | 194 | 0 | 194 | 348.234 | 360.256 | 20000 | 240440 | 0 | 24000 | 216440 | 0 | 195865.542 | 195865.542 | 9.5058 | 16.81 | 1167358.7 | 1167358.7 | 0.83 | 1 | 17
35 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F04-NJ SRI RAM | NJY | 1310103905010202 | 4505 | 3564 | 941 | 0 | 1146.218 | 1168.599 | 20000 | 447620 | 0 | 122000 | 325620 | 294541.85 | 0 | 294541.85 | 9.5443 | 9.54 | 2995160.32 | 1729895.87 | 0.9 | 0.58 | 5.8
36 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F01-REDDY CAMP | AGRI | 1310103905010201 | 198 | 186 | 12 | 186 | 0 | 9.731 | 20000 | 194620 | 0 | 0 | 194620 | 0 | 177010.139 | 177010.139 | 9.0483 | 9.05 | 1054980.84 | 1054980.84 | 0.91 | 1 | 9
37 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | YARAGUNTA_66 | DAVANAGERE RURAL |  | F20-KODIHALLI | NJY | 1310103901010705 | 2851 | 2613 | 238 | 2 | 610.05 | 639.526 | 10000 | 294760 | 122.3 | 82000 | 212882.3 | 190920 | 1067.025 | 191987.025 | 9.8154 | 9.82 | 2101826.86 | 1581554.27 | 0.9 | 0.75 | 7.5
38 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | SHYAGALE_66 | DAVANAGERE RURAL |  | F02-KODIHALLI | AGRI | 1310103906010102 | 719 | 718 | 1 | 715 | 556.66 | 576.571 | 20000 | 398220 | 0 | 0 | 398220 | 78 | 367677.363 | 367755.363 | 7.6502 | 7.65 | 2199371.61 | 2191846.61 | 0.92 | 1 | 8
39 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | SHYAGALE_66 | DAVANAGERE RURAL |  | F04-NJ SHYAGALE | NJY | 1310103906010104 | 3572 | 3132 | 440 | 0 | 0 | 11.856 | 20000 | 237120 | 40000 | 33000 | 244120 | 220213.7 | 0 | 220213.7 | 9.7928 | 9.79 | 2273740.07 | 1333750.07 | 0.9 | 0.59 | 5.9
40 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | SHYAGALE_66 | DAVANAGERE RURAL |  | F03-GONIWADA | AGRI | 1310103906010103 | 265 | 262 | 3 | 262 | 19.113 | 34.734 | 20000 | 312420 | 0 | 0 | 312420 | 0 | 287267.018 | 287267.018 | 8.051 | 8.05 | 1712112.34 | 1712112.34 | 0.92 | 1 | 8
41 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F02-PUTUGANALU | AGRI | 1310103905010204 | 390 | 390 | 0 | 390 | 0 | 19.655 | 20000 | 393100 |  | 7000 | 386100 | 0 | 348847.722 | 348847.722 | 9.6483 | 29.25 | 2079131.68 | 2079131.68 | 0.71 | 1 | 29
42 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | AVAREGERE_66 | DAVANAGERE RURAL |  | F19-STP AVARAGERE | INDUSTRIAL | 1310103904030706 | 2 | 2 | 0 | 0 | 11022.3 | 11022.3 | 2000 | 0 | 21000 | 0 | 21000 | 20444 | 0 | 20444 | 2.6476 | 2.65 | 268651 | 268651 | 0.97 | 1 | 3
43 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | OBAJJIHALLI_66 | DAVANAGERE RURAL |  | F06-HALE KADLEBALU | AGRI | 1310103902020301 | 217 | 217 | 0 | 217 | 991.3 | 1096 | 2000 | 209400 | 0 | 0 | 209400 | 0 | 189506.483 | 189506.483 | 9.5002 | 9.5 | 1129457.79 | 1129457.79 | 0.9 | 1 | 10
44 | DAVANAGERE | DAVANAGERE | DAVANAGERE RURAL | KADAJJI_66 | DAVANAGERE RURAL |  | F09-RAMPURA IP | AGRI | 1310103905020206 | 210 | 197 | 13 | 197 | 80.02 | 175.69 | 2000 | 191340 | 0 | 0 | 191340 | 0 | 173163.195 | 173163.195 | 9.4997 | 9.5 | 1032052.22 | 1032052.22 | 0.91 | 1 | 9
45 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F02-THOLHUNSESRS | AGRI | 1310101902010102 | 21 | 21 | 0 | 21 | 56.446 | 57.001 | 20000 | 11100 | 0 | 0 | 11100 | 0 | 10045.522 | 10045.522 | 9.4998 | 9.5 | 58967.26 | 58967.26 | 0.91 | 1 | 9
46 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F03-KUKKAWADASRS | AGRI | 1310101902010103 | 459 | 458 | 1 | 456 | 629.35 | 648.985 | 20000 | 392700 | 0 | 1200 | 391500 | 128 | 353481.134 | 353609.134 | 9.6784 | 9.68 | 2076157.5 | 2076150.5 | 0.9 | 1 | 10
47 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F04-YELLAMMA | AGRI | 1310101902010104 | 153 | 153 | 0 | 153 | 420.064 | 430.874 | 20000 | 216200 | 0 | 6000 | 210200 | 0 | 190674.806 | 190674.806 | 9.2889 | 11.81 | 1119261.3 | 1119261.3 | 0.88 | 1 | 12
48 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F05-BELAVANUR | MIXED LOAD | 1310101902010105 | 3516 | 3087 | 429 | 383 | 1289.011 | 1332.463 | 20000 | 869040 | 0 | 238000 | 631040 | 281837.13 | 291530.084 | 573367.214 | 9.1393 | 13.25 | 4656997.08 | 3789953.01 | 0.87 | 0.81 | 10.53
49 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F17-JHP1 | MIXED LOAD | 1310101902020101 | 1820 | 1573 | 247 | 1 | 1146.114 | 1157.61 | 20000 | 229920 | 0 | 59000 | 171104 | 154157 | 859.04 | 155016.04 | 9.4024 | 9.4 | 1604805.91 | 1540095.91 | 0.91 | 0.96 | 8.64
50 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F09-SHAMNUR | MIXED LOAD | 1310101902020301 | 7639 | 5719 | 1920 | 111 | 1432.445 | 1462.927 | 20000 | 609640 | 50000 | 0 | 664991 | 459812 | 138825.61 | 598637.61 | 9.9781 | 9.98 | 5713971.58 | 5660181.55 | 0.9 | 0.99 | 9.9
51 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F12-ATTIGERESRS | DOMESTIC | 1310101902020304 | 583 | 473 | 110 | 20 | 805.086 | 827.704 | 20000 | 452360 | 0 | 206000 | 246360 | 198117 | 24963.368 | 223080.368 | 9.4494 | 10.04 | 2262805.46 | 2225825.03 | 0.9 | 0.98 | 9.8
52 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F16-JHP2 | DOMESTIC | 1310101902010501 | 3834 | 3046 | 788 | 309 | 0 | 16.383 | 20000 | 327660 | 302980 | 0 | 631083 | 234777.53 | 388038.176 | 622815.706 | 1.31 | 1.31 | 4724829.32 | 4974475.02 | 0.99 | 1.05 | 1.05
53 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F08-TURUCHUGHATTA | AGRI | 1310101902010504 | 495 | 484 | 11 | 480 | 668.686 | 687.627 | 20000 | 378820 | 0 | 25000 | 353820 | 72 | 345105.351 | 345177.351 | 2.4427 | 2.44 | 2026783.8 | 2026611.8 | 0.98 | 1 | 2
54 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F06-FNAGANUR | AGRI | 1310101902010502 | 508 | 501 | 7 | 501 | 380.616 | 390.36 | 30000 | 292320 | 0 | 0 | 292320 | 0 | 267026.08 | 267026.08 | 8.6528 | 8.65 | 1567444.09 | 1567444.09 | 0.91 | 1 | 9
55 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F07-JARIKATTE | AGRI | 1310101902010503 | 67 | 67 | 0 | 67 | 187.748 | 194.683 | 20000 | 138700 | 0 | 23000 | 115700 | 0 | 105100 | 105100 | 9.1616 | 24.22 | 616937 | 616937 | 0.76 | 1 | 24
56 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F01-HADADISRS | AGRI | 1310101902010101 | 295 | 294 | 1 | 294 | 0.22 | 18.685 | 20000 | 369300 | 0 | 2000 | 367300 | 0 | 331929.495 | 331929.495 | 9.6299 | 10.12 | 1948426.45 | 1948426.45 | 0.9 | 1 | 10
57 | DAVANAGERE | DAVANAGERE | DAVANAGERE URBAN SUB DIVISION 1 | DAVANGERE_SRS_220 | DAVANAGERE URBAN SUB DIVISION 1 |  | F21-NJ TARALABALU | NJY | 1310101902020701 | 4498 | 3674 | 824 | 0 | 2489.691 | 2516.065 | 20000 | 527480 | 0 | 18000 | 509480 | 459596.6 | 0 | 459596.6 | 9.791 | 9.79 | 4870365.69 | 3245555.89 | 0.9 | 0.67 | 6.7
58 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F07-SHIVAJI | AGRI | 1310301909020202 | 169 | 169 | 0 | 166 | 318.138 | 331.506 | 20000 | 267360 |  | 5000 | 262360 | 0 | 237020.101 | 237020.101 | 9.6584 | 11.35 | 1391375.76 | 1391375.76 | 0.89 | 1 | 11
59 | DAVANAGERE | HARIHARA | HARIHARA | DEVARBELAKERE_66 | HARIHARA |  | F08-MUDAHADADI | AGRI | 1310301909020203 | 400 | 398 | 2 | 398 | 462.759 | 481.572 | 20000 | 376260 | 450000 |  | 826260 | 0 | 748258.3 | 748258.3 | 9.4403 | -98.87 | 4392276.08 | 4392276.08 | 1.99 | 1 | -99
80