## sheet1
Sr_No | Date_of_Installation_of_SmartMeter | Consumer_Id_No_Old_MePDCL_Billing_System | Consumer_Id_No_After_GoLive_in_UGO | House_owner_Name | Consumer_Name | Adhar_EPIC_No | Village_Name | House_No | Street_Colony | Mobile_Number(Registered) | District_Area | Feeder_Name | Sub_Division_Name | Name_of_feeding_3/11_KV_Sub_station | DT_Location | DT_No | Census_Code_No_of_the_Village | Name_of_the_CRD_Block | Meter_Sl_No | Final_Reading_KWH_on_LCD | Final_Reading_Kvah | Max_Demand | Meter_Seal_No | Outer_Meter_Box_No | Meter_Make/Model | Senction_Load_Capacity | Last_Bill_KWH | Last_Bill_KVAH | Any_Tamper_Mention_it | New_Meter_Sl_No | New_Meter_MF | Initial_Reading_KWH | Initial_Reading_KVAH | New_Meter_Seal_No | New_Outer_Meter_Box_No | Smart_Meter_Make | Type_of_SIM | SIM_Card_No
1 | 2024-07-06 | 1000848180 | 1000848180 | Mohan Jurwa | Mohan Jurwa | 0 | Khanapara | 0 | Khanapara | 9706766793 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Khanapara | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11101924 | 1 | 0 | 0 | 11101924 | 11101924 | JPM | JIO | ‌5753140011687
2 | 2024-07-06 | 1000848163 | 1000848163 | Durga Chetri | Durga Chetri | 0 | Khanapara | 0 | Khanapara | 9864012064 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Khanapara | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11101923 | 1 | 0 | 0 | 11101923 | 11101923 | JPM | JIO | ‌5753140011686
3 | 2024-07-06 | 1000226185 | 1000226185 | Girim Kalita | Girim Kalita | BQSD507095 | Khanapara | 0 | Khanapara | 9706598300 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Khanapara | 0 | 793101 | Umling | 5514532821 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11101922 | 1 | 0 | 0 | 11101922 | 11101922 | JPM | JIO | ‌5753140011681
4 | 2024-07-06 | 1000848165 | 1000848165 | Rama Prasad | Rama Prasad | ITI0008987 | Khanapara | 0 | Khanapara | 8789639442 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Khanapara | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11101921 | 1 | 0 | 0 | 11101921 | 11101921 | JPM | JIO | ‌5753140011665
5 | 2024-07-12 | 1000228162 | 1000228162 | Aimon Rupsi | Aimon Rupsi | 0 | Killing | 0 | Killing | 9999999999 | Ri/Bhoi | Nongspung | Byrnihat | Killing | Killing | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11104312 | 1 | 0 | 0 | 11104312 | 11104312 | JPM | JIO | ‌5753140187877
6 | 2024-07-12 | 1000864817 | 1000864817 | Wangshol Pehring Anal | Wangshol Pehring Anal | 0 | Bara/Killing | 0 | Bara/Killing | 9999999999 | Ri/Bhoi | Nongspung | Byrnihat | Killing | Bara/Killing | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 2.KW | IDF | 0 | NO | 11104313 | 1 | 0 | 0 | 11104313 | 11104313 | JPM | JIO | ‌5753140187881
7 | 2024-07-12 | 1000228156 | 1000228156 | Carolin Dhar | Carolin Dhar | 0 | Bara/Killing | 0 | Bara/Killing | 7086975690 | Ri/Bhoi | Nongspung | Byrnihat | Killing | Bara/Killing | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11104311 | 1 | 0 | 0 | 11104311 | 11104311 | JPM | JIO | ‌5753140187874
8 | 14/08/24 | 1000228400 | 1000228400 | Kynsaimon Suchiang | Kynsaimon Suchiang | 0 | Umlang Runling | 0 | Umlang Runling | 9999999999 | Ri/Bhoi | Nongspung | Byrnihat | Killing | Umlang Runling | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11104314 | 1 | 0 | 0 | 11104314 | 11104314 | JPM | JIO | ‌5753140187887
9 | 16/08/24 | 1000227825 | 1000227825 | Leonard Syiem | Leonard Syiem | 218241884965 | Baridua | 12 | 9th mile | 8638402942 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11101926 | 1 | 0 | 0 | 11101926 | 11101926 | JPM | JIO | ‌5753140011707
10 | 16/08/24 | 1000228040 | 1000228040 | Leonard Syiem | Leonard Syiem | 218241884965 | Baridua | 0 | 9th mile | 8638402942 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 5.KW | IDF | 0 | NO | 11101928 | 1 | 0 | 0 | 11101928 | 11101928 | JPM | JIO | ‌5753140011711
11 | 16/08/24 | 1000228034 | 1000228034 | Dorbar Raid Marwet | Dorbar Raid Marwet | 66819943800 | Baridua | 0 | 9th mile | 9401969874 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11103469 | 1 | 0 | 0 | 11103469 | 11103469 | JPM | JIO | ‌5753140019811
12 | 16/08/24 | 1000227764 | 1000227764 | Megha Mansion (p) LTD. | Megha Mansion (p) LTD. | 938217480978 | 8th mile | 0 | 8th mile | 9366931553 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11044137 | 1 | 0 | 0 | 11044137 | 11044137 | JPM | Airtel | ‌8991160990008013894U
13 | 16/08/24 | 1000227831 | 1000227831 | Geneview Sohpdang | Geneview Sohpdang | 385226147204 | 9th mile | 0 | 9th mile | 6371085244 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 9th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11044033 | 1 | 0 | 0 | 11044033 | 11044033 | JPM | Airtel | ‌8991160990008013852U
14 | 16/08/24 | 1000227756 | 1000227756 | B.Jan Khongthow | B.Jan Khongthow | 0 | 8th mile | 0 | 8th mile | 9101365753 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 4.KW | IDF | 0 | NO | 11044031 | 1 | 0 | 0 | 11044031 | 11044031 | JPM | Airtel | ‌8991160990008013858U
15 | 16/08/24 | 1000227785 | 1000227785 | Sniawbhalang Dhar | Sniawbhalang Dhar | 0 | 8th mile | 0 | 8th mile | 9101365753 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 4.KW | IDF | 0 | NO | 11044032 | 1 | 0 | 0 | 11044032 | 11044032 | JPM | Airtel | ‌8991160990008013857U
16 | 16/08/24 | 1000227795 | 1000227795 | Sniawbhalang Dhar | Sniawbhalang Dhar | 0 | 8th mile | 0 | 8th mile | 9101365753 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 4.KW | IDF | 0 | NO | 11044136 | 1 | 0 | 0 | 11044136 | 11044136 | JPM | Airtel | ‌8991160990008013753U
17 | 16/08/24 | 1000227754 | 1000227754 | B.Jan Khongthow | B.Jan Khongthow | 0 | 8th mile | 0 | 8th mile | 9999999999 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 2.KW | IDF | 0 | NO | 11044861 | 1 | 0 | 0 | 11044861 | 11044861 | JPM | Airtel | ‌8991160990008014260U
18 | 16/08/24 | 1000227782 | 1000227782 | Sniawbhalang Dhar | Sniawbhalang Dhar | 0 | 8th mile | 0 | 8th mile | 9999999999 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 4.KW | IDF | 0 | NO | 11044657 | 1 | 0 | 0 | 11044657 | 11044657 | JPM | Airtel | ‌8991160990008013995U
19 | 16/08/24 | 1000227791 | 1000227791 | Sniawbhalang Dhar | Sniawbhalang Dhar | 0 | 8th mile | 0 | 8th mile | 9999999999 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11042494 | 1 | 0 | 0 | 11042494 | 11042494 | JPM | Airtel | ‌8991160990008008134U
20 | 16/08/24 | 1000227794 | 1000227794 | Sniawbhalang Dhar | Sniawbhalang Dhar | 0 | 8th mile | 0 | 8th mile | 9999999999 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11042492 | 1 | 0 | 0 | 11042492 | 11042492 | JPM | Airtel | ‌8991160990008008138U
21 | 16/08/24 | 1000227789 | 1000227789 | Sniawbhalang Dhar | Sniawbhalang Dhar | 0 | 8th mile | 0 | 8th mile | 9999999999 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | 8th mile | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 3.KW | IDF | 0 | NO | 11042491 | 1 | 0 | 0 | 11042491 | 11042491 | JPM | Airtel | ‌8991160990008008144U
22 | 17/07/24 | 1000228150 | 1000228150 | Saila Rasbongsi | Saila Rasbongsi | 0 | Bara/Killing | 0 | Bara/Killing | 9999999999 | Ri/Bhoi | Nongspung | Byrnihat | Killing | Bara/Killing | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11104316 | 1 | 0 | 0 | 11104316 | 11104316 | JPM | JIO | ‌5753140187901
23 | 17/08/24 | 1000227984 | 1000227984 | Dorbar Raid Marwet | Dorbar Raid Marwet | 0 | Baridua | 0 | 9th mile | 9678686572 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11043868 | 1 | 0 | 0 | 11043868 | 11043868 | JPM | Airtel | ‌8991160990008012172U
24 | 17/08/24 | 1000227934 | 1000227934 | Dorbar Raid Marwet | Dorbar Raid Marwet | 0 | Baridua | 0 | 9th mile | 8486856554 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044655 | 1 | 0 | 0 | 11044655 | 11044655 | JPM | Airtel | ‌8991160990008014116U
25 | 17/08/24 | 1000227930 | 1000227930 | The Dorbar Raid Marwet | The Dorbar Raid Marwet | 847169417287 | Baridua | 0 | 9th mile | 8011220688 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044862 | 1 | 0 | 0 | 11044862 | 11044862 | JPM | Airtel | ‌8991160990008014266U
26 | 17/08/24 | 1000227985 | 1000227985 | Dorbar Raid Marwet | Dorbar Raid Marwet | 801724830909 | Baridua | 0 | 9th mile | 9954264905 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044038 | 1 | 0 | 0 | 11044038 | 11044038 | JPM | Airtel | ‌8991160990008013848U
27 | 17/08/24 | 1000227933 | 1000227933 | Dorbar Raid Marwet | Dorbar Raid Marwet | 0 | Baridua | 0 | 9th mile | 9957103052 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044654 | 1 | 0 | 0 | 11044654 | 11044654 | JPM | Airtel | ‌8991160990008014117U
28 | 17/08/24 | 1000227986 | 1000227986 | Dorbar Raid Marwet | Dorbar Raid Marwet | 0 | Baridua | 0 | 9th mile | 7896924191 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044035 | 1 | 0 | 0 | 11044035 | 11044035 | JPM | Airtel | ‌8991160990008013837U
29 | 17/08/24 | 1000227932 | 1000227932 | Dorbar Raid Marwet | Dorbar Raid Marwet | 0 | Baridua | 0 | 9th mile | 8638711992 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044039 | 1 | 0 | 0 | 11044039 | 11044039 | JPM | Airtel | ‌8991160990008013861U
30 | 17/08/24 | 1000225182 | 1000225182 | R.A.Choudhury | R.A.Choudhury | 635269914446 | Baridua | 0 | 9th mile | 8402867756 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044863 | 1 | 0 | 0 | 11044863 | 11044863 | JPM | Airtel | ‌8991160990008014258U
31 | 17/08/24 | 1000227980 | 1000227980 | P.Wahlang | P.Wahlang | 0 | Baridua | 0 | 9th mile | 9401972373 | Ri/Bhoi | Killing Khanapara | Byrnihat | Killing | Baridua | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11044653 | 1 | 0 | 0 | 11044653 | 11044653 | JPM | Airtel | ‌8991160990008014113U
32 | 21/08/24 | 1000228079 | 1000228079 | Gopal Sharma | Gopal Sharma | 0 | Hatimara | 0 | Hatimara | 8471923084 | Ri/Bhoi | Nongspung | Byrnihat | Killing | Hatimara | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11104315 | 1 | 0 | 0 | 11104315 | 11104315 | JPM | JIO | ‌5753140187899
33 | 21/08/24 | 1000228098 | 1000228098 | Minar Syad | Minar Syad | 0 | Hatimara | 0 | Hatimara | 8729851187 | Ri/Bhoi | Nongspung | Byrnihat | Killing | Hatimara | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11101929 | 1 | 0 | 0 | 11101929 | 11101929 | JPM | JIO | ‌5753140011716
34 | 2024-09-03 | 1000227022 | 1000227022 | Ramnath Talukdar | Ramnath Talukdar | 0 | Lumnogrim | 0 | Lumnogrim | 9999999999 | Ri/Bhoi | Byrnihat | Byrnihat | Killing | Lumnogrim | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11101927 | 1 | 0 | 0 | 11101927 | 11101927 | JPM | JIO | ‌5753140011710
35 | 2024-09-03 | 1000229047 | 1000229047 | Sarbison Sangma | Sarbison Sangma | 0 | Iongkhuli | 0 | Iongkhuli | 9999999999 | Ri/Bhoi | Nongspung | Killing | Killing | Iongkhuli | 0 | 793101 | Umling | 0 | IDF | 0 | 0 | 0 | 0 | 0 | 1.KW | IDF | 0 | NO | 11101930 | 1 | 0 | 0 | 11101930 | 11101930 | JPM | JIO | ‌5753140011718