**Format for Load enhancement into UBS HT Billing**

1. Name of the Consumer: National Institute of Technology, Sohra, (Consumer ID – 1000696459)

2. Name of the Sub Division: Sohra Distribution Sub Division, MePDCL, Sohra

3. Name of the Feeder : Lower Sohra Feeder

4. Category : General Purpose Bulk Supply

4. Date of connections: 24.09.2024

5. Meter No. MS5000196

6. Meter ownership: MePDCL.

7. Transformer capacity : 1250 KVA

8. Contracted load : 995 KVA

9. Whether consumer opted for TMC: Y

10. If yes, Provide details of Transformer capacity : 1250 KVA

11. Whether consumer opted for CT/PT Maintenance: Y

If yes, provide details types of CT/PT -:- Type : Outdoor, Ratio 50-100/5 A, 11 KV/110 V, Burden - 50 VA, Serial No. 66279, Year of manufacture - 2022

Make : Macroplast Pvt. Ltd. (MPL) (Grater Noida)

CT Connected at 100

12.Initial reading :Reading as on 24.09.2024

Time: 4:45 P.M.

UC KVA : 0.00

KVAH : 51

KWH : 39

13.OMF : 20 ( KWh, KVAh, KVA)

Executive Engineer

East Khasi Hills Distribution Division

MePDCL, Shillong