## EnergyAudit
Bangalore Electricity Supply Company (BESCOM)
Assessment of Unmetered Sales For the Month of Mar-2025
Section : TAVAREKERE , Generated on: 15-Mar-2025 14:27:22
Sl No. | Circle Name | Division Name | Sub Division Name | Station Name | Feeder Name | Feeder Type | Trunk Line | Spur Line | Total Length (G + H) | Total DTC | Feeder Code | No. of Inst | No. of Active Inst | No. of Inactive Inst | Peak Load in MW | IR | FR | MC | To be changed | MCH MC Units | Consumption T=(((P-Q)*R)+S) | Imported Energy | Exported Energy | 11 KV Wheeled Energy in Units | 11KV Open Access Consumption in Units | SRTVP Consumption | Total Consumption of the feeder Z=(T+U-V+Y) | Allowable lossfor Agri P= 9.5 %*Z) | Metered Sales | Net Consumption AC=(Z-AA-AB) | IP Sets | Sanction Load of IP sets in HP | Total HP | Per HP Average of Agri feeders AG =(AC/AE) | considerable Per HP Average of Agri feeders AG =(AC/AE) %
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R |  | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE | AF | AG | AH
4 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | F09-TAVAREKERE-ISRO | NO TYPE | 0 | 0 | 0 | 0 | 1210105902010300 | 0 | 0 | 0 | 0 | 1325.497 | 55.1 | 20000 | 2000 | 0 | 110200 | 440000 | 0 |  |  |  | 550200 | 0 | 548500 | 1700 | 0 | 0 | 1138.952 | 0 | 0
23 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | F03-DODDALADMARA | MIXED LOAD | 0 | 0 | 0 | 85 | 1210105902010100 | 2360 | 1700 | 660 | 0 | 22.6 | 717.9 | 20000 | 2000 | 0 | 13906000 | 0 | 1090000 | 0 | 0 | 0 | 12816000 | 0 | 117622.9 | 12698377.1 | 116 | 1157.5 | 4968.539 | 3159.488 | 200
25 | RAMANAGAR | MAGADI | TAVAREKERE | TAVAREKERE_66 | F04-BANASWADI | MIXED LOAD | 0 | 0 | 0 | 106 | 1210105902010100 | 4421 | 3342 | 1079 | 0 | 0 | 1.1 | 30000 | 2000 | 0 | 33000 | 0 | 0 | 0 | 0 | 0 | 33000 | 0 | 217431.2 | -184431.2 | 40 | 400 | 4448.742 | 7.204 | 200
1 | RAMANAGAR | MAGADI | TAVAREKERE | CHANDRAPPA_CIRCLE_66 | F04-DODDERI | MIXED LOAD | 0 | 0 | 0 | 0 | 1210105903010100 | 0 | 0 | 0 | 0 | 0 | 0 | 20000 | 2000 | 0 | 40 | 0 | 40 |  |  |  | 0 | 0 | 0 | 0 | 4 | 40 | 40 | 0 | 0
1 | RAMANAGAR | MAGADI | TAVAREKERE | TGHALLI_66 | F04-VARDHENAHALLI | AGRI | 0 | 0 | 0 | 27 | 1210105901010100 | 648 | 645 | 3 | 0 | 8633.1 | 8654.9 | 1000 | 20000 | 21800 | 0 | 0 | 0 | 0 | 0 | 21800 | 2071 | 3954 | 15775 | 629 | 6290 | 6243.554 | 2.508 | 2.508
3 | RAMANAGAR | MAGADI | TAVAREKERE | TGHALLI_66 | F01-TGGANGAPPANAHALLI | MIXED LOAD | 0 | 0 | 0 | 45 | 1210105901010100 | 1356 | 1153 | 203 | 0 | 1041.069 | 1041.77 | 20000 | 1000 | 14020 | 85000 | 0 | 0 | 0 | 0 | 99020 | 0 | 69091.1 | 29928.9 | 21 | 208 | 1567.459 | 2.508 | 2.508
5 | RAMANAGAR | MAGADI | TAVAREKERE | TGHALLI_66 | F03-MOTAGANAHALLI | MIXED LOAD | 0 | 0 | 0 | 95 | 1210105901010100 | 3318 | 1827 | 1491 | 0 | 5885.6 | 5914.2 | 1000 | 10000 | 28600 | 0 | 0 | 0 | 0 | 0 | 28600 | 0 | 118234.5 | -89634.5 | 150 | 1449 | 3316.839 | 2.508 | 2.508
7 | RAMANAGAR | MAGADI | TAVAREKERE | TGHALLI_66 | F02-BACHENAHATTY NJY | NJY | 0 | 0 | 0 | 109 | 1210105901010100 | 2059 | 1710 | 349 | 0 | 628.301 | 630.2 | 10000 | 1000 | 18990 | 0 | 0 | 0 | 0 | 0 | 18990 | 0 | 101795 | -82805 | 0 | 0 | 1713.325 | 0 | 0
8 | A: RAMANAGAR; B: MAGADI; C: TAVAREKERE; D: TGHALLI_66; E: F5-Station Aux; F: Aux; P: 0.6; Q: 1.4; R: 10000 | 1000