## S1
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
MONTHLY METER READING DATA OF 66/11KV MELEHALLY MUSS FOR THE MONTH OF NOV-2025
Name of the Station: |  | MELEHALLY
Sl. No | Particulars | CT Ratio Used | Sl. No. of Energy meters | PEAK LOAD |  |  |  | Max Voltage & Date & Time | Min Voltage & Date & Time | READING |  |  |  |  | Type of Meter (EM/ ETV) | Status of meter (OK/MNR/NM**) | Remarks
| Line/Transformer/ Bank/Feeder |  |  | Amps | MW | DATE | TIME |  |  | Present | Previous | Difference | Meter Constant | Net energy in Units
5 | F5-PADARAHALLI | 200/1 | Q0258408 | 126 | 2.1 | 2025-11-29 | 11:00 | 11.2 &15/11 & 13hrs | 10.5 & 14/11 & 10hrs | 238.184 | 238.092 | 0.092 | 20000 | 1840 | ETV | OK | Old constant
|  | 400/1 | Q0931218 | [6 empty] | 112.1 | 65.3 | 46.8 | 2000 | 93600 | ETV | FAULTY
|  | 400/1 | Q0258408 | [6 empty] | 240.858 | 238.184 | 2.674 | 40000 | 106960 | ETV | OK | New constant