## OldMeterDetails
Account ID | RR NO | Meter Sl No | IR | Meter Constant | Read KVAH | Optical Port | Meter Make | Meter Phase | Full Scale | Meter Capacity | DLMS Or NON DLMS | Meter Position | Meter Type | Meter Status | Ledger Fr | Ledger KVAH | MR Code | ReadingDay | Old Ledger Fr | New Meter Serial No | New Meter Make | New Meter Type | New Meter Phase | New Full Scale | New Meter Capacity | New Meter Constant | New Optical Port | Removal KWH | Removal KVAH | New IN Read KWH | New IN Read KVAH | Meter Change Date | New Meter Position | Remarks | Meter Defective
54800 | TYD2 | 00000000 | 604 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 605.00 | 0.00 | 1312108 | 3 | 605.00 | A9578233 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 605 | 0 | 0 | 0 | 07-07-2025 11:53:35 | OUTSIDE | BULK METER CHANGE | NO
3266744 | TYD12716 | 000000 | 13097 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 13150.00 | 0.00 | 1312108 | 3 | 13150.00 | A9578230 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 13163 | 0 | 0 | 0 | 07-07-2025 17:49:15 | OUTSIDE | BULK METER CHANGE | NO
48113 | BHR337 | 535564 | 10432 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 10589.00 | 0.00 | 1312108 | 11 | 10589.00 | A9573953 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 10589 | 0 | 0 | 0 | 29-06-2025 12:33:42 | OUTSIDE | BULK METER CHANGE | NO
48108 | BHR326 | 88837 | 5412 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 5455.00 | 0.00 | 1312108 | 10 | 5455.00 | A9573950 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 5479 | 0 | 0 | 0 | 30-06-2025 11:04:57 | OUTSIDE | BULK METER CHANGE | NO
70662 | TYD58 | 000000 | 7269 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 7351.00 | 0.00 | 1312108 | 3 | 7351.00 | A9578223 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 7359 | 0 | 0 | 0 | 07-07-2025 17:40:14 | OUTSIDE | BULK METER CHANGE | NO
50559 | BHR334 | 000000 | 6519 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6520.00 | 0.00 | 1312108 | 11 | 6520.00 | A9579144 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6520 | 0 | 0 | 0 | 30-06-2025 13:21:42 | OUTSIDE | BULK METER CHANGE | NO
56426 | TYD93 | 2513573 | 19416 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 19592.00 | 0.00 | 1312108 | 3 | 19592.00 | A9578228 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 19610 | 0 | 0 | 0 | 07-07-2025 11:25:27 | OUTSIDE | BULK METER CHANGE | NO
58843 | BHR330 | 00000 | 7865 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 7886.00 | 0.00 | 1312108 | 11 | 7886.00 | A9576540 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 7892 | 0 | 0 | 0 | 29-06-2025 15:19:30 | OUTSIDE | BULK METER CHANGE | NO
47991 | BHR269 | 7097772 | 11904 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 11963.00 | 0.00 | 1312108 | 11 | 11963.00 | A9573952 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 11982 | 0 | 0 | 0 | 29-06-2025 17:28:41 | OUTSIDE | BULK METER CHANGE | NO
70275 | TYD95 | 2514176 | 11526 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 11565.00 | 0.00 | 1312108 | 3 | 11565.00 | A9576960 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 11569 | 0 | 0 | 0 | 07-07-2025 16:49:47 | OUTSIDE | BULK METER CHANGE | NO
59106 | RGYTYD5969 | 139080 | 2764 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 2768.00 | 0.00 | 1312108 | 3 | 2768.00 | A9576949 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 2769 | 0 | 0 | 0 | 07-07-2025 18:06:01 | OUTSIDE | BULK METER CHANGE | NO
68928 | RGYBHR7825 | 6487258 | 7465 | 1 | 0 | YES | HAVELLS | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 7536.00 | 0.00 | 1312108 | 11 | 7536.00 | A9579146 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 7568 | 0 | 0 | 0 | 30-06-2025 11:54:22 | OUTSIDE | BULK METER CHANGE | NO
57554 | BHR3076 | 00000 | 11807 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 11993.00 | 0.00 | 1312108 | 11 | 11993.00 | A9576531 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 12081 | 0 | 0 | 0 | 29-06-2025 15:27:23 | OUTSIDE | BULK METER CHANGE | NO
63512 | BHR390 | 2517023 | 12499 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 12648.00 | 0.00 | 1312108 | 11 | 12648.00 | A9573951 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 12736 | 0 | 0 | 0 | 29-06-2025 16:38:27 | OUTSIDE | BULK METER CHANGE | NO
69974 | BHR380 | 0000000 | 12300 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 12392.00 | 0.00 | 1312108 | 11 | 12392.00 | A9579156 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 12439 | 0 | 0 | 0 | 30-06-2025 14:39:07 | OUTSIDE | BULK METER CHANGE | NO
70153 | TYD26 | 53787 | 8609 | 1 | 0 | YES | BHEL | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 8613.00 | 0.00 | 1312108 | 3 | 8613.00 | A9577174 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 8613 | 0 | 0 | 0 | 07-07-2025 17:13:34 | OUTSIDE | BULK METER CHANGE | NO
63694 | TYD69 | 84878 | 9118 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 9241.00 | 0.00 | 1312108 | 3 | 9241.00 | A9576945 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 9253 | 0 | 0 | 0 | 07-07-2025 18:00:38 | OUTSIDE | BULK METER CHANGE | NO
68506 | RGYTYD7888 | 6513897 | 12121 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 12356.00 | 0.00 | 1312108 | 3 | 12356.00 | A9577164 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 12382 | 0 | 0 | 0 | 07-07-2025 18:23:24 | OUTSIDE | BULK METER CHANGE | NO
60188 | RGYBHR6077 | 139854 | 7676 | 1 | 0 | YES | EMCO | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 7732.00 | 0.00 | 1312108 | 11 | 7732.00 | A9579150 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 7732 | 0 | 0 | 0 | 30-06-2025 14:10:29 | OUTSIDE | BULK METER CHANGE | NO
56930 | BHR6177 | 22157037o | 9953 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 9956.00 | 0.00 | 1312108 | 11 | 9956.00 | A9573956 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 9957 | 0 | 0 | 0 | 29-06-2025 17:37:52 | OUTSIDE | BULK METER CHANGE | NO
71709 | TYD59 | 8845893 | 6664 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6700.00 | 0.00 | 1312108 | 3 | 6700.00 | A9578235 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6704 | 0 | 0 | 0 | 07-07-2025 16:55:05 | OUTSIDE | BULK METER CHANGE | NO
73901 | BHR220 | 2510684 | 14380 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 14590.00 | 0.00 | 1312108 | 11 | 14590.00 | A9576522 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 14590 | 0 | 0 | 0 | 29-06-2025 17:13:25 | OUTSIDE | BULK METER CHANGE | NO
66675 | BHR282 | 692655 | 21565 | 1 | 0 | YES | BHEL | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 21701.00 | 0.00 | 1312108 | 10 | 21701.00 | A9573957 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 21714 | 0 | 0 | 0 | 30-06-2025 12:36:18 | OUTSIDE | BULK METER CHANGE | NO
51972 | BHR311 | 49244755 | 5274 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 5314.00 | 0.00 | 1312108 | 9 | 5314.00 | A9580368 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 5332 | 0 | 0 | 0 | 30-06-2025 12:51:15 | OUTSIDE | BULK METER CHANGE | NO
47990 | BHR268 | 183116 | 7592 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 7592.00 | 0.00 | 1312108 | 11 | 7592.00 | A9573946 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 7592 | 0 | 0 | 0 | 29-06-2025 14:11:58 | OUTSIDE | BULK METER CHANGE | NO
59712 | BHR370 | 490532202 | 21316 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 21439.00 | 0.00 | 1312108 | 10 | 21439.00 | A9580362 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 21523 | 0 | 0 | 0 | 30-06-2025 12:28:27 | OUTSIDE | BULK METER CHANGE | NO
73190 | BHR257 | 6177670 | 772 | 1 | 0 | YES | BHEL | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 839.00 | 0.00 | 1312108 | 11 | 839.00 | A9573941 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 868 | 0 | 0 | 0 | 29-06-2025 15:47:27 | OUTSIDE | BULK METER CHANGE | NO
61808 | BHR6551 | 22618681 | 6740 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6826.00 | 0.00 | 1312108 | 11 | 6826.00 | A9579159 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6867 | 0 | 0 | 0 | 30-06-2025 11:43:13 | OUTSIDE | BULK METER CHANGE | NO
72676 | BHR193 | 111942 | 8351 | 1 | 0 | YES | BHEL | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 8361.00 | 0.00 | 1312108 | 11 | 8361.00 | A9573954 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 8364 | 0 | 0 | 0 | 29-06-2025 15:16:29 | OUTSIDE | BULK METER CHANGE | NO
69343 | RGYTYD7836 | 6668542 | 8852 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 8901.00 | 0.00 | 1312108 | 3 | 8901.00 | A9576369 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 8907 | 0 | 0 | 0 | 07-07-2025 19:05:17 | OUTSIDE | BULK METER CHANGE | NO
59641 | RGYTYD5974 | 139083 | 2122 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 2125.00 | 0.00 | 1312108 | 3 | 2125.00 | A9577165 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 2125 | 0 | 0 | 0 | 07-07-2025 11:54:41 | OUTSIDE | BULK METER CHANGE | NO
67342 | BHR32 | 23019686 | 21564 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 21681.00 | 0.00 | 1312108 | 10 | 21681.00 | A9573942 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 21754 | 0 | 0 | 0 | 30-06-2025 12:12:33 | OUTSIDE | BULK METER CHANGE | NO
47965 | BHR165 | 22258271 | 10724 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 10783.00 | 0.00 | 1312108 | 11 | 10783.00 | A9573949 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 10812 | 0 | 0 | 0 | 29-06-2025 17:58:05 | OUTSIDE | BULK METER CHANGE | NO
58630 | BHR254 | 87654 | 930 | 1 | 0 | YES | HAVELLS | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 996.00 | 0.00 | 1312108 | 11 | 996.00 | A9579143 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 1026 | 0 | 0 | 0 | 30-06-2025 11:44:19 | OUTSIDE | BULK METER CHANGE | NO
72143 | BHR286 | 1885212 | 14452 | 1 | 0 | YES | ACTARIS | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 14552.00 | 0.00 | 1312108 | 11 | 14552.00 | A9569284 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 14606 | 0 | 0 | 0 | 29-06-2025 19:33:41 | OUTSIDE | BULK METER CHANGE | NO
60293 | RGYBHR6081 | 136009 | 6450 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6493.00 | 0.00 | 1312108 | 11 | 6493.00 | A9579142 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6494 | 0 | 0 | 0 | 30-06-2025 11:15:32 | OUTSIDE | BULK METER CHANGE | NO
69344 | RGYTYD7835 | 63254 | 4652 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 4652 | 0.00 | 1312108 | 3 | 4701.00 | A9578237 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 4701 | 0 | 0 | 0 | 07-07-2025 14:13:55 | OUTSIDE | BULK METER CHANGE | NO
52107 | BHR284 | 88055 | 3765 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 3783.00 | 0.00 | 1312108 | 9 | 3783.00 | A9580380 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 3817 | 0 | 0 | 0 | 30-06-2025 15:13:39 | OUTSIDE | BULK METER CHANGE | NO
47995 | BHR283 | 23290001 | 5825 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 5889.00 | 0.00 | 1312108 | 11 | 5889.00 | A9573945 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 5919 | 0 | 0 | 0 | 29-06-2025 12:50:18 | OUTSIDE | BULK METER CHANGE | NO
52110 | BHR354 | 88920 | 5030 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 5066.00 | 0.00 | 1312108 | 9 | 5066.00 | A9580363 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 5085 | 0 | 0 | 0 | 30-06-2025 13:15:27 | OUTSIDE | BULK METER CHANGE | NO
59753 | RGYTYD5973 | 139081 | 6902 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6910.00 | 0.00 | 1312108 | 3 | 6910.00 | A9576955 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6910 | 0 | 0 | 0 | 07-07-2025 16:26:10 | OUTSIDE | BULK METER CHANGE | NO
59275 | BHR336 | 537245 | 10003 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 10145.00 | 0.00 | 1312108 | 11 | 10145.00 | A9576529 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 10235 | 0 | 0 | 0 | 29-06-2025 15:06:30 | OUTSIDE | BULK METER CHANGE | NO
47993 | BHR277 | 112342 | 6231 | 1 | 0 | YES | BHEL | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6290.00 | 0.00 | 1312108 | 9 | 6290.00 | A9580372 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6322 | 0 | 0 | 0 | 30-06-2025 11:54:37 | OUTSIDE | BULK METER CHANGE | NO
59421 | RGYBHR6095 | 136155 | 4836 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 4852.00 | 0.00 | 1312108 | 9 | 4852.00 | A9580371 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 4878 | 0 | 0 | 0 | 30-06-2025 17:00:12 | OUTSIDE | BULK METER CHANGE | NO
51417 | BHR161 | 23256737 | 6316 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6350.00 | 0.00 | 1312108 | 11 | 6350.00 | A9579148 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6428 | 0 | 0 | 0 | 30-06-2025 12:19:49 | OUTSIDE | BULK METER CHANGE | NO
59217 | RGYBHR6078 | 136003 | 7940 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 8131.00 | 0.00 | 1312108 | 11 | 8131.00 | A9576539 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 8268 | 0 | 0 | 0 | 29-06-2025 14:16:30 | OUTSIDE | BULK METER CHANGE | NO
58350 | RGYTYD5967 | 149978 | 6687 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6716.00 | 0.00 | 1312108 | 3 | 6716.00 | A9576944 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6720 | 0 | 0 | 0 | 07-07-2025 18:14:16 | OUTSIDE | BULK METER CHANGE | NO
69131 | RGYTYD7833 | 568452 | 6842 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6910.00 | 0.00 | 1312108 | 3 | 6910.00 | A9578239 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6923 | 0 | 0 | 0 | 07-07-2025 14:38:15 | OUTSIDE | BULK METER CHANGE | NO
72574 | BHR255 | 620310 | 2282 | 1 | 0 | YES | BHEL | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 2370.00 | 0.00 | 1312108 | 11 | 2370.00 | A9573947 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 2414 | 0 | 0 | 0 | 29-06-2025 15:50:33 | OUTSIDE | BULK METER CHANGE | NO
52109 | BHR329 | 8158692 | 6560 | 1 | 0 | YES | ACTARIS | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6645.00 | 0.00 | 1312108 | 11 | 6645.00 | A9573955 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6681 | 0 | 0 | 0 | 29-06-2025 17:50:26 | OUTSIDE | BULK METER CHANGE | NO
65187 | BHR270 | 183568 | 9448 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 9536.00 | 0.00 | 1312108 | 11 | 9536.00 | A9570710 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 9580 | 0 | 0 | 0 | 29-06-2025 15:13:07 | OUTSIDE | BULK METER CHANGE | NO
73322 | BHR392 | 000000 | 1787 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 1788.00 | 0.00 | 1312108 | 10 | 1788.00 | A9573959 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 1788 | 0 | 0 | 0 | 30-06-2025 13:55:25 | OUTSIDE | BULK METER CHANGE | NO
68087 | RGYTYD7885 | 864866 | 4090 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 4134.00 | 0.00 | 1312108 | 3 | 4134.00 | A9577162 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 4140 | 0 | 0 | 0 | 07-07-2025 17:02:55 | OUTSIDE | BULK METER CHANGE | NO
71920 | BHR382 | 2510065 | 8914 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 8983.00 | 0.00 | 1312108 | 11 | 8983.00 | A9576521 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 9011 | 0 | 0 | 0 | 29-06-2025 17:04:26 | OUTSIDE | BULK METER CHANGE | NO
68505 | RGYTYD7890 | 175431 | 4854 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 4869.00 | 0.00 | 1312108 | 3 | 4869.00 | A9576956 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 4870 | 0 | 0 | 0 | 07-07-2025 18:19:23 | OUTSIDE | BULK METER CHANGE | NO
51692 | BHR218 | 644891 | 3232 | 1 | 0 | YES | Bentec | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 3263.00 | 0.00 | 1312108 | 11 | 3263.00 | A9573944 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 3277 | 0 | 0 | 0 | 29-06-2025 18:06:42 | OUTSIDE | BULK METER CHANGE | NO
58774 | RGYBHR6093 | 136156 | 2452 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 2473.00 | 0.00 | 1312108 | 11 | 2473.00 | A9579147 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 2482 | 0 | 0 | 0 | 30-06-2025 12:40:33 | OUTSIDE | BULK METER CHANGE | NO
59104 | RGYBHR6089 | 1361510 | 4296 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 4320.00 | 0.00 | 1312108 | 9 | 4320.00 | A9580365 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 4330 | 0 | 0 | 0 | 30-06-2025 14:08:45 | OUTSIDE | BULK METER CHANGE | NO
60186 | RGYTYD5970 | 139075 | 2649 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 2676.00 | 0.00 | 1312108 | 3 | 2676.00 | A9576957 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 2678 | 0 | 0 | 0 | 07-07-2025 18:08:01 | OUTSIDE | BULK METER CHANGE | NO
61411 | TYD82 | 04682339 | 13090 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 13188.00 | 0.00 | 1312108 | 3 | 13188.00 | A9576367 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 13198 | 0 | 0 | 0 | 07-07-2025 18:57:58 | OUTSIDE | BULK METER CHANGE | NO
68509 | BHR216 | 8159605 | 12824 | 1 | 0 | YES | Alstom | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 12912.00 | 0.00 | 1312108 | 11 | 12912.00 | A9573960 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 12955 | 0 | 0 | 0 | 29-06-2025 17:09:06 | OUTSIDE | BULK METER CHANGE | NO
47986 | BHR256 | 709787 | 11451 | 1 | 0 | YES | ACTARIS | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 11535.00 | 0.00 | 1312108 | 11 | 11535.00 | A9575563 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 11574 | 0 | 0 | 0 | 29-06-2025 15:07:58 | OUTSIDE | BULK METER CHANGE | NO
48120 | BHR368 | 49031516 | 5518 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 5602.00 | 0.00 | 1312108 | 9 | 5602.00 | A9580379 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 5630 | 0 | 0 | 0 | 30-06-2025 13:18:24 | OUTSIDE | BULK METER CHANGE | NO
59000 | RGYBHR6076 | 136001 | 7549 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 7586.00 | 0.00 | 1312108 | 11 | 7586.00 | A9579141 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 7604 | 0 | 0 | 0 | 30-06-2025 12:27:21 | OUTSIDE | BULK METER CHANGE | NO
67545 | RGYBHR7827 | 178468 | 6500 | 1 | 0 | YES | ISKRA | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 6608.00 | 0.00 | 1312108 | 11 | 6608.00 | A9579145 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 6663 | 0 | 0 | 0 | 30-06-2025 11:02:31 | OUTSIDE | BULK METER CHANGE | NO
61606 | BHR6760 | 000000 | 10854 | 1 | 0 | YES | L&T | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 10956.00 | 0.00 | 1312108 | 11 | 10956.00 | A9576533 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 11006 | 0 | 0 | 0 | 29-06-2025 16:20:52 | OUTSIDE | BULK METER CHANGE | NO
51127 | BHR260 | 88758 | 5060 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 5124.00 | 0.00 | 1312108 | 9 | 5124.00 | A9580361 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 5153 | 0 | 0 | 0 | 30-06-2025 12:34:45 | OUTSIDE | BULK METER CHANGE | NO
55910 | TYDST2 | 11924 | 9741 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | MECHANICAL | NORMAL | 9741.00 | 0.00 | 1312108 | 3 | 9741.00 | A9578229 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 9741 | 0 | 0 | 0 | 07-07-2025 18:23:29 | OUTSIDE | BULK METER CHANGE | NO
4193981 | RGYTYD18134 | 0452387 | 1079 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 1080.00 | 0.00 | 1312108 | 3 | 1080.00 | A9578224 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 1085 | 0 | 0 | 0 | 07-07-2025 17:59:19 | OUTSIDE | BULK METER CHANGE | NO
4931650 | RGYTYD18171 | 86345 | 913 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 925.00 | 0.00 | 1312108 | 3 | 925.00 | A9576951 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 928 | 0 | 0 | 0 | 07-07-2025 17:42:10 | OUTSIDE | BULK METER CHANGE | NO
4931652 | RGYTYD18172 | 254685 | 329 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 330.00 | 0.00 | 1312108 | 3 | 330.00 | A9578227 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 336 | 0 | 0 | 0 | 07-07-2025 14:25:46 | OUTSIDE | BULK METER CHANGE | NO
4203837 | RGYTYD17928 | 177235 | 497 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 502.00 | 0.00 | 1312108 | 3 | 502.00 | A9578226 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 511 | 0 | 0 | 0 | 07-07-2025 17:12:54 | OUTSIDE | BULK METER CHANGE | NO
4931649 | RGYTYD18180 | 0000000 | 359 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 360.00 | 0.00 | 1312108 | 3 | 360.00 | A9578225 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 495 | 0 | 0 | 0 | 07-07-2025 11:59:13 | OUTSIDE | BULK METER CHANGE | NO
4193979 | RGYTYD18132 | 253548 | 2760 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 2801.00 | 0.00 | 1312108 | 3 | 2801.00 | A9578234 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 2808 | 0 | 0 | 0 | 07-07-2025 14:29:12 | OUTSIDE | BULK METER CHANGE | NO
4193990 | RGYTYD18185 | 58666524 | 425 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 429.00 | 0.00 | 1312108 | 3 | 429.00 | A9576368 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 433 | 0 | 0 | 0 | 07-07-2025 18:31:15 | OUTSIDE | BULK METER CHANGE | NO
4984389 | RGYTYD18176 | 8159608 | 390 | 1 | 0 | YES | ACTARIS | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 393.00 | 0.00 | 1312108 | 3 | 393.00 | A9578221 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 395 | 0 | 0 | 0 | 07-07-2025 18:08:53 | OUTSIDE | BULK METER CHANGE | NO
4195659 | RGYTYD18155 | 0452368 | 1240 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 1250.00 | 0.00 | 1312108 | 3 | 1250.00 | A9578232 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 1251 | 0 | 0 | 0 | 07-07-2025 17:53:20 | OUTSIDE | BULK METER CHANGE | NO
4931644 | RGYTYD18182 | 963556 | 1149 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 1166.00 | 0.00 | 1312108 | 3 | 1166.00 | A9578238 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 1166 | 0 | 0 | 0 | 07-07-2025 17:49:33 | OUTSIDE | BULK METER CHANGE | NO
4931651 | RGYTYD18169 | 256854 | 622 | 1 | 0 | YES | T.T.L | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 630.00 | 0.00 | 1312108 | 3 | 630.00 | A9578231 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 630 | 0 | 0 | 0 | 07-07-2025 14:18:29 | OUTSIDE | BULK METER CHANGE | NO
4203891 | RGYTYD17934 | 0000000 | 697 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 705.00 | 0.00 | 1312108 | 3 | 705.00 | A9578222 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 715 | 0 | 0 | 0 | 07-07-2025 13:18:53 | OUTSIDE | BULK METER CHANGE | NO
4203816 | RGYBHR17944 | 88045 | 2705 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 2770.00 | 0.00 | 1312108 | 9 | 2770.00 | A9580364 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 2770 | 0 | 0 | 0 | 30-06-2025 14:23:14 | OUTSIDE | BULK METER CHANGE | NO
4193985 | RGYTYD18138 | 88842 | 791 | 1 | 0 | YES | AVON | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 810.00 | 0.00 | 1312108 | 3 | 810.00 | A9576942 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 810 | 0 | 0 | 0 | 07-07-2025 19:09:57 | OUTSIDE | BULK METER CHANGE | NO
4193993 | RGYTYD18187 | 000000 | 484 | 1 | 0 | YES | L & G | 1-PHASE | 1 | 5-30A | AMR | OUTSIDE | STATIC | NORMAL | 494.00 | 0.00 | 1312108 | 3 | 494.00 | A9576953 | L&T | STATIC | 1-PHASE | 999999 | 5-30A | 1 | YES | 523 | 0 | 0 | 0 | 07-07-2025 19:24:48 | OUTSIDE | BULK METER CHANGE | NO