## Sheet1
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
Name of the Station |  | SANKALAGERE- 66/11 KV |  |  |  | STATION CODE - |  |  | Zone - BRAZ |  | Ph. No- |  | Meter Reading for month of FEB-2026
Sl. No. | Particulars | CT Ratio used | Sl. No. of Energy Meter | READINGS | [7 empty] | Meter Constant | Net Energy (U) |  | Status of Meter OK/MNR /NM | Remarks | Remarks
| Line/ Transformer/ Bank/Feeder |  |  | Imp./ Exp. | Max. Dem. (MW) | Amps | Date | Time | Present | Previous | Difference
66/11 KV TRANSFORMERS | [13 empty] | Total Cons.
1 | TR1 - 8.0 MVA : 66 KV SIDE (HV) | 100/1 | 15190754 |  | 5.8 | 58 | 2026-02-07 | 9:00 | 135387.5 | 133625.6 | 1761.9 | 1000 | 1761900 | 1761900 | L&T | OK |  | Tr1->Bnk1 | #REF!
2 | TR2 - 12.5 MVA : 66 KV SIDE (HV) | 200/1 | X1848754 |  | 9.8 | 98 | 2026-02-01 | 15:00 | 277.45 | 260.31 | 17.14 | 120000 | 2056800 | 2056800 | SECURE | OK |  | Tr2->Bnk2 | #REF!
11 KV FEEDERS | [12 empty] | 3818700 | 3818700 |  |  |  | Bnk1->Fdr | #REF!
2 | F2-H.Byadarahalli | 200/1 | Q0245469 |  | 0.9 | 56 | 2026-02-09 | 13:00 | 745.622 | 739.725 | 5.897 | 20000 | 117940 |  | SECURE | OK
2). Due to 11kV CT failure of F4 virupsandra feeder , F4 loads were transferred on F3 since from 29/5/2015. again loads were resumed on F4 on 7/7/2015
NOTE: Bank-2 peak load is contingency peak load. Because F9-Sankalagere from 220kv Channapatna Receiving station load shifted to F12-Kuranagere on 01.02.2026 & 02.02.2026 and from 18.02.2026 to 25.02.2026 due to F9-Sankalagere feeder faulty.
ADANI SOLAR LINE LOAD DETAILS
|  |  | LOAD DETAILS |  | AMPS | MW | TIME | DATE
|  |  | MAXIMUM LOAD |  | 181 | 18.1 | 12:00 | 2026-02-25
|  |  | MINIMUM LOAD |  | 3 | 0.3 | 18:00 | 2026-02-08
ADANI SOLAR LINE ENERGY CONSUMPTION
|  |  | Present reading | Previous reading |  | Difference | Meter constant | Consumption
|  | IMPORT | 289410 | 286154 |  | 3256 | 1000 | 3256000
|  | EXPORT | 1144 | 1134 |  | 10 | 1000 | 10000
Formulas:
Date = '[1]PL L TR1 TR 2'!L36
Date = '[1]PL L TR1 TR 2'!N36
Time = '[1]PL L TR1 TR 2'!H36
Time = '[1]PL L TR1 TR 2'!J36