## consumption
Karnataka Power Transmission Corporation Limited
Name of the Station :- 66 / 11 kV MUSS MATHOD
Statement of Energy Consumption of 11 kV interfacing Points & feeders for the month of | [7 empty] | 2025-01-01
Sl No. | Desn | Name of the Feeder / Bank | Voltage Class | CT Ratio | Reading | [6 empty] | Meter status |  |  | Remarks
[5 empty] | Present | Previous | Difference | MC | Consumption in Units | Assessed Consumption | Total Consumption in Units | ETV/ Sems | Sl.No | Make
1 | Tr-1 | 12.5 MVA Transformer-1 | 66/11KV | 100/1 | 8252.12 | 7911.16 | 340.96 | 6000 | 2045760 |  | 2045760 | ETV | KA 900053 | Secure
2 | B-1 | Bank-1 | 11kV | 800/1 | 668.723 | 643.24 | 25.483 | 80000 | 2038640 |  | 2038640 | ETV | Q0248286 | Secure
3 | F-1 | G.N.kere | 11kV | 200/1 | 763.386 | 737.625 | 25.761 | 20000 | 515220 |  | 515220 | ETV | Q0248377 | Secure
4 | F-2 | Bukkasagar IP | 11kV | 200/1 | 767.855 | 751.282 | 16.573 | 20000 | 331460 |  | 331460 | ETV | Q0248552 | Secure
5 | F-3 | Mengasandra | 11kV | 200/1 | 329.269 | 302.104 | 27.165 | 20000 | 543300 |  | 543300 | ETV | Q0469792
6 | F10 | D.T. Vatti NJY | 11kV | 200/2 | 212.548 | 203.832 | 8.716 | 20000 | 174320 |  | 174320 | ETV | Q0603816 | Secure
7 | F-11 | Vajra NJY | 11kV | 200/1 | 5209.5 | 5136.7 | 72.8 | 2000 | 145600 |  | 145600 | ETV | 16193942 | L&T
8 | F-15 | Kasappanahalli | 11kV | 200/1 | 303.12 | 139.69 | 163.43 | 2000 | 326860 |  | 326860 | ETV | Q0704621 | Secure | New feeder charged on 24.05.2024 @18:55 hrs
9 | Tr-2 | 12.5MVA Transformer-2 (exp) | 66/11KV | 100/1 | 4456.31 | 4424.61 | 31.7 | 60000 | 1902000 |  | 1902000 | ETV | 902022 | L&T
|  | 12.5MVA Transformer-2(imp) |  |  | 363.99 | 363.91 | 0.08 | 60000 | 4800 |  | 4800
10 | B-2 | Bank-2 (imp) | 11kV | 800/1 | 647.72 | 624.052 | 23.668 | 80000 | 1893440 |  | 1893440 | ETV | Q0248613 | Secure
|  | Bank-2 (exp) |  |  | 20.84 | 20.777 | 0.063 | 80000 | 5040 |  | 5040
11 | F-5 | Mathod A | 11kV | 200/1 | 835.616 | 815.201 | 20.415 | 20000 | 408300 |  | 408300 | ETV | Q0248474 | Secure
12 | F-6 | Station Auxillary | 11kV | 200/1 | 84375 | 83081 | 1294 | 1 | 1294 |  | 1294 | EM | BES 8120 | Actaris
13 | F-7 | Nagathihally | 11kV | 200/1 | 845.235 | 817.505 | 27.73 | 20000 | 554600 |  | 554600 | ETV | Q0248278 | Secure
14 | F-8 | Menasanodu | 11kV | 200/1 | 816.339 | 789.54 | 26.799 | 20000 | 535980 |  | 535980 | ETV | Q0248279 | Secure
15 | F-9 | MTD NJY | 11kV | 200/1 | 527.669 | 518.143 | 9.526 | 20000 | 190520 |  | 190520 | ETV | Q0248512 | Secure
16 | F-12 | Siddaganga Solar(imp) | 11kV | 100/1 | 786.58 | 776.44 | 10.14 | 10000 | 101400 |  | 101400 | ETV | 18057986 | L&T
|  | Siddaganga Solar(exp) |  |  | 9.35 | 9.12 | 0.23 | 10000 | 2300 |  | 2300
17 | F-13 | Bhramara Solar(imp) | 11kV | 100/1 | 8525.6 | 8417.5 | 108.1 | 1000 | 108100 |  | 108100 | ETV | 15199622 | L&T
|  | Bhramara Solar(exp) |  |  | 64.4 | 63.7 | 0.7 | 1000 | 700 |  | 700
18 | F-14 | Arehalli | 11kv | 200/1 | 382.15 | 181.77 | 200.38 | 2000 | 400760 |  | 400760 | ETV | Q0704607 | Secure | New feeder charged on 23.09.2024 @09:40 hrs
|  | Total Bank 1 Consumption | [8 empty] | 2038640 | units
|  | Total Bank 1 Feeders Consumption | [8 empty] | 2036760 | units
|  | Total Bank 2 Consumption | [8 empty] | 2094900 | units
|  | Total Bank 2 Feeder Consumption | [8 empty] | 2090160 | units
|  | RAMCO AT FACTORY |  |  | 1420.959 | 1379.288 | 41.671 | 24000 | 1000104 |  | 1000104
|  | KMMC HT3 line reading at Mathod Muss |  |  | 109973 | 108976 | 997 | 1000 | 997000 |  | 997000
[5 empty] | 59008.8132 | 59008.8132
Note-2 : Ramco reading is taken over phone.

## EBC
Details of Interface point readings in Tl & SS Division Chitradurga e for the month of | [17 empty] | 2025-01-01
Sl. No. | Sub-Station Name | Feeder ID | Interface Point | CT Ratio | Meter No. | Flow Type | MF | Final | Initial | Consumption | Assessed Consumption in Units | Total Consumption | CT Ratio (2nd Set) | Meter No. (2nd Set) | MF (2nd Set) | Initial (2nd Set) | Final (2nd Set) | Energy = A | Aux Energy | Metering Status | Notes
1 | MATHOD |  | 66/11 kv Bank -1 | 800/1 | KEB 16648 | From KPTCL | 80000 | 668.723 | 643.24 | 2038640 |  | 2038640 | [5 empty] | 2038640 |  | OK
2 |  | 1634 | 66/11 kv Bank - 2(exp) | 800/1 | KEB 16651 | From KPTCL | 80000 | 20.84 | 20.777 | 5040 |  | 5040 | [5 empty] | 5040 |  | OK
|  |  | 66/11 kv Bank - 2(imp) |  |  |  | 80000 | 647.72 | 624.052 | 1893440 |  | 1893440 | [5 empty] | 1893440
3 |  | 132 | Aux-1 |  | 8120 | From KPTCL | 1 | 84375 | 83081 | 1294 |  | 1294 | [5 empty] | 1294 | 1294 | OK
Executive Engineer(Ele)
220KV SRS,CTA
Chitradurga

## Ramco
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
Statement - 5
Sl. No. | RR No. | Name of the installation | CD in KVA | Sl. No. | Make | Capacity | 66 KV PT | Remarks
1 | KM/CHT-3 | Madras Cement Ltd., Hosadurga | 2660 | 1107000 | L&T |  |  | Meter at RAMCO Factory
KMMC line is commissioned on 09.02.2012 by bifurcation from 66KV Kanchipura outgoing line. |  |  |  | KAU07627 | Secure |  |  | Meter at MATHOD station .
66kV KMMC line meter details at Mathod MUSS:
Make-Secure Sl no-KAU07627, CT ratio-200/1A,CL-0.2s, YOM-2007,
| Consumption of RR.No: KM/CHT-3 for the month of |  |  |  |  | 2025-01-01
Sl. No. | Month | Present | Previous | Difference | Constant | Consumption in units | Consumption in MU | Remarks
| 2019-11-01 | [6 empty] | Meter at factory
1 |  | 1420.959 | 1379.288 | 41.671 | 24000 | 1000104 | 1.0001 | Meter at Ramco factory
2 |  | 109973 | 108976 | 997 | 1000 | 997000 | 0.997 | Meter at Mathod MUSS
Total Consumption | [6 empty] | 0.997
Note-1: Reading of meter at RAMCO factory taken over phone
| Assistant Engineer (Ele) 66/11kV Sub-station, Mathod ------------------------- |  |  | Assistant Executive Engineer (Ele) 220kV RS&SS Division, Chitradurga ------------------------- |  |  |  | Executive Engineer (Ele) 220kV RS&SS Division, Chitradurga -------------------------