## S1
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
MONTHLY METER READING DATA OF 66/11KV KOOTAGALLU MUSS FOR THE MONTH OF FEB-2025
Name of the Station: |  | KOOTAGALLU |  |  |  |  | Zone: BRAZ
Sl. No | Particulars | CT Ratio Used | Sl. No. of Energy meters | PEAK LOAD |  |  | Max Voltage & Date & Time | Min Voltage & Date & Time | READING |  |  |  |  | Type of Meter (EM/ ETV) | Status of meter (OK/MNR/NM**) | Remarks
| Line/Transformer/ Bank/Feeder |  |  | Amps | MW | Date & Time |  |  | Present | Previous | Difference | Meter Constant | Net energy in Units
15 | F9-K.R. Pura | 400/1 | Q0591594 | 80 | 1.3 | 14hr,24/02 | 11.6/02hr,09/01 | 10.6/09hr, 01/01 | 1.1 | 0 | 1.1 | 2000 | 2200 | DLMS | OK | LOAD TAKEN ON 24.02.2025