## S1
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
MONTHLY METER READING DATA OF 66/11KV MELEHALLY MUSS FOR THE MONTH OF FEB 2025
Name of the Station: |  | MELEHALLY
Sl. No | Particulars | CT Ratio Used | Sl. No. of Energy meters | PEAK LOAD |  |  |  | Max Voltage & Date & Time | Min Voltage & Date & Time | READING |  |  |  |  | Type of Meter (EM/ ETV) | Status of meter (OK/MNR/NM**) | Remarks
| Line/Transformer/ Bank/Feeder |  |  | Amps | MW | DATE | TIME |  |  | Present | Previous | Difference | Meter Constant | Net energy in Units
3 | F3- Thimmasandra | 400/1 | OLD METER Q0258418 | 117 | 1.9 | 2025-02-21 | 13:00 | 11.2&27.02.2025&19hr | 10.5&15.02.205&7hr | 297.84 | 291.02 | 6.82 | 20000 | 136400 | ETV | OK | METER REPLACED ON 13.02.2025 BECAUSE THE METER DISPLAY IS NOT SHOWING READING.
|  |  | NEW METER Q0931295 | [6 empty] | 153.8 | 0 | 153.8 | 1000 | 153800 | ETV | OK