## sheet1 -1
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION | ENERGY AUDIT FEEDER WISE REPORT -SIRA RURAL-SECTION
Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025 | Report for the Period from 01-Jun-2025 to 23-Jun-2025
| Generated By: | KAVITHA R
| Generated On: | 23-06-2025 17:26:05
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE | AF | AG | AH | AI | AJ | AK
SLNO | ZONE | CIRCLE | DIVISION | SUB DIVISION | STATION NAME | FEEDER OWNER | FEEDER INDEX | FEEDER NAME | FEEDER TYPE | FEEDER CODE | NO OF INS | NO OF ACTIVE INS | NO OF INACTIVE INS | IP SET INSTALLATION | IP_UNBILLED | IR | FR | MC | METERCHANGE UNITS | CONSUMPTION T=(Q-P)*R+S | IMPORTED ENERGY | EXPORTED ENERGY | SRTPV CONSUMPTION | NET CONSUMPTION X=T+U-V+W | METERED SALES | UNMETERED SALES | TOTAL SALES AA=Y+Z | T AND D LOSS AB=(X-W/X)*100 | DEMAND | COLLECTION | BILLING EFFICIENCY AE=AA/X | COLLECTION EFFICIENCY AF=AD/AC | AT AND C LOSS AG=((1-AE*AF)*100 | REMARKS | STATUS | ENRTYTIME | loc_code
1 | BRAZ | RAMANAGAR | RAMANAGAR | CHANNAPATNA RURAL | B V HALLI_66 | CHANNAPATNA RURAL |  | F01-BHOOHALLI | AGRI | 1220105903010104 | 356 | 350 | 6 | 350 | 0 | 6760.3 | 6845 | 2000 | 0 | 169400 | 0 | 0 | 0 | 169400 | 0 | 153053.082 | 153053.082 | 9.65 | 1380539.39 | 1380539.39 | 0.9035 | 1 | 9.65 |  |  | 2025-06-23 17:25:26 | 13141
2 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | SIRA_66 | SIRA URBAN |  | F12-BENCHE NJY | NJY | 1320302903020502 | 489 | 155 | 334 | 0 | 0 | 396.363 | 408.881 | 20000 | 0 | 250360 | 0 | 0 | 0 | 250360 | 14345 | 0 | 14345 | 94.27 | 130697.26 | 73383.26 | 0.0573 | 0.5615 | 52.93 |  |  | 2025-06-23 17:25:26 | 22111
3 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | SIRA_66 | SIRA URBAN |  | F13-BUTHAKATANAHALLI | AGRI | 1320302903020503 | 735 | 414 | 321 | 413 | -2 | 913.36 | 926.219 | 20000 | 0 | 257180 | 0 | 0 | 0 | 257180 | 4 | 232362.927 | 232366.927 | 9.65 | 2096083.95 | 2095944.95 | 0.9035 | 0.9999 | 9.65 |  |  | 2025-06-23 17:25:26 | 22111
4 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | BEVINAHALLI_66 | SIRA URBAN |  | F10-HUNASEHALLI NJY | NJY | 1320302905020304 | 3663 | 2842 | 821 | 0 | 0 | 809.484 | 830.348 | 20000 | 0 | 417280 | 0 | 0 | 0 | 417280 | 199245.5 | 0 | 199245.5 | 52.25 | 2248504.44 | 1274831.52 | 0.4775 | 0.567 | 29.63 |  |  | 2025-06-23 17:25:26 | 22111
5 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | BEVINAHALLI_66 | SIRA URBAN |  | F08-K-RANGANAHALLI | AGRI | 1320302905020302 | 429 | 388 | 41 | 387 | 387 | 1036.761 | 1057.722 | 20000 | 0 | 419220 | 0 | 0 | 0 | 419220 | 32 | 0 | 32 | 99.99 | 371.63 | 284.63 | 0.0001 | 0.7659 | 76.58 |  |  | 2025-06-23 17:25:26 | 22111
6 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | BEVINAHALLI_66 | SIRA URBAN |  | F04-MADDAKNAHALLI NJY | NJY | 1320302905010104 | 2379 | 1755 | 624 | 0 | 0 | 710.392 | 731.962 | 20000 | 0 | 431400 | 0 | 0 | 0 | 431400 | 224442 | 0 | 224442 | 47.97 | 2417859.67 | 802397.27 | 0.5203 | 0.3319 | 15.92 |  |  | 2025-06-23 17:25:26 | 22111
7 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | SIRA_66 | SIRA URBAN |  | F11-MANANGI | AGRI | 1320302903020501 | 238 | 237 | 1 | 235 | 235 | 952.439 | 962.357 | 20000 | 0 | 198360 | 0 | 0 | 0 | 198360 | 615 | 0 | 615 | 99.69 | 5559.93 | 741.93 | 0.0031 | 0.1334 | 13.3 |  |  | 2025-06-23 17:25:26 | 22111
8 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | SIRA_66 | SIRA URBAN |  | F03-MEKERAHALLI | AGRI | 1320302903010103 | 49 | 49 | 0 | 49 | 49 | 1454.892 | 1455.525 | 20000 | 0 | 12660 | 0 | 0 | 0 | 12660 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22111
9 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | BEVINAHALLI_66 | SIRA URBAN |  | F12-HOSUR | AGRI | 1320302905020305 | 321 | 309 | 12 | 309 | 309 | 924.234 | 944.281 | 20000 | 0 | 400940 | 0 | 0 | 0 | 400940 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22111
10 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | BEVINAHALLI_66 | SIRA URBAN |  | F06-GOWDAGERE | AGRI | 1320302905010107 | 359 | 359 | 0 | 359 | 359 | 1144.044 | 1160.937 | 20000 | 0 | 337860 | 0 | 0 | 0 | 337860 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22111
11 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | SIRA_66 | SIRA URBAN |  | F05-DEVARAHALLI | AGRI | 1320302903010105 | 284 | 284 | 0 | 283 | 283 | 499.349 | 512.286 | 20000 | 0 | 258740 | 0 | 0 | 0 | 258740 | 12 | 0 | 12 | 100 | 2082 | 763 | 0 | 0.3665 | 36.65 |  |  | 2025-06-23 17:25:26 | 22111
12 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | BEVINAHALLI_66 | SIRA URBAN |  | F05-GAJJIGARAHALLI | AGRI | 1320302905010108 | 316 | 315 | 1 | 315 | 315 | 955.019 | 974.142 | 20000 | 0 | 382460 | 0 | 0 | 0 | 382460 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22111
13 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | BEVINAHALLI_66 | SIRA URBAN |  | F07-YARAVARAHALLI | AGRI | 1320302905020301 | 269 | 269 | 0 | 269 | 269 | 879.689 | 906.403 | 20000 | 0 | 534280 | 0 | 0 | 0 | 534280 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22111
14 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | KIADB_SIRA_66 | SIRA URBAN |  | F11-MUDIGERE | AGRI | 1320302907010101 | 367 | 365 | 2 | 364 | 364 | 1243.9 | 1364.3 | 2000 | 0 | 240800 | 0 | 0 | 0 | 240800 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22111
15 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | KIADB_SIRA_66 | SIRA URBAN |  | F12-HONNENAHALLI NJY | NJY | 1320302907010102 | 1333 | 1243 | 90 | 0 | 0 | 310.9 | 377.4 | 2000 | 0 | 133000 | 0 | 0 | 0 | 133000 | 76669.2 | 0 | 76669.2 | 42.35 | 823709.35 | 593581.35 | 0.5765 | 0.7206 | 30.52 |  |  | 2025-06-23 17:25:26 | 22111
16 | CTAZ | TUMKUR | MADHUGIRI | SIRA URBAN | KIADB_SIRA_66 | SIRA URBAN |  | F10-KUNAGATANAHALLI | AGRI | 1320302907010103 | 213 | 213 | 0 | 213 | 213 | 1366.6 | 1501 | 2000 | 0 | 268800 | 0 | 0 | 0 | 268800 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22111
17 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | KALLAMBELLA_66 | SIRA RURAL |  | F10-GANGANAHALLI | AGRI | 1320303903020305 | 356 | 355 | 1 | 354 | 354 | 703.605 | 713.231 | 40000 | 0 | 385040 | 0 | 0 | 0 | 385040 | 4 | 0 | 4 | 100 | 173.17 | 207.17 | 0 | 1.1963 | 119.63 |  |  | 2025-06-23 17:25:26 | 22121
18 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BRAHMASANDRA_66 | SIRA RURAL |  | F07-AMALAGONDI | AGRI | 1320303901020303 | 274 | 273 | 1 | 271 | 271 | 960.398 | 972.709 | 20000 | 0 | 246220 | 0 | 0 | 0 | 246220 | 3730 | 0 | 3730 | 98.49 | 35742 | 44639 | 0.0151 | 1.2489 | 123 |  |  | 2025-06-23 17:25:26 | 22121
19 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F01-BUKKAPATNA | AGRI | 1320303902010101 | 233 | 232 | 1 | 230 | 230 | 1010.422 | 1027.964 | 20000 | 0 | 350840 | 0 | 0 | 0 | 350840 | 76 | 0 | 76 | 99.98 | 1915 | 408 | 0.0002 | 0.2131 | 21.31 |  |  | 2025-06-23 17:25:26 | 22121
20 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | KALLAMBELLA_66 | SIRA RURAL |  | F07-DODDA-AGRAHARA | AGRI | 1320303903020302 | 427 | 426 | 1 | 426 | 426 | 637.844 | 646.55 | 40000 | 0 | 348240 | 0 | 0 | 0 | 348240 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
21 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F08-G-RANGANAHALLI | AGRI | 1320303904020303 | 319 | 319 | 0 | 318 | 318 | 1061.619 | 1076.897 | 20000 | 0 | 305560 | 0 | 0 | 0 | 305560 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
22 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F07-HUILDORE | AGRI | 1320303902020303 | 318 | 318 | 0 | 315 | 315 | 1049.599 | 1069.092 | 20000 | 0 | 389860 | 0 | 0 | 0 | 389860 | 13 | 0 | 13 | 100 | 1585 | 5180 | 0 | 3.2681 | 326.81 |  |  | 2025-06-23 17:25:26 | 22121
23 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F02-HUNASEKATTE | AGRI | 1320303902010102 | 444 | 444 | 0 | 443 | 443 | 1275.027 | 1295.694 | 20000 | 0 | 413340 | 0 | 0 | 0 | 413340 | 0 | 0 | 0 | 100 | 456 | 142 | 0 | 0.3114 | 31.14 |  |  | 2025-06-23 17:25:26 | 22121
24 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | KALLAMBELLA_66 | SIRA RURAL |  | F03-KALLAMBELLA | AGRI | 1320303903010103 | 368 | 346 | 22 | 344 | 344 | 620.65 | 624.823 | 40000 | 0 | 166920 | 0 | 0 | 0 | 166920 | 50 | 0 | 50 | 99.97 | 654.97 | 535.97 | 0.0003 | 0.8183 | 81.81 |  |  | 2025-06-23 17:25:26 | 22121
25 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F05-LAKHSMISAGARA | AGRI | 1320303904020301 | 364 | 363 | 1 | 362 | 362 | 881.953 | 893.786 | 20000 | 0 | 236660 | 0 | 0 | 0 | 236660 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
26 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F02-MELLEKOTE | AGRI | 1320303904010102 | 282 | 282 | 0 | 279 | 279 | 1008.825 | 1028.391 | 20000 | 0 | 391320 | 0 | 0 | 0 | 391320 | 10 | 0 | 10 | 100 | 2161 | 3146 | 0 | 1.4558 | 145.58 |  |  | 2025-06-23 17:25:26 | 22121
27 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F01-MG-HATTI | AGRI | 1320303904010101 | 497 | 497 | 0 | 492 | 492 | 1772.924 | 1796.056 | 20000 | 0 | 462640 | 0 | 0 | 0 | 462640 | 56 | 0 | 56 | 99.99 | 1464.35 | 777.35 | 0.0001 | 0.5308 | 53.07 |  |  | 2025-06-23 17:25:26 | 22121
28 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F04-MOSARAKUNTE | AGRI | 1320303904010103 | 373 | 372 | 1 | 369 | 369 | 1080.633 | 1102.117 | 20000 | 0 | 429680 | 0 | 0 | 0 | 429680 | 0 | 0 | 0 | 100 | 1028 | 255 | 0 | 0.2481 | 24.81 |  |  | 2025-06-23 17:25:26 | 22121
29 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F04-PURA | AGRI | 1320303902010104 | 528 | 527 | 1 | 527 | 527 | 1355.194 | 1378.12 | 20000 | 0 | 458520 | 0 | 0 | 0 | 458520 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
30 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F03-RAMLINGAPURA | AGRI | 1320303902010103 | 157 | 157 | 0 | 157 | 157 | 845.846 | 857.316 | 20000 | 0 | 229400 | 0 | 0 | 0 | 229400 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
31 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F06-RANGANATHAPURA | AGRI | 1320303902020302 | 397 | 397 | 0 | 397 | 397 | 1034.734 | 1043.382 | 20000 | 0 | 172960 | 0 | 0 | 0 | 172960 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
32 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F08-SAKSHIHALLI | AGRI | 1320303902020304 | 342 | 293 | 49 | 292 | 292 | 1066.254 | 1090.14 | 20000 | 0 | 477720 | 0 | 0 | 0 | 477720 | 100 | 0 | 100 | 99.98 | 993 | 109 | 0.0002 | 0.1098 | 10.98 |  |  | 2025-06-23 17:25:26 | 22121
33 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BRAHMASANDRA_66 | SIRA RURAL |  | F08-G C PALYA | AGRI | 1320303901020304 | 348 | 344 | 4 | 338 | 338 | 898.437 | 904.701 | 20000 | 0 | 125280 | 0 | 0 | 0 | 125280 | 198 | 0 | 198 | 99.84 | 2515.01 | 1784.01 | 0.0016 | 0.7093 | 70.82 |  |  | 2025-06-23 17:25:26 | 22121
34 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F06-TAVAREKERE | NJY | 1320303904020302 | 1598 | 1422 | 176 | 0 | 0 | 363.32 | 374.291 | 20000 | 0 | 219420 | 0 | 0 | 0 | 219420 | 112320.5 | 0 | 112320.5 | 48.81 | 1254130.78 | 839916.78 | 0.5119 | 0.6697 | 32.69 |  |  | 2025-06-23 17:25:26 | 22121
35 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F05-BELLARA | AGRI | 1320303902020301 | 865 | 854 | 11 | 850 | 850 | 853.922 | 862.729 | 20000 | 0 | 176140 | 0 | 0 | 0 | 176140 | 20 | 0 | 20 | 99.99 | 3620 | 1346 | 0.0001 | 0.3718 | 37.18 |  |  | 2025-06-23 17:25:26 | 22121
36 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F03-DANDIKERE | AGRI | 1320303904010105 | 327 | 326 | 1 | 321 | 321 | 986.461 | 1003.069 | 20000 | 0 | 332160 | 0 | 0 | 0 | 332160 | 452 | 0 | 452 | 99.86 | 4895.51 | 1592.51 | 0.0014 | 0.3253 | 32.48 |  |  | 2025-06-23 17:25:26 | 22121
37 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F07-GANADAHUNASE | AGRI | 1320303904010104 | 278 | 275 | 3 | 275 | 275 | 999.792 | 1020.927 | 20000 | 0 | 422700 | 0 | 0 | 0 | 422700 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
38 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F09-GANDHINAGARA | NJY | 1320303904010106 | 1207 | 1010 | 197 | 0 | 0 | 13632.1 | 13858.3 | 1000 | 0 | 226200 | 0 | 0 | 0 | 226200 | 182890 | 0 | 182890 | 19.15 | 1962352.02 | 1045387.42 | 0.8085 | 0.5327 | 10.2 |  |  | 2025-06-23 17:25:26 | 22121
39 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F12-SHAGADADU | NJY | 1320303902020305 | 1579 | 1243 | 336 | 0 | 0 | 875.164 | 895.51 | 10000 | 0 | 203460 | 0 | 0 | 0 | 203460 | 110111.4 | 0 | 110111.4 | 45.88 | 1373883.25 | 623012.85 | 0.5412 | 0.4535 | 20.81 |  |  | 2025-06-23 17:25:26 | 22121
40 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F10-SOREKUNTE NJY | NJY | 1320303904020304 | 1722 | 1248 | 474 | 0 | 0 | 8613.4 | 8773.7 | 1000 | 0 | 160300 | 0 | 0 | 0 | 160300 | 167337.5 | 0 | 167337.5 | -4.39 | 1595901.56 | 763109.49 | 1.0439 | 0.4782 | -2.1 |  |  | 2025-06-23 17:25:26 | 22121
41 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F10-MARUTHI NJY | NJY | 1320303902010105 | 2873 | 2498 | 375 | 0 | 0 | 1295.456 | 1313.165 | 10000 | 0 | 177090 | 0 | 0 | 0 | 177090 | 160918.2 | 0 | 160918.2 | 9.13 | 1764789.79 | 1125569.59 | 0.9087 | 0.6378 | 5.82 |  |  | 2025-06-23 17:25:26 | 22121
42 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F13-MURUDESHWARA CERAMIC FACTORY | INDUSTRIAL | 1320303902010106 | 2 | 1 | 1 | 0 | 0 | 2017.913 | 2055.473 | 30000 | 0 | 1126800 | 0 | 0 | 0 | 1126800 | 1117975 | 0 | 1117975 | 0.78 | 2011886 | 0 | 0.9922 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
43 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F11-KURUBARAHALLI NJY | NJY | 1320303902020306 | 2067 | 1710 | 357 | 0 | 0 | 776.645 | 795.274 | 10000 | 0 | 186290 | 0 | 0 | 0 | 186290 | 126804.9 | 0 | 126804.9 | 31.93 | 1419146.27 | 894223.58 | 0.6807 | 0.6301 | 20.12 |  |  | 2025-06-23 17:25:26 | 22121
44 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F09-MANNAMMA TEMPLE NJY | NJY | 1320303902010107 | 2421 | 2177 | 244 | 0 | 0 | 1259.047 | 1295.32 | 10000 | 0 | 362730 | 0 | 0 | 0 | 362730 | 210640 | 0 | 210640 | 41.93 | 2900721.64 | 944828.34 | 0.5807 | 0.3257 | 13.66 |  |  | 2025-06-23 17:25:26 | 22121
45 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F15-JANAKAL | AGRI | 1320303902010108 | 308 | 308 | 0 | 307 | 307 | 9996.8 | 10246.8 | 2000 | 0 | 500000 | 0 | 0 | 0 | 500000 | 39 | 0 | 39 | 99.99 | 420.64 | 419.64 | 0.0001 | 0.9976 | 99.75 |  |  | 2025-06-23 17:25:26 | 22121
46 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | BUKKAPATNA_66 | SIRA RURAL |  | F16-KILARADAHALLI | AGRI | 1320303902010109 | 245 | 245 | 0 | 245 | 245 | 7734.2 | 7806 | 2000 | 0 | 143600 | 0 | 0 | 0 | 143600 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
47 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | SIRA 220/66/11KV | SIRA RURAL |  | F02-PANJIGANAHALLI | NJY | 1320303905010101 | 2027 | 1605 | 422 | 0 | 0 | 4471.5 | 4635.5 | 2000 | 0 | 328000 | 0 | 0 | 0 | 328000 | 226949.55 | 0 | 226949.55 | 30.81 | 2423833.06 | 988382.08 | 0.6919 | 0.4078 | 12.56 |  |  | 2025-06-23 17:25:26 | 22121
48 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | SIRA 220/66/11KV | SIRA RURAL |  | F01-KADAJJANAPALYA | AGRI | 1320303905010102 | 262 | 262 | 0 | 262 | 262 | 5549.4 | 5706.8 | 2000 | 0 | 314800 | 0 | 0 | 0 | 314800 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
49 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | SIRA 220/66/11KV | SIRA RURAL |  | F04-KAGGALADU | AGRI | 1320303905010103 | 282 | 282 | 0 | 282 | 282 | 4960.2 | 5166 | 2000 | 0 | 411600 | 0 | 0 | 0 | 411600 | 0 | 0 | 0 | 100 | 0 | 2005 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
50 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | SIRA 220/66/11KV | SIRA RURAL |  | F03-BUTHAKATANAHALLI | AGRI | 1320303905010104 | 357 | 357 | 0 | 357 | 357 | 5261.1 | 5455.8 | 2000 | 0 | 389400 | 0 | 0 | 0 | 389400 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121
51 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | KALLAMBELLA_66 | SIRA RURAL |  | F16-K.G.HALLI | NJY | 1220204903010302 | 2828 | 1889 | 939 | 0 | 0 | 2885.6 | 2950.3 | 2000 | 0 | 129400 | 0 | 0 | 0 | 129400 | 224215 | 0 | 224215 | -73.27 | 2584246.08 | 1139618.96 | 1.7327 | 0.441 | -32.31 |  |  | 2025-06-23 17:25:26 | 22121
52 | CTAZ | TUMKUR | MADHUGIRI | SIRA RURAL | TAVAREKERE(H)_66 | SIRA RURAL |  | F11-SHEEP SLAUGHTER HOUSE | INDUSTRIAL | 1220204904020107 | 1 | 1 | 0 | 0 | 0 | 0.05 | 0.05 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 293311 | 0 | 0 | 0 | 0 |  |  | 2025-06-23 17:25:26 | 22121