## EnergyAudit
Bangalore Electricity Supply Company (BESCOM)
Assessment of Unmetered Sales For the Month of Jun-2025
Section : CHINTHAMANI URBAN , Generated on: 24-Jun-2025 13:32:50
Sl No. | Circle Name | Division Name | Sub Division Name | Station Name | Feeder Name | Feeder Type | Trunk Line | Spur Line | Total Length (G + H) | Total DTC | Feeder Code | No. of Inst | No. of Active Inst | No. of Inactive Inst | Peak Load in MW | IR | FR | MC | MCH MC Units | Consumption T=(((P-Q)*R)+S) | Imported Energy | Exported Energy | 11 KV Wheeled Energy in Units | 11KV Open Access Consumption in Units | SRTVP Consumption | Total Consumption of the feeder Z=(T+U-V+Y) | Allowable lossfor Agri P= 9.5 %*Z) | Metered Sales | Net Consumption AC=(Z-AA-AB) | IP Sets | Sanction Load of IP sets in HP | Total HP | Per HP Average of Agri feeders AG =(AC/AE) | considerable Per HP Average of Agri feeders AG =(AC/AE) % | METER STATUS
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE | AF | AG | AH
1 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F06-ANOOR | AGRI | 5.2 | 3.3 | 8.5 | 0 | 1230401902020300 | 516 | 516 | 0 | 204 | 757.875 | 772.662 | 20000 | 0 | 295740 | 0 | 0 | 0 | 0 | 0 | 295740 | 28538.91 | 0 | 267201.09 | 516 | 5160 | 5160 | 51.783 | 51.783 | NORMAL
2 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F01-BURAMAKALAHALLI | MIXED LOAD | 6.9 | 2.2 | 9.1 | 0 | 1230401901010100 | 2587 | 2015 | 572 | 82 | 12570.8 | 13024.1 | 1000 | 0 | 453300 | 0 | 0 | 0 | 0 | 0 | 453300 | 0 | 308389.8 | 144910.2 | 114 | 1140 | 4220.067 | 82.423 | 82.423 | NORMAL
3 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F14-DAIRY+ARCHIDPLY | INDUSTRIAL | 7.1 | 0.5 | 7.6 | 0 | 1230401901010110 | 19 | 14 | 5 | 36 | 670.173 | 681.583 | 20000 | 0 | 228200 | 0 | 78000 | 0 | 0 | 0 | 150200 | 0 | 142116.2 | 8083.8 | 0 | 0 | 683.417 | 0 | 0 | NORMAL
4 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F04-MUDDALAHALLI | AGRI | 8.1 | 3.2 | 11.3 | 0 | 1230401903010100 | 337 | 332 | 5 | 172 | 403.07 | 416.031 | 20000 | 0 | 259220 | 0 | 0 | 0 | 0 | 0 | 259220 | 25014.73 | 0 | 234205.27 | 332 | 2660 | 2660 | 88.047 | 88.047 | NORMAL
5 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F02-DODDAPURA-NJY | NJY | 6.5 | 2.8 | 9.3 | 0 | 1230401902010100 | 1968 | 1437 | 531 | 48 | 541.728 | 556.822 | 20000 | 0 | 301880 | 0 | 0 | 0 | 0 | 0 | 301880 | 0 | 345455.35 | -43575.35 | 0 | 0 | 1530.067 | 0 | 0 | NORMAL
6 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F08-G-KODIHALLI | AGRI | 6.3 | 3.7 | 10 | 0 | 1230401902020300 | 411 | 389 | 22 | 158 | 10.708 | 22.256 | 20000 | 0 | 230960 | 0 | 0 | 0 | 0 | 0 | 230960 | 22287.64 | 0 | 208672.36 | 389 | 3890 | 3890 | 53.643 | 53.643 | NORMAL
7 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F02-GOPALAPURA | AGRI | 11.8 | 2.6 | 14.4 | 0 | 1230401901010100 | 405 | 399 | 6 | 200 | 6893.7 | 7025.1 | 2000 | 0 | 262800 | 0 | 0 | 0 | 0 | 0 | 262800 | 25360.2 | 0 | 237439.8 | 399 | 3990 | 3990 | 59.509 | 59.509 | NORMAL
8 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F03-GOPALLI | AGRI | 7.3 | 3.5 | 10.8 | 0 | 1230401903010100 | 141 | 138 | 3 | 126 | 1031.68 | 1043.351 | 20000 | 0 | 233420 | 0 | 0 | 0 | 0 | 0 | 233420 | 22525.03 | 0 | 210894.97 | 138 | 1380 | 1380 | 152.822 | 152.822 | NORMAL
9 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F07-K-HOSUR | AGRI | 6.2 | 2.4 | 8.6 | 0 | 1230401902020300 | 207 | 205 | 2 | 114 | 407.565 | 415.575 | 20000 | 0 | 160200 | 0 | 0 | 0 | 0 | 0 | 160200 | 15459.3 | 0 | 144740.7 | 205 | 2050 | 2050 | 70.605 | 70.605 | NORMAL
10 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F04-KAIWARA | AGRI | 8 | 2.6 | 10.6 | 0 | 1230401901020300 | 771 | 764 | 7 | 220 | 693.728 | 700.262 | 40000 | 0 | 261360 | 0 | 0 | 0 | 0 | 0 | 261360 | 25221.24 | 0 | 236138.76 | 764 | 5328 | 5328 | 44.32 | 44.32 | NORMAL
11 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F02-DANDUPALYA | AGRI | 6.8 | 3.4 | 10.2 | 0 | 1230401903010100 | 176 | 175 | 1 | 188 | 564.774 | 580.301 | 20000 | 0 | 310540 | 0 | 0 | 0 | 0 | 0 | 310540 | 29967.11 | 0 | 280572.89 | 175 | 1750 | 1750 | 160.327 | 160.327 | NORMAL
12 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F01-KURUBUR | AGRI | 7.3 | 3.4 | 10.7 | 0 | 1230401902010100 | 175 | 173 | 2 | 150 | 631.863 | 645.442 | 20000 | 0 | 271580 | 0 | 0 | 0 | 0 | 0 | 271580 | 26207.47 | 0 | 245372.53 | 173 | 1730 | 1730 | 141.834 | 141.834 | NORMAL
13 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F06-L-D-KOTE | AGRI | 8.9 | 3.6 | 12.5 | 0 | 1230401901010100 | 306 | 306 | 0 | 184 | 833.45 | 846.477 | 20000 | 0 | 260540 | 0 | 0 | 0 | 0 | 0 | 260540 | 25142.11 | 0 | 235397.89 | 306 | 3060 | 3060 | 76.927 | 76.927 | NORMAL
14 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F08-LOCAL 1 | MIXED LOAD | 8.2 | 2.3 | 10.5 | 0 | 1230401901020300 | 13 | 13 | 0 | 150 | 1731.445 | 1764.428 | 40000 | 0 | 1319320 | 0 | 1318020 | 0 | 0 | 0 | 1300 | 0 | 1260 | 40 | 0 | 0 | 25.359 | 0 | 0 | NORMAL
15 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F05-MUKTHISHWARA-NJY | NJY | 0 | 0 | 0 | 0 | 1230401903020300 | 2621 | 2101 | 520 | 74 | 639.637 | 665.187 | 20000 | 0 | 511000 | 0 | 0 | 0 | 0 | 0 | 511000 | 0 | 288409.5 | 222590.5 | 0 | 0 | 2555.62 | 0 | 0 | NORMAL
16 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F05-MURUGAMALLA | AGRI | 6.5 | 2.3 | 8.8 | 0 | 1230401901010100 | 240 | 240 | 0 | 152 | 5620.6 | 5812.7 | 1000 | 0 | 192100 | 0 | 0 | 0 | 0 | 0 | 192100 | 18537.65 | 0 | 173562.35 | 240 | 2400 | 2400 | 72.318 | 72.318 | NORMAL
17 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F09-NANDIGANAHALLI | AGRI | 7.3 | 2.4 | 9.7 | 0 | 1230401901020300 | 331 | 331 | 0 | 163 | 6848.4 | 7096.5 | 1000 | 0 | 248100 | 0 | 0 | 0 | 0 | 0 | 248100 | 23941.65 | 0 | 224158.35 | 331 | 3310 | 3310 | 67.722 | 67.722 | NORMAL
18 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F13-SAPTHAGIRI | MIXED LOAD | 8.6 | 2.5 | 11.1 | 0 | 1230401901010110 | 28 | 26 | 2 | 115 | 12292.4 | 12913.2 | 1000 | 0 | 620800 | 0 | 585800 | 0 | 0 | 0 | 35000 | 0 | 23113 | 11887 | 0 | 0 | 217.019 | 0 | 0 | NORMAL
19 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F03-SEEKAL | AGRI | 8.2 | 2.3 | 10.5 | 0 | 1230401901020300 | 365 | 363 | 2 | 190 | 815.267 | 823.269 | 1000 | 0 | 8002 | 0 | 0 | 0 | 0 | 0 | 8002 | 772.193 | 0 | 7229.807 | 362 | 3620 | 3627 | 1.997 | 1.997 | NORMAL
20 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F12-SMV | MIXED LOAD | 6.8 | 1.1 | 7.9 | 0 | 1230401901010110 | 2345 | 1958 | 387 | 80 | 1718.513 | 1748.968 | 20000 | 0 | 609100 | 0 | 254100 | 0 | 0 | 0 | 355000 | 0 | 242546.7 | 112453.3 | 0 | 0 | 2368.379 | 0 | 0 | NORMAL
21 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F16-SERICO | NO TYPE | 6.6 | 0.2 | 6.8 | 0 | 1230401901010110 | 51 | 7 | 44 | 36 | 227.08 | 233.822 | 20000 | 0 | 134840 | 156720 | 57400 | 0 | 0 | 0 | 234160 | 0 | 43394 | 190766 | 0 | 0 | 586.657 | 0 | 0 | NORMAL
22 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F11-LOCAL 3 | MIXED LOAD | 7.5 | 3.1 | 10.6 | 0 | 1230401901020310 | 471 | 444 | 27 | 160 | 1050.379 | 1066.303 | 40000 | 0 | 636960 | 0 | 0 | 0 | 0 | 0 | 636960 | 0 | 146513.2 | 490446.8 | 274 | 2740 | 3592.601 | 82.423 | 82.423 | NORMAL
23 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F01-THUMMALAHALLI NJY | NJY | 0 | 0 | 0 | 0 | 1230401903010100 | 1971 | 1524 | 447 | 50 | 631.083 | 631.083 | 20000 | 0 | 0 | 225000 | 0 | 0 | 0 | 0 | 225000 | 0 | 189564.799 | 35435.201 | 0 | 0 | 1296.491 | 0 | 0 | NORMAL
24 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F07-LOCAL | MIXED LOAD | 7.9 | 2.3 | 10.2 | 0 | 1230401901010110 | 1030 | 881 | 149 | 196 | 2125.352 | 2163.969 | 40000 | 0 | 1544680 | 0 | 1419680 | 0 | 0 | 0 | 125000 | 0 | 115562.2 | 9437.8 | 0 | 0 | 1552.448 | 0 | 0 | NORMAL
25 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F03-GAJALAHALLI | AGRI | 7.5 | 2.8 | 10.3 | 0 | 1230401902010100 | 382 | 380 | 2 | 138 | 557.119 | 568.917 | 20000 | 0 | 235960 | 0 | 0 | 0 | 0 | 0 | 235960 | 22770.14 | 0 | 213189.86 | 379 | 3790 | 3800 | 56.251 | 56.251 | NORMAL
26 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F04-PANASACHOWDANAHALLI | NJY | 6.27 | 3.3 | 9.57 | 0 | 1230401902010110 | 2925 | 2260 | 665 | 66 | 853.311 | 875.694 | 20000 | 0 | 447660 | 0 | 12170 | 0 | 0 | 0 | 435490 | 0 | 424196.5 | 11293.5 | 0 | 0 | 2495.05 | 0 | 0 | NORMAL
27 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F06-KAPALLI | AGRI | 6.8 | 3.9 | 10.7 | 0 | 1230401903020300 | 204 | 204 | 0 | 148 | 770.62 | 782.054 | 20000 | 0 | 228680 | 0 | 0 | 0 | 0 | 0 | 228680 | 22067.62 | 0 | 206612.38 | 204 | 2040 | 2040 | 101.281 | 101.281 | NORMAL
28 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F07-MURUGAMALLA | AGRI | 6.8 | 3.3 | 10.1 | 0 | 1230401903020300 | 291 | 282 | 9 | 192 | 459.927 | 474.942 | 20000 | 0 | 300300 | 0 | 0 | 0 | 0 | 0 | 300300 | 28978.95 | 0 | 271321.05 | 282 | 2820 | 2820 | 96.213 | 96.213 | NORMAL
29 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F05-D.B.HALLI | AGRI | 6.4 | 2.3 | 8.7 | 0 | 1230401902020300 | 436 | 435 | 1 | 132 | 525.076 | 534.276 | 20000 | 0 | 184000 | 0 | 0 | 0 | 0 | 0 | 184000 | 17756 | 0 | 166244 | 435 | 4350 | 4350 | 38.217 | 38.217 | NORMAL
30 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | KODIHALLI_BGR_66 | F09-KODADAVADI | NJY | 6.9 | 2.6 | 9.5 | 0 | 1230401902010110 | 1482 | 1046 | 436 | 30 | 248.224 | 255.615 | 20000 | 0 | 147820 | 46380 | 6760 | 0 | 0 | 0 | 187440 | 0 | 209934 | -22494 | 0 | 0 | 1360.537 | 0 | 0 | NORMAL
31 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F08-ADEPALLI-NJY | NJY | 6.5 | 3.6 | 10.1 | 0 | 1230401903020300 | 3083 | 2568 | 515 | 66 | 944.531 | 960.44 | 20000 | 0 | 318180 | 73860 | 1260 | 0 | 0 | 0 | 390780 | 0 | 282721 | 108059 | 0 | 0 | 3037.597 | 0 | 0 | NORMAL
32 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F18-KURUTAHALLI-NJY | NJY | 0 | 0 | 0 | 0 | 1230401901010110 | 2277 | 1813 | 464 | 10 | 16556.2 | 16697.1 | 2000 | 0 | 281800 | 0 | 0 | 0 | 0 | 0 | 281800 | 0 | 419598.89 | -137798.89 | 0 | 0 | 2464.367 | 0 | 0 | NORMAL
33 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F09-KAGATHI NJY | NJY | 8.5 | 3.7 | 12.2 | 0 | 1230401903020310 | 2358 | 1757 | 601 | 76 | 676.611 | 692.242 | 20000 | 0 | 312620 | 145925 | 20780 | 0 | 0 | 0 | 437765 | 0 | 378746.5 | 59018.5 | 0 | 0 | 2443.869 | 0 | 0 | NORMAL
34 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F10-BHOOMISHETTYHALLI | AGRI | 6.6 | 3.3 | 9.9 | 0 | 1230401903020310 | 194 | 194 | 0 | 178 | 506.626 | 518.302 | 20000 | 0 | 233520 | 0 | 0 | 0 | 0 | 0 | 233520 | 22534.68 | 0 | 210985.32 | 194 | 1940 | 1940 | 108.755 | 108.755 | NORMAL
35 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F19-RAMPURA | MIXED LOAD | 3.5 | 2.1 | 5.6 | 0 | 1230401901010110 | 150 | 141 | 9 | 24 | 778.21 | 785.677 | 20000 | 0 | 149340 | 0 | 0 | 0 | 0 | 0 | 149340 | 0 | 101518 | 47822 | 6 | 60 | 990.036 | 82.423 | 82.423 | NORMAL
36 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | NANDIGANAHALLI_66 | F11-KOTHAPALLI | AGRI | 6.8 | 3.6 | 10.4 | 0 | 1230401903010110 | 197 | 191 | 6 | 143 | 2830.6 | 3060.4 | 1000 | 0 | 229800 | 0 | 0 | 0 | 0 | 0 | 229800 | 22175.7 | 70 | 207554.3 | 190 | 1500.5 | 1503.5 | 138.323 | 138.323 | NORMAL
37 | KOLAR | CHINTHAMANI | CHINTHAMANI URBAN | CHINTAMANI_66 | F20-KALLAHALLI | AGRI | 4.5 | 2.5 | 7 | 0 | 1230401901020310 | 330 | 301 | 29 | 140 | 74.53 | 85.785 | 20000 | 0 | 225100 | 0 | 0 | 0 | 0 | 0 | 225100 | 21722.15 | 0 | 203377.85 | 301 | 3010 | 3010 | 67.567 | 67.567 | NORMAL