## Sheet1
Details of Energy Consumption, Peak load, Power supply & Interruptions of 66/11 KV S/s Kallambella For the month | [12 empty] | 2025-05-01
Sl No. | Name of the Bank & Feeders | Monthly energy consumption | [6 empty] | Max.Peak load during the month |  |  |  | Vital parameter |  | Remarks
|  | Present Reading | Previous Reading | Diffrence | M.C | Net Energy | Assesed Reading | Total Net Energy | M.W | Amps. | Date | Time | Loading Factor | Load Factor
1 | Bank - 1 | 1236.242 | 1220.758 | 15.484 | 120000 | 1858080 | 0 | 1858080 | 13.1667 | 790 | 13.05.25 | 9 | 0 | 0.18968
2 | F-1 Talagunda | 1099.044 | 1087.055 | 11.989 | 40000 | 479560 | 0 | 479560 | 3.8333 | 230 | 13.05.25 | 9 | 0.80571 | 0.16815
3 | F-2 Boopasandra. | 650.571 | 642.409 | 8.162 | 40000 | 326480 | 0 | 326480 | 3.5 | 210 | 12.05.25 | 11 | 0.72571 | 0.12538
4 | F-3 Kallambella. | 624.823 | 620.65 | 4.173 | 40000 | 166920 | 0 | 166920 | 2.5667 | 154 | 11.05.25 | 10 | 0.65833 | 0.087411
5 | F-4 Malanahalli | 585.108 | 577.128 | 7.98 | 40000 | 319200 | 0 | 319200 | 4.4 | 264 | 10.05.25 | 8 | 0.575 | 0.097507 | As per AEE(Ele), RSD BESCOM sira letter no:AEE(Ele)/AE(Rural/Sira)/25-26/65 dt:22.04.2025 and Section officer Kallambella request no:582 dt:15.05.2025 the feeder name changed as per mentioned in statement
6 | F-5 Bijjimbella | 712.665 | 698.609 | 14.056 | 40000 | 562240 | 0 | 562240 | 4.8333 | 290 | 6.05.25 | 13 | 0.525 | 0.15635
7 | Bank - 2 | 1106.251 | 1087.063 | 19.188 | 120000 | 2302560 | 0 | 2302560 | 12.7 | 762 | 7.05.25 | 12 | 0.385 | 0.24369
8 | F-6 NH-4 | 1042.654 | 1034.09 | 8.564 | 40000 | 342560 | 0 | 342560 | 4.7333 | 284 | 07.05.25 | 10 | 0.66 | 0.097274
9 | F-7 Gopala Devarahalli | 646.55 | 637.844 | 8.706 | 40000 | 348240 | 0 | 348240 | 4.2 | 252 | 11.05.25 | 9 | 0.725 | 0.11144 | As per AEE(Ele), RSD BESCOM sira letter no:AEE(Ele)/AE(Rural/Sira)/25-26/65 dt:22.04.2025 and Section officer Kallambella request no:582 dt:15.05.2025 the feeder name changed as per mentioned in statement
10 | F-8 Halenahalli. | 1175.256 | 1169.625 | 5.631 | 40000 | 225240 | 0 | 225240 | 2.5 | 150 | 10.05.25 | 12 | 0.635 | 0.1211
11 | F-9 Vaddanahalli. | 680.303 | 676.591 | 3.712 | 40000 | 148480 | 0 | 148480 | 2.3333 | 140 | 12.05.25 | 13 | 0.71 | 0.08553
12 | F-10 Ganganahalli. | 713.231 | 703.605 | 9.626 | 40000 | 385040 | 0 | 385040 | 3.9667 | 238 | 11.05.25 | 7 | 0.63 | 0.13047
13 | F-11 Mysore road | 894.906 | 884.103 | 10.803 | 20000 | 216060 | 0 | 216060 | 3.1667 | 190 | 09.05.25 | 22 | 0.375 | 0.091706
14 | F-12 Chikkanahalli. | 1563.41 | 1546.107 | 17.303 | 20000 | 346060 | 0 | 346060 | 1.8333 | 110 | 12.05.25 | 13 | 0.35 | 0.25371
15 | F-13 Basavanthanahalli | 896.974 | 882.518 | 14.456 | 20000 | 289120 | 0 | 289120 | 1.8667 | 112 | 12.05.25 | 10 | 0.595 | 0.20818
16 | Bank-3 | 11613.2 | 11045.5 | 567.7 | 1500 | 851550 | 0 | 851550 | 5.2 | 312 | 07.05.25 | 16 | 0.475 | 0.22011
17 | F-14 Yaramadenahalli | 3403.5 | 3273.1 | 130.4 | 2000 | 260800 | 0 | 260800 | 2.5 | 150 | 08.05.25 | 12 | 0.275 | 0.14022 | As per AEE(Ele), RSD BESCOM sira letter no:AEE(Ele)/AE(Rural/Sira)/25-26/65 dt:22.04.2025 and Section officer Kallambella request no:582 dt:15.05.2025 the feeder name changed as per mentioned in statement
18 | F-15 Devarahalli | 742.2 | 616.7 | 125.5 | 2000 | 251000 | 0 | 251000 | 3 | 180 | 12.05.25 | 13 | 0.56 | 0.47434
19 | F-16 Kanchiganahalli(NJY) | 2950.3 | 2885.6 | 64.7 | 2000 | 129400 | 0 | 129400 | 0.36667 | 22 | 1.05.25 | 20 | 0.26 | 0.47434
20 | F-17 Kadavigere | 1596.4 | 1493.2 | 103.2 | 2000 | 206400 | 0 | 206400 | 2.9 | 174 | 11.05.25 | 8 | 0.75 | 0.095662
21 | Station Aux. | 169807 | 168327 | 1480 | 1 | 1480 | 0 | 1480
Station Peak Load : |  | 0 | Amps. | 0 | MW | 0:00 | Hrs. | Date : | 0:00
Sl No. | Name of the Bank & Feeders | Hours of power supply supplied |  |  |  | Load shedding |  | Main supply |  | 3 Phase |  |  |  | Single Phase
|  | 3 Phase |  | 1 Phase | [13 empty] | Transmission interruption |  |  |  | Total | Remarks
|  | No | Duration | No | Duration | No | Duration | No | Duration | Forcen |  | U / F |  | Forcen |  | U / F |  | Scheduled |  | Un-scheduled
[10 empty] | No. | Duration | No. | Duration | No. | Duration | No. | Duration | No. | Duration | No. | Duration
2 | F-1 Talagunda | 60 | 174:40 | 65 | 254:00 | 49 | 272:35 | 1 | 0:35 | 15 | 17:45 | 6 | 5:45 | 5 | 10:05 | 4 | 3:20 | 3 | 2:00 | 2 | 3:15 | 744:00
3 | F-2 Boopasandra | 60 | 174:40 | 65 | 254:00 | 49 | 272:35 | 1 | 0:35 | 15 | 17:45 | 6 | 5:45 | 5 | 10:05 | 4 | 3:20 | 3 | 2:00 | 2 | 3:15 | 744:00 | Feeder is under Y operation from 19/09/16
4 | F-3 Kallambella | 67 | 186:45 | 67 | 268:18 | 50 | 208:00 | 1 | 0:35 | 28 | 42:15 | 14 | 7:50 | 12 | 24:15 | 10 | 5:22 | 1 | 0:40 | 0 | 0:00 | 744:00
5 | F-4 Gopaladevarahalli | 72 | 172:15 | 67 | 272:45 | 47 | 270:05 | 4 | 2:15 | 17 | 16:10 | 7 | 3:40 | 5 | 3:15 | 4 | 3:00 | 0 | 0:00 | 2 | 0:35 | 744:00
6 | F-5 Mysore Road | 60 | 159:55 | 65 | 242:55 | 43 | 237:35 | 6 | 4:10 | 24 | 61:35 | 13 | 13:35 | 4 | 5:20 | 6 | 16:40 | 0 | 0:00 | 2 | 2:15 | 744:00
8 | F-6 NH-4 | 69 | 170:48 | 70 | 254:53 | 44 | 256:10 | 5 | 3:19 | 22 | 19:20 | 9 | 5:20 | 9 | 18:55 | 5 | 4:40 | 5 | 8:10 | 1 | 2:25 | 744:00
9 | F-7 DoodaAgrahara | 59 | 172:20 | 66 | 249:20 | 46 | 219:30 | 6 | 4:10 | 26 | 63:40 | 10 | 9:45 | 6 | 7:00 | 5 | 16:00 | 0 | 0:00 | 2 | 2:15 | 744:00 | Feeder is under Y operation from 12.03.2020
10 | F-8 Halenahalli | 72 | 172:15 | 67 | 274:50 | 43 | 273:15 | 4 | 2:15 | 16 | 14:45 | 6 | 2:10 | 3 | 0:55 | 4 | 3:00 | 0 | 0:00 | 2 | 0:35 | 744:00
11 | F-9 Vaddanahalli | 63 | 167:35 | 67 | 260:13 | 55 | 256:35 | 4 | 2:47 | 18 | 13:05 | 13 | 14:20 | 13 | 18:20 | 2 | 4:05 | 4 | 7:00 | 0 | 0:00 | 744:00 | Feeder is under Y operation from 26/02/17
12 | F-10 Ganganahalli | 64 | 228:54 | 75 | 295:40 | 53 | 185:15 | 5 | 4:21 | 11 | 13:30 | 13 | 9:35 | 5 | 4:35 | 2 | 2:10 | 0 | 0:00 | 0 | 0:00 | 744:00
13 | F-11 Kanchiganahalli | 60 | 196:15 | 64 | 234:23 | 36 | 214:40 | 7 | 4:27 | 22 | 52:40 | 15 | 33:15 | 7 | 2:15 | 2 | 4:40 | 1 | 0:10 | 1 | 1:15 | 744:00
14 | F-12 Chikkanahalli | 124 | 668:00 | 2 | 9:00 | 2 | 9:00 | 1 | 0:35 | 62 | 38:30 | 39 | 13:20 | 0 | 0:00 | 0 | 0:00 | 2 | 0:45 | 1 | 4:50 | 744:00
15 | F-13 Multivillage Drinking Water Supply | 118 | 695:10 | 0 | 0:00 | 0 | 0:00 | 1 | 0:35 | 58 | 30:25 | 34 | 12:15 | 0 | 0:00 | 0 | 0:00 | 2 | 0:45 | 1 | 4:50 | 744:00
16 | Bank-3 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0:00
17 | F-14 Yaramadenahalli | 67 | 186:45 | 67 | 268:18 | 50 | 211:00 | 1 | 0:35 | 27 | 39:15 | 14 | 7:50 | 12 | 24:15 | 10 | 5:22 | 1 | 0:40 | 0 | 0:00 | 744:00
18 | F-15 Devarahalli | 72 | 172:55 | 67 | 274:35 | 47 | 266:50 | 4 | 2:15 | 19 | 18:15 | 13 | 3:35 | 2 | 0:30 | 9 | 4:30 | 0 | 0:00 | 2 | 0:35 | 744:00
19 | F-16 Kanchiganahalli(NJY) | 158 | 676:40 | 0 | 0:00 | 0 | 0:00 | 9 | 19:05 | 53 | 31:55 | 62 | 14:20 | 1 | 0:45 | 0 | 0:00 | 3 | 1:15 | 0 | 0:00 | 744:00
20 | F-17 Kadavigere | 69 | 170:48 | 70 | 254:53 | 44 | 256:10 | 5 | 3:19 | 22 | 19:20 | 9 | 5:20 | 9 | 18:55 | 5 | 4:50 | 4 | 8:00 | 1 | 2:25 | 744:00
Asst. Engineer,[Ele.]
66/11 KV Sub-station,
KPTCL , Kallambella.