## Sheet1
ANAGODU 66/11KV SUBSTATION | F4 SHIVAPURA TO BE RENAMED AS F04-ULUPINAKATTE
THE FEEDER F15-SHIVAPURA IS SHOWING TWO TIMES. DUPLICATE TO BE DELETED.
F13-Pisarahatti IP IR TO BE 273.190.
F15-SHIVAPURA IR TO BE 376.100
MAYAKONDA 66/11KV SUBSTATION | F12-BAVIHAL NJY IR TO BE 4438.800
ATTIEGERE 66/11KV SUBSTATION | F14-HANUMANAHALLI IP TO BE RENAMED AS F14-WATER SUPPLY
F03-WATERSUPPLY TO BE RENAMED AS F03-HANUMANAHALLI
F03-HANUMANAHALLY METER CONSTANT TO BE 2000
F04-BASAVESHWARA IP METER CONSTANT TO BE 20000
F13-KABBURU IP METER CONSTANT BE 4000
F03-HANUMANAHALLY IR TO BE 4788.4
F04-BASAVESHWARA IP IR TO BE 592.538
F13-KABBURU IP IR TO BE 368.36
F14-WATER SUPPLY IR TO BE 271.01
MELLEKATTE 66/11KV SUBSTATION | F09-MALLAPURA NJY IR TO BE 0.000
F10-SHIVASTONE CRUSHER IR TO BE 129.57