## Sheet1
SL NO | NAME OF STATION | NAME OF THE FEEDER | FEEDER TYPE | FEEDER CODE | EXISTING METER CONSTANT | NEW METER CONSTANT | REMARKS
1 | 66/11 BADAVANAHALLY | F11-K.T.HALLY----NJY | NJY | 1320301902010107 | 10000 | 20000 | CT ratio is changed in KPTCL SUBSTATION , Hence meter constant is changed.
2 | 66/11 BADAVANAHALLY | F12-POOJARAHALLY NJY | NJY | 1320301902010108 | 10000 | 20000 | CT ratio is changed in KPTCL SUBSTATION , Hence meter constant is changed.