## BPL EA T&D
Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM) | Bangalore Electricity Supply Company Limited (BESCOM)
ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION | ENERGY AUDIT FEEDER WISE REPORT -BAGEPALLI-SECTION
Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025 | Report for the Period from 01-Jun-2025 to 27-Jun-2025
| E | H | I | T | U | V | X | AA | AB
SLNO | STATION NAME | FEEDER NAME | FEEDER TYPE | CONSUMPTION T=(Q-P)*R+S | IMPORTED ENERGY | EXPORTED ENERGY | NET CONSUMPTION X=T+U-V+W | TOTAL SALES AA=Y+Z | T AND D LOSS AB=(X-W/X)*100 | T AND D LOSS AB=(X-W/X)*101 | Required T AND D LOSS
1 | BAGEPALLI_66 | F05-LOCAL | MIXED LOAD | 1564200 | 0 | 280000 | 1284200 | 1154555.919 | 15.37 | 129644.081 | 10.0953
2 | BAGEPALLI_66 | F08-T.B-CROSS | MIXED LOAD | 773400 | 0 | 345510 | 427890 | 388542.293 | 4.74 | 39347.707 | 9.1958
3 | CHAKAVELU_66 | F02-VANDAMAN-DAM | IDLE | 0 | 98 | 0 | 98 | 98 | -9800 | 0 | 0
4 | CHELUR_66 | F08-MUGIREDDYPALLI | NJY | 167360 | 0 | 17000 | 150360 | 135860 | 18.82 | 14500 | 9.6435
5 | PATHAPALYA_66 | F03-IDLE2 | IDLE | 0 | 111000 | 0 | 111000 | 100242.122 | -0.24 | 10757.878 | 9.6918