## Feederwise EA diff sales
4
SL. No. | AREA- RAPDRP/Non_RAPDRP/sharing between RAPDRP & Non_RAPDRP | Sub Division | O&M Section | STATION | FEEDER NO.& NAME (as per MDM) |  | FEEDER CODE (as per MDM) | Feeder Type CATEGORY-Urban/ Rural/ Industrial/ Commercial/ Domestic/ NJY/ AGRI/ Mixed Load/ Water works/ others | Length of the Feeder in RKm |  |  | Total No of DTCs on Feeder | Total Installation Counts |  | FEEDER METER READING DETAILS | [7 empty] | BOUNDARY METER READING DETAILS | [11 empty] | 11 KV Wheeled Energy in Units | 11KV OPEN ACCESS Consumption in Units (Input) | SRTPV (Net Metering + Gross Metering) | TOTAL INPUT ENERGY (FEEDER CONSUMPTION + IMPORT-EXPORT+SRTPV) in Units | 11KV OPEN ACCESS Consumption in Units (Sales) (It should not be added in the metered sales) | 11KV Wheeled Energy in Units (Sales) (It should not be added in the metered sales) | BILLED CONSUMPTION (Metered Sales) in Units | Unmetered consumption (LT4a/ SL/ WS) in Units | TOTAL ENERGY SALES in Units | TOTAL ENERGY SALES in Units in RR data | Diff |  | Energy Loss in Units |  | %feeder Loss | T&D Loss Range | %Billing Efficiency | OB | % BE with Assessed Sales | Demand In Rs | Collection In Rs | CB | % Collection Efficiency | %AT&C loss | AT&C Loss Range | % AT & C LOSS with BE assessed | AT&C Loss Range 1 | Collection Efficiency restricted to 100% | % AT & C LOSS CE restricted to 100% | AT&C Loss Range-2 | Assessed Sales in Units | TOTAL Sales after assessment | Anaylized Feeder loss after assessing the energy | T&D Loss Range after assessment | Remarks (Assessed Energy/ Import/ Export/Others) | REMARKS & Reasons for -ve, above 10% for T & D LOSS | REMARKS & Reasons for-ve above 10% for AT&C LOSS | Action Plan for reducing the T&D LOSS | Methodology adopted to achieve T&Dloss below 3%
[15 empty] | FR | IR | DIFF | METER CONSTANT | FEEDER CONSUMPTION IN UNITS | CORRECTION FACTOR | FEEDER CONSUMPTION WITH CF IN UNITS |  | IMPORT |  |  |  | Import (Change over feeder/ Assessed where no boundary meter) | TOTAL IMPORT IN UNITS | EXPORT |  |  |  | Export (Change over feerder/Accessd where no boundary meter) | TOTAL EXPORT IN UNITS
[9 empty] | Trunk Line | Spur Line | Total Length |  | Other than LT4a | LT4a | [8 empty] | FR | IR | DIFF | CONSTANT |  |  | FR | IR | DIFF | CONSTANT
1 | 1a | 2 | 3 | 4 | 5 |  | 6 | 7 | 7a | 7b | 7c | 8 | 9 | 10 | 11 | 12 | 13=11-12 | 14 | 15=13*14 | 16 | 17 |  | 18 | 19 | 20=18-19 | A | B | 21=(20*A)+B | 22 | 23 | 24=22-23 | C | D | 25=(24*C)+D | 26 | 27 | 28 | 29=17+21-25+28 | 30 | 31 | 32 | 33 | 34=30+31+ 32+33 |  |  |  | 35=29-34 |  | 36=35/29*100 |  | 37=34/29*100 | 38 |  | 39 | 40 | 41 | 42=40/39*100 | 43=(1-(37*42)/ 10000)*100 | [6 empty] | 44 | 45=34+44 | 46 |  | 47 | 48 | 49 |  |  | 49
1 | Non RAPDRP | Attibele | Decemeberasandra | ATTIBELE_66 | F01-ICHANGUR | Mayasandra | 1220202901010101 | AGRI | 15.4 | 6.6 | 22 | 77 | 118 | 387 | 765.373 | 750.454 | 14.919 | 20000 | 261320 | 1 | 298380 | 0.29838 | NA | NA | NA | NA | 450000 | 450000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 748380 | 0 | 0 | 21286 | 655997.65 | 677283.65 | 677283.65 | -4.3074e-09 | 0.67728 | 71096.35 | 0.67728 | 9.5 | 5-10 | 90.5 | 44386199.36 | 0 | 4083765.73 | 4054507.73 | 44415457.36 | 99.2836 | 10.1484 | 10-15 | 100 | >30 | 99.2836 | 100 | >30 | 0 | 677283.65 | 9.5 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED
2 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F02-MEHER-CAPACITORS | Attibele Ind Area | 1220202901010102 | INDUSTRIAL | 1.75 | 0.75 | 2.5 | 23 | 140 | 0 | 2433.927 | 2394.119 | 39.808 | 40000 | 1698840 | 1.0024 | 1592320 | 1.5923 | NA | NA | NA | NA | 1100540 | 1100540 | NA | NA | NA | NA | 0 | 0 | 764420 |  | 0 | 2692860 | 0 | 764420 | 2661362.75 | 0 | 2661362.75 | 1213619.75 | 1447743 | 2.6614 | 31497.25 | 2.6614 | 1.1697 | 0-5 | 98.8303 | 5341408.1 | 0 | 13997013.45 | 14298533.45 | 5039888.1 | 102.1542 | -0.95932 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 2661362.75 | 1.1697 | 0-5 | Load Change Over from F10-JAIPURIA-SILK-MILLS Feeder and F07 Attibele due to Cable Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
3 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F03-ADEEP-LOCKS | Attibele Ind Area | 1220202901010103 | INDUSTRIAL | 1.82 | 0.78 | 2.6 | 100 | 103 | 0 | 1979.85 | 1952.764 | 27.086 | 40000 | 1140520 | 1.0024 | 1083440 | 1.0834 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 370000 | 370000 | 270000 |  | 0 | 713440 | 0 | 270000 | 687594 | 0 | 687594 | 687594 | 0 | 0.68759 | 25846 | 0.68759 | 3.6227 | 0-5 | 96.3773 | 660342.75 | 0 | 6420443.64 | 5105116.7 | 1975669.69 | 79.5135 | 23.3671 | 20-30 | 100 | >30 | 79.5135 | 100 | >30 | 0 | 687594 | 3.6227 | 0-5 | Load Change to F09-LAXMI-FORGE Feeder and F07-ALPHA-GRANITES due to Cable Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
4 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F04-YADAVANAHALLI | Sarjapura | 1220202901010104 | AGRI | 10.5 | 4.5 | 15 | 27 | 292 | 270 | 488.135 | 488.135 | 0 | 20000 | 0 | 1.0024 | 0 | 0 | NA | NA | NA | NA | 570000 | 570000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 570000 | 0 | 0 | 56594 | 459255.63 | 515849.63 | 515849.63 | 0 | 0.51585 | 54150.37 | 0.51585 | 9.5001 | 5-10 | 90.4999 | 37899199.35 | 0 | 3324854.235 | 3412954.505 | 37811099.08 | 102.6497 | 7.102 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 515849.63 | 9.5001 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED | AGRI FEEDERS
5 | Non RAPDRP | Attibele | Decemeberasandra | ATTIBELE_66 | F05-MAYASANDRA | Mayasandra | 1220202901020301 | AGRI | 13.3 | 5.7 | 19 | 75 | 216 | 214 | 526.842 | 510.001 | 16.841 | 40000 | 582600 | 1 | 673640 | 0.67364 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 252000 | 252000 |  |  | 0 | 421640 | 0 | 0 | 22227.2 | 359356.21 | 381583.41 | 381583.41 | 1.9791e-09 | 0.38158 | 40056.59 | 0.38158 | 9.5002 | 5-10 | 90.4998 | 24609011.2 | 0 | 2354499.82 | 2336493.63 | 24627017.39 | 99.2352 | 10.1923 | 10-15 | 100 | >30 | 99.2352 | 100 | >30 | 0 | 381583.41 | 9.5002 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED | AGRI FEEDERS
6 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F06-MIKEE-STEEL | Attibele Ind Area | 1220202901020302 | INDUSTRIAL | 3.5 | 1.5 | 5 | 28 | 897 | 0 | 3588.523 | 3508.887 | 79.636 | 20000 | 1641160 | 1.1763 | 1592720 | 1.5927 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 290000 | 290000 | 32900 |  | 0 | 1302720 | 0 | 32900 | 1238571.5 | 0 | 1238571.5 | 736571.5 | 502000 | 1.2386 | 64148.5 | 1.2386 | 4.9242 | 0-5 | 95.0758 | 6446981.09 | 0 | 8652522.08 | 9149526.83 | 5949976.34 | 105.744 | -0.537 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 1238571.5 | 4.9242 | 0-5 | Load Change to F09-LAXMI-FORGE Feeder and F07-ALPHA-GRANITES due to Cable Fault |  | High Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
7 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F07-ALPHA-GRANITES | Attibele Ind Area | 1220202901020303 | INDUSTRIAL | 7.35 | 3.15 | 10.5 | 46 | 865 | 1 | 1093.102 | 1075.928 | 17.174 | 20000 | 362880 | 1.1763 | 343480 | 0.34348 | NA | NA | NA | NA | 96000 | 96000 | NA | NA | NA | NA | 0 | 0 |  |  | 561 | 439480 | 0 | 0 | 421979.45 | 1705.45 | 423684.9 | 390784.9 | 32900 | 0.42368 | 15795.1 | 0.42368 | 3.594 | 0-5 | 96.406 | 3394948.74 | 0 | 4017782.212 | 4623506.402 | 2789224.55 | 115.0761 | -10.9402 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 423684.9 | 3.594 | 0-5 | Load Change Over from F03-ADEEP-LOCKS Feeder and F06-MIKEE-STEEL due to Cable Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
8 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F09-LAXMI-FORGE | Attibele Ind Area | 1220202901020304 | INDUSTRIAL | 0.7 | 0.3 | 1 | 0 | 4 | 0 | 1998.001 | 1966.583 | 31.418 | 40000 | 1233560 | 1.1763 | 1256720 | 1.2567 | NA | NA | NA | NA | 64000 | 64000 | NA | NA | NA | NA | 0 | 0 | 1188474 |  | 0 | 1320720 | 0 | 1188474 | 1269839 | 0 | 1269839 | 81365 | 1188474 | 1.2698 | 50881 | 1.2698 | 3.8525 | 0-5 | 96.1475 | 2577154 | 0 | 3481897 | 3575459 | 2483592 | 102.6871 | 1.2689 | 0-5 | 100 | >30 | 100 | 100 | >30 | 0 | 1269839 | 3.8525 | 0-5 | Load Change Over from F03-ADEEP-LOCKS Feeder and F06-MIKEE-STEEL due to Cable Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
9 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F10-JAIPURIA-SILK-MILLS | Attibele Ind Area | 1220202901010105 | INDUSTRIAL | 0.7 | 0.3 | 1 | 27 | 354 | 0 | 1409.174 | 1377.902 | 31.272 | 40000 | 1343160 | 1.0024 | 1250880 | 1.2509 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 820000 | 820000 | 34230 |  | 0 | 430880 | 0 | 34230 | 423761 | 0 | 423761 | 389531 | 34230 | 0.42376 | 7119 | 0.42376 | 1.6522 | 0-5 | 98.3478 | 1315202.65 | 0 | 4076825.81 | 4107669.23 | 1284359.23 | 100.7566 | 0.90815 | 0-5 | 100 | >30 | 100 | 100 | >30 | 0 | 423761 | 1.6522 | 0-5 | Load Change Over toF02-MEHER-CAPACITORS Feeder and F13-NIRANTHARA-JYOTHIdue to Cable Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
10 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F11-APPLICOM | Attibele Ind Area | 1220202901020305 | INDUSTRIAL | 0.7 | 0.3 | 1 | 0 | 1 | 0 | 1660.532 | 1660.532 | 0 | 40000 | 0 | 1.1763 | 0 | 0 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | - |  | 394188 |  | 107200 | 107200 | 394188 | - |  | NA | 100 | >30 | 100 | 100 | >30 | 0 | 0 | - | >30 | Alternate feeder to F31 Ashirwad pipes | F11 Applicom is parallel feeder for F31Ashirwad |  |  | THEFT AND PILFERAGE TO BE AVOIDED
11 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F12-AASIRWAD-PIPES | Attibele Ind Area | 1220202901020306 | INDUSTRIAL | 0.63 | 0.27 | 0.9 | 0 | 39 | 0 | 1000.146 | 994.691 | 5.455 | 40000 | 215040 | 1.1763 | 218200 | 0.2182 | NA | NA | NA | NA | 444000 | 444000 | NA | NA | NA | NA | 0 | 0 | 2231453 |  | 0 | 662200 | 0 | 2231453 | 639825.25 | 0 | 639825.25 | 328085.25 | 311740 | 0.63983 | 22374.75 | 0.63983 | 3.3789 | 0-5 | 96.6211 | 2549315.98 | 0 | 4295457.57 | 4661924.57 | 2182848.98 | 108.5315 | -4.8644 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 639825.25 | 3.3789 | 0-5 | Load Change Over from F10-JAIPURIA-SILK-MILLS Feeder and F13-NIRANTHARA-JYOTHI due to Cable Fault |  | High Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
12 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F13-NIRANTHARA-JYOTHI | Attibele Ind Area | 1220202901020307 | NJY | 13.3 | 5.7 | 19 | 140 | 4779 | 7 | 1976.15 | 1943.39 | 32.76 | 20000 | 623240 | 1.1763 | 655200 | 0.6552 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 179000 | 179000 |  |  | 0 | 476200 | 0 | 0 | 429244.5 | 11938.15 | 441182.65 | 441182.65 | 0 | 0.44118 | 35017.35 | 0.44118 | 7.3535 | 5-10 | 92.6465 | 17515438.45 | 0 | 4778888.134 | 4832040.024 | 17462286.56 | 101.1122 | 6.3231 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 441182.65 | 7.3535 | 5-10 | Load Change Over from F19-JAYABHARATHI SCHOOL Feeder and F24-JANAADHAR due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | LENGHTY FEEDER
13 | Non RAPDRP | Attibele | Decemeberasandra | ATTIBELE_66 | F14-BALLURU | Mayasandra | 1220202901010106 | MIXED LOAD | 17.5 | 7.5 | 25 | 135 | 5290 | 185 | 1729.808 | 1660.532 | 69.276 | 40000 | 557800 | 1.0024 | 2771040 | 2.771 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 1400000 | 1400000 |  |  | 0 | 1371040 | 0 | 0 | 945229.52 | 315508.25 | 1260737.77 | 1260737.77 | 8.6147e-09 | 1.2607 | 110302.23 | 1.2607 | 8.0452 | 5-10 | 91.9548 | 49705332.59 | 0 | 11179461.12 | 10490749.75 | 50394043.96 | 93.8395 | 13.71 | 10-15 | 100 | >30 | 93.8395 | 100 | >30 | 0 | 1260737.77 | 8.0452 | 5-10 | Load Change Over from F16-SRINIVASA FINANCEFeeder due to line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
14 | Non RAPDRP | Attibele | Attibele | ATTIBELE_66 | F15-ATTIBELE-URBAN | Attibele | 1220202901010107 | MIXED LOAD | 21.2 | 8.7 | 29.9 | 145 | 12336 | 272 | 2425.519 | 2388.893 | 36.626 | 40000 | 1547600 | 1 | 1465040 | 1.465 | NA | NA | NA | NA | 790000 | 790000 | NA | NA | NA | NA | 0 | 0 |  |  | 766.02 | 2255040 | 0 | 0 | 1603582.75 | 459618.775 | 2063201.525 | 2063201.525 | 1.2573e-08 | 2.0632 | 191838.475 | 2.0632 | 8.5071 | 5-10 | 91.4929 | 70175416.09 | 0 | 21190809.144 | 18817325.904 | 72548899.33 | 88.7995 | 18.7548 | 15-20 | 100 | >30 | 88.7995 | 100 | >30 | 0 | 2063201.525 | 8.5071 | 5-10 | Load Change Over from F14-BALLURU and F18-COMATO/ALLOYTECH Feeder due to line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
15 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F16-SRINIVASA FINANCE | Attibele Ind Area | 1220202901020401 | INDUSTRIAL | 0.84 | 0.36 | 1.2 | 0 | 4 | 0 | 1525.017 | 1513.753 | 11.264 | 40000 | 444560 | 1 | 450560 | 0.45056 | NA | NA | NA | NA | 39400 | 39400 | NA | NA | NA | NA | 0 | 0 | 1996427.5 |  | 0 | 489960 | 0 | 1996427.5 | 486860 | 0 | 486860 | 186010 | 300850 | 0.48686 | 3100 | 0.48686 | 0.6327 | 0-5 | 99.3673 | -1002947 | 0 | 2344008 | 2332254 | -991193 | 99.4986 | 1.131 | 0-5 | 100 | >30 | 99.4986 | 100 | >30 | 0 | 486860 | 0.6327 | 0-5 | Load Change Over from F19-JAYABHARATHI SCHOOL and F14-BALLURU Feeder due to line Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
16 | Non RAPDRP | Attibele | AIA/Decemeberasandra | ATTIBELE_66 | F17-BALAGARANAHALLI | Attibele Ind Area | 1220202901020402 | MIXED LOAD | 10.15 | 4.35 | 14.5 | 113 | 4144 | 32 | 1491.545 | 1460.519 | 31.026 | 40000 | 1269520 | 1 | 1241040 | 1.241 | NA | NA | NA | NA | 19645 | 19645 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 1260685 | 0 | 0 | 1110408.1 | 52868.95 | 1163277.05 | 1163277.05 | 0 | 1.1633 | 97407.95 | 1.1633 | 7.7266 | 5-10 | 92.2734 | 9915587.17 | 0 | 11015652.092 | 11970612.252 | 8960627.01 | 108.6691 | -0.2727 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 1163277.05 | 7.7266 | 5-10 | Load Change Over from F19-JAYABHARATHI SCHOOL and F14-BALLURU Feeder due to line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
17 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F18-COMATO/ALLOYTECH | Attibele Ind Area | 1220202901020403 | INDUSTRIAL | 2.45 | 1.05 | 3.5 | 39 | 1318 | 0 | 1816.279 | 1795.009 | 21.27 | 40000 | 891920 | 1 | 850800 | 0.8508 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 10340 | 10340 |  |  | 0 | 840460 | 0 | 0 | 812631.3 | 0 | 812631.3 | 797631.3 | 15000 | 0.81263 | 27828.7 | 0.81263 | 3.3111 | 0-5 | 96.6889 | 7865059.28 | 0 | 7416665.83 | 8535897.8 | 6745827.31 | 115.0908 | -11.28 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 812631.3 | 3.3111 | 0-5 | NA |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
18 | Non RAPDRP | Attibele | Attibele | ATTIBELE_66 | F19-JAYABHARATHI SCHOOL | Attibele | 1220202901020404 | MIXED LOAD | 15.4 | 6.6 | 22 | 116 | 8067 | 69 | 1508.836 | 1479.009 | 29.827 | 40000 | 1427520 | 1 | 1193080 | 1.1931 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 310000 | 310000 |  |  | 0 | 883080 | 0 | 0 | 754174.65 | 121086.95 | 875261.6 | 875261.6 | 3.2596e-09 | 0.87526 | 7818.4 | 0.87526 | 0.88536 | 0-5 | 99.1146 | 16951334.08 | 0 | 8185669.432 | 7938466.862 | 17198536.65 | 96.9801 | 3.8786 | 0-5 | 100 | >30 | 96.9801 | 100 | >30 | 0 | 875261.6 | 0.88536 | 0-5 | Load Change Over from F16-SRINIVASA FINANCE Feeder andF13-NIRANTHARA-JYOTHI due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
19 | Non RAPDRP | Attibele | Decemeberasandra | ATTIBELE_66 | F20-NJY KAMBLIPURA | Mayasandra | 1220202901020405 | NJY | 23.8 | 10.2 | 34 | 156 | 600 | 6 | 831.081 | 815.494 | 15.587 | 40000 | 1020960 | 1 | 623480 | 0.62348 | NA | NA | NA | NA | 231500 | 231500 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 854980 | 0 | 0 | 786104.3 | 5116.35 | 791220.65 | 521220.65 | 270000 | 0.79122 | 63759.35 | 0.79122 | 7.4574 | 5-10 | 92.5426 | 5437315.11 | 0 | 6750386.696 | 6396311.406 | 5791390.4 | 94.7547 | 12.3115 | 10-15 | 100 | >30 | 94.7547 | 100 | >30 | 0 | 791220.65 | 7.4574 | 5-10 | Load Change Over from F25-MAHIDHARA Feeder and F24-JANAADHAR due to 11kv line Fault |  | High Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | LENGHTY FEEDER
20 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F21-KHB | Attibele Ind Area | 1220202901020406 | MIXED LOAD | 3.5 | 1.5 | 5 | 562 | 781 | 0 | 62.24 | 62.24 | 0 | 20000 | 0 | 1 | 0 | 0 | NA | NA | NA | NA | 82000 | 82000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 82000 | 0 | 0 | 74319.2 | 0 | 74319.2 | 74319.2 | 0 | 0.074319 | 7680.8 | 0.074319 | 9.3668 | 5-10 | 90.6332 | 1598501.61 | 0 | 787969.07 | 1055978.61 | 1330492.07 | 134.0127 | -21.46 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 74319.2 | 9.3668 | 5-10 | Load Change Over from F19-JAYABHARATHI SCHOOL Feeder and F24-JANAADHAR due to 11kv line Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED | LESS NO OF INSTALLATIONS
21 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F22-AGS | Attibele Ind Area | 1220202901020410 | MIXED LOAD | 3.5 | 1.5 | 5 | 38 | 2092 | 0 | 24922 | 24503.3 | 418.7 | 2000 | 1252600 | 1 | 837400 | 0.8374 | NA | NA | NA | NA | 452400 | 452400 | NA | NA | NA | NA | 0 | 0 | 341101 |  | 0 | 1289800 | 0 | 341101 | 1189998 | 0 | 1189998 | 848897 | 341101 | 1.19 | 99802 | 1.19 | 7.7378 | 5-10 | 92.2622 | 678649.32 | 0 | 10331825.99 | 9140287.23 | 1870188.08 | 88.4673 | 18.3781 | 15-20 | 100 | >30 | 88.4673 | 100 | >30 | 0 | 1189998 | 7.7378 | 5-10 | Load Change Over from F19-JAYABHARATHI SCHOOL Feeder and F25-MAHIDHARA due to 11kv line Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
23 | Non RAPDRP | Attibele | Decemeberasandra | ATTIBELE_66 | F24-JANAADHAR | Mayasandra | 1220202901020407 | MIXED LOAD | 19.6 | 8.4 | 28 | 68 | 1607 | 103 | 23987.6 | 23658.5 | 329.1 | 2000 | 678800 | 1 | 658200 | 0.6582 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 140000 | 140000 | 1198330 |  | 0 | 518200 | 0 | 1198330 | 294610.6 | 174467.535 | 469078.135 | 469078.135 | 0 | 0.46908 | 49121.865 | 0.46908 | 9.4793 | 5-10 | 90.5207 | 15604598.86 | 0 | 4340643.231 | 4195428.711 | 15749813.38 | 96.6545 | 12.5077 | 10-15 | 100 | >30 | 96.6545 | 100 | >30 | 0 | 469078.135 | 9.4793 | 5-10 | Load Change Over from F21-KHB Feeder and F22-AGS due to 11kv line Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
24 | Non RAPDRP | Attibele | Attibele | ATTIBELE_66 | F25-MAHIDHARA | Attibele | 1220202901020409 | DOMESTIC | 4.9 | 2.1 | 7 | 1 | 70 | 0 | 3791.1 | 3791.1 | 0 | 2000 | 0 | 1 | 0 | 0 | NA | NA | NA | NA | 20900 | 20900 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 20900 | 0 | 0 | 19449.3 | 0 | 19449.3 | 19449.3 | 0 | 0.019449 | 1450.7 | 0.019449 | 6.9411 | 5-10 | 93.0589 | 152354.61 | 0 | 176520.59 | 199803.59 | 129071.61 | 113.19 | -5.3333 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 19449.3 | 6.9411 | 5-10 | Load Change Over from F20-NJY KAMBLIPURA Feeder and F22-AGS due to cable Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED | ONLY 1 TRANSFORMER
25 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F26 -ASHIRVAD PIPES 6B | Attibele Ind Area | 1220202901020308 | INDUSTRIAL | 0.7 | 0.3 | 1 | 0 | 1 | 0 | 19777.2 | 19181.6 | 595.6 | 2000 | 1190000 | 1.1763 | 1191200 | 1.1912 | NA | NA | NA | NA | 19000 | 19000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 1210200 | 0 | 0 | 1198470 | 0 | 1198470 | 0 | 1198470 | 1.1985 | 11730 | 1.1985 | 0.96926 | 0-5 | 99.0307 | 1497458 | 0 | 1671540 | 1671540 | 1497458 | 100 | 0.96926 | 0-5 | 100 | >30 | 100 | 100 | >30 | 0 | 1198470 | 0.96926 | 0-5 | NA |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
26 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F27- APOLLO | Attibele Ind Area | 1220202901010201 | INDUSTRIAL | 0.7 | 0.3 | 1 | 0 | 12 | 0 | 9955.2 | 9238.1 | 717.1 | 2000 | 1396600 | 1 | 1434200 | 1.4342 | NA | NA | NA | NA | 16700 | 16700 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 1450900 | 0 | 0 | 1446869 | 0 | 1446869 | 1046869 | 400000 | 1.4469 | 4031 |  | 0.27783 | 0-5 | 99.7222 | 1705308 | 6.8923e-07 | 9997187 | 10253331 | 1449164 | 102.5622 | -2.2772 | <0 | 100 | >30 | 100 | 100 | >30 | 1 | 1446870 | 0.27783 | 0-5 | NA
27 | Non RAPDRP | Attibele | AIA | ATTIBELE_66 | F31-ASHIRWAD | Attibele Ind Area | 1220202901020501 | INDUSTRIAL | 0.7 | 0.3 | 1 | 0 | 1 | 0 | 7853.9 | 7014.2 | 839.7 | 2000 | 1715600 |  | 1679400 | 1.6794 | NA | NA | NA | NA | 25000 | 25000 | NA | NA | NA | NA | 0 | 0 | 127740 |  | 0 | 1704400 | 0 | 127740 | 1695600 | 0 | 1695600 | 0 | 1695600 | 1.6956 | 8800 |  | 0.51631 | 0-5 | 99.4837 | -7864650 | 1.1734e-06 | 2207288 | 2207288 | -7864650 | 100 | 0.51631 | 0-5 | 100 | >30 | 100 | 100 | >30 | 2 | 1695602 | 0.51631 | 0-5 | Load Change Over from F25-MAHIDHARA Feeder and F07 Attibele due to 11kv line Fault
28 | Non RAPDRP | Attibele | AIA | CHANDAPURA_66 | F07-ATTIBELE | Attibele Ind Area | 1220203902010301 | MIXED LOAD | 9.1 | 3.9 | 13 | 6 | 133 | 0 | 981.362 | 965.091 | 16.271 | 40000 | 459560 | 1 | 650840 | 0.65084 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 638000 | 638000 |  |  | 0 | 12840 | 0 | 0 | 11724 | 0 | 11724 | 11724 | 0 | 0.011724 | 1116 | 0.011724 | 8.6916 | 5-10 | 91.3084 | 1294946.49 | 0 | 131846.43 | 129131.41 | 1297661.51 | 97.9408 | 10.5718 | 10-15 | 100 | >30 | 97.9408 | 100 | >30 | 0 | 11724 | 8.6916 | 5-10 | Load Change Over from F31-ASHIRWADFeeder and F02-MEHER-CAPACITORS due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
29 | Non RAPDRP | Attibele | Dommasandra/sarjapura | DOMMASANDRA_66 | F01-V.KALLAHALLI | Sarjapura | 1220202903010101 | MIXED LOAD | 21.5 | 7.5 | 29 | 106 | 4954 | 125 | 3121.779 | 3052.542 | 69.237 | 20000 | 1382420 | 1 | 1384740 | 1.3847 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 32700 | 32700 |  |  | 2007 | 1352040 | 0 | 0 | 1046833.25 | 213181.25 | 1260014.5 | 1260014.5 | 5.8208e-09 | 1.26 | 92025.5 | 1.26 | 6.8064 | 5-10 | 93.1936 | 31852281.76 | 0 | 12795964.99 | 13446010.18 | 31202236.57 | 105.0801 | 2.0721 | 0-5 | 100 | >30 | 100 | 100 | >30 | 0 | 1260014.5 | 6.8064 | 5-10 | Load Change Over from F06-SOMPURAGATE due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
30 | Non RAPDRP | Attibele | Dommasandra | DOMMASANDRA_66 | F02-DOMMASANDRA | Dommasandra | 1220202903010102 | MIXED LOAD | 12.32 | 5.28 | 17.6 | 115 | 9106 | 246 | 1585.683 | 1555.308 | 30.375 | 40000 | 1205080 | 1 | 1215000 | 1.215 | NA | NA | NA | NA | 540000 | 540000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 1755000 | 0 | 0 | 1218036.42 | 419540.7 | 1637577.12 | 1637577.12 | 1.1409e-08 | 1.6376 | 117422.88 | 1.6376 | 6.6908 | 5-10 | 93.3092 | 56681852.3 | 0 | 16087117.352 | 16431658.862 | 56337310.79 | 102.1417 | 4.6923 | 0-5 | 100 | >30 | 100 | 100 | >30 | 0 | 1637577.12 | 6.6908 | 5-10 | Load Change Over from F12-TRINITY-SUNRISE and F07-VAKIL-LAYOUT due to 11kv line Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
31 | Non RAPDRP | Attibele | Sarjapura | DOMMASANDRA_66 | F04-SOMPURA | Sarjapura | 1220202903010103 | AGRI | 17.5 | 7.5 | 25 | 17 | 38 | 7 | 0.002 | 0.001 | 0.001 | 20000 | 20 | 1 | 20 | 2e-05 | NA | NA | NA | NA | 34800 | 34800 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 34820 | 0 | 0 | 19561 | 11951.1 | 31512.1 | 31512.1 | 0 | 0.031512 | 3307.9 | 0.031512 | 9.5 | 5-10 | 90.5 | -149981 | 0 | 315851.987 | 513300.987 | -347430 | 162.5131 | -47.0744 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 31512.1 | 9.5 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED | AGRI FEEDERS
32 | Non RAPDRP | Attibele | Dommasandra/sarjapura | DOMMASANDRA_66 | F05-NERIGA | Dommasandra | 1220202903010104 | AGRI | 6.3 | 2.7 | 9 | 98 | 39 | 346 | 318.805 | 311.973 | 6.832 | 40000 | 402520 | 1 | 273280 | 0.27328 | NA | NA | NA | NA | 381000 | 381000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 654280 | 0 | 0 | 4388 | 587736.96 | 592124.96 | 592124.96 | 0 | 0.59212 | 62155.04 | 0.59212 | 9.4998 | 5-10 | 90.5002 | 37973912.01 | 0 | 3501082.767 | 3512496.767 | 37962498.01 | 100.326 | 9.2047 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 592124.96 | 9.4998 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED | AGRI FEEDERS
33 | Non RAPDRP | Attibele | Sarjapura | DOMMASANDRA_66 | F06-SOMPURAGATE | Sarjapura | 1220202903020301 | MIXED LOAD | 21.36 | 5.44 | 26.8 | 168 | 12078 | 312 | 2644.046 | 2613.095 | 30.951 | 40000 | 1256240 | 1 | 1238040 | 1.238 | NA | NA | NA | NA | 1760000 | 1760000 | NA | NA | NA | NA | 0 | 0 |  |  | 672.8 | 2998040 | 0 | 0 | 2220406.7 | 532100.4 | 2752507.1 | 2752507.1 | -4.936e-08 | 2.7525 | 245532.9 | 2.7525 | 8.1898 | 5-10 | 91.8102 | 60905632.85 | 0 | 25721763.514 | 27067109.264 | 59560287.1 | 105.2304 | 3.3878 | 0-5 | 100 | >30 | 100 | 100 | >30 | 0 | 2752507.1 | 8.1898 | 5-10 | Load Change Over from F12-TRINITY-SUNRISE and F07-VAKIL-LAYOUT and F01-V.KALLAHALLI due to 11kv line Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED | LENGHTY FEEDER
34 | Non RAPDRP | Attibele | Dommasandra | DOMMASANDRA_66 | F07-VAKIL-LAYOUT | Dommasandra | 1220202903020302 | MIXED LOAD | 1.75 | 0.75 | 2.5 | 0 | 2 | 0 | 4.875 | 206.438 | -201.563 | 20000 | 4128760 | 1 | 97500 | 0.0975 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 97500 | 0 | 0 | 89453 | 0 | 89453 | 89453 | 0 | 0.089453 | 8047 | 0.089453 | 8.2533 | 5-10 | 91.7467 | 34735 | 0 | 973407 | 973407 | 34735 | 100 | 8.2533 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 89453 | 8.2533 | 5-10 | Load Change Over from F02-DOMMASANDRAand F06-SOMPURAGATE due to 11kv line Fault |  |  |  | THEFT AND PILFERAGE TO BE AVOIDED
35 | Non RAPDRP | Attibele | Dommasandra | DOMMASANDRA_66 | F09-CHAMBENAHALLI | Sarjapura | 1220202903020303 | AGRI | 14 | 6 | 20 | 85 | 3 | 365 | 261.912 | 259.001 | 2.911 | 40000 | 117480 | 1 | 116440 | 0.11644 | NA | NA | NA | NA | 590000 | 590000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 706440 | 0 | 0 | 15416 | 623912.75 | 639328.75 | 639328.75 | 4.5402e-09 | 0.63933 | 67111.25 | 0.63933 | 9.4999 | 5-10 | 90.5001 | 46405231 | 0 | 3855609.025 | 3856958.025 | 46403882 | 100.035 | 9.4683 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 639328.75 | 9.4999 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED
36 | Non RAPDRP | Attibele | Dommasandra/sarjapura | DOMMASANDRA_66 | F11-NIRANTHARA-JYOTHI | Dommasandra | 1220202903010105 | NJY | 12.6 | 5.4 | 18 | 189 | 5758 | 9 | 2266.021 | 2200.422 | 65.599 | 20000 | 1220680 | 1 | 1311980 | 1.312 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 390000 | 390000 |  |  | 0 | 921980 | 0 | 0 | 827279.5 | 17054.5 | 844334 | 844334 | 0 | 0.84433 | 77646 | 0.84433 | 8.4217 | 5-10 | 91.5783 | 23479721.58 | 0 | 8796635.347 | 8963504.747 | 23312852.18 | 101.897 | 6.6844 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 844334 | 8.4217 | 5-10 | Load Change Over from F12-TRINITY-SUNRISE and F07-VAKIL-LAYOUT due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | LENGHTY FEEDER
37 | Non RAPDRP | Attibele | Dommasandra | DOMMASANDRA_66 | F12-TRINITY-SUNRISE | Sarjapura | 1220202903010106 | MIXED LOAD | 16.8 | 7.2 | 24 | 73 | 2101 | 3 | 1129.709 | 1108.824 | 20.885 | 40000 | 935040 | 1 | 835400 | 0.8354 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 500000 | 500000 |  |  | 1100.2 | 335400 | 0 | 0 | 301139.95 | 5116.35 | 306256.3 | 306256.3 | 0 | 0.30626 | 29143.7 | 0.30626 | 8.6892 | 5-10 | 91.3108 | 5576820.09 | 0 | 3425684.496 | 3755116.496 | 5247388.09 | 109.6165 | -0.091691 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 306256.3 | 8.6892 | 5-10 | Load Change Over from F02-DOMMASANDRAand F06-SOMPURAGATE and F11-NIRANTHARA-JYOTHI due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
38 | Non RAPDRP | Attibele | Dommasandra | DOMMASANDRA_66 | F14-DOMMASANDRA AGRI | Dommasandra | 1220202903020305 | AGRI | 23.1 | 9.9 | 33 | 27 | 7 | 151 | 2637.7 | 2637.7 | 0 | 1000 | 0 | 1 | 0 | 0 | NA | NA | NA | NA | 285000 | 285000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 285000 | 0 | 0 | 638 | 257287.39 | 257925.39 | 257925.39 | -9.8953e-10 | 0.25793 | 27074.61 | 0.25793 | 9.4999 | 5-10 | 90.5001 | 16227640.95 | 0 | 1515888.694 | 1516170.694 | 16227358.95 | 100.0186 | 9.483 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 257925.39 | 9.4999 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED
39 | Non RAPDRP | Attibele | Dommasandra | DOMMASANDRA_66 | F15-T C HALLI NJY | Dommasandra | 1220202903010112 | MIXED LOAD | 5.6 | 2.4 | 8 | 62 | 2272 | 315 | 17844.7 | 17276.5 | 568.2 | 2000 | 1926600 | 1 | 1136400 | 1.1364 | NA | NA | NA | NA | 127000 | 127000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 1263400 | 0 | 0 | 627880 | 537216.75 | 1165096.75 | 1165096.75 | 1.4668e-08 | 1.1651 | 98303.25 | 1.1651 | 7.7808 | 5-10 | 92.2192 | 61776879.06 | 0 | 11820891.17 | 13576812.85 | 60020957.38 | 114.8544 | -5.9177 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 1165096.75 | 7.7808 | 5-10 | Load Change Over from F12-TRINITY-SUNRISE and F07-VAKIL-LAYOUT due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | LESS NO OF INSTALLATIONS
40 | Non RAPDRP | Attibele | Decemeberasandra | SAMANDURU_66 | F05-HALEHALLI | Mayasandra | 1220201907020101 | AGRI | 21.3 | 4.1 | 25.4 | 101 | 51 | 344 | 7971 | 7700.3 | 270.7 | 2000 | 509000 | 1 | 541400 | 0.5414 | NA | NA | NA | NA | 222316 | 222316 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 763716 | 0 | 0 | 12288 | 678875.076 | 691163.076 | 694288 | -3124.924 | 0.69116 | 72552.924 | 0.69116 | 9.5 | 5-10 | 90.5 | 37403294.08 | 0 | 4124749.88 | 4184827.88 | 37343216.08 | 101.4565 | 8.1818 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 691163.076 | 9.5 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED | AGRI FEEDERS
41 | Non RAPDRP | Attibele | Decemeberasandra | SAMANDURU_66 | F06-KODLIPURA | Mayasandra | 1220201907020102 | MIXED LOAD | 14.3 | 6.4 | 20.7 | 66 | 1607 | 54 | 7737.9 | 7595.1 | 142.8 | 2000 | 438400 | 1 | 285600 | 0.2856 | NA | NA | NA | NA | 100000 | 100000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 385600 | 0 | 0 | 299743.6 | 60955.44 | 360699.04 | 360699.04 | 0 | 0.3607 | 24900.96 | 0.3607 | 6.4577 | 5-10 | 93.5423 | 15544360.86 | 0 | 3581859.472 | 2903863.882 | 16222356.45 | 81.0714 | 24.164 | 20-30 | 100 | >30 | 81.0714 | 100 | >30 | 0 | 360699.04 | 6.4577 | 5-10 | Load Change Over from F07 Attibele and F07 Bhakthipura due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
42 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F01-MUGLOOR | Sarjapura | 1220202902010101 | MIXED LOAD | 12.6 | 5.4 | 18 | 148 | 2179 | 60 | 1059.434 | 1035.656 | 23.778 | 40000 | 980880 | 1.05 | 951120 | 0.95112 | NA | NA | NA | NA | 109000 | 109000 | NA | NA | NA | NA | 0 | 0 | 255729 |  | 200 | 1060120 | 0 | 255729 | 868022.8 | 102327 | 970349.8 | 656849.8 | 313500 | 0.97035 | 89770.2 | 0.97035 | 8.4679 | 5-10 | 91.5321 | 13969458.66 | 0 | 8879609.14 | 9100747.11 | 13748320.69 | 102.4904 | 6.1884 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 970349.8 | 8.4679 | 5-10 | Load Change Over from F10-KUTHAGNAHALLY URBAN and F11-NJY HANDENAHALLY due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
43 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F02-DASARHALLI | Sarjapura | 1220202902010102 | AGRI | 5.6 | 2.4 | 8 | 58 | 100 | 404 | 581.762 | 563.371 | 18.391 | 40000 | 579640 | 1.05 | 735640 | 0.73564 | NA | NA | NA | NA | 85000 | 85000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 820640 | 0 | 0 | 55079.5 | 687599.92 | 742679.42 | 742679.42 | 4.5402e-09 | 0.74268 | 77960.58 | 0.74268 | 9.5 | 5-10 | 90.5 | 48664252.07 | 0 | 4757977.642 | 4777601.642 | 48644628.07 | 100.4124 | 9.1267 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 742679.42 | 9.5 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED
44 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F03-SARJAPURA-TOWN | Sarjapura | 1220202902010103 | MIXED LOAD | 16.87 | 7.23 | 24.1 | 202 | 7992 | 11 | 1924.365 | 1898.941 | 25.424 | 40000 | 1096000 | 1.05 | 1016960 | 1.017 | NA | NA | NA | NA | 88200 | 88200 | NA | NA | NA | NA | 0 | 0 |  |  | 62 | 1105160 | 0 | 0 | 1012208.5 | 18759.95 | 1030968.45 | 1030968.45 | 0 | 1.031 | 74191.55 | 1.031 | 6.7132 | 5-10 | 93.2868 | 27517049.62 | 0 | 11176032.212 | 11565904.142 | 27127177.69 | 103.4885 | 3.4589 | 0-5 | 100 | >30 | 100 | 100 | >30 | 0 | 1030968.45 | 6.7132 | 5-10 |  |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
45 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F04-HANDENAHALLI | Sarjapura | 1220202902010104 | AGRI | 4.2 | 1.8 | 6 | 98 | 59 | 190 | 571.313 | 562.503 | 8.81 | 20000 | 152820 | 1.05 | 176200 | 0.1762 | NA | NA | NA | NA | 225000 | 225000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 401200 | 0 | 0 | 40125 | 322961.31 | 363086.31 | 363086.31 | 0 | 0.36309 | 38113.69 | 0.36309 | 9.4999 | 5-10 | 90.5001 | 22247747.49 | 0 | 2323389.013 | 2267999.013 | 22303137.49 | 97.616 | 11.6575 | 10-15 | 100 | >30 | 97.616 | 100 | >30 | 0 | 363086.31 | 9.4999 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED | AGRI FEEDERS
46 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F05-MUGLOOR-URBAN | Sarjapura | 1220202902010105 | MIXED LOAD | 19.04 | 8.16 | 27.2 | 21 | 546 | 0 | 1666.583 | 1637.253 | 29.33 | 20000 | 562040 | 1.05 | 586600 | 0.5866 | NA | NA | NA | NA | 76800 | 76800 | NA | NA | NA | NA | 0 | 0 | 210000 |  | 0 | 663400 | 0 | 210000 | 623382.2 | 0 | 623382.2 | 120702.2 | 502680 | 0.62338 | 40017.8 | 0.62338 | 6.0322 | 5-10 | 93.9678 | -2416693.61 | 0 | 2641886.84 | 2942348.1 | -2717154.87 | 111.373 | -4.6547 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 623382.2 | 6.0322 | 5-10 | Load Change Over from F14-KNS LAYOUT and F12-BIDARAGUPPE due to 11kv line Fault |  | High Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
47 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F08-S-MEDIHALLY | Sarjapura | 1220202902020301 | MIXED LOAD | 21 | 7 | 28 | 135 | 3924 | 105 | 1537.504 | 1517.524 | 19.98 | 40000 | 832480 | 1.01 | 799200 | 0.7992 | NA | NA | NA | NA | 276000 | 276000 | NA | NA | NA | NA | 0 | 0 | 52680 |  | 0 | 1075200 | 0 | 52680 | 820613.55 | 179072.25 | 999685.8 | 839685.8 | 160000 | 0.99969 | 75514.2 | 0.99969 | 7.0233 | 5-10 | 92.9767 | 29006573.45 | 0 | 8826746.65 | 9001871.32 | 28831448.78 | 101.984 | 5.1786 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 999685.8 | 7.0233 | 5-10 | Load Change Over from F10-KUTHAGNAHALLY URBAN and F12-BIDARAGUPPE due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
48 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F09-BILLAPURA SJP | Sarjapura | 1220202902020302 | AGRI | 18 | 6.8 | 24.8 | 6 | 54 | 682 | 282.15 | 267.244 | 14.906 | 40000 | 481920 | 1.01 | 596240 | 0.59624 | NA | NA | NA | NA | 700000 | 700000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 1296240 | 0 | 0 | 8383 | 1164712.78 | 1173095.78 | 1173095.78 | -1.1176e-08 | 1.1731 | 123144.22 | 1.1731 | 9.5001 | 5-10 | 90.4999 | 84114147.49 | 0 | 6935830.234 | 6936753.234 | 84113224.49 | 100.0133 | 9.4881 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 1173095.78 | 9.5001 | 5-10 |  | IP feeder | It is an IP Feeder, AT&C Losses are Auto Generated |  | THEFT AND PILFERAGE TO BE AVOIDED | LENGHTY FEEDER
49 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F10-KUTHAGNAHALLY URBAN | Sarjapura | 1220202902020304 | MIXED LOAD | 19.78 | 6.7 | 26.48 | 136 | 2373 | 183 | 1290.31 | 1262.24 | 28.07 | 40000 | 1086240 | 1.01 | 1122800 | 1.1228 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 522000 | 522000 |  |  | 0 | 600800 | 0 | 0 | 234979.4 | 317213.7 | 552193.1 | 552193.1 | -2.0955e-09 | 0.55219 | 48606.9 | 0.55219 | 8.0904 | 5-10 | 91.9096 | 54105288.95 | 0 | 4495624.782 | 4643352.532 | 53957561.2 | 103.286 | 5.0702 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 552193.1 | 8.0904 | 5-10 | Load Change Over from F01-MUGLOOR and F08-S-MEDIHALLY due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
50 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F11-NJY HANDENAHALLY | Sarjapura | 1220202902020305 | NJY | 19.6 | 8.4 | 28 | 78 | 258 | 1 | 506.568 | 464.218 | 42.35 | 40000 | 1716280 | 1.01 | 1694000 | 1.694 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 1260000 | 1260000 |  |  | 0 | 434000 | 0 | 0 | 396869 | 1705.45 | 398574.45 | 398574.45 | 0 | 0.39857 | 35425.55 | 0.39857 | 8.1626 | 5-10 | 91.8374 | 5621253.66 | 0 | 310822.732 | 221076.732 | 5710999.66 | 71.1263 | 34.6794 | >30 | 100 | >30 | 71.1263 | 100 | >30 | 0 | 398574.45 | 8.1626 | 5-10 | Load Change Over from F01-MUGLOOR and F15-INNER URBAN due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | LENGHTY FEEDER
51 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F12-BIDARAGUPPE | Sarjapura | 1220202902020303 | MIXED LOAD | 9.8 | 4.2 | 14 | 134 | 6691 | 73 | 1557.928 | 1518.371 | 39.557 | 40000 | 1627920 | 1.01 | 1582280 | 1.5823 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 490000 | 490000 |  |  | 841 | 1092280 | 0 | 0 | 874272.11 | 123304.035 | 997576.145 | 997576.145 | 0 | 0.99758 | 94703.855 | 0.99758 | 8.6703 | 5-10 | 91.3297 | 29646401.67 | 0 | 9922107.761 | 10256574.831 | 29311934.6 | 103.3709 | 5.5916 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 997576.145 | 8.6703 | 5-10 | Load Change Over from F03-SARJAPURA-TOWN and F05-MUGLOOR-URBAN due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
52 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F13-CITY LIGHT | Sarjapura | 1220202902020306 | MIXED LOAD | 15.4 | 6.6 | 22 | 142 | 3377 | 36 | 1921.23 | 1866.24 | 54.99 | 40000 | 2296000 | 1.01 | 2199600 | 2.1996 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 1550000 | 1550000 |  |  | 1545 | 649600 | 0 | 0 | 538356.1 | 61396.2 | 599752.3 | 599752.3 | 0 | 0.59975 | 49847.7 | 0.59975 | 7.6736 | 5-10 | 92.3264 | 19590373.92 | 0 | 6346219.262 | 7074689.322 | 18861903.86 | 111.4788 | -2.9244 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 599752.3 | 7.6736 | 5-10 | Load Change Over from F03-SARJAPURA-TOWN and F15-INNER URBAN due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED | IP SETS ON FEEDERS
53 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F14-KNS LAYOUT | Sarjapura | 1220202902010108 | MIXED LOAD | 1.4 | 0.6 | 2 | 4 | 480 | 0 | 7805.46 | 7543.42 | 262.04 | 2000 | 557680 | 1.01 | 524080 | 0.52408 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 410000 | 410000 |  |  | 2194 | 114080 | 0 | 0 | 103991 | 0 | 103991 | 103991 | 0 | 0.10399 | 10089 | 0.10399 | 8.8438 | 5-10 | 91.1562 | 558092.91 | 0 | 1118109.3 | 1142539.3 | 533662.91 | 102.1849 | 6.8521 | 5-10 | 100 | >30 | 100 | 100 | >30 | 0 | 103991 | 8.8438 | 5-10 | Load Change Over from F05-MUGLOOR-URBAN and F08-S-MEDIHALLY due to 11kv line Fault |  | Low Collection Efficiency |  | THEFT AND PILFERAGE TO BE AVOIDED
54 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F15-INNER URBAN | Sarjapura | 1220202902020307 | MIXED LOAD | 1.6 | 0 | 1.6 | 4 | 359 | 1 | 1690.88 | 1648.13 | 42.75 | 2000 | 59240 | 1.05 | 85500 | 0.0855 | NA | NA | NA | NA | 92000 | 92000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 177500 | 0 | 0 | 163498.5 | 1705.45 | 165203.95 | 165203.95 | 0 | 0.1652 | 12296.05 | 0.1652 | 6.9274 | 5-10 | 93.0726 | 1170711.12 | 0 | 2199490.172 | 2913836.742 | 456364.55 | 132.4778 | -23.3006 | <0 | 100 | >30 | 100 | 100 | >30 | 0 | 165203.95 | 6.9274 | 5-10 | Load Change Over from F13-CITY LIGHTdue to 11kv line Fault
55 | Non RAPDRP | Attibele | Sarjapura | SARAJAPURA_220 | F16- PRESTIGE CITY | Sarjapura | 1220202902010109 | MIXED LOAD | 5.8 | 0 | 5.8 | 5 | 65 | 0 | 1417.9 | 1243.5 | 174.4 | 2000 | 378200 | 1.01 | 348800 | 0.3488 | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | 297000 | 297000 |  |  |  | 51800 | 0 | 0 | 48010.45 | 0 | 48010.45 | 48010.45 | 0 | 0.04801 | 3789.55 |  | 7.3157 | 5-10 | 92.6843 | 868760.81 | 0 | 556347 | 772630 | 652477.81 | 138.8756 | -28.7158 |  | 100 | NA | 100 | 100 | >30 |  | 48010.45 | 7.3157 | 5-10 | Load Change Over from F01-MUGLOOR and F08-S-MEDIHALLY due to 11kv line Fault
56 | Non RAPDRP | Attibele | Decemeberasandra | SAMANDURU_66 | F7 BHAKTHIPURA | Mayasandra | 1220201907020103 | MIXED LOAD | 1.75 | 0.75 | 2.5 | 38 | 1318 | 13 | 4311.8 | 4267.2 | 44.6 | 2000 | 1600 | 1.01 | 89200 | 0.0892 | NA | NA | NA | NA | 150000 | 150000 | NA | NA | NA | NA | 0 | 0 |  |  | 0 | 239200 | 0 | 0 | 207406.95 | 15238.86 | 222645.81 | 222645.81 | 0 | 0.22265 | 16554.19 | 0.22265 | 6.9206 | 5-10 | 93.0794 | 4991300.22 | 0 | 2176401.243 | 1856074.783 | 5311626.68 | 85.2818 | 20.6202 | 20-30 | 100 | >30 | 85.2818 | 100 | >30 | 0 | 222645.81 | 6.9206 | 5-10 | Load Change Over from F07 Attibele and F06-KODLIPURA due to 11kv line Fault |  | Low Collection Efficiency
Sub division TOTAL | [8 empty] | 564.56 | 223.52 | 788.08 | 4238 | 112055 | 5582 |  | 2636.4 |  |  | 1600 |  | 44955280 | [5 empty] | 10263201 | 10263201 |  |  |  |  | 9861040 | 9861040 | 8703484.5 | 0 | 9949.02 | 45357441 | 0 | 8703484.5 | 32980576.85 | 9557845.471 | 42538422.321 | 33827259.245 |  |  | 2819018.679 | 39.3479 | 6.2151 | 0 | 93.2088 | 1054170752.85 | 1.8627e-06 | 326501721.983 | 331774575.033 | 1048897899.8 | 103.6464 | 3.3924 | 0-5 |  |  | 100 | 100 | >30 | 3 | 42267769.061 | 6.8118 | 5-10
Station Auxillary (Input & Sales) | [15 empty] | 16246.7 |  |  |  |  | 0.021 | [16 empty] | 0.021 |  |  | 0 | [12 empty] | 6641526.45 | 5982379.45 | [7 empty] | 100 | NA |  | 0 | 100 | >30
EHT Consumption | [15 empty] | 7300.1 |  |  |  |  | 0 | [19 empty] | 0 | [12 empty] | 957819.54 | 946568.54 | [7 empty] | 100 | NA |  | 0
Above 11KV Wheeled Energy/ Open Access | [15 empty] | 7157.1 |  |  |  |  | 8.7035 | [19 empty] | 0 | [12 empty] | 1747990.73 | 1718900.73 | [7 empty] | 100 | NA |  | 0
IPP Consumption | [15 empty] | 990.58 |  |  |  |  | 0 | [19 empty] | 0 | [12 empty] | 434135.88 | 425029.88 | [7 empty] | 100 | NA
Sub Division Grand Total | [8 empty] | 564.56 | 223.52 | 788.08 | 4238 | 112055 | 5582 |  | 541.16 |  |  | 1600 |  | 44955280 | [5 empty] | 10263201 | 10263201 |  |  |  |  | 9861040 | 9861040 | 8703484.5 | 0 | 9949.02 | 45357441.021 | 0 | 8703484.5 | 1120529.61 | 9557845.471 | 42538422.321 |  |  |  | 2819018.679 |  | 6.2151 | 5-10 | 93.7849 | 1054170752.85 |  | 2250732.73 | 1883073.73 | 1048897899.8 | 83.6649 | 21.535 | 20-30 |  |  |  | 100 | NA | 3 | 42267769.061 | 6.8118 | 5-10
1 | [15 empty] | 1844.88 | -1844.88 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
2 | [15 empty] | 550.35 | -550.35 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
3 | [15 empty] | 1590.61 | -1590.61 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
4 | [15 empty] | 1473.99 | -1473.99 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
5 | [15 empty] | 248.78 | -248.78 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
6 | [15 empty] | 1211.66 | -1211.66 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
7 | [15 empty] | 383.31 | -383.31 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
8 | [15 empty] | 1438.35 | -1438.35 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
9 | [15 empty] | 1753.75 | -1753.75 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
10 | [15 empty] | 6999.41 | -6999.41 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
11 | [15 empty] | 1580.41 | -1580.41 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
12 | [15 empty] | 991.8 | -991.8 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
13 | [15 empty] | 4208.3 | -4208.3 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
14 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
15 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
16 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
17 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
18 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
19 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
20 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 10780 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
21 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
22 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
23 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
Sub Division Sub Total | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 | 10780 | 0 | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA | 0 | 0 | #DIV/0! | #DIV/0!
Station Auxillary (Input & Sales) | [40 empty] | 0 | [19 empty] | NA |  | 100 | NA |  | 0
EHT Consumption | [40 empty] | 0 | [19 empty] | NA |  | 100 | NA |  | 0
Above 11KV Wheeled Energy/ Open Access | [40 empty] | 0 | [19 empty] | NA |  | 100 | NA |  | 0
IPP Consumption | [40 empty] | 0 | [19 empty] | NA |  | 100 | NA
Sub Division Grand Total | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 | 10780 | 0 | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA | 0 | 0 | #DIV/0! | #DIV/0!
1 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
2 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
3 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
4 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
5 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
6 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
7 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
8 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
9 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
10 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
11 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
12 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
13 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
14 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
15 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
16 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
17 | [16 empty] | 0 |  | 0 |  | 0 | [6 empty] | 0 | [5 empty] | 0 |  |  |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
Sub Division Sub Total | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA | 0 | 0 | #DIV/0! | #DIV/0! |  | 0 |  |  |  | 0
Station Auxillary (Input & Sales) | [37 empty] | 0 |  |  | 0 |  | 0 | [17 empty] | NA |  | 100 | NA |  | 0 | #DIV/0! | #DIV/0!
EHT Consumption | [40 empty] | 0 | [19 empty] | NA |  | 100 | NA |  | 0
Above 11KV Wheeled Energy/ Open Access | [40 empty] | 0 | [19 empty] | NA |  | 100 | NA |  | 0
IPP Consumption | [40 empty] | 0 | [19 empty] | NA |  | 100 | NA
Sub Division Grand Total | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! |  | NA |  | 100 | NA | 0 | 0 | #DIV/0! | #DIV/0!
Division Sub Total | [8 empty] | 564.56 | 223.52 | 788.08 | 4238 | 112055 | 5582 |  |  |  |  | 1600 |  | 44955280 | [5 empty] | 10263201 | 10263201 |  |  |  |  | 9861040 | 9861040 | 8703484.5 | 0 | 9949.02 | 45357441 | 0 | 8703484.5 | 32980576.85 | 9557845.471 | 42538422.321 |  |  |  | 2819018.679 |  | 6.2151 | 5-10 | 93.7849 | 1054170752.85 |  | 326501721.983 | 331785355.033 | 1048897899.8 | 101.6183 | 4.6974 | 0-5 | [5 empty] | 3 | 42267769.061 | 6.8118 | 5-10
Station Auxillary (Input & Sales) | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0.021 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0.021 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | 6641526.45 | 5982379.45 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
EHT Consumption | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | 957819.54 | 946568.54 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
Above 11KV Wheeled Energy/ Open Access | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 8.7035 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | 1747990.73 | 1718900.73 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
IPP Consumption | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | 434135.88 | 425029.88 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
Division Grand Total | [8 empty] | 564.56 | 223.52 | 788.08 | 4238 | 112055 | 5582 |  |  |  |  | 1600 |  | 44955280 | [5 empty] | 10263201 | 10263201 |  |  |  |  | 9861040 | 9861040 | 8703484.5 | 0 | 9949.02 | 45357441.021 | 0 | 8703484.5 | 1120529.61 | 9557845.471 | 42538422.321 |  |  |  | 2819018.679 |  | 6.2151 | 5-10 | 93.7849 | 1054170752.85 |  | 2250732.73 | 1893853.73 | 1048897899.8 | 84.1439 | 21.0858 | 20-30 | [5 empty] | 3 | 42267769.061 | 6.8118 | 5-10
2
12
16
15
8