## nov-2024 (hidden)
POWER INTERRUPTION COMPLAINT DETAILS IN KIADB INDUSTRIAL AREA BIDADI SD FOR THE MONTH OF NOV-2024
SL NO | O&M | CONSUMER NAME | CONTACT NUMBER | DATE OF COMPLAINT | DESCRIPTION | TIME OF COMPLAINT | TIME OF RESOLVE | REASON FOR INTERRUPTION | REMARKS
1 |  | NXTGEN | 8105770679 | 02.11.2024 | VOLTAGE IS HIGH, REDUCE THE TAP | 3:38 | 3:41 | TRANSFORMER TAP REDUCED IN MUSS | KPTCL
2 | BIDADI | NANDI PRINTERS | 9845038240 | 02.11.2024 | NO POWER ATBDHT170 | 9:16 | 9:47 | DUE TO INTERNAL FAULT FROM INDUSTRY THIS SIDE VL WAS TRIPPED AND NOW CHARGED AND POWER SUPPLY RESTORED | INTERNAL FAULT
3 | MN HALLI | MARVEL INDUSTRIES | 9008912793 | 04.11.2024 | POWER CUT A BDHT200 | 14:02 | 14:13 | POWER RESTORED | INTERNAL FAULT
4 | MN HALLI | ANDROMEDA PACKAGING | 9845142319 | 04.11.2024 | NO POWER FROM 1PM | 14:02 | 14:14 | INTERNAL FAULT IN SHIBBAM POLYMER | INTERNAL FAULT
5 |  | SHIBHAM POLYMERS | 9448854242 | 04.11.2024 | UNIT 1 &2 POWER CUT SINCE 15 MINS | 14:27 | 14:40 | INTERNAL FAULT IN SHIBBAM POLYMER | INTERNAL FAULT
6 | MN HALLI | AMEYA FOODS | 9667205874 | 04.11.2024 | NO POWER SINCE 1PM | 14:40 | 14:57 | POWER SUPPLY CONDITION IS NORMAL(DUE TO INTERNAL FAULT) | INTERNAL FAULT
7 | MN HALLI | AMEYA FOODS | 9667205874 | 08.11.2024 | FUSE BLOW SINCE MORNING 4AM | 7:45 | 08:10:00AM | POWER SUPPLY CONDITION IS NORMAL(DUE TO INTERNAL FAULT) | INTERNAL FAULT
8 | MN HALLI | TOYOTA GATE NO 6 | 9008122440 | 08.11.2024 | NO POWER AT TOYOTA GATE NO 6 | 9:55 | 09:57AM | POWER RESTORED | INTERNAL FAULT
9 | BIDADI | NANDI PRINTERS | 9845038240 | 08.11.2024 | POWER FAILURE AT BDHT170 | 16:22 | 17:36 | INTERNAL FAULT | INTERNAL FAULT
10 | BIDADI | WIPRO KAWASAKI | 9790419702 | 09.11.2024 | SINGLE PHASE IS NOT AVAILABLE IN 11KV SUPPLY | 12:16 | 12:40 | 11KV JUMP CUT INFRONT OF INSTALLATION | BESCOM
11 | MN HALLI | vishudh recycle private limited(BDHT189) | 9008907854 | 09.11.2024 | requesting for power status for next day | 13:32 | 18:40 | DUE TO GOS MAINTENANCE WORK AND NEW ELECTRICAL INFRASTRUCTURE WORK HELD 10.11.2024 ON F17 FEEDER, POWER INTERRUPTION FROM 11AM TO 4PM BOSCH ROAD SIDE UP TO JBMFAVTORY | INTERNAL FAULT
12 | BIDADI | Marvel Industries | 9008912793 | 10.11.2024 | Power cut at BDHT200 Marvel Industries feeder 09 | 273:36 | 12:09 | INTERNAL FAULT | INTERNAL FAULT
13 | BIDADI | Gmt india pvt ltd | 7349331062 | 10.11.2024 | No power at Gmt india pvt ltd | 13:25 | 14:33 | INTERNAL FAULT | INTERNAL FAULT
14 | MN HALLI | Dev packaging industries Pvt Ltd | 9844045721 | 11.11.2024 | Power failure at BDHT 82. Dev packaging industries Pvt Ltd. | 18:31 | 18:34 | POWER RESTORED | BESCOM
15 | BIDADI | BIA office | 8095122668 | 12.11.2024 | Low voltage issue at the BIA office. The current voltage reading is 385V. Kindly please check resolve it. Currently there is no power supply (Reference: BDHT-185) | 9:51 | 10:16 | POWER RESTORED | BESCOM
16 | MN HALLI | Mulberry Silks Ltd | 9448205520 | 12.11.2024 | Power failure at 1.20 PM Mulberry Silks Ltd BDHT 186 | 13:32 | 13:34 | POWER RESTORED | BESCOM
17 | MN HALLI | Toyota Techno park India Pvt ltd | 9343832541 | 13.11.2024 | Two times power fluctuations has happened at 9:19AM and 9:29 AM. if any issue , please inform us in advance. Regards Toyota Techno park India Pvt ltd. Feeder no 11 | 9:45 | 14:01 | F9 feeder tripped on fault due to internal fault by Bdht181 manjushree godown | BESCOM
18 | BIDADI | Rajhans Enterprise | 9750975006 | 14.11.2024 | Power failure at Rajhans Enterprise BDHT93 | 1:44 | 1:57 | INTERNAL FAULT | INTERNAL FAULT
19 | MN HALLI | Mulberry Silks Ltd | 9448205520 | 14.11.2024 | Power failure at 2.50 PM Mulberry Silks Ltd BDHT 186 | 17:56 | 18:01 | POWER SUPPLY NORMAL | INTERNAL FAULT
20 | MN HALLI | pearl polifhilam | 9739669465 | 15.11.2024 | NO POWER | 14:17 | 14:27 | F17 feeder 400 sqmm cable joint failure in bidadi 220 kv muss inside .. tentative power restored time 4pm | BESCOM
21 | MN HALLI | Bdht 168 | 9845142319 | 15.11.2024 | NO POWER | 14:19 | 16:43 | POWER RESTORED | INTERNAL FAULT
22 | MN HALLI | Radius engineering solutions pvt ltd | 6363093087 | 15.11.2024 | Power cut at Radius engineering solutions pvt ltd BP1322 | 14:19 | 16:43 | POWER RESTORED | INTERNAL FAULT
23 | MN HALLI | Marvel Industries | 9008912793 | 15.11.2024 | Power cut at BDHT200 Marvel Industries on F09 feeder | 14:33 | 14:33 | F17 feeder 400 sqmm cable joint failure in bidadi 220 kv muss inside .. tentative power restored time 4pm | BESCOM
24 | BIDADI | Toyota Techno park India Pvt ltd | 9343832541 | 15.11.2024 | two times power interrupted at 10:52 AM and 14:57 PM. if any issue, please inform us in advance. Regards Toyota Techno park India Pvt ltd. Feeder no 11 | 15:08 | 15:15 | AT 14.57hrs my section limits F-6 n F21 feeder was tripped on heavy fault unfortunately due to some heavy vehicle hitting the tree in medana Halli village opp panjab national bank this incident was unexpected | VEHICAL HIT, POLE DAMAGED
25 |  | BDHT 133 | 9902207201 | 15.11.2024 | No power at BDHT 133 | 16:04 | 16:48 | POWER RESTORED | INTERNAL FAULT
26 | MN HALLI | Bdht 168 | 9845142319 | 16.11.2024 | NO POWER | 15:10 | 15:43 | 11kv jump cut at near pearl Polimers ourmen attend now and power restored soon(POWER RESTORED AT 15:43) | INTERNAL FAULT
27 |  | Geaan Electronics Pvt Ltd | 9901735957 | 16.11.2024 | Geaan Electronics Pvt Ltd - Unit 3 BP-1412 power cut | 22:22 |  |  | INTERNAL FAULT
28 | MN HALLI | Ravicab cables pvt. Ltd | 6363554720 | 18.11.2024 | BDHT-59 Power failure SINCE 4.40 am | 7:16 |  |  | INTERNAL FAULT
29 | MN HALLI | Jrd alloys | 7829290027 | 18.11.2024 | Power failure from 4:40 am Jrd alloys BDHT 88 | 7:32 | 7:36 | POWER RESTORED(Power supply normal ourmen inspect) | INTERNAL FAULT
30 |  | BDHT 132 | 9743455406 | 18.11.2024 | BDHT 132 power failure from 4 40 | 8:05 |  |  | INTERNAL FAULT
31 |  | BDHT 132 | 9743455406 | 18.11.2024 | BDHT 132 single PHASE | 8:15 |  |  | INTERNAL FAULT
32 | MN HALLI | BDHT 88 | 7829290027 | 18.11.2024 | failure BDHT 88 at 9:27am | 9:29 | 9:31 | Lc taken for jump work power restored in 15min | BESCOM
33 | BIDADI | BDHT 183 | 8095122668 | 20.11.2024 | Voltage drop in BDHT 183,(Bidadi industries association) with the current voltage is 383V. This issue has been occurring regularly and requires immediate attention. Kindly investigate and provide a permanent solution at the earliest. Currently there is no bescom power supply. | 9:38 | 9:40 | RESTORED | KPTCL
34 |  | feeder 7 | 9940042172 | 21.11.2024 | Power failure feeder 7 | 8:25 |  |  | INTERNAL FAULT
35 | BIDADI | Wipro Kawasaki | 9790419702 | 21.11.2024 | BDHT 158, Wipro Kawasaki, No power supply from last 2 hours, in the Spun pole near Bus Depot, 2 fuses are blown out | 13:52 | 15:48 | Because of your installation internal fault our grid is affected sir | INTERNAL FAULT
36 | MN HALLI | Diamond Bucket industries | 9840460792 | 22.11.2024 | No power Diamond Bucket industries BDHT120 | 12:13 | 15:27 | Line fault from Toyota 6th gate to pearl Polimers .and ourmen already inspected the line already power restored soon | INTERNAL FAULT
37 |  | BDHT 82 | 9844045721 | 22.11.2024 | No power BDHT 82 | 12:56 | 13:15 | INTERNAL FAULT | INTERNAL FAULT
38 | MN HALLI | pearl polifhilam | 9739669465 | 22.11.2024 | pearl polifhilam no power | 14:41 | 15:01 | INTERNAL FAULT | INTERNAL FAULT
39 | MN HALLI | Pearl polymer | 9739669465 | 27.11.2024 | Pearl polymer no power | 6:33 | 8:26 | F17 feeder under trouble ourmen already inspecting the line and power restored soon(power restored at 8:26) | INTERNAL FAULT
40 | BIDADI | Rajhans Enterprise | 9750975006 | 27.11.2024 | power failure at Rajhans Enterprise BDHT93 | 12:18 | 12:40 | INTERNAL FAULT | INTERNAL FAULT
41 |  | Toyota gate no 6 | 9008122440 | 27.11.2024 | no power supply, updtae the power restorarion time | 18:33 | 18:36 | power restored | KPTCL
42 | BIDADI | Rajhans Enterprise | 9750975006 | 28.11.2024 | power failure at Rajhans Enterprise BDHT93 | 11:30 | 11:37 | Feeder is in line trouble power supply will be restored as soon as possible | BESCOM
43 | BIDADI | Multi Sales corporation | 9845183136 | 28.11.2024 | No power since 11.10 Am | 12:29 |  |  | INTERNAL FAULT
44 | BIDADI | Nandi Printers | 9845038240 | 28.11.2024 | Awaiting for the power restoration | 12:48 | 13:00 | heavy fault occured in some one installation r in main cable kptcl people ignoring to charge the feeder with out checking n identifying the fault so for power restoration main cable was already charged n balance loopcables r under testing n it will be restored as soon as possible | INTERNAL FAULT
45 | BIDADI | shibaam Unit - 1 &. 2 | 9448834807 | 28.11.2024 | Power cut in shibaam Unit - 1 &. 2 | 13:50 |  | INTERNAL FAULT | INTERNAL FAULT
46 | BIDADI | Gmt india pvt ltd | 7349331062 | 28.11.2024 | Power cut at Gmt india pvt ltd | 13:54 |  | INTERNAL FAULT | INTERNAL FAULT
47 | BIDADI | Rajhans Enterprise | 9750975006 | 28.11.2024 | power failure at Rajhans Enterprise BDHT93 | 16:27 | 16:33 | Again feeder is tripped on heavy fault unfortunately n power supply will be restored as soon as possible | INTERNAL FAULT
48 | BIDADI | Nandi Printers | 9845038240 | 28.11.2024 | power failure | 16:27 | 16:35 | INTERNAL FAULT | INTERNAL FAULT
49 | BIDADI | Toyota gate no 6 | 9008122440 | 28.11.2024 | Update power restoration time at Toyota gate no 6 | 16:29 | 16:52 | power restore soon | INTERNAL FAULT
50 | MN HALLI | multi sales corporation | 9980926228 | 28.11.2024 | multi sales corporation power cut BDHT 23 | 16:47 | 17:10 | INTERNAL FAULT | INTERNAL FAULT
51 | MN HALLI | opp Bosch company | 9741447707 | 28.11.2024 | power not resumed opp Bosch company | 17:39 | 17:45 | INTERNAL FAULT | INTERNAL FAULT
52 | MN HALLI | classic engineering solutions | 9886122487 | 28.11.2024 | Single phase at classic engineering solutions | 17:51 | 18:10 | INTERNAL FAULT | INTERNAL FAULT
53 | MN HALLI | pearl polifhilam | 9739669465 | 28.11.2024 | Single phase | 17:52 | 17:55 | Feeder fault due to JBM factory internal fault and also 11kv jump cut at line ..ourmen attend the same work under process power restored soon | INTERNAL FAULT
54 | MN HALLI | BDHT 82 | 9844045721 | 29.11.2024 | Power failure at BDHT 82 | 12:44 | 12:46 | Main supply failure in hejjala 66/11kv muss .power restored in 15mins | KPTCL
55 | BIDADI | Rajhan enterprises | 9750975006 | 29.11.2024 | Spark is coming from the outside pole . Rajhan enterprises BDHT93 | 23:39 | 23:39 | already informed to our men to rectify the same | INTERNAL FAULT
56 | MN HALLI | JRD Alloys | 7829290027 | 30.11.2024 | Power failure BDHT 88 JRD Alloys | 15:49 | 16:08 | Ht 11kv jump cut at opposite Toyota bashoka jump replacement work under progress..power restoration time apro 4:45pm | BESCOM

## dec-2024 (hidden)
POWER INTERRUPTION COMPLAINT DETAILS IN KIADB INDUSTRIAL AREA BIDADI SD FOR THE MONTH OF DEC-2024
SL NO | O&M | CONSUMER NAME | CONTACT NUMBER | DATE OF COMPLAINT | DESCRIPTION | TIME OF COMPLAINT | TIME OF RESOLVE | REASON FOR INTERRUPTION | REMARKS
1 | MN HALLI | Andromeda packaging | 9845142319 | 02.12.2024 | Bd ht 168 Andromeda packaging Power gone | 16:22 | 6:35 | INTERNAL FAULT | INTERNAL FAULT
2 | MN HALLI | BDHT 133 | 9902207201 | 02.12.2024 | No power at BDHT 133 | 17:00 | 17:54 | POWER RESTORED | INTERNAL FAULT
3 | MN HALLI | manjushree gate | 98451 42319 | 02.12.2024 | Loud sound in tc in front of manjushree gate with huge spark and power gone | 22:07 | 22:16 | WORKING ON IT | BESCOM
4 | BIDADI | Bdht 168 | 98451 42319 | 03.12.2024 | power supply very low in all three phased Bdht 168 | 7:52 | 10:29 | POWER RESTORED | INTERNAL FAULT
5 | MN HALLI | BDHT 133 | 99022 07201 | 03.12.2024 | BDHT 133 low voltage | 8:37 | 9:31 | Power restored soon sir ..jumpcut replacement work under progress..feeder heavy fault due to internal fault in M S.PROFENSTE INDIA LTD BDHT87(POWER RESTORED AT 10:26) | INTERNAL FAULT
6 | MN HALLI | BDHT147 | 72595 90256 | 03.12.2024 | Voltage unbalance BDHT147 | 9:09 |  |  | KPTCL
7 | MN HALLI | Radius engineering solutions pvt ltd | 63630 93087 | 03.12.2024 | Power cut at Radius engineering solutions pvt ltd BP1322 | 9:22 | 9:40 | POWER RESTORED | INTERNAL FAULT
8 | MN HALLI | JRD Alloys | 78292 90027 | 03.12.2024 | Single phase power at JRD Alloys BDHT 88 | 14:22 | 14:17 | ATTENDED | INTERNAL FAULT
9 | BIDADI | Rajhans Enterprise | 97509 75006 | 03.12.2024 | power failure at Rajhans Enterprise BDHT93 | 15:36 | 17:09 | Work under progress power restored in 20mins | INTERNAL FAULT
10 |  | classic engineering solutions | 98861 22487 | 03.12.2024 | No power in classic engineering solutions | 15:36 | 17:09 | Work under progress power restored in 20mins | INTERNAL FAULT
11 | MN HALLI | Ameya Foods | 91084 48096 | 04.12.2024 | Please manage to cut unwanted branches of tree. It is disturbing 11kv transmission line. | 10:36 | 10:46 | we planned already for Sunday for same work | BESCOM
12 | BIDADI | Toyota Gate - 1 opposite towards Technopark company | 80951 22668 | 04.12.2024 | Request for Removal of Vegetation Touching HT Line near the overhead HT line Toyota Gate - 1 opposite towards Technopark company is in contact with the HT line. Kindly arrange for the vegetation to be removed at the earliest to ensure safety | 13:03 | 13:04 | will send our men to rectify | BESCOM
13 | BIDADI | Toyota techno park India Pvt Ltd. | 93438 32541 | 05.12.2024 | not getting 3 phase power supply, request you to rectify immediately, feeder no11, Toyota techno park India Pvt Ltd. | 7:39 | 198:29 | 11kv jump cut in front of your factory gate sir.n same has been rectified | BESCOM
14 |  | BDHT 88 | 78292 90027 | 06.12.2024 | Power failure BDHT 88 | 11:08 | 11:10 | RESTORED | INTERNAL FAULT
15 | MN HALLI | Paras wire | 97434 55406 | 06.12.2024 | BDHT 132 Paras wire single Phase, arrange the power man | 14:25 | 14:28 | sent power man | INTERNAL FAULT
16 | MN HALLI | BDHT 88 | 78292 90027 | 07.12.2024 | Power failure BDHT 88 | 9:13 | 9:15 | Lc taken for jump work .power rest in 20 mins | BESCOM
17 |  | shibaam unit 2 | 94488 34807 | 08.12.2024 | No power in shibaam unit 2 due to fuse cut Please send line men to fix the line | 8:12 |  |  | INTERNAL FAULT
18 | BIDADI | Rajhans Enterprise | 97509 75006 | 09.12.2024 | power failure at Rajhans Enterprise BDHT93 | 14:21 | 14:56 | Feeder is in line trouble our men attending the same, so power supply will be restored as soon as possible | BESCOM
19 | MN HALLI | Ameya Foods | 91084 48096 | 11.12.2024 | 11kv GOS, Fuse link is sparking. Pl fix the problem | 20:53 | 21:10 | inspect and attend | INTERNAL FAULT
20 |  | Andromeda packaging pvt ltd Bdht168 | 98451 42319 | 12.12.2024 | Bdht168 Single phase | 10:41 |  | INTERNAL FAULT | INTERNAL FAULT
21 |  | BDHT 133 | 99022 07201 | 12.12.2024 | Power failure at BDHT 133 | 10:42 |  | INTERNAL FAULT | INTERNAL FAULT
22 | MN HALLI | Radius Engineering solutions pvt ltd | 63630 93087 | 12.12.2024 | Single phase at Radius Engineering solutions pvt ltd BP1322 | 10:48 | 11:26 | power restored | INTERNAL FAULT
23 | MN HALLI | JRD Alloys | 78292 90027 | 12.12.2024 | Power failure at JRD Alloys BDHT 88 | 11:49 | 11:53 | Feeder under trouble due to rain power restoration work delayed power restored soon | BESCOM (WIND AND RAIN)
24 | MN HALLI | Mahendra Industries | 78297 35145 | 12.12.2024 | Over 30 mins now power hasn't come | 11:52 | 11:53 | Feeder under trouble due to rain power restoration work delayed power restored soon | BESCOM (WIND AND RAIN)
25 | MN HALLI | BDHT 132 | 97434 55406 | 12.12.2024 | update power restoration time BDHT 132 | 12:22 | 12:29 | Power restored in aprox 20mins.due to multiple 11kv jump cuts .(power restored at 12:57) | BESCOM (WIND AND RAIN)
26 | MN HALLI | Radius Engineering solutions pvt ltd | 63630 93087 | 13.12.2024 | Single phase at Radius Engineering solutions pvt ltd BP1322 | 11:27 | 12:06 | POWER RESTORED
27 | MN HALLI | Bean Good Pvt Ltd - BDHT 124 | 98445 65172 | 14.12.2024 | Single phase power at Bean Good Pvt Ltd - BDHT 124 | 15:58 | 16:00 | Ourmen on the way to attend. (Power Restored 16:52)
28 | BIDADI | Wipro Kawasaki | 97904 19702 | 15.12.2024 | BDHT-158 Wipro Kawasaki, one phase is not available | 11:11 | 11:29 | will send our men to rectify (Power Restored 12:07)
29 | MN HALLI | iac company and Tata consumer products. | 98868 98593 | 15.12.2024 | please check once power factuvation from night 4am to till time.iac company and Tata consumer products. | 13:50 | 14:06 | ourmen inspect and attend .
30 | BIDADI | Feeder no 11 | 93438 32541 | 16.12.2024 | we are getting 10.50 KV in place of 11kV. Kindly rectify. Feeder no 11 | 9:08 | 10:05 | this issue belongs to kptcl side so better to call them
31 | MN HALLI | Bd ht 168 | 98451 42319 | 16.12.2024 | Bd ht 168 Andromeda pkg Power gone | 16:29 | 16:40 | Power supply normal
32 | MN HALLI | Diamond Bucket Industries | 98404 60792 | 18.12.2024 | no power | 11:13 | 11:16 | phase sequence changed that’s why delayed ..power restored in 20mins ..
33 | BIDADI | Rajhans Enterprise BDHT93 | 97509 75006 | 18.12.2024 | power failure at Rajhans Enterprise BDHT93 please do the needful ASAP | 18:28 | 19:08 | feeder was tripped on heavy fault unfortunately our men attending the same so power supply will be restored as soon as possible
34 | BIDADI | Feeder no 11 | 93438 32541 | 19.12.2024 | we are getting 10.50 KV in place of 11kV. Kindly rectify. Feeder no 11 | 9:47 | 9:51 | this issue belongs to kptcl side so better to call them
35 | MN HALLI | pearl polifhilam | 97509 75006 | 21.12.2024 | no power | 4:02 | 14:06 | f12 feeder jump cut at Bidadi 220kv muss work under progress power restored in 30mins sir
36 | MN HALLI | JRD Alloys BDHT 88 | 78292 90027 | 21.12.2024 | Power Failure JRD Alloys BDHT 88 | 14:03 | 14:06 | f12 feeder jump cut at Bidadi 220kv muss work under progress power restored in 30mins sir(power restored at 15:32)
37 | MN HALLI | Bhavani Industries | 98803 95484 | 21.12.2024 | Power failure since 8 pm. BDHT111 | 22:22 | 23:05 | Ourmen already attend ur. Complaint sir ht fuse out once again due to internal fault
38 | MN HALLI | BDHT-204 | 91084 48096 | 22.12.2024 | Ameya Foods, Bangalore. | 16:20 | 16:27 | power restores in 20 mins
39 | MN HALLI | BDHT -58 | 99452 34817 | 22.12.2024 | Power' not available from 4.30 pm to till in motherson BDHT -58 | 18:32 | 19:45 | Power resumed
40 | MN HALLI | gate number 6 | 99863 63123 | 24.12.2024 | Power gone at gate number 6 | 15:16 | 15:31 | 11kv jump cut Fault due to this f17 feeder ..power restored soon (power restored at 16:05)
41 | MN HALLI | Diamond Bucket Industries | 98404 60792 | 25.12.2024 | No power Diamond Bucket Industries BDHT120 | 16:58 | 12:57 | No power interruptions for this side industries.
42 | MN HALLI | Ameya foods | 91084 48096 | 25.12.2024 | Ameya foods, will BDHT-204 also have no electricity. | 22:12 | 12:57 | No power interruptions for this side industries.
43 | MN HALLI | Ravicab cables pvt. Ltd | 63635 54720 | 26.12.2024 | Power failure at 5.45 am Please update power status. BDHT-59 Ravicab cables pvt. Ltd. | 7:19 | 7:41 | 11kv jump cut at Bidadi muss work under progress power restored soon, (Work delayed due to Multiple jump cuts sir plz cooperate power restored in 30mins at 8:30)
44 | MN HALLI | Jrd Alloys BDHT 88 | 78292 90027 | 26.12.2024 | power failure | 8:48 | 9:27 | Repair work under progress restored soon
45 | MN HALLI | Mahendra Industries BDHT65 | 78297 35145 | 26.12.2024 | power failure | 9:23 | 9:27 | Repair work under progress restored soon
46 | MN HALLI | Uttam Industries | 76767 67576 | 26.12.2024 | Since yesterday 4:00PM there is no Power in our factory and we have raised complaint on BESCOM Customer care and even to line man but problem not solved till now | 11:27 | 11:35 | Ourmen in already attendending now
47 | MN HALLI | BDHT 82 | 98440 45721 | 26.12.2024 | Power failure at BDHT 82. 15 min is over | 11:51 | 11:55 | Due to unknown vehicle hitting our feeder pole and power supply interrupted ourmen inspecting line power supply update soon
48 | MN HALLI | BDHT120 Diamond Bucket Industries | 98404 60792 | 26.12.2024 | Kindly check no power BDHT120 Diamond Bucket Industries | 11:53 | 11:55 | Due to unknown vehicle hitting our feeder pole and power supply interrupted ourmen inspecting line power supply update soon
49 | MN HALLI | Iac plant | 98868 98593 | 28.12.2024 | power flacuation in Iac plant complaint raised 1 week ago no one attended please resolve the issue | 11:04 | 11:21 | No issues in our side ..ur transformer need inspection
50 | MN HALLI | Kaveri plasto - BDHT73 | 94484 52829 | 30.12.2024 | oday also many time Power failures after a full day maintenance yesterday. Repeated power failures causing damages of electrical equipments and products | 12:04 | 12:21 | No power interruption for ur installation yesterday and we r not carried any maintenance work in f5 feeder yesterday…..today only once feeder trippped on temporary and charged immediately and power supply normal

## Sheet2 (hidden)
Row Labels | Count of O&M
BIDADI | 16
MN HALLI | 20
Grand Total | 36

## Sheet1 (hidden)
Row Labels | Count of BESCOM/KPTCL/ CONSUMER
BESCOM | 19
CONSUMER | 2
COSUMER | 1
KPTCL | 4
(blank)
Grand Total | 26

## APPLICATION NUMBER
SL NUMBER | Application number | RR NUMBER | ACCOUNT ID | SANCTIONED LOAD
1 | 1312111250055 | AVL33250 | 9079803 | 1
|  | AVL33251 | 9079804 | 2
|  | AVL33252 | 9079805 | 2
2 | 1312111250073 | BD33258 | 9081089 | 2
3 | 1312111250056 | AVL33245 | 9079798 | 1
|  | AVL33246 | 9079799 | 1
|  | AVL33247 | 9079800 | 1
|  | AVL33248 | 9079801 | 2
|  | AVLWP33249 | 9079802 | 2
4 | 1312111250020 | BD33232 | 9077932 | 2
|  | BD33233 | 9077933 | 2
|  | BD33234 | 9077934 | 2
|  | BD33235 | 9077935 | 2
5 | 1312111250047 | BD33239 | 9078600 | 1
|  | BD33240 | 9078601 | 2
|  | BD33241 | 9078602 | 3
6 | 1312111250020 | BD33236 | 9077967 | 3
|  | BD33237 | 9077968 | 3
|  | BDWP33238 | 9077969 | 3